## data
Time (sec) | Water Level (ft) | Water Flowrate (GPM) | House Steam Pressure (psig) | Steam Pressure (psig) | Inlet Water Temperature (C) | Outlet Water Temperature (C) | Water Feed Temperature (C) | Ambient Temperature (C) | Ambient Pressure (kPa) | Flow Setpoint (GPM) | Flow Control Output (%) | Level Setpoint (ft) | Level Control Output (%) | Steam Setpoint (psig) | Steam Control Output (%)
3112483.9437 | 1.4396 | 25.2989 | 55.9117 | 14.2696 | 50.615 | 69.2067 | 11.9993 | 21.799 | 85.608 | 25 | 47.5279 | 1.5 | 33.7719 | 15 | 10.7897
3112498.9669 | 1.558 | 24.9628 | 55.8594 | 14.2265 | 50.4583 | 69.197 | 12.0182 | 21.8342 | 85.609 | 25 | 47.7542 | 1.5 | 55.5832 | 15 | 10.8796
3112504.7143 | 1.4962 | 25.0896 | 56.7723 | 15.3605 | 50.7544 | 69.5972 | 12.102 | 21.6932 | 85.6063 | 25 | 47.6751 | 1.5 | 97.6737 | 15 | 10.6232
3112517.84 | 1.4311 | 25.1225 | 56.554 | 15.5818 | 50.9515 | 69.8751 | 11.9519 | 21.6543 | 85.6059 | 25 | 48.0026 | 1.5 | 0 | 15 | 10.1508
3112520.238 | 1.4724 | 25.2424 | 56.0131 | 13.9807 | 51.2325 | 69.7015 | 11.9789 | 21.7799 | 85.6037 | 25 | 47.7524 | 1.5 | 1.3141 | 15 | 10.9457
3112520.6749 | 1.4649 | 25.2429 | 57.1534 | 14.4079 | 51.2838 | 69.7549 | 12.0359 | 21.6552 | 85.6062 | 25 | 47.7154 | 1.5 | 0.15901 | 15 | 10.349
3112531.1749 | 1.5573 | 25.0661 | 54.8144 | 15.8799 | 51.0927 | 69.5869 | 11.9741 | 21.754 | 85.6037 | 25 | 47.9299 | 1.5 | 90.8238 | 15 | 10.057
3112535.8199 | 1.4754 | 25.2382 | 55.217 | 16.2272 | 50.7345 | 69.9673 | 11.9887 | 21.7831 | 85.602 | 25 | 47.4091 | 1.5 | 90.7675 | 15 | 9.9276
3112539.968 | 1.4208 | 24.6395 | 57.095 | 15.5634 | 51.0326 | 70.3546 | 11.9686 | 21.8727 | 85.6103 | 25 | 47.8279 | 1.5 | 34.8003 | 15 | 10.2488
3112546.196 | 1.4842 | 25.282 | 55.4045 | 15.6033 | 51.6548 | 70.1386 | 12.0127 | 21.7622 | 85.6099 | 25 | 47.7754 | 1.5 | 1.426 | 15 | 10.1967
3112550.2949 | 1.5113 | 25.2228 | 56.3696 | 13.5289 | 50.7854 | 70.3218 | 12.0171 | 21.8499 | 85.5994 | 25 | 47.4247 | 1.5 | 3.5981 | 15 | 11.0837
3112554.53 | 1.5541 | 24.6097 | 57.2948 | 13.9192 | 50.9379 | 69.6404 | 11.951 | 21.7637 | 85.605 | 25 | 48.0724 | 1.5 | 55.0912 | 15 | 11.0128
3112559.5349 | 1.5558 | 25.2431 | 54.8267 | 15.3882 | 51.0785 | 69.8016 | 11.8982 | 21.8416 | 85.6056 | 25 | 47.8137 | 1.5 | 99.9826 | 15 | 10.2847
3112560.0011 | 1.5445 | 25.2949 | 54.9127 | 16.1473 | 50.9284 | 69.6597 | 11.9832 | 21.8366 | 85.6027 | 25 | 47.7305 | 1.5 | 100 | 15 | 9.9045
3112560.8425 | 1.55 | 25.3407 | 55.2908 | 16.0735 | 51.0009 | 69.5644 | 11.9123 | 21.8166 | 85.6029 | 25 | 47.6077 | 1.5 | 99.8925 | 15 | 9.8165
3112567.8969 | 1.4502 | 24.528 | 55.9639 | 13.9161 | 51.6578 | 70.5864 | 11.9535 | 21.7684 | 85.6063 | 25 | 47.9627 | 1.5 | 51.8745 | 15 | 11.0283
3112572.1985 | 1.456 | 25.2677 | 56.471 | 14.414 | 51.59 | 70.0332 | 11.9659 | 21.8583 | 85.6074 | 25 | 47.7053 | 1.5 | 0.47572 | 15 | 10.6741
3112579.5309 | 1.5171 | 24.635 | 56.1791 | 15.7785 | 51.2749 | 70.4748 | 12.0054 | 21.7377 | 85.6131 | 25 | 47.8209 | 1.5 | 5.7371 | 15 | 10.0142
3112581.263 | 1.5367 | 24.5621 | 55.8625 | 15.6433 | 51.1322 | 69.9742 | 12.0152 | 21.8261 | 85.6091 | 25 | 48.1537 | 1.5 | 13.954 | 15 | 10.0599
3112587.2066 | 1.5426 | 25.46 | 57.2056 | 14.4201 | 51.7257 | 70.3259 | 11.9211 | 21.7247 | 85.602 | 25 | 47.2814 | 1.5 | 78.5331 | 15 | 11.0517
3112589.7444 | 1.5381 | 25.1636 | 57.1319 | 15.3267 | 51.8168 | 70.7615 | 12.0286 | 21.7466 | 85.6089 | 25 | 47.2214 | 1.5 | 98.5092 | 15 | 10.5414
3112590.1899 | 1.5379 | 25.0112 | 57.1595 | 15.213 | 51.8443 | 70.8659 | 11.9862 | 21.8084 | 85.6089 | 25 | 47.3295 | 1.5 | 98.7297 | 15 | 10.3169
3112597.6875 | 1.4286 | 25.0478 | 57.3317 | 15.4189 | 51.9324 | 70.4323 | 11.9305 | 21.7809 | 85.6063 | 25 | 47.8708 | 1.5 | 35.0429 | 15 | 10.2439
3112602.3244 | 1.4802 | 25.1783 | 56.6893 | 14.0298 | 51.7866 | 70.8217 | 11.9801 | 21.7393 | 85.6018 | 25 | 47.5656 | 1.5 | 0.82354 | 15 | 10.7998
3112609.6599 | 1.5321 | 24.742 | 55.8164 | 15.5757 | 51.8598 | 70.2658 | 12.0104 | 21.8634 | 85.6062 | 25 | 48.1335 | 1.5 | 21.2431 | 15 | 10.0661
3112615.99 | 1.5238 | 25.1145 | 56.3297 | 16.052 | 51.6338 | 71.1532 | 12.0023 | 21.7873 | 85.6092 | 25 | 47.352 | 1.5 | 68.3678 | 15 | 9.9007
3112616.5044 | 1.5245 | 25.1158 | 55.967 | 16.1319 | 51.6175 | 71.3106 | 12.0604 | 21.7517 | 85.6092 | 25 | 47.3306 | 1.5 | 70.324 | 15 | 10.1589
3112622.5779 | 1.4842 | 24.886 | 57.1196 | 13.5627 | 52.107 | 70.5869 | 12.0207 | 21.8518 | 85.6068 | 25 | 48.0314 | 1.5 | 63.9158 | 15 | 11.1644
3112626.7737 | 1.4653 | 25.2708 | 55.6258 | 14.1313 | 51.7443 | 70.7058 | 11.8718 | 21.7823 | 85.6029 | 25 | 47.5072 | 1.5 | 25.7983 | 15 | 10.0977
3112628.1099 | 1.4403 | 25.227 | 56.551 | 15.9168 | 51.7286 | 70.7727 | 11.9924 | 21.7709 | 85.6021 | 25 | 47.4035 | 1.5 | 4.7584 | 15 | 9.9543
3112634.868 | 1.5311 | 24.6827 | 55.9731 | 15.9014 | 51.7542 | 70.3065 | 11.9647 | 21.6679 | 85.5948 | 25 | 48.1523 | 1.5 | 14.5465 | 15 | 9.8741
3112641.3259 | 1.5397 | 25.2193 | 57.8849 | 13.7809 | 51.9542 | 70.6711 | 11.9484 | 21.6104 | 85.6106 | 25 | 47.6172 | 1.5 | 89.4233 | 15 | 10.9587
3112641.8409 | 1.5467 | 25.2157 | 56.5172 | 14.3064 | 51.8796 | 70.812 | 11.9157 | 21.782 | 85.6081 | 25 | 47.5815 | 1.5 | 95.5766 | 15 | 10.7002
3112647.9424 | 1.4637 | 24.6823 | 56.0069 | 14.878 | 51.8177 | 70.5177 | 11.9403 | 21.7108 | 85.6031 | 25 | 48.3227 | 1.5 | 77.9974 | 15 | 10.1661
3112657.1325 | 1.4694 | 24.6604 | 56.0838 | 15.9444 | 51.8652 | 71.0235 | 11.9983 | 21.6916 | 85.6095 | 25 | 47.7539 | 1.5 | 0.48477 | 15 | 10.158
3112674.0309 | 1.5111 | 25.0382 | 57.6083 | 15.2222 | 52.0485 | 70.8922 | 11.9852 | 21.7434 | 85.6045 | 25 | 47.8284 | 1.5 | 98.2136 | 15 | 10.3147
3112686.8319 | 1.4345 | 25.2268 | 57.7804 | 14.9334 | 51.6758 | 70.5156 | 11.8843 | 21.6768 | 85.6059 | 25 | 47.7959 | 1.5 | 0.071272 | 15 | 10.0011
3112693.1049 | 1.4859 | 24.9412 | 57.9033 | 14.9549 | 51.25 | 70.6512 | 11.9399 | 21.5771 | 85.6051 | 25 | 47.4711 | 1.5 | 0.25443 | 15 | 10.3095
3112707.5059 | 1.5203 | 24.8674 | 56.4926 | 13.5812 | 51.8059 | 70.7079 | 12.0956 | 21.551 | 85.5976 | 25 | 47.5433 | 1.5 | 99.8951 | 15 | 11.0796
3112718.0136 | 1.425 | 25.3336 | 57.2794 | 14.2112 | 52.0941 | 71.1993 | 12.0077 | 21.6906 | 85.6116 | 25 | 47.1065 | 1.5 | 0.092559 | 15 | 10.2459
3112720.2531 | 1.4773 | 24.8495 | 55.7979 | 15.6433 | 51.7788 | 71.0095 | 12.0126 | 21.5794 | 85.603 | 25 | 47.4272 | 1.5 | 2.0996 | 15 | 10.3234
3112726.0935 | 1.5316 | 25.1306 | 56.9905 | 14.3894 | 51.6099 | 70.1075 | 11.9528 | 21.6064 | 85.6107 | 25 | 47.8942 | 1.5 | 20.6057 | 15 | 10.5909
3112737.2346 | 1.4716 | 24.8641 | 57.6974 | 13.9223 | 52.0398 | 70.6058 | 12.0183 | 21.5798 | 85.6078 | 25 | 48.0742 | 1.5 | 97.6799 | 15 | 11.2286
3112746.5706 | 1.4346 | 24.9649 | 57.1872 | 14.9149 | 52.0049 | 71.5212 | 11.8877 | 21.5848 | 85.6069 | 25 | 47.309 | 1.5 | 0.80646 | 15 | 10.3334
3112748.6906 | 1.4614 | 24.5102 | 55.4168 | 15.3022 | 52.1906 | 70.5106 | 11.8924 | 21.5697 | 85.6008 | 25 | 48.0206 | 1.5 | 0.7015 | 15 | 10.765
3112752.067 | 1.4811 | 25.038 | 57.0212 | 14.5769 | 52.1205 | 70.6856 | 12.0187 | 21.6191 | 85.6028 | 25 | 47.9872 | 1.5 | 1.1793 | 15 | 10.2146
3112756.9469 | 1.5401 | 25.3046 | 58.0939 | 14.6875 | 51.795 | 70.4009 | 12.0005 | 21.5813 | 85.6023 | 25 | 47.4386 | 1.5 | 35.2408 | 15 | 10.4565
3112763.0069 | 1.5251 | 24.6052 | 57.971 | 14.0237 | 52.1267 | 70.5868 | 11.9966 | 21.6992 | 85.6033 | 25 | 48.2063 | 1.5 | 94.7559 | 15 | 10.8649
3112771.8239 | 1.433 | 24.9077 | 55.466 | 16.0735 | 52.6534 | 71.0387 | 11.9701 | 21.7126 | 85.6026 | 25 | 47.5915 | 1.5 | 24.9318 | 15 | 10.4468
3112773.3848 | 1.4316 | 24.9134 | 55.343 | 16.1688 | 52.635 | 71.2671 | 12.0218 | 21.7484 | 85.6064 | 25 | 47.6361 | 1.5 | 0.68131 | 15 | 10.7979
3112777.9181 | 1.468 | 25.0516 | 57.4515 | 14.3279 | 52.4605 | 70.5013 | 11.9005 | 21.6333 | 85.6056 | 25 | 48.0641 | 1.5 | 0 | 15 | 10.5234
3112785.6693 | 1.5542 | 24.8516 | 54.8666 | 15.3728 | 51.2574 | 70.7512 | 11.9748 | 21.7437 | 85.6072 | 25 | 47.7372 | 1.5 | 42.5845 | 15 | 10.1442
3112794.1725 | 1.481 | 25.4179 | 57.7865 | 15.0071 | 52.0204 | 70.506 | 12.0159 | 21.6695 | 85.6115 | 25 | 47.3729 | 1.5 | 97.3244 | 15 | 10.2696
3112798.3079 | 1.4745 | 24.8853 | 56.5633 | 13.9684 | 52.1753 | 71.0115 | 11.9381 | 21.6886 | 85.6092 | 25 | 47.4227 | 1.5 | 75.4314 | 15 | 10.8048
3112806.4739 | 1.4516 | 25.1185 | 55.3584 | 15.7846 | 52.4303 | 70.5776 | 12.0092 | 21.7432 | 85.6051 | 25 | 47.8326 | 1.5 | 0.93083 | 15 | 9.8413
3112807.0279 | 1.45 | 25.1629 | 55.635 | 13.8393 | 52.5626 | 70.4583 | 11.9842 | 21.5576 | 85.6065 | 25 | 47.7786 | 1.5 | 0.9628 | 15 | 10.7041
3112810.845 | 1.5353 | 25.2128 | 55.34 | 15.4896 | 51.9079 | 70.6253 | 11.9701 | 21.645 | 85.6096 | 25 | 47.4209 | 1.5 | 13.7264 | 15 | 10.2355
3112816.8524 | 1.5267 | 24.7232 | 55.0418 | 15.6648 | 51.9226 | 70.6206 | 11.9548 | 21.7847 | 85.6066 | 25 | 48.0149 | 1.5 | 60.3795 | 15 | 10.2607
3112824.068 | 1.4855 | 25.1645 | 55.5859 | 16.5191 | 52.5994 | 71.2237 | 11.9375 | 21.7046 | 85.6058 | 25 | 47.3456 | 1.5 | 84.5667 | 15 | 9.4807
3112827.2369 | 1.4396 | 24.561 | 55.0019 | 15.2407 | 52.7654 | 71.4924 | 11.99 | 21.7751 | 85.6106 | 25 | 47.9875 | 1.5 | 42.5665 | 15 | 10.1683
3112829.2809 | 1.4345 | 24.8896 | 56.3942 | 15.7816 | 53.0232 | 71.2706 | 12.031 | 21.707 | 85.6063 | 25 | 47.977 | 1.5 | 8.9054 | 15 | 9.9088
3112837.6859 | 1.5117 | 24.8834 | 54.424 | 14.8135 | 51.8141 | 71.3665 | 11.9161 | 21.5748 | 85.6053 | 25 | 47.5423 | 1.5 | 3.2619 | 15 | 10.4828
3112844.4559 | 1.567 | 25.1627 | 55.1648 | 14.0421 | 52.1353 | 70.4137 | 12.0003 | 21.7156 | 85.6031 | 25 | 47.6235 | 1.5 | 76.1465 | 15 | 10.7299
3112845.168 | 1.5411 | 25.2154 | 56.6954 | 15.6003 | 52.2422 | 70.4493 | 11.97 | 21.6086 | 85.6057 | 25 | 47.5422 | 1.5 | 84.2393 | 15 | 9.9534
3112851.93 | 1.5069 | 24.5491 | 54.3902 | 15.5849 | 52.2378 | 70.8939 | 12.0964 | 21.504 | 85.6069 | 25 | 48.1459 | 1.5 | 97.5698 | 15 | 9.9897
3112852.7854 | 1.4701 | 24.621 | 56.76 | 15.674 | 52.2597 | 70.7914 | 11.9199 | 21.5729 | 85.6103 | 25 | 48.2082 | 1.5 | 89.4001 | 15 | 9.969
3112858.118 | 1.4314 | 25.298 | 56.6155 | 14.8227 | 52.4694 | 70.7576 | 12.0834 | 21.609 | 85.6105 | 25 | 47.6038 | 1.5 | 20.1741 | 15 | 10.3629
3112858.6628 | 1.4413 | 25.2656 | 54.7468 | 14.7705 | 52.4884 | 70.7712 | 11.922 | 21.5905 | 85.6082 | 25 | 47.5778 | 1.5 | 12.122 | 15 | 10.5428
3112866.3189 | 1.4872 | 24.5791 | 55.549 | 15.8277 | 51.9211 | 70.8069 | 12.0198 | 21.4993 | 85.6079 | 25 | 48.0673 | 1.5 | 1.2747 | 15 | 9.7371
3112872.8759 | 1.5894 | 25.1671 | 54.5777 | 14.9426 | 52.6405 | 70.6105 | 12.0618 | 21.521 | 85.6043 | 25 | 47.718 | 1.5 | 69.2847 | 15 | 10.2301
3112878.673 | 1.4954 | 24.7717 | 56.7907 | 14.9825 | 52.8576 | 71.4879 | 11.8724 | 21.5123 | 85.6052 | 25 | 47.9657 | 1.5 | 97.6153 | 15 | 9.9467
3112879.2 | 1.5145 | 24.7604 | 54.7037 | 16.4546 | 52.8184 | 71.4079 | 11.9613 | 21.4802 | 85.6096 | 25 | 48.0168 | 1.5 | 99.7261 | 15 | 9.548
3112889.1439 | 1.4197 | 25.3011 | 55.761 | 14.6844 | 52.4973 | 71.3086 | 12.0512 | 21.5199 | 85.6086 | 25 | 47.156 | 1.5 | 0.039584 | 15 | 10.2518
3112895.256 | 1.4692 | 24.8593 | 56.2252 | 15.3267 | 52.0936 | 70.5097 | 12.0006 | 21.6199 | 85.6085 | 25 | 48.2517 | 1.5 | 0.016841 | 15 | 9.9716
3112905.8279 | 1.562 | 24.6229 | 55.0142 | 13.4121 | 51.6469 | 70.739 | 11.8978 | 21.5007 | 85.6061 | 25 | 48.0516 | 1.5 | 97.6285 | 15 | 11.0575
3112910.9769 | 1.4741 | 25.4824 | 55.3184 | 15.9475 | 51.8644 | 70.3915 | 12.0446 | 21.6098 | 85.6061 | 25 | 47.3215 | 1.5 | 86.3292 | 15 | 9.8622
3112920.1669 | 1.4074 | 24.8596 | 54.5347 | 15.757 | 52.3002 | 70.6365 | 12.1077 | 21.5672 | 85.6082 | 25 | 48.1648 | 1.5 | 11.1343 | 15 | 9.9628
3112938.0999 | 1.5337 | 25.246 | 55.8994 | 15.2499 | 51.9881 | 70.3767 | 12.0207 | 21.4092 | 85.6114 | 25 | 47.6596 | 1.5 | 90.3005 | 15 | 9.6517
3112938.7529 | 1.5589 | 25.2063 | 54.4056 | 16.1842 | 52.0381 | 70.419 | 12.057 | 21.4399 | 85.6131 | 25 | 47.6359 | 1.5 | 98.6775 | 15 | 10.1795
3112943.0175 | 1.4838 | 25.218 | 56.2651 | 14.4785 | 52.0417 | 71.072 | 12.1194 | 21.4543 | 85.6085 | 25 | 47.2975 | 1.5 | 89.1891 | 15 | 10.5574
3112948.0904 | 1.4363 | 24.5856 | 54.3226 | 15.3575 | 52.3 | 70.8448 | 12.0431 | 21.4246 | 85.6055 | 25 | 48.0163 | 1.5 | 35.6606 | 15 | 10.1689
3112949.8949 | 1.4438 | 24.7599 | 55.0203 | 14.3157 | 52.2059 | 70.8523 | 11.9623 | 21.5071 | 85.6076 | 25 | 48.1071 | 1.5 | 7.1481 | 15 | 10.6239
3112957.579 | 1.5043 | 25.2894 | 55.2846 | 15.6617 | 52.0502 | 70.8164 | 12.0744 | 21.4768 | 85.6041 | 25 | 47.3541 | 1.5 | 3.7462 | 15 | 9.8413
3112963.9039 | 1.5704 | 24.9663 | 54.7252 | 13.7502 | 51.9196 | 70.5332 | 12.0077 | 21.5153 | 85.6091 | 25 | 47.8303 | 1.5 | 70.0938 | 15 | 10.7001
3112971.8929 | 1.5227 | 24.6794 | 53.8216 | 15.2069 | 52.4677 | 71.1085 | 11.947 | 21.5899 | 85.6045 | 25 | 47.5487 | 1.5 | 99.9982 | 15 | 10.5874
3112978.8889 | 1.4259 | 25.3667 | 54.8021 | 14.7367 | 52.5689 | 70.9807 | 12.0548 | 21.5512 | 85.6103 | 25 | 47.7785 | 1.5 | 1.5366 | 15 | 9.7399
3112980.0789 | 1.428 | 25.3592 | 56.0315 | 16.0121 | 52.5204 | 71.1183 | 11.9631 | 21.6706 | 85.6143 | 25 | 47.6336 | 1.5 | 1.6628 | 15 | 10.1083
3112995.5347 | 1.4934 | 25.2317 | 56.2313 | 15.8891 | 52.2726 | 70.836 | 11.9723 | 21.6525 | 85.6104 | 25 | 47.4064 | 1.5 | 84.635 | 15 | 10.0537
3112999.2424 | 1.4883 | 24.504 | 55.2262 | 13.744 | 52.5301 | 70.9885 | 11.9886 | 21.582 | 85.6079 | 25 | 48.0714 | 1.5 | 97.2604 | 15 | 11.0019
3113008.1839 | 1.4639 | 25.4162 | 54.6853 | 15.253 | 52.0735 | 71.3505 | 12.0175 | 21.5985 | 85.6084 | 25 | 47.0948 | 1.5 | 0.54572 | 15 | 10.1483
3113014.7499 | 1.4963 | 24.5637 | 55.9823 | 13.9592 | 52.2073 | 70.8325 | 12.0729 | 21.6526 | 85.6131 | 25 | 48.299 | 1.5 | 2.2061 | 15 | 10.6171
3113023.5184 | 1.5505 | 25.3185 | 56.4311 | 15.3452 | 52.6086 | 70.7225 | 11.9778 | 21.6158 | 85.6074 | 25 | 47.3607 | 1.5 | 98.6575 | 15 | 10.0323
3113036.4511 | 1.4303 | 25.3169 | 56.0192 | 15.2653 | 52.3632 | 70.7632 | 11.9477 | 21.5734 | 85.6096 | 25 | 47.4216 | 1.5 | 13.1209 | 15 | 9.9757
3113039.9259 | 1.4576 | 25.0006 | 54.2273 | 15.1608 | 52.3134 | 71.4294 | 12.0649 | 21.5594 | 85.6134 | 25 | 47.4225 | 1.5 | 1.0668 | 15 | 9.9256
3113045.9899 | 1.5061 | 25.0141 | 54.1935 | 15.8861 | 52.3656 | 70.7721 | 12.0375 | 21.6647 | 85.6105 | 25 | 47.932 | 1.5 | 1.9608 | 15 | 9.4958
3113052.5646 | 1.5551 | 24.9621 | 54.839 | 15.6003 | 52.662 | 71.1633 | 12.051 | 21.6102 | 85.6131 | 25 | 47.5013 | 1.5 | 51.6054 | 15 | 9.7442
3113062.675 | 1.5086 | 25.3968 | 54.8144 | 13.7901 | 52.6974 | 71.2993 | 11.9248 | 21.6176 | 85.607 | 25 | 47.2242 | 1.5 | 99.3694 | 15 | 10.7117
3113073.0399 | 1.451 | 25.3635 | 55.0449 | 13.9622 | 52.1509 | 70.9553 | 11.9497 | 21.4665 | 85.6091 | 25 | 47.4591 | 1.5 | 1.0133 | 15 | 10.4665
3113077.187 | 1.4999 | 24.7331 | 54.1074 | 14.3064 | 52.2388 | 71.0648 | 11.984 | 21.5346 | 85.611 | 25 | 47.6532 | 1.5 | 2.0715 | 15 | 10.3736
3113083.392 | 1.5414 | 25.2682 | 55.8778 | 14.5062 | 52.1582 | 70.5814 | 11.9237 | 21.5321 | 85.6132 | 25 | 47.8245 | 1.5 | 56.3442 | 15 | 10.4181
3113089.5599 | 1.4905 | 25.0146 | 55.6289 | 15.5019 | 52.3886 | 71.3387 | 11.9575 | 21.5072 | 85.6069 | 25 | 47.4037 | 1.5 | 97.8318 | 15 | 9.5011
3113097.3171 | 1.4319 | 25.2387 | 55.5029 | 13.8055 | 52.7111 | 70.9901 | 11.9698 | 21.5232 | 85.617 | 25 | 47.905 | 1.5 | 29.7965 | 15 | 10.3838
3113108.2049 | 1.5077 | 24.8119 | 54.8236 | 13.4736 | 52.1921 | 70.58 | 11.9838 | 21.664 | 85.6099 | 25 | 48.0402 | 1.5 | 2.3567 | 15 | 10.5184
3113110.611 | 1.5272 | 25.2976 | 55.8901 | 15.0348 | 51.9743 | 70.7252 | 11.9684 | 21.6415 | 85.6164 | 25 | 47.6056 | 1.5 | 14.6297 | 15 | 10.0072
3113111.689 | 1.5462 | 25.3786 | 55.131 | 15.6341 | 52.2578 | 70.8155 | 11.8976 | 21.7424 | 85.6156 | 25 | 47.4283 | 1.5 | 30.1868 | 15 | 9.7194
3113112.5259 | 1.5607 | 25.3708 | 55.6227 | 13.9715 | 52.0642 | 70.8393 | 11.9016 | 21.5645 | 85.6203 | 25 | 47.328 | 1.5 | 42.3863 | 15 | 10.8568
3113122.4969 | 1.4781 | 25.2656 | 55.2232 | 13.8424 | 52.4922 | 70.7099 | 12.0062 | 21.7253 | 85.6177 | 25 | 47.5786 | 1.5 | 88.6449 | 15 | 10.6463
3113123.0109 | 1.4744 | 25.265 | 54.0122 | 15.4128 | 52.5456 | 70.7891 | 12.012 | 21.64 | 85.6186 | 25 | 47.5317 | 1.5 | 83.9437 | 15 | 9.855
3113124.5729 | 1.4437 | 25.2682 | 56.3051 | 14.5277 | 52.607 | 70.8391 | 11.99 | 21.643 | 85.6157 | 25 | 47.3767 | 1.5 | 66.132 | 15 | 9.8523
3113127.1051 | 1.4681 | 24.9127 | 54.1781 | 15.8 | 53.024 | 71.5265 | 11.8831 | 21.6959 | 85.6133 | 25 | 47.5495 | 1.5 | 40.0193 | 15 | 9.6524
3113130.8779 | 1.4395 | 24.6308 | 54.172 | 15.4189 | 53.0381 | 71.2198 | 11.9408 | 21.5992 | 85.6132 | 25 | 48.3201 | 1.5 | 1.459 | 15 | 9.8179
3113143.9789 | 1.5777 | 24.8316 | 53.8062 | 16.2825 | 52.7663 | 70.613 | 11.9604 | 21.5918 | 85.6178 | 25 | 48.1218 | 1.5 | 83.0623 | 15 | 9.3014
3113157.0679 | 1.4305 | 24.9863 | 55.1648 | 15.9383 | 52.6366 | 70.8585 | 12.0575 | 21.5975 | 85.6202 | 25 | 48.0136 | 1.5 | 28.5783 | 15 | 9.8295
3113157.9055 | 1.419 | 25.143 | 54.8758 | 14.5031 | 52.8345 | 70.8016 | 12.1474 | 21.6941 | 85.6165 | 25 | 47.8825 | 1.5 | 11.2202 | 15 | 10.508
3113163.3199 | 1.4437 | 25.3011 | 55.4998 | 13.3998 | 52.5557 | 71.3435 | 12.0489 | 21.6459 | 85.6091 | 25 | 47.1141 | 1.5 | 0.83051 | 15 | 10.6617
3113170.0989 | 1.5198 | 24.8316 | 54.8728 | 14.2142 | 52.1526 | 70.8082 | 12.0089 | 21.629 | 85.6092 | 25 | 48.0377 | 1.5 | 6.0405 | 15 | 10.3001
3113193.8859 | 1.4598 | 24.5346 | 54.6914 | 14.9764 | 52.3358 | 71.3521 | 11.9826 | 21.7264 | 85.6098 | 25 | 48.0974 | 1.5 | 0.7815 | 15 | 9.3998
3113196.968 | 1.4976 | 25.1648 | 57.4792 | 14.7029 | 51.8635 | 70.6591 | 11.9067 | 21.6801 | 85.6102 | 25 | 47.8649 | 1.5 | 4.2156 | 15 | 10.0119
3113205.0438 | 1.572 | 24.5176 | 54.7437 | 15.5326 | 52.1052 | 70.96 | 12.1357 | 21.6876 | 85.6106 | 25 | 47.8355 | 1.5 | 100 | 15 | 9.1499
3113209.3324 | 1.5265 | 25.1274 | 56.7538 | 13.5535 | 52.4179 | 70.6952 | 12.0167 | 21.6912 | 85.6143 | 25 | 47.9008 | 1.5 | 99.091 | 15 | 10.6691
3113213.6509 | 1.4614 | 25.4174 | 56.6278 | 15.2622 | 52.2917 | 71.0296 | 12.0373 | 21.6266 | 85.6119 | 25 | 47.1766 | 1.5 | 74.9024 | 15 | 9.7703
3113221.5069 | 1.4341 | 24.5959 | 57.0335 | 14.4355 | 52.5241 | 70.7292 | 11.9898 | 21.7053 | 85.622 | 25 | 48.402 | 1.5 | 0.3534 | 15 | 10.0236
3113233.9524 | 1.5348 | 24.6837 | 56.7784 | 14.3525 | 52.4047 | 70.8701 | 12.0433 | 21.7578 | 85.611 | 25 | 48.1483 | 1.5 | 62.0963 | 15 | 9.9236
3113238.1359 | 1.538 | 25.3128 | 55.9946 | 14.2542 | 53.0159 | 70.7651 | 12.0984 | 21.8864 | 85.6054 | 25 | 47.5106 | 1.5 | 93.9919 | 15 | 10.2969
3113240.183 | 1.5084 | 25.1768 | 57.2886 | 15.2806 | 52.6401 | 71.315 | 11.9626 | 21.781 | 85.6093 | 25 | 47.4297 | 1.5 | 97.7774 | 15 | 9.8944
3113249.715 | 1.4523 | 25.3195 | 56.0192 | 14.0698 | 52.3811 | 71.2124 | 11.9422 | 21.8029 | 85.6051 | 25 | 47.5438 | 1.5 | 0.84233 | 15 | 10.246
3113260.9889 | 1.5685 | 24.7777 | 56.0377 | 13.9499 | 52.1382 | 70.4372 | 12.0546 | 21.773 | 85.6079 | 25 | 48.1399 | 1.5 | 47.1627 | 15 | 10.4032
3113273.3436 | 1.4506 | 24.8803 | 55.6442 | 16.2764 | 52.4714 | 70.9221 | 11.9704 | 21.7179 | 85.6135 | 25 | 47.8608 | 1.5 | 70.1089 | 15 | 9.1734
3113287.539 | 1.509 | 24.6556 | 57.5806 | 14.6875 | 51.9741 | 70.4188 | 11.9487 | 21.5446 | 85.6103 | 25 | 48.1249 | 1.5 | 14.1283 | 15 | 9.9772
3113290.1924 | 1.548 | 25.1948 | 57.3532 | 14.9487 | 52.053 | 70.3886 | 11.9499 | 21.5339 | 85.6097 | 25 | 47.8806 | 1.5 | 46.218 | 15 | 9.7725
3113291.68 | 1.5662 | 25.3915 | 56.0838 | 16.7005 | 51.9409 | 70.3273 | 11.9783 | 21.5696 | 85.6083 | 25 | 47.6069 | 1.5 | 70.3597 | 15 | 9.0071
3113305.9289 | 1.4455 | 25.3277 | 55.6135 | 16.2702 | 52.452 | 70.9714 | 11.9716 | 21.6021 | 85.6155 | 25 | 47.456 | 1.5 | 1.0902 | 15 | 9.2889
3113310.258 | 1.4988 | 24.9665 | 55.6627 | 14.3956 | 52.5711 | 71.1531 | 11.9085 | 21.5358 | 85.6072 | 25 | 47.562 | 1.5 | 1.667 | 15 | 10.0835
3113317.305 | 1.5573 | 25.4671 | 55.8102 | 16.1381 | 52.3253 | 70.6983 | 11.9998 | 21.5557 | 85.6094 | 25 | 47.4641 | 1.5 | 38.956 | 15 | 9.3593
3113322.5009 | 1.5304 | 24.5134 | 56.385 | 13.6949 | 52.1975 | 71.102 | 12.1035 | 21.5239 | 85.6097 | 25 | 47.874 | 1.5 | 99.3415 | 15 | 10.5818
3113329.8911 | 1.4945 | 25.3905 | 56.7077 | 14.0329 | 53.0935 | 70.9113 | 11.9169 | 21.6067 | 85.6142 | 25 | 47.5539 | 1.5 | 89.2211 | 15 | 10.3964
3113345.265 | 1.5104 | 25.3957 | 56.8645 | 15.9475 | 52.4525 | 71.4201 | 11.975 | 21.5807 | 85.6199 | 25 | 47.272 | 1.5 | 3.0437 | 15 | 9.416
3113346.143 | 1.525 | 25.2562 | 55.8778 | 15.1915 | 52.4639 | 71.4323 | 11.9337 | 21.5137 | 85.6201 | 25 | 47.2893 | 1.5 | 7.0559 | 15 | 9.6888
3113352.1839 | 1.551 | 24.6884 | 57.0796 | 14.1251 | 52.4115 | 70.7451 | 11.9647 | 21.5968 | 85.6187 | 25 | 48.1356 | 1.5 | 82.8308 | 15 | 10.2352
3113357.514 | 1.474 | 25.2721 | 57.8449 | 14.8903 | 52.5866 | 70.9091 | 11.9084 | 21.5861 | 85.6139 | 25 | 47.6069 | 1.5 | 95.4945 | 15 | 9.9802
3113361.6935 | 1.4559 | 24.8098 | 57.5345 | 15.8184 | 53.1069 | 71.6195 | 12.0155 | 21.6146 | 85.6096 | 25 | 47.6905 | 1.5 | 67.2219 | 15 | 9.7148
3113381.4094 | 1.5628 | 25.3913 | 57.9617 | 14.4724 | 51.9357 | 70.7155 | 11.8841 | 21.6 | 85.6165 | 25 | 47.6148 | 1.5 | 98.5467 | 15 | 10.0763
3113384.3939 | 1.5061 | 25.3051 | 57.4331 | 15.4988 | 52.2702 | 71.3139 | 11.8825 | 21.5433 | 85.6096 | 25 | 47.249 | 1.5 | 97.9925 | 15 | 9.5562
3113384.9961 | 1.5366 | 25.0884 | 55.6104 | 15.3821 | 52.4601 | 71.3091 | 11.9735 | 21.6062 | 85.6129 | 25 | 47.3683 | 1.5 | 100 | 15 | 9.6459
3113400.898 | 1.4784 | 24.6973 | 57.2886 | 15.7662 | 52.2522 | 71.5119 | 11.8371 | 21.5603 | 85.6182 | 25 | 47.8546 | 1.5 | 0.009015 | 15 | 9.7216
3113411.196 | 1.5548 | 25.0414 | 56.9966 | 13.7594 | 52.4485 | 71.0701 | 11.9393 | 21.6198 | 85.6137 | 25 | 47.4143 | 1.5 | 89.4549 | 15 | 10.6024
3113413.3839 | 1.5179 | 24.8338 | 56.5049 | 15.9352 | 52.1981 | 71.1568 | 11.9414 | 21.6573 | 85.6143 | 25 | 47.6496 | 1.5 | 99.6165 | 15 | 9.2389
3113417.8204 | 1.4873 | 25.0544 | 56.594 | 15.7416 | 52.2197 | 70.9274 | 11.8687 | 21.6835 | 85.6056 | 25 | 47.8154 | 1.5 | 86.5658 | 15 | 9.4954
3113423.7424 | 1.4419 | 25.1637 | 56.133 | 14.1497 | 52.6694 | 71.5874 | 12.0062 | 21.6643 | 85.6106 | 25 | 47.3272 | 1.5 | 0.11563 | 15 | 10.2666
3113432.238 | 1.525 | 25.3442 | 57.6636 | 13.9131 | 52.4412 | 70.4341 | 12.0023 | 21.5505 | 85.6194 | 25 | 47.6462 | 1.5 | 8.4579 | 15 | 10.2667
3113446.7439 | 1.5006 | 25.4219 | 55.9117 | 15.883 | 53.1753 | 71.2191 | 11.9564 | 21.5583 | 85.6108 | 25 | 47.1572 | 1.5 | 83.1127 | 15 | 9.4792
3113448.4229 | 1.46 | 25.099 | 57.5898 | 14.8381 | 52.975 | 71.6228 | 11.9527 | 21.6768 | 85.6122 | 25 | 47.2433 | 1.5 | 68.5809 | 15 | 9.9518
3113458.8032 | 1.4466 | 25.2661 | 56.1668 | 16.0059 | 52.1988 | 70.431 | 11.9805 | 21.4743 | 85.6147 | 25 | 47.5558 | 1.5 | 1.2668 | 15 | 9.1628
3113462.762 | 1.5202 | 25.192 | 55.6197 | 15.4988 | 52.6628 | 71.1801 | 11.8651 | 21.6189 | 85.615 | 25 | 47.233 | 1.5 | 7.0039 | 15 | 10.3096
3113470.9579 | 1.5486 | 25.3019 | 56.7262 | 15.4497 | 52.031 | 70.7127 | 11.9033 | 21.4693 | 85.6177 | 25 | 47.5688 | 1.5 | 92.3444 | 15 | 9.5828
3113475.2979 | 1.4915 | 24.7866 | 56.3665 | 15.9414 | 52.4622 | 71.0072 | 12.0332 | 21.555 | 85.6184 | 25 | 47.6494 | 1.5 | 97.2825 | 15 | 9.3273
3113481.318 | 1.3954 | 25.4177 | 57.5468 | 14.9764 | 52.3657 | 70.6282 | 11.9122 | 21.4299 | 85.6207 | 25 | 47.7223 | 1.5 | 32.4169 | 15 | 9.8114
3113487.855 | 1.4667 | 24.7368 | 55.5766 | 14.2511 | 52.6294 | 71.3163 | 11.8671 | 21.5014 | 85.6243 | 25 | 47.5104 | 1.5 | 1.732 | 15 | 9.7697
3113493.959 | 1.5382 | 25.1151 | 55.3092 | 15.0225 | 51.7641 | 70.3868 | 11.9674 | 21.4994 | 85.624 | 25 | 47.9548 | 1.5 | 16.5622 | 15 | 9.7018
3113498.1456 | 1.5636 | 25.318 | 55.2109 | 16.9863 | 51.6046 | 70.4998 | 12.0237 | 21.5227 | 85.6241 | 25 | 47.4409 | 1.5 | 64.3065 | 15 | 8.8281
3113506.8279 | 1.4659 | 24.9908 | 56.8337 | 15.0563 | 52.3855 | 70.527 | 11.9678 | 21.5596 | 85.62 | 25 | 48.125 | 1.5 | 79.776 | 15 | 9.7858
3113507.3645 | 1.4751 | 25.1917 | 55.4045 | 16.0274 | 52.4167 | 70.529 | 11.9481 | 21.4418 | 85.6226 | 25 | 47.9732 | 1.5 | 76.2186 | 15 | 9.308
3113519.5849 | 1.4787 | 24.9127 | 55.0326 | 15.9506 | 52.035 | 70.5253 | 12.0201 | 21.5342 | 85.6269 | 25 | 47.9689 | 1.5 | 1.6276 | 15 | 9.4513
3113524.9529 | 1.547 | 25.2685 | 56.3358 | 13.4613 | 52.6339 | 71.105 | 11.9522 | 21.6381 | 85.62 | 25 | 47.3996 | 1.5 | 49.5486 | 15 | 10.2857
3113531.17 | 1.5221 | 24.6618 | 55.0019 | 16.2087 | 52.1998 | 70.5455 | 11.9615 | 21.5 | 85.6273 | 25 | 48.2009 | 1.5 | 78.2705 | 15 | 9.1836
3113539.3159 | 1.4679 | 25.2428 | 54.9158 | 15.4865 | 52.5321 | 71.3254 | 11.9885 | 21.5504 | 85.6272 | 25 | 47.3105 | 1.5 | 55.8167 | 15 | 9.6097
3113539.8599 | 1.4246 | 25.0928 | 56.8153 | 13.6396 | 52.5878 | 71.5983 | 12.0259 | 21.5695 | 85.6259 | 25 | 47.3982 | 1.5 | 45.9551 | 15 | 10.5391
3113542.2027 | 1.4248 | 24.7079 | 54.7129 | 16.261 | 52.5857 | 71.4409 | 11.9523 | 21.4709 | 85.6198 | 25 | 47.7621 | 1.5 | 1.3243 | 15 | 10.0899
3113545.5874 | 1.436 | 24.9885 | 56.4649 | 15.6986 | 52.5713 | 70.9457 | 11.9047 | 21.5834 | 85.6218 | 25 | 47.968 | 1.5 | 0 | 15 | 9.3196
3113560.0599 | 1.553 | 24.9911 | 54.4517 | 14.4386 | 51.8318 | 70.6147 | 12.0461 | 21.5199 | 85.6212 | 25 | 47.9536 | 1.5 | 89.7883 | 15 | 10.3543
3113560.5583 | 1.5285 | 25.1664 | 57.0827 | 15.5234 | 52.0538 | 70.6197 | 11.9312 | 21.5356 | 85.625 | 25 | 47.8216 | 1.5 | 93.1806 | 15 | 9.598
3113564.7506 | 1.4457 | 25.2168 | 56.6217 | 14.2849 | 52.427 | 70.7398 | 11.9935 | 21.5304 | 85.6272 | 25 | 47.5382 | 1.5 | 88.6487 | 15 | 10.2601
3113577.085 | 1.4749 | 25.4854 | 56.2989 | 14.2757 | 52.4675 | 70.8745 | 11.9068 | 21.5046 | 85.6211 | 25 | 47.2342 | 1.5 | 0.37028 | 15 | 9.9316
3113585.2999 | 1.5699 | 24.6338 | 55.0387 | 14.9457 | 51.9775 | 70.4944 | 12.0003 | 21.5306 | 85.6138 | 25 | 48.4545 | 1.5 | 71.2491 | 15 | 9.761
3113595.1154 | 1.4073 | 25.3654 | 56.3881 | 15.3237 | 52.5706 | 70.6931 | 11.9485 | 21.4903 | 85.6222 | 25 | 47.2819 | 1.5 | 42.9587 | 15 | 9.5639
3113601.5924 | 1.4875 | 24.3338 | 54.3226 | 15.1301 | 52.4827 | 71.3987 | 11.9327 | 21.4531 | 85.6173 | 25 | 48.0785 | 1.5 | 1.3309 | 15 | 9.8852
3113607.7425 | 1.5439 | 25.318 | 54.2888 | 15.6433 | 52.1709 | 70.5779 | 11.9936 | 21.5689 | 85.6208 | 25 | 47.7673 | 1.5 | 19.827 | 15 | 9.8756
3113608.4824 | 1.5536 | 25.3133 | 54.8205 | 15.9014 | 52.1894 | 70.8204 | 11.8462 | 21.4078 | 85.6245 | 25 | 47.6882 | 1.5 | 28.9413 | 15 | 9.3284
3113614.1028 | 1.5436 | 24.7867 | 54.9711 | 13.532 | 52.3575 | 71.1804 | 11.9503 | 21.4771 | 85.622 | 25 | 47.631 | 1.5 | 99.7733 | 15 | 10.3505
3113625.0584 | 1.3773 | 25.3023 | 56.1606 | 16.0582 | 52.7666 | 71.4249 | 11.9948 | 21.6378 | 85.6254 | 25 | 47.3103 | 1.5 | 12.1308 | 15 | 9.1645
3113636.9279 | 1.5552 | 25.2048 | 53.9907 | 15.127 | 51.8938 | 71.2641 | 11.8817 | 21.5377 | 85.614 | 25 | 47.4312 | 1.5 | 15.2175 | 15 | 9.5277
3113639.368 | 1.5383 | 24.7903 | 56.2467 | 15.1331 | 51.7409 | 70.9543 | 11.8467 | 21.5713 | 85.6174 | 25 | 47.705 | 1.5 | 39.3861 | 15 | 9.5512
3113641.0969 | 1.5639 | 24.6594 | 54.63 | 16.1534 | 51.7422 | 70.7288 | 11.8956 | 21.5908 | 85.6144 | 25 | 47.9759 | 1.5 | 66.0091 | 15 | 9.0771
3113647.0949 | 1.513 | 25.3648 | 54.9035 | 16.1135 | 51.8744 | 70.2768 | 12.0733 | 21.4578 | 85.6173 | 25 | 47.3644 | 1.5 | 99.4599 | 15 | 9.1619
3113657.5279 | 1.4513 | 25.0919 | 55.5029 | 13.9868 | 52.3293 | 71.0374 | 11.9939 | 21.485 | 85.6247 | 25 | 47.8224 | 1.5 | 1.4311 | 15 | 9.3027
3113659.096 | 1.4751 | 25.144 | 55.7211 | 15.7447 | 52.5751 | 70.7985 | 11.9745 | 21.5587 | 85.6172 | 25 | 47.7155 | 1.5 | 0.95649 | 15 | 9.2056
3113659.62 | 1.4671 | 25.1422 | 56.2743 | 15.5572 | 52.5595 | 70.9301 | 12.076 | 21.6496 | 85.6229 | 25 | 47.6912 | 1.5 | 0 | 15 | 9.3101
3113661.6869 | 1.5372 | 25.1439 | 54.1628 | 15.4374 | 52.086 | 70.9253 | 11.9722 | 21.5604 | 85.6267 | 25 | 47.5878 | 1.5 | 10.0873 | 15 | 9.3865
3113676.3549 | 1.4373 | 25.4037 | 56.4188 | 15.3943 | 52.7615 | 71.2962 | 11.8638 | 21.4766 | 85.6167 | 25 | 47.1851 | 1.5 | 76.3869 | 15 | 9.528
3113688.1949 | 1.4852 | 25.3914 | 56.2497 | 14.583 | 52.299 | 70.5201 | 11.9286 | 21.6551 | 85.621 | 25 | 47.5686 | 1.5 | 0.49129 | 15 | 9.6409
3113698.8201 | 1.5453 | 25.0141 | 54.1074 | 15.2069 | 51.8954 | 70.3292 | 11.964 | 21.6596 | 85.6255 | 25 | 48.0648 | 1.5 | 100 | 15 | 9.501
3113706.3431 | 1.4375 | 24.7591 | 55.3461 | 13.8731 | 52.5219 | 71.4152 | 11.8761 | 21.6017 | 85.6224 | 25 | 47.6378 | 1.5 | 50.3938 | 15 | 10.2362
3113729.3649 | 1.5058 | 25.0864 | 55.8041 | 15.1454 | 52.2741 | 71.0333 | 12.0387 | 21.4988 | 85.628 | 25 | 47.3629 | 1.5 | 98.2796 | 15 | 9.2867
3113730.7268 | 1.4809 | 24.6097 | 56.5479 | 15.1977 | 52.2237 | 71.0301 | 11.9858 | 21.4296 | 85.6253 | 25 | 47.8133 | 1.5 | 96.4889 | 15 | 9.5303
3113731.2829 | 1.482 | 24.6293 | 56.2774 | 14.0698 | 52.4423 | 71.0216 | 12.0341 | 21.6193 | 85.6278 | 25 | 47.8865 | 1.5 | 95.8496 | 15 | 9.7741
3113733.5401 | 1.4364 | 24.7475 | 56.1084 | 14.0237 | 52.2448 | 70.5627 | 11.9875 | 21.4751 | 85.63 | 25 | 48.189 | 1.5 | 69.7301 | 15 | 10.156
3113734.1059 | 1.4284 | 24.7327 | 56.1637 | 13.7256 | 52.0939 | 70.6621 | 11.9977 | 21.4975 | 85.631 | 25 | 48.2507 | 1.5 | 59.9395 | 15 | 10.3463
3113736.7966 | 1.4445 | 25.3532 | 55.2785 | 14.0852 | 52.56 | 70.5829 | 11.9774 | 21.4718 | 85.6231 | 25 | 47.7168 | 1.5 | 18.394 | 15 | 10.1705
3113749.1536 | 1.522 | 24.9838 | 56.0162 | 15.9598 | 51.7428 | 70.2547 | 12.0272 | 21.5924 | 85.628 | 25 | 47.9797 | 1.5 | 25.8209 | 15 | 9.1769
3113764.6082 | 1.4354 | 25.4441 | 56.0039 | 14.6076 | 52.4014 | 70.9855 | 11.9097 | 21.5452 | 85.6328 | 25 | 47.4367 | 1.5 | 20.4909 | 15 | 9.3321