## data
Time (sec) | Water Level (ft) | Water Flowrate (GPM) | House Steam Pressure (psig) | Steam Pressure (psig) | Inlet Water Temperature (C) | Outlet Water Temperature (C) | Water Feed Temperature (C) | Ambient Temperature (C) | Ambient Pressure (kPa) | Flow Setpoint (GPM) | Flow Control Output (%) | Level Setpoint (ft) | Level Control Output (%) | Steam Setpoint (psig) | Steam Control Output (%)
3114261.9207 | 1.4043 | 29.8131 | 56.133 | 15.3513 | 52.6692 | 68.8836 | 11.815 | 21.7011 | 85.6422 | 30 | 55.5767 | 1.5 | 6.8533 | 15 | 9.1352
3114265.171 | 1.4397 | 30.5399 | 55.4875 | 16.7312 | 52.5902 | 69.002 | 11.8448 | 21.6863 | 85.6479 | 30 | 54.7348 | 1.5 | 0.41845 | 15 | 8.2806
3114267.6356 | 1.4264 | 30.5429 | 55.7211 | 13.7102 | 52.3765 | 68.6766 | 11.8284 | 21.6131 | 85.6406 | 30 | 54.2709 | 1.5 | 0.20929 | 15 | 9.6644
3114271.2429 | 1.4912 | 29.365 | 55.9731 | 14.1497 | 51.5513 | 68.8865 | 11.761 | 21.7741 | 85.6328 | 30 | 55.0147 | 1.5 | 1.6602 | 15 | 9.0397
3114275.3699 | 1.5695 | 29.9657 | 54.3257 | 15.1362 | 52.0991 | 68.4749 | 11.7508 | 21.706 | 85.6374 | 30 | 55.4954 | 1.5 | 41.868 | 15 | 9.0944
3114277.8976 | 1.5761 | 30.5147 | 54.0306 | 15.1423 | 53.3366 | 68.6636 | 11.9392 | 21.7327 | 85.6381 | 30 | 54.831 | 1.5 | 81.1222 | 15 | 9.0978
3114285.7276 | 1.4862 | 29.6233 | 55.5766 | 13.5935 | 52.6088 | 69.3718 | 11.8986 | 21.7457 | 85.6399 | 30 | 54.9008 | 1.5 | 96.0074 | 15 | 9.9685
3114300.8324 | 1.5371 | 29.2165 | 54.6146 | 15.548 | 52.1267 | 68.627 | 11.8456 | 21.5814 | 85.6393 | 30 | 56.0321 | 1.5 | 5.2715 | 15 | 9.4439
3114306.273 | 1.5532 | 30.8442 | 56.6001 | 14.8289 | 52.6199 | 68.6845 | 11.7501 | 21.7142 | 85.648 | 30 | 54.0015 | 1.5 | 59.1358 | 15 | 8.5518
3114314.779 | 1.4971 | 29.774 | 55.1433 | 16.4177 | 53.5538 | 69.5534 | 11.9131 | 21.7595 | 85.6461 | 30 | 55.7047 | 1.5 | 98.7722 | 15 | 8.4514
3114319.868 | 1.4434 | 30.6391 | 56.4495 | 14.8442 | 53.298 | 69.2871 | 11.7685 | 21.5622 | 85.6427 | 30 | 54.3229 | 1.5 | 58.4647 | 15 | 9.2209
3114321.083 | 1.4542 | 30.6427 | 54.5224 | 14.6568 | 53.0583 | 69.8447 | 11.8179 | 21.7022 | 85.644 | 30 | 54.0509 | 1.5 | 41.8587 | 15 | 9.4943
3114333.206 | 1.5241 | 30.7999 | 55.1094 | 14.0944 | 52.232 | 69.4987 | 11.8328 | 21.665 | 85.6447 | 30 | 53.8466 | 1.5 | 5.2566 | 15 | 9.5562
3114353.3111 | 1.4013 | 29.5108 | 56.4618 | 15.9506 | 53.6518 | 69.1049 | 11.8557 | 21.6007 | 85.6366 | 30 | 55.6603 | 1.5 | 0 | 15 | 8.7107
3114356.2809 | 1.4501 | 30.6839 | 56.1668 | 15.4804 | 53.1191 | 69.6184 | 11.8008 | 21.6429 | 85.6449 | 30 | 54.5723 | 1.5 | 0 | 15 | 8.803
3114362.5079 | 1.5152 | 29.0268 | 55.4199 | 15.4527 | 53.0465 | 70.0947 | 11.921 | 21.718 | 85.6441 | 30 | 54.9462 | 1.5 | 5.2819 | 15 | 8.934
3114366.549 | 1.5964 | 29.4338 | 55.2047 | 13.953 | 52.9944 | 69.2997 | 11.8665 | 21.6575 | 85.6361 | 30 | 55.8959 | 1.5 | 67.5129 | 15 | 9.6637
3114369.126 | 1.5356 | 30.6978 | 56.6401 | 14.5062 | 53.756 | 69.079 | 11.8867 | 21.7558 | 85.6407 | 30 | 54.8651 | 1.5 | 99.3646 | 15 | 9.4149
3114369.9402 | 1.5119 | 30.7236 | 56.5294 | 14.7674 | 53.988 | 69.3118 | 11.8609 | 21.6931 | 85.6361 | 30 | 54.6485 | 1.5 | 98.5551 | 15 | 9.3551
3114370.3752 | 1.5042 | 30.7371 | 56.2036 | 15.5726 | 54.0575 | 69.484 | 11.8834 | 21.7164 | 85.6465 | 30 | 54.5332 | 1.5 | 98.1613 | 15 | 8.6745
3114370.8638 | 1.531 | 30.7319 | 53.8954 | 15.7908 | 54.0028 | 69.7598 | 11.9114 | 21.6068 | 85.636 | 30 | 54.4132 | 1.5 | 99.7321 | 15 | 8.4427
3114374.788 | 1.4837 | 29.6857 | 56.4956 | 15.2591 | 53.9768 | 70.3777 | 11.8505 | 21.747 | 85.6448 | 30 | 54.6495 | 1.5 | 88.8756 | 15 | 9.1322
3114378.8654 | 1.447 | 29.6346 | 55.6811 | 16.0213 | 53.6322 | 69.4917 | 11.8658 | 21.6955 | 85.6419 | 30 | 55.5597 | 1.5 | 58.4997 | 15 | 8.7144
3114379.3209 | 1.4443 | 29.629 | 54.2089 | 14.8412 | 53.8314 | 69.5289 | 11.9813 | 21.6207 | 85.636 | 30 | 55.6189 | 1.5 | 50.3905 | 15 | 9.3077
3114386.3789 | 1.4627 | 29.9848 | 55.051 | 14.3863 | 53.4163 | 70.4038 | 11.8984 | 21.6061 | 85.6388 | 30 | 54.4884 | 1.5 | 1.1602 | 15 | 9.3157
3114387.1971 | 1.4855 | 29.6655 | 54.8328 | 14.0114 | 53.1688 | 70.256 | 11.9459 | 21.6576 | 85.6396 | 30 | 54.8005 | 1.5 | 1.7888 | 15 | 9.5136
3114393.3099 | 1.5473 | 30.5805 | 56.8552 | 15.0809 | 53.0478 | 69.2555 | 11.9293 | 21.7401 | 85.6387 | 30 | 54.8144 | 1.5 | 33.0689 | 15 | 9.0353
3114398.324 | 1.5026 | 29.808 | 56.8399 | 14.4755 | 52.9713 | 70.4127 | 11.9249 | 21.6668 | 85.638 | 30 | 54.3899 | 1.5 | 95.3011 | 15 | 8.8807
3114405.8584 | 1.4506 | 30.631 | 54.1812 | 15.1393 | 54.0159 | 70.072 | 11.87 | 21.7503 | 85.6384 | 30 | 55.0404 | 1.5 | 48.5054 | 15 | 9.0863
3114409.7249 | 1.4306 | 30.37 | 55.884 | 16.6052 | 54.1571 | 70.4358 | 11.9867 | 21.6954 | 85.6415 | 30 | 54.366 | 1.5 | 0.27708 | 15 | 8.3205
3114414.1101 | 1.4808 | 29.043 | 54.4671 | 14.4478 | 53.4392 | 69.5654 | 11.9769 | 21.7594 | 85.6376 | 30 | 55.7351 | 1.5 | 1.4311 | 15 | 9.2936
3114414.5549 | 1.4714 | 29.0303 | 54.9342 | 15.4128 | 53.2951 | 69.4307 | 11.9333 | 21.7018 | 85.641 | 30 | 55.8919 | 1.5 | 1.0497 | 15 | 8.9219
3114418.244 | 1.5362 | 30.6573 | 54.6361 | 14.6998 | 53.6374 | 69.3962 | 11.9334 | 21.6893 | 85.6438 | 30 | 54.8518 | 1.5 | 9.5024 | 15 | 9.4356
3114420.2069 | 1.5387 | 30.997 | 56.5233 | 15.0501 | 53.3248 | 69.6147 | 11.9644 | 21.6758 | 85.6399 | 30 | 54.0044 | 1.5 | 28.0691 | 15 | 9.0622
3114424.478 | 1.5799 | 29.526 | 54.2396 | 14.58 | 53.4894 | 70.5989 | 11.8567 | 21.6508 | 85.6404 | 30 | 54.6665 | 1.5 | 92.8802 | 15 | 9.3107
3114425.1576 | 1.5694 | 29.0064 | 54.2673 | 16.3317 | 53.4435 | 70.7002 | 11.7971 | 21.596 | 85.6398 | 30 | 55.2227 | 1.5 | 99.8185 | 15 | 8.4432
3114440.3239 | 1.4673 | 29.4757 | 54.3687 | 16.3593 | 53.7324 | 69.6776 | 11.9303 | 21.6622 | 85.6425 | 30 | 55.6758 | 1.5 | 1.1931 | 15 | 8.8515
3114441.0335 | 1.4741 | 29.9398 | 56.0623 | 14.1927 | 53.1958 | 69.5723 | 11.9735 | 21.5772 | 85.6454 | 30 | 55.4476 | 1.5 | 0.06194 | 15 | 8.6948
3114441.4829 | 1.4672 | 29.9405 | 55.2754 | 15.8 | 53.0893 | 69.59 | 11.915 | 21.5709 | 85.6442 | 30 | 55.4609 | 1.5 | 1.2497 | 15 | 8.7621
3114446.907 | 1.497 | 29.9876 | 55.9055 | 15.5757 | 52.8303 | 70.1608 | 11.9486 | 21.6315 | 85.6442 | 30 | 54.4951 | 1.5 | 5.7816 | 15 | 8.7355
3114449.2929 | 1.5406 | 29.1605 | 56.4772 | 14.9241 | 53.5021 | 69.613 | 11.8517 | 21.6287 | 85.6472 | 30 | 55.1965 | 1.5 | 28.3211 | 15 | 8.7234
3114459.2629 | 1.4846 | 30.0849 | 56.6616 | 15.1178 | 54.2365 | 71.0077 | 11.8541 | 21.5415 | 85.6398 | 30 | 54.015 | 1.5 | 95.5778 | 15 | 9.2313
3114459.8993 | 1.5035 | 29.7248 | 54.8881 | 13.827 | 54.1585 | 71.0191 | 11.8245 | 21.591 | 85.6465 | 30 | 54.2733 | 1.5 | 96.1526 | 15 | 9.8408
3114465.7849 | 1.3899 | 29.3848 | 56.6739 | 15.5388 | 54.1839 | 70.0972 | 11.8504 | 21.5353 | 85.6477 | 30 | 56.0172 | 1.5 | 21.1091 | 15 | 8.9096
3114474.1771 | 1.4669 | 29.2204 | 55.6442 | 15.2253 | 53.7156 | 70.303 | 11.7986 | 21.6275 | 85.6408 | 30 | 55.0754 | 1.5 | 0.3959 | 15 | 8.9436
3114474.6349 | 1.4901 | 29.206 | 55.051 | 15.2161 | 53.7674 | 70.1156 | 11.9219 | 21.5426 | 85.6426 | 30 | 55.2101 | 1.5 | 1.6283 | 15 | 9.175
3114475.3821 | 1.4854 | 29.2172 | 56.2159 | 15.2653 | 53.3941 | 69.8522 | 11.8141 | 21.5133 | 85.6428 | 30 | 55.4079 | 1.5 | 0.01812 | 15 | 8.8028
3114475.8724 | 1.4762 | 29.2082 | 55.34 | 15.2991 | 53.272 | 69.8558 | 11.8652 | 21.4833 | 85.6473 | 30 | 55.544 | 1.5 | 1.807 | 15 | 9.1547
3114481.3658 | 1.5505 | 30.3179 | 55.592 | 15.2591 | 53.5296 | 69.1974 | 11.9539 | 21.6982 | 85.6445 | 30 | 54.882 | 1.5 | 61.9832 | 15 | 8.9668
3114491.7569 | 1.4714 | 29.51 | 55.6289 | 13.6027 | 53.7507 | 69.8416 | 11.9777 | 21.6936 | 85.6344 | 30 | 55.5418 | 1.5 | 58.9384 | 15 | 9.8527
3114496.6954 | 1.4474 | 30.6834 | 54.5439 | 14.7459 | 53.6051 | 70.0386 | 11.8764 | 21.4659 | 85.6434 | 30 | 54.2745 | 1.5 | 0.50739 | 15 | 9.1354
3114502.4879 | 1.5266 | 29.0439 | 54.6884 | 15.1546 | 52.8234 | 69.2704 | 11.8746 | 21.5402 | 85.6463 | 30 | 55.7722 | 1.5 | 5.9952 | 15 | 9.5545
3114506.9525 | 1.5434 | 30.6107 | 54.7806 | 14.9518 | 53.3971 | 69.0459 | 11.8308 | 21.4663 | 85.6504 | 30 | 54.8803 | 1.5 | 40.1333 | 15 | 9.4887
3114509.1518 | 1.5194 | 30.5679 | 56.9536 | 15.2222 | 53.1447 | 69.2364 | 11.886 | 21.5107 | 85.6429 | 30 | 54.4705 | 1.5 | 57.0739 | 15 | 9.2581
3114515.3499 | 1.4474 | 29.3454 | 56.9475 | 14.079 | 53.7974 | 69.9143 | 12.008 | 21.538 | 85.6399 | 30 | 55.4324 | 1.5 | 53.2114 | 15 | 9.6456
3114517.9326 | 1.4587 | 29.9734 | 56.3788 | 14.457 | 54.2478 | 69.6503 | 11.9585 | 21.4812 | 85.6378 | 30 | 55.2888 | 1.5 | 22.4225 | 15 | 8.904
3114523.577 | 1.5418 | 30.1155 | 55.4475 | 14.2911 | 52.8805 | 70.1509 | 11.9887 | 21.5768 | 85.6386 | 30 | 54.4126 | 1.5 | 14.977 | 15 | 9.3674
3114529.7129 | 1.5491 | 29.5549 | 56.0346 | 13.5935 | 54.2246 | 70.1696 | 11.9972 | 21.5574 | 85.6404 | 30 | 55.7067 | 1.5 | 79.5181 | 15 | 9.4641
3114536.0762 | 1.4583 | 30.3968 | 57.221 | 14.4048 | 54.1024 | 70.8422 | 11.9358 | 21.5987 | 85.6449 | 30 | 53.9771 | 1.5 | 92.8123 | 15 | 9.135
3114558.668 | 1.5472 | 30.5132 | 55.6996 | 13.6334 | 54.7148 | 70.2343 | 11.8183 | 21.4524 | 85.6444 | 30 | 55.0679 | 1.5 | 75.8503 | 15 | 9.7501
3114564.708 | 1.5405 | 29.4865 | 54.3564 | 16.095 | 54.0019 | 70.7365 | 11.8678 | 21.4785 | 85.6444 | 30 | 54.7229 | 1.5 | 100 | 15 | 8.4917
3114568.1779 | 1.4396 | 29.4114 | 56.7538 | 14.331 | 54.5478 | 69.8705 | 11.8734 | 21.4176 | 85.6502 | 30 | 55.7349 | 1.5 | 83.1604 | 15 | 9.449
3114577.1529 | 1.4651 | 29.7806 | 54.9527 | 14.4785 | 53.8749 | 70.4929 | 11.9074 | 21.4072 | 85.6338 | 30 | 54.5759 | 1.5 | 0.69903 | 15 | 9.8231
3114581.3669 | 1.5198 | 29.6874 | 56.637 | 15.6955 | 53.4716 | 69.4131 | 11.8386 | 21.5563 | 85.6387 | 30 | 55.3828 | 1.5 | 7.5386 | 15 | 9.4403
3114585.8539 | 1.53 | 30.5921 | 56.6063 | 13.4521 | 53.8374 | 70.2531 | 11.9075 | 21.5285 | 85.6444 | 30 | 54.1643 | 1.5 | 50.7666 | 15 | 9.66
3114590.0737 | 1.5471 | 29.2538 | 54.464 | 14.4232 | 54.1153 | 70.5931 | 11.881 | 21.4491 | 85.6463 | 30 | 55.068 | 1.5 | 86.4478 | 15 | 8.5517
3114596.1453 | 1.4899 | 30.5456 | 55.3553 | 14.5339 | 54.0684 | 69.9775 | 11.8264 | 21.3801 | 85.6433 | 30 | 54.6757 | 1.5 | 72.5337 | 15 | 8.9302
3114602.2659 | 1.435 | 29.282 | 55.0849 | 15.0133 | 53.9845 | 70.7889 | 11.9484 | 21.4741 | 85.6434 | 30 | 55.3755 | 1.5 | 1.1191 | 15 | 8.2244
3114614.5099 | 1.5382 | 29.3299 | 55.2508 | 16.0643 | 53.6953 | 70.503 | 11.8751 | 21.5097 | 85.6449 | 30 | 55.0151 | 1.5 | 34.3837 | 15 | 9.0067
3114616.9895 | 1.5363 | 29.5346 | 56.9106 | 14.2081 | 54.5381 | 69.6776 | 11.9183 | 21.5161 | 85.644 | 30 | 55.647 | 1.5 | 62.371 | 15 | 9.4452
3114622.7759 | 1.5152 | 30.528 | 54.8297 | 15.0379 | 54.4844 | 70.519 | 11.9067 | 21.5698 | 85.6389 | 30 | 54.2741 | 1.5 | 99.8176 | 15 | 8.9962
3114625.4469 | 1.4741 | 29.7408 | 57.3532 | 14.1651 | 54.3743 | 70.9139 | 11.9302 | 21.4491 | 85.6389 | 30 | 54.6735 | 1.5 | 95.4002 | 15 | 9.4909
3114633.1467 | 1.4124 | 30.7939 | 56.8768 | 15.7017 | 54.4879 | 70.0708 | 11.8876 | 21.5411 | 85.6351 | 30 | 54.323 | 1.5 | 0.56283 | 15 | 8.476
3114636.04 | 1.4554 | 30.0397 | 55.091 | 15.1331 | 53.7081 | 70.5742 | 11.8375 | 21.4861 | 85.6412 | 30 | 54.2664 | 1.5 | 1.4483 | 15 | 8.8972
3114647.4669 | 1.5642 | 30.5671 | 55.6473 | 15.1639 | 54.1307 | 69.6147 | 11.8628 | 21.4867 | 85.6375 | 30 | 54.3016 | 1.5 | 11.1276 | 15 | 9.0013
3114649.8129 | 1.5982 | 30.3712 | 55.2785 | 13.9776 | 54.1173 | 70.4953 | 11.9336 | 21.3704 | 85.6398 | 30 | 54.0668 | 1.5 | 56.8193 | 15 | 9.2337
3114653.655 | 1.5903 | 29.0285 | 56.2036 | 16.4638 | 53.7708 | 70 | 11.9515 | 21.4314 | 85.6332 | 30 | 55.8311 | 1.5 | 100 | 15 | 8.3889
3114657.9729 | 1.5787 | 30.6956 | 55.841 | 14.1835 | 53.9513 | 70.3324 | 11.9179 | 21.4798 | 85.6411 | 30 | 54.8275 | 1.5 | 100 | 15 | 9.4741
3114659.8447 | 1.5203 | 30.6745 | 55.1002 | 16.4515 | 53.5719 | 70.1622 | 11.8669 | 21.5001 | 85.6428 | 30 | 54.4047 | 1.5 | 99.0924 | 15 | 8.7957
3114667.956 | 1.4432 | 29.6825 | 55.1248 | 16.6267 | 54.4556 | 69.7414 | 11.8744 | 21.5258 | 85.6412 | 30 | 55.5848 | 1.5 | 24.3077 | 15 | 8.8724
3114669.8889 | 1.4352 | 30.0069 | 55.5582 | 16.5191 | 54.0189 | 70.1394 | 11.8601 | 21.5077 | 85.6399 | 30 | 55.4431 | 1.5 | 1.1686 | 15 | 8.2988
3114670.434 | 1.4281 | 30.3887 | 56.5294 | 14.2142 | 54.1486 | 70.2029 | 11.7739 | 21.4651 | 85.6441 | 30 | 55.0985 | 1.5 | 0.12716 | 15 | 9.032
3114680.198 | 1.5133 | 29.2975 | 57.2917 | 14.6875 | 54.2481 | 69.8264 | 11.9106 | 21.5636 | 85.6573 | 30 | 55.3823 | 1.5 | 34.371 | 15 | 9.1467
3114684.5299 | 1.5104 | 30.3927 | 56.7876 | 14.8166 | 54.0538 | 69.7732 | 11.7977 | 21.6173 | 85.6493 | 30 | 54.9996 | 1.5 | 52.8887 | 15 | 9.1104
3114690.8809 | 1.5106 | 30.0164 | 54.8297 | 16.1534 | 54.4571 | 70.64 | 11.9089 | 21.518 | 85.6478 | 30 | 54.4778 | 1.5 | 68.2458 | 15 | 8.473
3114694.777 | 1.4896 | 29.4073 | 55.8932 | 16.6298 | 54.4074 | 69.8076 | 11.9208 | 21.5095 | 85.6499 | 30 | 55.6671 | 1.5 | 51.4604 | 15 | 8.8128
3114701.3529 | 1.4699 | 30.4225 | 55.1156 | 14.4386 | 54.213 | 70.7074 | 11.949 | 21.6526 | 85.6525 | 30 | 54.1572 | 1.5 | 0.77791 | 15 | 9.2779
3114705.6501 | 1.5435 | 29.0791 | 55.2693 | 16.0028 | 53.5716 | 69.8914 | 12.0255 | 21.5625 | 85.6445 | 30 | 55.4443 | 1.5 | 12.5373 | 15 | 8.468
3114706.3259 | 1.5522 | 29.4112 | 55.5766 | 14.4601 | 53.3928 | 69.5567 | 11.8833 | 21.6435 | 85.6526 | 30 | 55.4007 | 1.5 | 18.6042 | 15 | 9.249
3114723.8461 | 1.4358 | 30.7436 | 55.2754 | 15.3144 | 54.4039 | 69.8372 | 11.9207 | 21.5659 | 85.6385 | 30 | 54.5173 | 1.5 | 32.3265 | 15 | 8.9393
3114725.8335 | 1.4838 | 30.7851 | 55.6565 | 14.5738 | 54.4115 | 70.2003 | 11.8346 | 21.6254 | 85.6408 | 30 | 53.9468 | 1.5 | 0.96613 | 15 | 9.2772
3114726.8509 | 1.4272 | 30.6803 | 56.8798 | 16.3347 | 54.2301 | 70.6721 | 11.8699 | 21.6039 | 85.6386 | 30 | 53.7792 | 1.5 | 0 | 15 | 8.3611
3114729.4924 | 1.4765 | 29.3496 | 56.3665 | 13.5535 | 54.3438 | 70.7388 | 11.9463 | 21.6726 | 85.6407 | 30 | 54.7503 | 1.5 | 0 | 15 | 9.2367
3114736.4032 | 1.5107 | 30.6442 | 56.7569 | 15.4435 | 54.1245 | 69.396 | 11.9508 | 21.5815 | 85.6375 | 30 | 54.5955 | 1.5 | 38.8972 | 15 | 8.5221
3114742.308 | 1.5214 | 29.2849 | 57.2978 | 13.7717 | 54.048 | 70.9017 | 11.9564 | 21.5726 | 85.6398 | 30 | 54.8305 | 1.5 | 74.9872 | 15 | 9.6441
3114752.6318 | 1.4391 | 30.4936 | 55.2478 | 14.1651 | 54.3634 | 70.6932 | 11.9733 | 21.6142 | 85.6477 | 30 | 54.2754 | 1.5 | 4.7307 | 15 | 8.9492
3114763.0829 | 1.5339 | 30.6702 | 56.9874 | 13.9346 | 53.8621 | 69.093 | 12.0262 | 21.5981 | 85.6442 | 30 | 54.6947 | 1.5 | 23.7005 | 15 | 8.6745
3114770.2609 | 1.5285 | 29.1207 | 57.4054 | 15.0624 | 54.4765 | 69.96 | 11.9901 | 21.4699 | 85.6388 | 30 | 55.5145 | 1.5 | 92.675 | 15 | 8.632
3114773.644 | 1.5059 | 30.1899 | 57.3101 | 13.9469 | 54.0216 | 69.9385 | 11.9585 | 21.5116 | 85.64 | 30 | 55.3072 | 1.5 | 98.4633 | 15 | 9.496
3114785.7524 | 1.4821 | 29.6328 | 56.7354 | 13.7748 | 53.8257 | 69.7296 | 11.9161 | 21.64 | 85.6278 | 30 | 55.5677 | 1.5 | 1.3314 | 15 | 9.143
3114786.3479 | 1.4694 | 29.6359 | 57.2364 | 15.7416 | 53.8761 | 69.6958 | 11.9125 | 21.6057 | 85.6364 | 30 | 55.6521 | 1.5 | 0.25751 | 15 | 8.547
3114796.024 | 1.568 | 29.0592 | 55.2232 | 15.2561 | 52.747 | 69.2355 | 11.971 | 21.5742 | 85.6325 | 30 | 55.6465 | 1.5 | 41.9653 | 15 | 9.1282
3114810.2026 | 1.4444 | 29.6464 | 57.1995 | 15.127 | 53.7148 | 69.9124 | 11.9763 | 21.5674 | 85.631 | 30 | 55.5276 | 1.5 | 77.0007 | 15 | 8.7256
3114817.771 | 1.4374 | 30.2071 | 58.0386 | 15.631 | 54.3969 | 70.5802 | 11.8423 | 21.5967 | 85.6389 | 30 | 54.1649 | 1.5 | 0 | 15 | 8.5725
3114820.113 | 1.457 | 29.1642 | 55.7949 | 15.4343 | 53.5435 | 70.6351 | 11.8785 | 21.6811 | 85.6414 | 30 | 55.1765 | 1.5 | 1.3198 | 15 | 9.0886
3114827.0435 | 1.5124 | 30.7642 | 57.3931 | 15.0778 | 54.3372 | 70.2213 | 11.9101 | 21.5418 | 85.6383 | 30 | 54.0169 | 1.5 | 26.5501 | 15 | 8.8771
3114828.771 | 1.5451 | 30.3756 | 56.5356 | 15.6371 | 54.4053 | 70.971 | 11.8482 | 21.5465 | 85.6427 | 30 | 53.9855 | 1.5 | 42.3072 | 15 | 8.6549
3114837.2031 | 1.456 | 30.4834 | 57.3378 | 14.2142 | 54.0134 | 70.2008 | 11.8164 | 21.4923 | 85.6446 | 30 | 55.097 | 1.5 | 87.9134 | 15 | 9.8314
3114841.3028 | 1.4523 | 30.6198 | 55.6442 | 16.0674 | 53.8454 | 70.3163 | 11.867 | 21.4438 | 85.6441 | 30 | 54.215 | 1.5 | 34.8273 | 15 | 8.8304
3114849.563 | 1.4933 | 29.831 | 56.6862 | 14.1497 | 53.6221 | 69.852 | 11.8283 | 21.3753 | 85.6408 | 30 | 55.3401 | 1.5 | 0 | 15 | 8.9564
3114853.668 | 1.5229 | 30.2912 | 56.1268 | 14.0268 | 54.169 | 69.9627 | 11.9101 | 21.4028 | 85.6374 | 30 | 54.7218 | 1.5 | 24.7293 | 15 | 9.4348
3114861.7669 | 1.5283 | 29.6025 | 55.1371 | 14.4386 | 53.4068 | 70.6006 | 11.8089 | 21.4223 | 85.6487 | 30 | 55.202 | 1.5 | 100 | 15 | 9.2495
3114864.136 | 1.489 | 29.9672 | 57.3593 | 14.2726 | 54.3523 | 69.3711 | 11.922 | 21.4514 | 85.6493 | 30 | 55.2249 | 1.5 | 98.0207 | 15 | 9.3776
3114870.268 | 1.4298 | 29.6789 | 56.0653 | 14.3064 | 53.7113 | 70.6026 | 11.7578 | 21.4702 | 85.6452 | 30 | 54.7479 | 1.5 | 34.9216 | 15 | 9.292
3114873.019 | 1.4203 | 29.2567 | 54.9404 | 15.714 | 53.5655 | 69.9404 | 11.8922 | 21.4961 | 85.647 | 30 | 55.6792 | 1.5 | 0.38496 | 15 | 8.3279
3114876.5418 | 1.4576 | 30.3439 | 56.7016 | 15.1669 | 53.9257 | 69.5622 | 11.8963 | 21.3382 | 85.6468 | 30 | 55.159 | 1.5 | 0 | 15 | 8.7471
3114884.1389 | 1.5143 | 29.3588 | 56.9936 | 14.3249 | 54.0948 | 70.0859 | 11.9232 | 21.4173 | 85.6469 | 30 | 55.2352 | 1.5 | 32.5541 | 15 | 9.006
3114888.8334 | 1.5337 | 30.4572 | 57.1657 | 13.9807 | 54.7287 | 69.9708 | 11.8116 | 21.3643 | 85.6488 | 30 | 54.8507 | 1.5 | 76.6675 | 15 | 9.0478
3114895.464 | 1.5035 | 29.307 | 55.9147 | 15.1792 | 54.1977 | 70.6127 | 11.8987 | 21.2978 | 85.6447 | 30 | 55.0027 | 1.5 | 98.35 | 15 | 8.7645
3114902.2589 | 1.4445 | 31.0425 | 53.8032 | 14.5461 | 54.2201 | 69.8956 | 11.8945 | 21.5295 | 85.6521 | 30 | 54.0792 | 1.5 | 7.4591 | 15 | 8.8786
3114903.8999 | 1.4643 | 30.9749 | 55.3031 | 13.9192 | 53.8948 | 70.7621 | 11.8865 | 21.4077 | 85.6514 | 30 | 53.5653 | 1.5 | 1.7543 | 15 | 9.1319
3114914.4681 | 1.5407 | 30.7577 | 53.9077 | 14.6783 | 53.8079 | 69.0624 | 11.8637 | 21.4199 | 85.6493 | 30 | 54.4523 | 1.5 | 52.9325 | 15 | 8.7816
3114921.8471 | 1.5038 | 28.9407 | 53.8339 | 14.5922 | 54.0927 | 69.973 | 12.0016 | 21.5164 | 85.6526 | 30 | 56.0383 | 1.5 | 70.9625 | 15 | 9.0718
3114923.683 | 1.5142 | 29.9342 | 54.4548 | 13.2431 | 54.7341 | 69.7224 | 11.9666 | 21.5518 | 85.652 | 30 | 55.6073 | 1.5 | 72.2508 | 15 | 10.0496
3114937.5032 | 1.5125 | 30.4247 | 54.2212 | 14.7797 | 54.7972 | 70.0268 | 11.889 | 21.4869 | 85.6418 | 30 | 55.0026 | 1.5 | 8.4059 | 15 | 8.906
3114940.2479 | 1.5524 | 30.8537 | 53.8892 | 15.7693 | 54.9726 | 70.5819 | 11.9741 | 21.6257 | 85.6554 | 30 | 54.0234 | 1.5 | 27.8726 | 15 | 8.234
3114950.67 | 1.4327 | 30.4965 | 56.4434 | 14.3679 | 55.2355 | 70.3776 | 11.9057 | 21.6596 | 85.6524 | 30 | 55.0631 | 1.5 | 43.468 | 15 | 8.7171
3114956.979 | 1.4542 | 29.757 | 55.0326 | 16.2241 | 54.5774 | 71.7419 | 11.9498 | 21.5663 | 85.6513 | 30 | 54.2431 | 1.5 | 0.56358 | 15 | 7.8204
3114957.7719 | 1.4811 | 29.358 | 54.1536 | 13.7809 | 54.7909 | 71.2159 | 11.9129 | 21.6785 | 85.6483 | 30 | 54.6592 | 1.5 | 1.8665 | 15 | 8.8501
3114960.805 | 1.5292 | 28.8729 | 54.7836 | 14.9211 | 55.1246 | 70.2379 | 12.0374 | 21.6444 | 85.6534 | 30 | 56.0671 | 1.5 | 16.0235 | 15 | 8.7772
3114971.579 | 1.4468 | 29.2325 | 56.6063 | 14.9272 | 55.2926 | 71.5987 | 11.8812 | 21.595 | 85.6536 | 30 | 55.1105 | 1.5 | 62.1903 | 15 | 8.7961
3114982.6639 | 1.4795 | 30.3201 | 55.426 | 14.3956 | 54.7419 | 71.832 | 11.9042 | 21.6254 | 85.6467 | 30 | 54.025 | 1.5 | 0.76366 | 15 | 8.951
3114991.8159 | 1.5508 | 30.8069 | 56.3174 | 14.2603 | 55.4109 | 70.656 | 11.8609 | 21.5986 | 85.6501 | 30 | 54.372 | 1.5 | 92.3764 | 15 | 9.1181
3114997.019 | 1.4995 | 29.3081 | 55.9209 | 13.9131 | 54.9062 | 71.0342 | 11.8831 | 21.5438 | 85.655 | 30 | 54.9285 | 1.5 | 97.4013 | 15 | 9.134
3115010.8452 | 1.4779 | 29.2316 | 56.1545 | 15.9106 | 53.9957 | 69.6407 | 11.9183 | 21.6704 | 85.6545 | 30 | 55.8158 | 1.5 | 0.68887 | 15 | 8.0489
3115011.427 | 1.4799 | 29.229 | 55.2355 | 15.8154 | 54.5485 | 69.7898 | 11.863 | 21.653 | 85.6518 | 30 | 55.9703 | 1.5 | 0.63698 | 15 | 8.1
3115016.8529 | 1.5339 | 30.6672 | 54.8328 | 15.8461 | 54.0319 | 70.2178 | 11.8599 | 21.6737 | 85.6522 | 30 | 54.4827 | 1.5 | 19.6596 | 15 | 8.6975
3115018.0359 | 1.5383 | 30.6988 | 54.7529 | 16.0551 | 54.167 | 69.8274 | 11.9371 | 21.6376 | 85.6551 | 30 | 54.184 | 1.5 | 28.2447 | 15 | 7.8222
3115019.0089 | 1.5294 | 30.5739 | 55.4844 | 15.9844 | 54.8797 | 70.4316 | 11.9623 | 21.5609 | 85.6555 | 30 | 54.0599 | 1.5 | 35.1367 | 15 | 7.8815
3115027.1925 | 1.4972 | 30.0461 | 53.7571 | 15.4865 | 55.0283 | 70.5131 | 11.8843 | 21.6305 | 85.6474 | 30 | 55.4514 | 1.5 | 83.9555 | 15 | 8.1238
3115036.483 | 1.4482 | 29.0712 | 56.385 | 15.5972 | 55.4036 | 71.0631 | 11.8867 | 21.5303 | 85.6504 | 30 | 55.5247 | 1.5 | 1.0388 | 15 | 8.0606
3115049.9599 | 1.5545 | 29.9625 | 55.6442 | 13.3445 | 55.2887 | 70.8166 | 11.8982 | 21.6241 | 85.6527 | 30 | 55.3874 | 1.5 | 90.6737 | 15 | 8.6135
3115058.1399 | 1.4661 | 29.2641 | 54.6023 | 16.2487 | 55.4112 | 71.6798 | 11.7846 | 21.6313 | 85.6504 | 30 | 55.0391 | 1.5 | 57.4415 | 15 | 8.0762
3115058.505 | 1.4426 | 29.2517 | 54.0859 | 14.8289 | 55.3745 | 71.6611 | 11.8311 | 21.6609 | 85.6502 | 30 | 55.1359 | 1.5 | 53.077 | 15 | 8.574
3115059.1032 | 1.4184 | 29.2693 | 56.3174 | 15.4343 | 55.2606 | 71.3251 | 11.8893 | 21.7214 | 85.6432 | 30 | 55.2825 | 1.5 | 41.0318 | 15 | 8.2902
3115064.4039 | 1.4412 | 30.4425 | 55.5397 | 15.7601 | 55.5692 | 71.0147 | 11.759 | 21.6544 | 85.6555 | 30 | 54.7404 | 1.5 | 1.4879 | 15 | 8.586
3115072.5331 | 1.5099 | 29.4338 | 56.4311 | 14.1466 | 55.7607 | 70.7598 | 11.848 | 21.6753 | 85.6478 | 30 | 55.7013 | 1.5 | 7.3422 | 15 | 8.4792
3115074.1489 | 1.5293 | 29.7343 | 56.8614 | 15.0655 | 55.3233 | 71.0891 | 11.8905 | 21.4654 | 85.6476 | 30 | 55.66 | 1.5 | 24.1775 | 15 | 8.508
3115079.4299 | 1.5203 | 30.2423 | 54.3779 | 15.4128 | 55.7154 | 71.0093 | 11.9468 | 21.624 | 85.6473 | 30 | 55.0927 | 1.5 | 73.6825 | 15 | 8.4117
3115089.4249 | 1.3968 | 29.3136 | 52.5061 | 16.5652 | 55.7377 | 71.9333 | 11.9424 | 21.5544 | 85.6441 | 30 | 55.2405 | 1.5 | 0 | 15 | 8.0542
3115103.7057 | 1.5513 | 29.1192 | 54.3134 | 14.6168 | 55.3367 | 71.1113 | 11.9679 | 21.5722 | 85.6488 | 30 | 55.6118 | 1.5 | 46.5661 | 15 | 8.3604
3115107.8269 | 1.5359 | 30.3418 | 52.6721 | 14.583 | 55.5595 | 71.0773 | 11.9322 | 21.5887 | 85.6511 | 30 | 55.0362 | 1.5 | 93.8384 | 15 | 8.797
3115111.906 | 1.484 | 30.4736 | 54.7283 | 15.5849 | 56.1086 | 71.5643 | 11.9549 | 21.5581 | 85.6417 | 30 | 54.3424 | 1.5 | 94.3446 | 15 | 8.2465
3115113.178 | 1.5064 | 30.4617 | 52.0051 | 15.3759 | 56.3883 | 71.9937 | 11.9129 | 21.4415 | 85.6453 | 30 | 54.1544 | 1.5 | 97.6294 | 15 | 8.3318
3115114.7559 | 1.4718 | 29.7916 | 51.4918 | 15.7939 | 56.1431 | 72.2589 | 11.965 | 21.6387 | 85.6475 | 30 | 54.5185 | 1.5 | 88.3678 | 15 | 8.1379
3115128.453 | 1.4928 | 29.6788 | 52.9303 | 15.9322 | 56.0906 | 71.9372 | 11.8508 | 21.4719 | 85.6484 | 30 | 54.5979 | 1.5 | 2.0952 | 15 | 8.5934
3115140.6056 | 1.556 | 30.1893 | 52.4569 | 14.7305 | 56.4024 | 72.1555 | 12.107 | 21.5217 | 85.6448 | 30 | 54.1581 | 1.5 | 75.7194 | 15 | 8.4649
3115141.1379 | 1.5472 | 30.1916 | 53.6218 | 14.3064 | 56.3522 | 72.2133 | 11.9496 | 21.5482 | 85.6451 | 30 | 54.1213 | 1.5 | 80.6425 | 15 | 8.8407
3115143.3623 | 1.5392 | 29.0311 | 52.7428 | 15.5664 | 56.3108 | 71.8434 | 11.9179 | 21.5077 | 85.644 | 30 | 55.5137 | 1.5 | 99.7772 | 15 | 8.0378
3115143.8929 | 1.5179 | 29.0304 | 54.6853 | 14.8903 | 56.1851 | 71.5141 | 11.9754 | 21.4627 | 85.6447 | 30 | 55.6909 | 1.5 | 98.7232 | 15 | 8.1062
3115144.8864 | 1.5069 | 29.3858 | 55.2785 | 14.9518 | 56.2997 | 71.4661 | 11.9191 | 21.4547 | 85.643 | 30 | 55.6859 | 1.5 | 98.7755 | 15 | 8.4866
3115157.3229 | 1.4574 | 29.1783 | 54.2089 | 16.092 | 55.5649 | 71.5385 | 12.0168 | 21.5122 | 85.6574 | 30 | 55.4287 | 1.5 | 1.7254 | 15 | 8.6946
3115167.1529 | 1.5467 | 30.3669 | 53.8984 | 13.5689 | 56.5974 | 71.9595 | 11.9502 | 21.5907 | 85.6539 | 30 | 54.2321 | 1.5 | 64.4226 | 15 | 9.3103
3115171.7889 | 1.4985 | 29.2003 | 52.4016 | 13.6088 | 56.4803 | 71.9273 | 12.0387 | 21.6338 | 85.6495 | 30 | 55.6173 | 1.5 | 73.9221 | 15 | 9.1306
3115182.225 | 1.4505 | 29.8123 | 53.3821 | 15.1761 | 56.4468 | 72.2984 | 11.9484 | 21.6476 | 85.6478 | 30 | 54.5715 | 1.5 | 1.5793 | 15 | 8.4433
3115188.5461 | 1.5119 | 30.2098 | 54.338 | 15.21 | 56.825 | 71.623 | 11.991 | 21.6541 | 85.6435 | 30 | 55.3198 | 1.5 | 17.6601 | 15 | 8.4798
3115202.1969 | 1.4657 | 30.5747 | 52.5983 | 15.4282 | 56.9265 | 72.2626 | 12.0405 | 21.7196 | 85.6446 | 30 | 54.937 | 1.5 | 77.2443 | 15 | 8.116
3115206.9125 | 1.4384 | 30.1165 | 52.7551 | 15.8553 | 56.9628 | 72.3684 | 12.0388 | 21.6589 | 85.6471 | 30 | 54.27 | 1.5 | 1.0239 | 15 | 8.8337
3115212.5539 | 1.4719 | 29.5335 | 53.2991 | 13.701 | 55.9391 | 71.3902 | 11.9679 | 21.5565 | 85.6484 | 30 | 55.8272 | 1.5 | 0.6584 | 15 | 8.7972
3115215.169 | 1.4452 | 30.6753 | 55.3492 | 15.4312 | 56.2795 | 71.4236 | 11.9503 | 21.7353 | 85.6421 | 30 | 54.7785 | 1.5 | 0 | 15 | 8.2988
3115221.3579 | 1.4513 | 29.5245 | 55.1494 | 15.2591 | 55.9218 | 71.7608 | 11.8821 | 21.6432 | 85.6456 | 30 | 54.7376 | 1.5 | 1.5075 | 15 | 8.2086
3115229.8129 | 1.6312 | 30.5444 | 53.3544 | 16.347 | 55.8887 | 71.723 | 11.9629 | 21.6493 | 85.6514 | 30 | 54.5293 | 1.5 | 100 | 15 | 7.9863
3115231.8059 | 1.6309 | 30.5907 | 54.4087 | 13.7471 | 56.1228 | 71.7677 | 11.8907 | 21.7188 | 85.6569 | 30 | 54.102 | 1.5 | 99.9499 | 15 | 8.9229
3115234.3699 | 1.6316 | 30.0286 | 52.8719 | 15.9137 | 56.4505 | 71.9274 | 11.9577 | 21.7047 | 85.6485 | 30 | 54.3547 | 1.5 | 99.7602 | 15 | 7.932
3115236.1659 | 1.6417 | 28.8329 | 53.0932 | 15.3482 | 56.0463 | 72.018 | 12.021 | 21.7062 | 85.6548 | 30 | 55.6496 | 1.5 | 100 | 15 | 8.2661
3115240.3076 | 1.4199 | 30.2901 | 55.051 | 14.036 | 56.8084 | 71.7524 | 11.8887 | 21.6653 | 85.6455 | 30 | 55.4672 | 1.5 | 43.982 | 15 | 9.0296
3115244.9887 | 1.4275 | 30.5648 | 54.8943 | 15.3083 | 56.8456 | 72.3664 | 11.9409 | 21.6817 | 85.6465 | 30 | 54.3344 | 1.5 | 0 | 15 | 8.3045
3115246.2259 | 1.4463 | 30.2917 | 54.1197 | 16.851 | 56.5526 | 73.0396 | 12.0257 | 21.6581 | 85.6481 | 30 | 54.3276 | 1.5 | 1.1221 | 15 | 7.4761
3115248.438 | 1.4535 | 29.621 | 53.5542 | 14.7367 | 56.2912 | 72.4984 | 11.9862 | 21.6297 | 85.649 | 30 | 54.8695 | 1.5 | 1.6832 | 15 | 8.5621
3115264.783 | 1.4468 | 29.0183 | 54.4394 | 14.205 | 56.7709 | 72.0347 | 12.0081 | 21.7256 | 85.644 | 30 | 55.5469 | 1.5 | 72.1917 | 15 | 9.2763
3115275.1779 | 1.4901 | 29.7893 | 54.2027 | 14.119 | 56.9744 | 72.6999 | 11.9163 | 21.4836 | 85.6426 | 30 | 54.6974 | 1.5 | 1.6439 | 15 | 8.8957
3115279.2659 | 1.552 | 29.4816 | 53.4927 | 15.253 | 56.5732 | 71.6272 | 11.9902 | 21.5155 | 85.6415 | 30 | 55.6924 | 1.5 | 21.0949 | 15 | 8.4117
3115285.4921 | 1.5458 | 30.4932 | 53.8769 | 15.7078 | 56.5426 | 71.9907 | 11.9545 | 21.6471 | 85.6454 | 30 | 54.5063 | 1.5 | 82.8943 | 15 | 8.3712
3115291.5969 | 1.4617 | 29.3128 | 55.7088 | 15.3421 | 56.5728 | 72.4999 | 11.9216 | 21.5468 | 85.6447 | 30 | 54.9752 | 1.5 | 88.489 | 15 | 8.4423
3115297.8669 | 1.4168 | 30.7087 | 53.8462 | 15.6095 | 57.3513 | 71.8082 | 12.0086 | 21.5172 | 85.6452 | 30 | 54.4583 | 1.5 | 1.1383 | 15 | 8.211
3115302.2039 | 1.4136 | 29.3554 | 55.9946 | 14.0913 | 56.4416 | 72.8 | 12.0137 | 21.6584 | 85.6442 | 30 | 55.0906 | 1.5 | 0 | 15 | 8.6958
3115320.5589 | 1.5329 | 30.4815 | 55.0756 | 13.2585 | 56.8964 | 72.435 | 11.8747 | 21.4086 | 85.6419 | 30 | 54.8448 | 1.5 | 99.3226 | 15 | 9.7075
3115328.9549 | 1.4391 | 29.0148 | 53.8954 | 15.0747 | 56.5013 | 72.3333 | 11.9801 | 21.4636 | 85.6406 | 30 | 55.7221 | 1.5 | 12.8779 | 15 | 8.548
3115331.1954 | 1.4092 | 29.2945 | 56.0838 | 16.808 | 56.54 | 71.7007 | 11.9174 | 21.5049 | 85.6443 | 30 | 56.0821 | 1.5 | 0.031927 | 15 | 7.656
3115337.095 | 1.484 | 30.5699 | 55.2754 | 13.6457 | 56.8295 | 72.7055 | 11.9459 | 21.5482 | 85.6463 | 30 | 53.9094 | 1.5 | 1.3223 | 15 | 8.9269
3115339.949 | 1.5062 | 29.1972 | 56.1452 | 15.6463 | 57.1481 | 72.7588 | 11.8327 | 21.524 | 85.6504 | 30 | 55.156 | 1.5 | 5.1246 | 15 | 8.177
3115343.6032 | 1.5324 | 29.8596 | 55.6873 | 16.0827 | 57.0374 | 72.1008 | 12.0394 | 21.5558 | 85.6416 | 30 | 55.7129 | 1.5 | 21.3829 | 15 | 8.1655
3115350.748 | 1.5199 | 30.0908 | 56.4157 | 15.1761 | 57.1598 | 73.1332 | 11.9742 | 21.5638 | 85.6452 | 30 | 54.2873 | 1.5 | 83.483 | 15 | 8.6465
3115355.1409 | 1.4743 | 29.1284 | 55.1709 | 14.205 | 56.7699 | 72.569 | 12.0103 | 21.6693 | 85.6494 | 30 | 55.7257 | 1.5 | 73.511 | 15 | 9.1145
3115363.8799 | 1.4506 | 29.8864 | 54.6884 | 15.2837 | 56.5987 | 73.2768 | 12.0835 | 21.6299 | 85.6434 | 30 | 54.2988 | 1.5 | 0.65146 | 15 | 7.9025
3115376.4224 | 1.5194 | 29.8893 | 55.3277 | 15.0624 | 57.4976 | 72.8713 | 11.9767 | 21.6425 | 85.651 | 30 | 54.5275 | 1.5 | 54.8395 | 15 | 8.3554
3115384.7292 | 1.4456 | 30.8001 | 57.1472 | 14.8135 | 57.3819 | 72.2252 | 12.0183 | 21.6638 | 85.6458 | 30 | 54.4336 | 1.5 | 36.6967 | 15 | 8.6954
3115385.9629 | 1.464 | 30.8189 | 55.2447 | 13.2923 | 56.9965 | 72.3205 | 11.9891 | 21.5894 | 85.6506 | 30 | 54.0677 | 1.5 | 24.5393 | 15 | 8.8553
3115386.5279 | 1.4601 | 30.6983 | 55.7119 | 13.4214 | 57.03 | 72.684 | 11.9596 | 21.5948 | 85.6499 | 30 | 54.0088 | 1.5 | 18.1424 | 15 | 9.2667
3115392.7329 | 1.4811 | 29.3041 | 56.5971 | 13.8946 | 56.5341 | 71.6923 | 12.0159 | 21.6464 | 85.6523 | 30 | 55.8222 | 1.5 | 0.041134 | 15 | 8.2658