## data
Time (sec) | Water Level (ft) | Water Flowrate (GPM) | House Steam Pressure (psig) | Steam Pressure (psig) | Inlet Water Temperature (C) | Outlet Water Temperature (C) | Water Feed Temperature (C) | Ambient Temperature (C) | Ambient Pressure (kPa) | Flow Setpoint (GPM) | Flow Control Output (%) | Level Setpoint (ft) | Level Control Output (%) | Steam Setpoint (psig) | Steam Control Output (%)
3115798.052 | 1.5214 | 35.7357 | 52.6721 | 15.9383 | 56.1608 | 69.7812 | 11.8145 | 21.9997 | 85.6483 | 35 | 60.6286 | 1.5 | 13.7142 | 15 | 9.376
3115803.1279 | 1.5634 | 34.536 | 53.3698 | 13.4152 | 56.2283 | 70.2167 | 11.9045 | 21.896 | 85.649 | 35 | 60.3466 | 1.5 | 60.0005 | 15 | 9.7358
3115822.396 | 1.452 | 36.1279 | 52.8319 | 15.0409 | 56.7349 | 70.5652 | 11.9252 | 21.9361 | 85.6552 | 35 | 59.5554 | 1.5 | 1.2576 | 15 | 8.7299
3115829.0589 | 1.5339 | 33.6795 | 53.9353 | 16.7957 | 56.0446 | 70.0011 | 11.6785 | 21.9265 | 85.6598 | 35 | 61.9868 | 1.5 | 11.1062 | 15 | 8.0032
3115837.156 | 1.5042 | 34.8786 | 53.4927 | 16.2702 | 56.7015 | 70.9676 | 11.8032 | 21.9054 | 85.6504 | 35 | 60.1454 | 1.5 | 66.5751 | 15 | 8.1654
3115839.5524 | 1.4969 | 34.4725 | 54.1874 | 15.757 | 56.2236 | 70.7404 | 11.8896 | 21.9829 | 85.6586 | 35 | 60.8142 | 1.5 | 68.9077 | 15 | 8.6526
3115851.621 | 1.4851 | 34.5844 | 55.0111 | 13.996 | 56.3206 | 70.808 | 11.8841 | 21.8749 | 85.6613 | 35 | 60.8157 | 1.5 | 1.8852 | 15 | 9.0859
3115859.2389 | 1.5395 | 35.7526 | 54.6023 | 16.2057 | 57.0789 | 70.6743 | 11.8548 | 21.9039 | 85.6514 | 35 | 60.2256 | 1.5 | 19.3922 | 15 | 8.952
3115861.9689 | 1.579 | 35.4254 | 53.1546 | 13.5566 | 56.7508 | 70.8686 | 11.7911 | 21.8619 | 85.6546 | 35 | 59.8017 | 1.5 | 58.5148 | 15 | 9.5863
3115862.5919 | 1.5731 | 35.4331 | 53.1147 | 14.0882 | 56.8661 | 71.1126 | 11.9138 | 21.9119 | 85.6527 | 35 | 59.7059 | 1.5 | 67.0495 | 15 | 9.4621
3115876.878 | 1.4217 | 34.7262 | 52.8042 | 16.8848 | 56.755 | 70.9334 | 11.914 | 21.9331 | 85.6482 | 35 | 60.2635 | 1.5 | 1.0322 | 15 | 7.9199
3115886.3808 | 1.512 | 34.9623 | 54.6822 | 15.6986 | 57.1561 | 71.2191 | 11.8687 | 22.0034 | 85.6578 | 35 | 60.1895 | 1.5 | 17.8442 | 15 | 8.8077
3115890.7759 | 1.4922 | 34.233 | 55.1924 | 15.044 | 57.4695 | 70.5011 | 11.9077 | 21.8927 | 85.6536 | 35 | 61.7942 | 1.5 | 35.7119 | 15 | 8.8987
3115899.066 | 1.4899 | 34.1791 | 53.4405 | 15.3636 | 56.9504 | 71.6992 | 11.8464 | 21.9183 | 85.649 | 35 | 60.4101 | 1.5 | 41.4072 | 15 | 8.5969
3115907.1969 | 1.4801 | 36.1153 | 53.4435 | 15.7047 | 57.8305 | 71.1032 | 11.7611 | 21.9072 | 85.6597 | 35 | 60.0087 | 1.5 | 1.2072 | 15 | 8.3444
3115925.925 | 1.4795 | 33.5164 | 53.6495 | 16.4454 | 57.2997 | 70.9121 | 11.7664 | 21.8142 | 85.6536 | 35 | 62.3743 | 1.5 | 91.2257 | 15 | 8.2072
3115928.135 | 1.4453 | 35.3962 | 55.7488 | 15.4865 | 57.3405 | 70.8982 | 11.751 | 21.8844 | 85.6481 | 35 | 61.3318 | 1.5 | 69.1151 | 15 | 8.4666
3115938.4461 | 1.4674 | 33.8982 | 55.8625 | 13.9192 | 57.5917 | 70.8268 | 11.8559 | 21.8456 | 85.6571 | 35 | 61.7322 | 1.5 | 0.674 | 15 | 9.1178
3115940.781 | 1.5151 | 34.8153 | 55.3738 | 15.1854 | 58.1909 | 71.2137 | 11.8815 | 21.9442 | 85.6528 | 35 | 61.5795 | 1.5 | 2.6735 | 15 | 8.5995
3115950.9275 | 1.549 | 33.6904 | 54.9527 | 16.6759 | 57.5053 | 71.6248 | 11.8396 | 21.8972 | 85.6493 | 35 | 61.7129 | 1.5 | 73.3087 | 15 | 8.0249
3115966.3829 | 1.4392 | 34.5496 | 53.9507 | 15.2806 | 57.7204 | 71.3695 | 11.8909 | 21.8474 | 85.6579 | 35 | 61.5882 | 1.5 | 6.3345 | 15 | 9.2045
3115969.4924 | 1.4151 | 35.5905 | 56.7507 | 14.9364 | 57.6247 | 71.5102 | 11.8411 | 21.8764 | 85.6544 | 35 | 60.4394 | 1.5 | 0.5223 | 15 | 7.8853
3115974.0649 | 1.4719 | 34.8614 | 54.5347 | 15.6709 | 57.5784 | 71.8833 | 11.845 | 21.8667 | 85.6481 | 35 | 60.3618 | 1.5 | 0.98803 | 15 | 8.4647
3115978.8089 | 1.4942 | 35.0114 | 56.4772 | 14.6967 | 58.4758 | 71.3838 | 11.8037 | 21.8176 | 85.6541 | 35 | 61.2355 | 1.5 | 3.1419 | 15 | 9.022
3115984.3529 | 1.5334 | 35.6 | 56.6524 | 15.9352 | 58.1463 | 72.0264 | 11.8781 | 21.8456 | 85.6468 | 35 | 59.8326 | 1.5 | 58.8596 | 15 | 8.2624
3115990.0359 | 1.4952 | 34.2587 | 55.0971 | 16.304 | 58.1375 | 71.3106 | 11.8543 | 21.9368 | 85.651 | 35 | 61.7906 | 1.5 | 97.6379 | 15 | 8.1175
3115992.2285 | 1.448 | 35.2438 | 56.2067 | 14.9702 | 57.8122 | 71.3474 | 11.7796 | 21.8747 | 85.6513 | 35 | 61.175 | 1.5 | 85.1848 | 15 | 8.7454
3115998.1324 | 1.4014 | 34.8338 | 56.4342 | 14.1497 | 56.9263 | 71.624 | 11.8273 | 21.9986 | 85.6466 | 35 | 60.2129 | 1.5 | 3.3222 | 15 | 8.2696
3116007.4189 | 1.5157 | 35.5405 | 55.1617 | 14.6076 | 58.2168 | 71.6644 | 11.7739 | 21.8572 | 85.6483 | 35 | 60.5173 | 1.5 | 3.5516 | 15 | 8.9863
3116019.1589 | 1.5094 | 35.3218 | 56.5018 | 14.1343 | 58.2537 | 71.4491 | 11.6915 | 21.8687 | 85.6628 | 35 | 61.0526 | 1.5 | 68.2105 | 15 | 9.1596
3116028.9079 | 1.4379 | 34.5593 | 55.2877 | 13.9807 | 57.8866 | 71.8801 | 11.8509 | 21.9282 | 85.6572 | 35 | 60.886 | 1.5 | 11.7947 | 15 | 9.4009
3116039.681 | 1.517 | 35.2715 | 56.7139 | 15.1516 | 57.5322 | 72.2305 | 11.9189 | 21.9363 | 85.6502 | 35 | 59.8012 | 1.5 | 7.7329 | 15 | 8.7758
3116050.258 | 1.5041 | 36.1766 | 54.756 | 13.8209 | 58.4061 | 72.083 | 11.8527 | 21.8367 | 85.6583 | 35 | 59.5654 | 1.5 | 91.4228 | 15 | 9.2921
3116058.7789 | 1.4315 | 35.1024 | 55.1924 | 16.5837 | 57.753 | 71.5114 | 11.8788 | 21.9684 | 85.661 | 35 | 61.3673 | 1.5 | 0.62687 | 15 | 8.0197
3116066.8461 | 1.4928 | 33.6966 | 56.7169 | 14.9672 | 57.8809 | 72.1331 | 11.8242 | 21.9459 | 85.6593 | 35 | 61.3238 | 1.5 | 4.4079 | 15 | 8.4106
3116083.37 | 1.4789 | 34.9177 | 54.5039 | 15.3636 | 58.2782 | 71.4128 | 11.8763 | 21.8883 | 85.6507 | 35 | 61.7661 | 1.5 | 26.9944 | 15 | 8.6629
3116083.828 | 1.4515 | 34.9152 | 56.6493 | 14.5646 | 58.2502 | 71.2492 | 11.8065 | 21.8975 | 85.6529 | 35 | 61.7809 | 1.5 | 22.3605 | 15 | 9.274
3116087.4669 | 1.4854 | 35.7717 | 54.6668 | 16.092 | 58.399 | 71.6566 | 11.9117 | 21.8895 | 85.6573 | 35 | 60.3754 | 1.5 | 1.8887 | 15 | 8.2046
3116100.0609 | 1.5246 | 35.6424 | 56.4004 | 16.43 | 59.2459 | 71.8538 | 11.8395 | 22.0264 | 85.6533 | 35 | 60.9816 | 1.5 | 64.0697 | 15 | 8.1508
3116114.386 | 1.4093 | 35.9354 | 56.8399 | 15.4374 | 57.8854 | 72.2285 | 11.8775 | 21.8945 | 85.6582 | 35 | 59.3648 | 1.5 | 0.11463 | 15 | 8.5682
3116122.691 | 1.4754 | 35.6719 | 55.6565 | 15.6279 | 58.499 | 71.6498 | 11.802 | 21.8992 | 85.6505 | 35 | 60.4012 | 1.5 | 0.15362 | 15 | 8.4795
3116131.1525 | 1.5275 | 33.9204 | 55.9455 | 14.2573 | 58.1916 | 71.8298 | 11.7478 | 21.8148 | 85.6596 | 35 | 62.2337 | 1.5 | 43.8639 | 15 | 8.7066
3116137.383 | 1.4788 | 35.5476 | 55.466 | 16.009 | 58.1898 | 72.5358 | 11.7972 | 21.791 | 85.6559 | 35 | 59.8703 | 1.5 | 73.0298 | 15 | 8.5328
3116143.5034 | 1.4259 | 34.3273 | 56.3788 | 16.1012 | 58.9325 | 71.621 | 11.7591 | 21.8983 | 85.6576 | 35 | 61.7051 | 1.5 | 1.1729 | 15 | 8.1273
3116149.5799 | 1.5136 | 35.7487 | 55.6688 | 14.4908 | 58.2299 | 71.8861 | 11.7736 | 21.9011 | 85.6523 | 35 | 60.2121 | 1.5 | 5.2232 | 15 | 8.5239
3116154.8239 | 1.5533 | 34.4359 | 54.1536 | 14.9918 | 58.3356 | 72.0358 | 11.8461 | 21.9282 | 85.6573 | 35 | 60.6115 | 1.5 | 44.9708 | 15 | 9.1561
3116155.608 | 1.5408 | 33.9016 | 55.8625 | 14.3341 | 58.423 | 72.1136 | 11.8194 | 21.8719 | 85.6609 | 35 | 61.2115 | 1.5 | 52.2024 | 15 | 9.1994
3116160.1296 | 1.4831 | 35.1126 | 56.8645 | 14.5769 | 58.8979 | 72.1224 | 11.6994 | 21.8858 | 85.6627 | 35 | 61.5119 | 1.5 | 80.9521 | 15 | 8.9567
3116166.5839 | 1.4353 | 35.3186 | 56.2805 | 14.2726 | 58.5331 | 72.4879 | 11.7503 | 21.8598 | 85.6583 | 35 | 59.836 | 1.5 | 38.8547 | 15 | 8.5175
3116170.9891 | 1.4226 | 33.7515 | 56.2528 | 14.4355 | 58.3695 | 71.7156 | 11.8183 | 21.8193 | 85.6547 | 35 | 61.5863 | 1.5 | 0 | 15 | 9.0228
3116176.1461 | 1.5003 | 36.0203 | 55.1678 | 15.6156 | 58.5904 | 71.7376 | 11.8189 | 21.906 | 85.6547 | 35 | 60.2769 | 1.5 | 1.8739 | 15 | 8.3983
3116178.4629 | 1.5058 | 35.599 | 55.3676 | 15.6494 | 58.8336 | 72.4459 | 11.7777 | 21.7731 | 85.6573 | 35 | 59.7788 | 1.5 | 3.8857 | 15 | 8.726
3116186.8826 | 1.5331 | 35.5142 | 56.5141 | 14.5769 | 58.5848 | 71.8374 | 11.8663 | 21.7968 | 85.6558 | 35 | 60.9522 | 1.5 | 86.1163 | 15 | 8.7633
3116189.1619 | 1.4985 | 36.0135 | 56.4833 | 15.1331 | 57.4854 | 72.099 | 11.6817 | 21.8639 | 85.6568 | 35 | 59.908 | 1.5 | 98.0397 | 15 | 8.6986
3116199.2089 | 1.4296 | 35.5425 | 54.9281 | 14.497 | 58.1537 | 71.6068 | 11.8277 | 21.8043 | 85.657 | 35 | 60.914 | 1.5 | 1.6239 | 15 | 8.9652
3116199.6809 | 1.4346 | 35.5448 | 55.4629 | 17.1399 | 58.493 | 71.7675 | 11.7919 | 21.8114 | 85.6535 | 35 | 60.8234 | 1.5 | 0.095479 | 15 | 7.6146
3116201.148 | 1.4229 | 35.8986 | 56.2497 | 14.8504 | 58.1585 | 71.7077 | 11.8188 | 21.9509 | 85.6538 | 35 | 60.2138 | 1.5 | 0 | 15 | 8.7087
3116201.6759 | 1.4411 | 35.9495 | 54.6699 | 15.548 | 57.7918 | 71.5362 | 11.8155 | 21.8865 | 85.6543 | 35 | 60.0101 | 1.5 | 0.84514 | 15 | 8.3578
3116215.637 | 1.525 | 35.1285 | 56.4096 | 15.4005 | 58.3225 | 72.7229 | 11.8883 | 21.8671 | 85.6572 | 35 | 60.1882 | 1.5 | 61.3924 | 15 | 8.5038
3116217.8229 | 1.518 | 34.0538 | 56.4803 | 15.0778 | 58.3936 | 72.4797 | 11.8558 | 21.8788 | 85.6544 | 35 | 61.1602 | 1.5 | 79.6269 | 15 | 8.5394
3116222.0824 | 1.4739 | 34.609 | 53.8708 | 15.1884 | 58.6692 | 71.5962 | 11.9336 | 22.0253 | 85.6531 | 35 | 61.9001 | 1.5 | 69.2773 | 15 | 9.0826
3116224.2844 | 1.4551 | 36.1495 | 54.5316 | 16.092 | 58.5474 | 71.855 | 11.7521 | 21.9173 | 85.6578 | 35 | 60.274 | 1.5 | 41.1695 | 15 | 8.4058
3116230.9161 | 1.4595 | 33.5406 | 55.9639 | 14.1958 | 58.1752 | 72.0089 | 11.7606 | 21.8788 | 85.6541 | 35 | 61.6926 | 1.5 | 0.15717 | 15 | 8.3984
3116236.3486 | 1.5137 | 36.0963 | 54.673 | 14.1343 | 58.1041 | 71.8216 | 11.7851 | 21.9025 | 85.6581 | 35 | 60.1806 | 1.5 | 2.8681 | 15 | 9.176
3116244.3679 | 1.5229 | 33.7548 | 55.7334 | 14.8627 | 58.91 | 71.847 | 11.8173 | 21.9283 | 85.6636 | 35 | 62.1636 | 1.5 | 89.6593 | 15 | 8.8307
3116250.8235 | 1.4736 | 35.1943 | 53.2468 | 15.044 | 57.7716 | 72.2371 | 11.7342 | 21.8675 | 85.6591 | 35 | 59.7999 | 1.5 | 84.7792 | 15 | 9.4051
3116259.0409 | 1.46 | 35.3081 | 54.1505 | 14.2757 | 58.6815 | 71.7033 | 11.7504 | 21.9284 | 85.6543 | 35 | 60.9352 | 1.5 | 1.5177 | 15 | 8.9529
3116279.5081 | 1.4951 | 33.7428 | 54.1167 | 15.3206 | 57.5289 | 71.837 | 11.6766 | 21.864 | 85.6659 | 35 | 61.4058 | 1.5 | 64.1965 | 15 | 9.1394
3116283.5489 | 1.4492 | 35.2472 | 54.8328 | 13.5658 | 57.7628 | 71.4531 | 11.8198 | 21.8792 | 85.665 | 35 | 61.3003 | 1.5 | 11.6195 | 15 | 9.5476
3116286.8298 | 1.4414 | 35.8506 | 54.6976 | 16.4054 | 58.483 | 71.6891 | 11.7315 | 21.8177 | 85.6631 | 35 | 60.0128 | 1.5 | 0.54061 | 15 | 7.9764
3116290.1049 | 1.4715 | 34.9639 | 55.5797 | 15.4497 | 58.3231 | 72.4419 | 11.7471 | 21.9928 | 85.6722 | 35 | 59.9406 | 1.5 | 0.25439 | 15 | 8.7242
3116298.1756 | 1.5274 | 35.7991 | 56.0346 | 14.0637 | 58.5206 | 71.6732 | 11.7934 | 21.8469 | 85.6649 | 35 | 60.6129 | 1.5 | 58.5257 | 15 | 9.2479
3116304.2625 | 1.4759 | 34.3078 | 55.7672 | 15.674 | 58.2489 | 72.6784 | 11.9359 | 21.9251 | 85.6693 | 35 | 60.8671 | 1.5 | 92.8417 | 15 | 8.027
3116314.8846 | 1.4453 | 35.6737 | 53.8769 | 13.9653 | 58.3558 | 72.2437 | 11.8498 | 21.938 | 85.6637 | 35 | 59.7076 | 1.5 | 0.89304 | 15 | 9.0382
3116317.2657 | 1.4579 | 34.26 | 54.9404 | 14.9026 | 58.05 | 72.1111 | 11.7935 | 22.0042 | 85.6694 | 35 | 60.734 | 1.5 | 1.8286 | 15 | 8.5671
3116324.5546 | 1.5468 | 35.9713 | 54.2888 | 16.4085 | 58.3123 | 71.8045 | 11.7807 | 21.945 | 85.6711 | 35 | 60.3613 | 1.5 | 21.6405 | 15 | 8.5234
3116333.3568 | 1.4939 | 34.0583 | 54.9865 | 14.2911 | 58.7121 | 71.9081 | 11.7205 | 21.8948 | 85.6554 | 35 | 61.7827 | 1.5 | 78.4803 | 15 | 8.7497
3116343.6912 | 1.4092 | 34.5779 | 53.2284 | 14.666 | 58.0673 | 72.3665 | 11.8298 | 21.9425 | 85.6749 | 35 | 60.4971 | 1.5 | 0 | 15 | 8.7665
3116349.767 | 1.5014 | 36.1307 | 53.2991 | 15.2776 | 58.647 | 71.5293 | 11.7964 | 21.8767 | 85.6631 | 35 | 59.7065 | 1.5 | 1.7396 | 15 | 8.5256
3116353.9959 | 1.5439 | 34.2217 | 54.1781 | 16.0735 | 58.5503 | 72.414 | 11.8368 | 22.0091 | 85.6631 | 35 | 60.6838 | 1.5 | 10.4374 | 15 | 8.2035
3116357.5485 | 1.5498 | 34.5876 | 53.2038 | 15.8062 | 58.5295 | 71.8172 | 11.8587 | 21.9461 | 85.6572 | 35 | 61.8239 | 1.5 | 46.4833 | 15 | 8.3646
3116360.4049 | 1.5638 | 36.0284 | 52.9487 | 14.5339 | 58.1434 | 72.5064 | 11.8807 | 22.038 | 85.6596 | 35 | 60.5584 | 1.5 | 85.4854 | 15 | 8.781
3116367.7239 | 1.4397 | 34.1325 | 55.2723 | 13.3292 | 58.2132 | 72.3058 | 11.7558 | 21.9331 | 85.6689 | 35 | 61.1538 | 1.5 | 62.1818 | 15 | 9.2571
3116370.7332 | 1.4382 | 34.8385 | 53.1761 | 14.9887 | 58.4183 | 71.677 | 11.8117 | 21.9979 | 85.662 | 35 | 61.4127 | 1.5 | 20.0673 | 15 | 9.2696
3116372.6806 | 1.4393 | 35.3486 | 53.2622 | 15.7785 | 58.5124 | 71.5797 | 11.8619 | 21.9366 | 85.6628 | 35 | 60.8992 | 1.5 | 1.3223 | 15 | 8.3186
3116381.029 | 1.4936 | 33.9588 | 53.9538 | 14.3034 | 58.5322 | 71.7335 | 11.7614 | 22.0377 | 85.6644 | 35 | 61.8006 | 1.5 | 1.1428 | 15 | 9.0691
3116389.4569 | 1.5347 | 34.9132 | 55.4475 | 14.7766 | 57.947 | 72.7885 | 11.8218 | 21.9592 | 85.6623 | 35 | 60.029 | 1.5 | 74.9815 | 15 | 8.6996
3116389.993 | 1.5572 | 34.3285 | 54.5255 | 13.4306 | 58.1522 | 72.4739 | 11.7012 | 21.9629 | 85.6585 | 35 | 60.5821 | 1.5 | 81.6363 | 15 | 9.2093
3116400.0659 | 1.4605 | 35.6658 | 54.1505 | 15.5603 | 58.1907 | 71.6859 | 11.8848 | 21.9994 | 85.6644 | 35 | 60.3469 | 1.5 | 63.6422 | 15 | 8.7354
3116400.6191 | 1.4733 | 35.8195 | 53.5419 | 14.5523 | 58.7584 | 71.6941 | 11.8494 | 21.9481 | 85.6705 | 35 | 60.0937 | 1.5 | 60.4685 | 15 | 8.9988
3116409.6709 | 1.4667 | 34.8155 | 53.7571 | 16.0858 | 58.5765 | 71.5601 | 11.8156 | 22.0102 | 85.6672 | 35 | 61.571 | 1.5 | 0.9251 | 15 | 8.1116
3116416.3105 | 1.5342 | 35.3264 | 54.4732 | 16.9463 | 58.6063 | 72.9561 | 11.7436 | 21.9381 | 85.6606 | 35 | 59.8632 | 1.5 | 30.4477 | 15 | 7.5821
3116429.4424 | 1.4518 | 35.404 | 53.3022 | 16.8449 | 57.978 | 72.8099 | 11.8342 | 21.9656 | 85.6628 | 35 | 59.4736 | 1.5 | 42.6211 | 15 | 9.3145
3116432.4569 | 1.4363 | 34.0992 | 53.4589 | 14.878 | 57.9466 | 71.9094 | 11.8169 | 21.9737 | 85.6671 | 35 | 61.0519 | 1.5 | 2.098 | 15 | 8.8456
3116442.7689 | 1.5342 | 34.8635 | 53.2653 | 14.6537 | 58.1964 | 72.2416 | 11.8552 | 21.938 | 85.669 | 35 | 60.2749 | 1.5 | 13.0448 | 15 | 8.9114
3116443.3042 | 1.5316 | 34.8611 | 53.336 | 15.3636 | 58.1984 | 72.1854 | 11.7948 | 22.0022 | 85.6703 | 35 | 60.3011 | 1.5 | 14.5879 | 15 | 8.7276
3116446.8081 | 1.5393 | 34.3498 | 53.2868 | 15.7846 | 58.1547 | 72.1203 | 11.8239 | 21.9285 | 85.6621 | 35 | 61.6708 | 1.5 | 47.72 | 15 | 8.6886
3116457.487 | 1.4329 | 34.3709 | 55.2785 | 15.4681 | 58.4037 | 72.4182 | 11.8381 | 22.0797 | 85.6577 | 35 | 60.5778 | 1.5 | 38.0088 | 15 | 8.5339
3116469.3449 | 1.512 | 35.108 | 55.2447 | 14.6875 | 58.749 | 72.31 | 11.8528 | 21.9419 | 85.6666 | 35 | 60.0996 | 1.5 | 19.8893 | 15 | 8.7892
3116473.754 | 1.5281 | 34.5759 | 54.922 | 15.4251 | 58.539 | 71.3823 | 11.8176 | 22.0548 | 85.6613 | 35 | 61.4468 | 1.5 | 55.8822 | 15 | 8.4266
3116474.1145 | 1.5004 | 34.5859 | 55.6043 | 15.1761 | 58.6988 | 71.576 | 11.8676 | 21.892 | 85.6609 | 35 | 61.4867 | 1.5 | 56.4051 | 15 | 8.4755
3116483.1639 | 1.4583 | 34.0299 | 53.3729 | 15.5849 | 57.8568 | 72.2039 | 11.7275 | 21.8871 | 85.6587 | 35 | 60.9518 | 1.5 | 13.8396 | 15 | 8.9248
3116491.6279 | 1.521 | 36.055 | 54.5132 | 15.7478 | 58.3726 | 71.8035 | 11.7731 | 21.943 | 85.6613 | 35 | 59.6127 | 1.5 | 6.4651 | 15 | 8.2648
3116498.5686 | 1.5743 | 34.6856 | 53.462 | 15.1485 | 58.6247 | 71.9646 | 11.8417 | 21.9368 | 85.6655 | 35 | 61.5812 | 1.5 | 88.5212 | 15 | 8.6797
3116511.8376 | 1.4163 | 34.7356 | 55.844 | 13.9622 | 58.3694 | 71.824 | 11.7438 | 21.9562 | 85.6584 | 35 | 61.512 | 1.5 | 34.0881 | 15 | 9.1093
3116519.085 | 1.4653 | 34.8171 | 53.8523 | 15.9475 | 58.2715 | 72.1011 | 11.8026 | 22.0511 | 85.6626 | 35 | 60.023 | 1.5 | 0.88301 | 15 | 8.18
3116519.6134 | 1.4704 | 34.8305 | 55.2385 | 14.9364 | 57.8844 | 72.217 | 11.8424 | 21.9788 | 85.6637 | 35 | 60.0459 | 1.5 | 1.4218 | 15 | 8.5657
3116531.501 | 1.5623 | 34.0028 | 54.2212 | 14.8043 | 58.8051 | 72.2819 | 11.7663 | 21.9807 | 85.6705 | 35 | 60.8785 | 1.5 | 69.1994 | 15 | 8.8033
3116539.9199 | 1.4754 | 36.3803 | 56.1114 | 15.4804 | 58.2549 | 72.6804 | 11.8345 | 22.0208 | 85.6636 | 35 | 59.2045 | 1.5 | 97.9783 | 15 | 8.9653
3116544.0993 | 1.4192 | 33.4262 | 55.9209 | 14.4878 | 57.8665 | 72.1502 | 11.748 | 21.9853 | 85.6731 | 35 | 61.2497 | 1.5 | 46.3452 | 15 | 8.8959
3116552.167 | 1.4435 | 35.7234 | 56.1114 | 13.6457 | 57.9968 | 72.5439 | 11.8656 | 21.9689 | 85.6626 | 35 | 59.1516 | 1.5 | 0 | 15 | 9.2071
3116554.2339 | 1.4815 | 34.5326 | 54.0829 | 15.9905 | 58.38 | 72.0956 | 11.8429 | 21.953 | 85.6605 | 35 | 60.1618 | 1.5 | 1.2081 | 15 | 8.726
3116556.376 | 1.5043 | 33.8774 | 54.7037 | 14.331 | 58.061 | 71.5354 | 11.6994 | 21.9915 | 85.6697 | 35 | 61.5382 | 1.5 | 1.8291 | 15 | 9.0104
3116568.7489 | 1.533 | 33.8295 | 53.4804 | 14.7951 | 58.2325 | 71.6016 | 11.8229 | 22.0446 | 85.6734 | 35 | 61.6457 | 1.5 | 79.3041 | 15 | 8.6608
3116572.99 | 1.4753 | 35.2044 | 54.4763 | 13.3507 | 58.1828 | 71.7621 | 11.8584 | 22.0477 | 85.6662 | 35 | 61.1063 | 1.5 | 58.9145 | 15 | 9.3694
3116576.0855 | 1.4477 | 35.7626 | 53.6956 | 15.2253 | 58.9572 | 71.7973 | 11.7979 | 21.9579 | 85.6621 | 35 | 59.9532 | 1.5 | 31.8165 | 15 | 8.7023
3116583.1409 | 1.4987 | 33.7929 | 53.8554 | 15.631 | 58.8071 | 71.3223 | 11.8343 | 21.8829 | 85.6629 | 35 | 62.3149 | 1.5 | 1.6009 | 15 | 8.2322
3116591.6049 | 1.5438 | 34.8667 | 55.4107 | 13.7133 | 58.1267 | 72.4137 | 11.8293 | 21.8111 | 85.6596 | 35 | 60.0959 | 1.5 | 49.5747 | 15 | 8.9931
3116596.0969 | 1.5341 | 34.318 | 54.4425 | 16.851 | 58.5022 | 71.7351 | 11.765 | 21.8235 | 85.6587 | 35 | 61.7531 | 1.5 | 99.314 | 15 | 7.6109
3116596.6279 | 1.5135 | 34.8172 | 54.6576 | 12.988 | 58.3799 | 71.7723 | 11.7567 | 21.8809 | 85.6585 | 35 | 61.4647 | 1.5 | 98.2039 | 15 | 9.3599
3116598.273 | 1.4875 | 35.3427 | 55.5705 | 12.0261 | 58.3532 | 71.5717 | 11.8528 | 21.9393 | 85.6645 | 35 | 61.0242 | 1.5 | 95.9891 | 15 | 8.9714
3116598.9441 | 1.4841 | 35.759 | 54.9742 | 13.4275 | 58.6618 | 71.4594 | 11.7697 | 21.8013 | 85.6705 | 35 | 60.5485 | 1.5 | 91.6948 | 15 | 9.3152
3116613.5295 | 1.5048 | 35.3225 | 54.4332 | 15.0962 | 58.1528 | 71.9057 | 11.8382 | 21.9934 | 85.6665 | 35 | 59.629 | 1.5 | 2.0891 | 15 | 8.563
3116622.4559 | 1.5585 | 35.1639 | 53.8462 | 15.2345 | 58.6572 | 71.7023 | 11.7424 | 21.9447 | 85.6741 | 35 | 61.2342 | 1.5 | 61.2888 | 15 | 8.6449
3116627.3159 | 1.4882 | 35.37 | 56.3727 | 14.8289 | 57.9903 | 72.4932 | 11.857 | 21.9884 | 85.6716 | 35 | 59.7065 | 1.5 | 97.5518 | 15 | 8.8853
3116647.6291 | 1.4898 | 36.0254 | 56.3696 | 14.3372 | 57.3185 | 72.608 | 11.797 | 21.9757 | 85.6611 | 35 | 59.3324 | 1.5 | 1.6458 | 15 | 8.2421
3116657.7289 | 1.5023 | 36.078 | 56.1268 | 15.1608 | 58.1349 | 71.7436 | 11.8142 | 22.0127 | 85.6693 | 35 | 60.4204 | 1.5 | 88.7048 | 15 | 8.6654
3116670.1954 | 1.4342 | 35.8863 | 56.3143 | 15.9875 | 58.262 | 71.5075 | 11.7851 | 21.9352 | 85.6688 | 35 | 60.1137 | 1.5 | 27.1051 | 15 | 8.1394
3116673.1389 | 1.4207 | 34.9146 | 55.4107 | 16.6574 | 57.8284 | 72.0071 | 11.779 | 21.8438 | 85.6686 | 35 | 60.303 | 1.5 | 0.23206 | 15 | 7.7302
3116685.5499 | 1.5323 | 34.9186 | 55.7365 | 16.0735 | 58.4462 | 72.5457 | 11.793 | 21.8774 | 85.6642 | 35 | 60.0898 | 1.5 | 39.6074 | 15 | 8.1492
3116688.979 | 1.5453 | 33.9581 | 54.9404 | 16.3409 | 58.8713 | 71.7921 | 11.7497 | 22.0128 | 85.6803 | 35 | 61.7755 | 1.5 | 76.4071 | 15 | 8.0574
3116696.846 | 1.4893 | 36.2717 | 55.0295 | 15.9844 | 58.4234 | 72.2821 | 11.8056 | 21.8027 | 85.662 | 35 | 58.8601 | 1.5 | 86.2192 | 15 | 8.3045
3116707.3199 | 1.4958 | 36.1466 | 55.1217 | 16.3624 | 58.2253 | 71.9821 | 11.8362 | 21.9352 | 85.6644 | 35 | 59.6151 | 1.5 | 1.3959 | 15 | 7.6971
3116708.8065 | 1.5042 | 35.7491 | 54.6115 | 14.3095 | 58.5137 | 72.4322 | 11.8001 | 21.9935 | 85.6696 | 35 | 59.4486 | 1.5 | 2.0078 | 15 | 8.7485
3116717.7739 | 1.5426 | 35.8472 | 54.132 | 14.7736 | 58.2855 | 71.9561 | 11.8971 | 21.9314 | 85.6653 | 35 | 60.64 | 1.5 | 57.4326 | 15 | 9.2085
3116727.0209 | 1.4948 | 33.9626 | 53.7601 | 15.9475 | 57.8788 | 71.2351 | 11.9176 | 22.0515 | 85.6642 | 35 | 61.9795 | 1.5 | 81.1663 | 15 | 8.3198
3116749.8979 | 1.4904 | 33.6261 | 56.1575 | 14.2603 | 58.3581 | 71.8148 | 11.7746 | 22.0976 | 85.669 | 35 | 61.811 | 1.5 | 3.6318 | 15 | 9.0448
3116757.2764 | 1.5254 | 35.2418 | 55.6104 | 14.1835 | 58.8961 | 72.518 | 11.8755 | 22.1055 | 85.6697 | 35 | 60.0851 | 1.5 | 43.6479 | 15 | 8.9067
3116765.583 | 1.5788 | 35.5363 | 53.7202 | 15.7324 | 58.6902 | 71.6818 | 11.849 | 21.9707 | 85.6749 | 35 | 60.7694 | 1.5 | 100 | 15 | 9.2264
3116775.253 | 1.5001 | 34.3375 | 54.4701 | 16.0797 | 58.2207 | 72.0058 | 11.8447 | 21.9359 | 85.6797 | 35 | 61.8964 | 1.5 | 91.1907 | 15 | 8.936
3116797.3389 | 1.5271 | 33.5227 | 56.4495 | 15.3605 | 57.8948 | 72.1452 | 11.8366 | 22.0901 | 85.6719 | 35 | 61.672 | 1.5 | 32.831 | 15 | 8.5656
3116809.201 | 1.4728 | 33.9545 | 54.2765 | 15.5419 | 58.0517 | 71.6481 | 11.9206 | 21.9966 | 85.6677 | 35 | 61.7387 | 1.5 | 73.376 | 15 | 8.3928
3116811.8578 | 1.4476 | 35.3156 | 55.8871 | 13.5781 | 58.5546 | 71.6864 | 11.9184 | 21.9644 | 85.6677 | 35 | 61.1698 | 1.5 | 44.5175 | 15 | 9.4322
3116826.6649 | 1.5428 | 36.2143 | 55.051 | 14.4263 | 58.7885 | 72.0021 | 11.9159 | 22.024 | 85.6744 | 35 | 59.8243 | 1.5 | 14.577 | 15 | 9.0246
3116832.8549 | 1.5371 | 33.9809 | 55.801 | 14.7428 | 58.2167 | 71.7114 | 11.9386 | 22.0427 | 85.6677 | 35 | 61.5525 | 1.5 | 68.2794 | 15 | 8.7845
3116844.24 | 1.4201 | 33.8261 | 57.1011 | 14.5461 | 57.617 | 72.0379 | 11.8413 | 22.0144 | 85.675 | 35 | 61.4866 | 1.5 | 0 | 15 | 8.9889
3116846.8363 | 1.4599 | 34.8623 | 55.26 | 14.3095 | 58.5601 | 71.5652 | 11.733 | 21.9644 | 85.6693 | 35 | 61.4937 | 1.5 | 1.1771 | 15 | 8.9767
3116848.4139 | 1.4679 | 35.2895 | 54.1843 | 16.8664 | 58.1568 | 71.7952 | 11.8043 | 22.0033 | 85.6779 | 35 | 61.1206 | 1.5 | 1.0606 | 15 | 8.6259
3116854.8129 | 1.5101 | 34.0179 | 56.1207 | 13.5074 | 58.4772 | 71.9136 | 11.8919 | 22.0111 | 85.6737 | 35 | 61.0877 | 1.5 | 4.6806 | 15 | 8.3691
3116862.9699 | 1.5287 | 35.9749 | 55.3092 | 16.513 | 58.1837 | 72.0979 | 11.9621 | 22.0338 | 85.6725 | 35 | 59.7546 | 1.5 | 45.3305 | 15 | 7.9883
3116872.6909 | 1.5508 | 35.689 | 54.2642 | 15.7263 | 58.3571 | 71.5674 | 11.8474 | 22.0529 | 85.6663 | 35 | 61.1036 | 1.5 | 99.0286 | 15 | 8.285
3116877.2649 | 1.3946 | 35.6413 | 56.2375 | 13.7287 | 57.8428 | 72.187 | 11.855 | 22.0467 | 85.6653 | 35 | 59.9361 | 1.5 | 27.2969 | 15 | 9.1652
3116877.948 | 1.4112 | 35.2197 | 55.6227 | 16.3716 | 57.9245 | 72.2573 | 11.7843 | 22.0046 | 85.6751 | 35 | 60.1349 | 1.5 | 13.6523 | 15 | 8.0646
3116879.285 | 1.4255 | 35.2187 | 54.7099 | 14.7797 | 58.0138 | 71.9113 | 11.874 | 22.0483 | 85.669 | 35 | 60.0347 | 1.5 | 1.0828 | 15 | 8.7919
3116883.0969 | 1.427 | 34.4861 | 54.3933 | 14.8043 | 58.6181 | 71.367 | 11.8707 | 22.0452 | 85.6687 | 35 | 61.5777 | 1.5 | 1.4528 | 15 | 8.642
3116891.083 | 1.4749 | 34.336 | 54.9312 | 13.6303 | 57.7078 | 71.9422 | 11.9109 | 22.0273 | 85.6616 | 35 | 60.4787 | 1.5 | 0.25016 | 15 | 8.5256
3116891.7349 | 1.4781 | 34.3485 | 54.1443 | 15.7877 | 57.8316 | 71.8349 | 11.8201 | 22.0336 | 85.6598 | 35 | 60.6178 | 1.5 | 0.99562 | 15 | 8.4443
3116899.9969 | 1.5924 | 35.9612 | 54.9127 | 14.3249 | 58.7145 | 71.8251 | 11.866 | 22.045 | 85.668 | 35 | 60.1433 | 1.5 | 100 | 15 | 8.9945
3116903.3389 | 1.5954 | 34.7459 | 54.0552 | 14.1804 | 58.0147 | 72.3611 | 11.8854 | 22.0419 | 85.6708 | 35 | 60.4025 | 1.5 | 100 | 15 | 9.1238
3116918.1129 | 1.4242 | 33.855 | 55.592 | 15.3728 | 57.9363 | 71.2544 | 11.9278 | 22.0031 | 85.6763 | 35 | 62.1839 | 1.5 | 17.6743 | 15 | 8.7196
3116930.765 | 1.4781 | 34.2811 | 56.4649 | 14.6107 | 58.1497 | 71.3019 | 11.9739 | 22.0894 | 85.6745 | 35 | 61.7735 | 1.5 | 1.8998 | 15 | 9.2312
3116940.2781 | 1.5309 | 34.0802 | 55.1094 | 15.2591 | 58.0818 | 72.2653 | 11.9292 | 22.0609 | 85.6698 | 35 | 61.1496 | 1.5 | 95.068 | 15 | 8.51
3116944.8759 | 1.5243 | 35.3397 | 55.4629 | 14.9119 | 57.7704 | 70.9599 | 11.7942 | 22.1012 | 85.6646 | 35 | 61.0678 | 1.5 | 97.8557 | 15 | 8.7487
3116947.2342 | 1.534 | 36.0768 | 53.2253 | 15.1239 | 58.163 | 71.5915 | 11.8337 | 22.0368 | 85.6749 | 35 | 59.9387 | 1.5 | 99.6985 | 15 | 8.7876
3116951.8059 | 1.4734 | 34.2384 | 53.4589 | 16.3409 | 57.8502 | 71.9964 | 11.9052 | 22.0352 | 85.6751 | 35 | 60.7256 | 1.5 | 74.4069 | 15 | 8.1731
3116955.1674 | 1.4645 | 34.0792 | 53.9937 | 14.1897 | 58.1807 | 71.2255 | 11.928 | 22.0848 | 85.6663 | 35 | 62.184 | 1.5 | 39.9752 | 15 | 9.2165
3116958.64 | 1.443 | 36.2011 | 54.0767 | 16.3931 | 58.5558 | 71.2177 | 11.8556 | 22.043 | 85.6708 | 35 | 60.3243 | 1.5 | 1.5727 | 15 | 8.0886
3116968.0857 | 1.4214 | 34.4638 | 55.3246 | 15.4927 | 59.2438 | 71.573 | 11.8859 | 22.0031 | 85.669 | 35 | 61.7336 | 1.5 | 1.1299 | 15 | 8.3774
3116972.1809 | 1.4998 | 36.0274 | 53.2345 | 15.6248 | 58.0433 | 71.9844 | 11.7293 | 21.9612 | 85.6681 | 35 | 59.7307 | 1.5 | 1.6773 | 15 | 8.3062
3116972.7289 | 1.5009 | 35.9805 | 53.2929 | 15.757 | 58.2708 | 72.054 | 11.9886 | 21.9787 | 85.6732 | 35 | 59.5806 | 1.5 | 1.5504 | 15 | 8.2234
3116974.7874 | 1.606 | 35.1335 | 54.4394 | 15.7693 | 58.5589 | 72.7164 | 11.8314 | 21.9418 | 85.6631 | 35 | 59.7904 | 1.5 | 28.7123 | 15 | 8.2388
3116979.6609 | 1.6347 | 34.5371 | 53.2622 | 15.8492 | 58.8745 | 71.5301 | 11.8649 | 21.9371 | 85.6718 | 35 | 61.5829 | 1.5 | 99.8281 | 15 | 8.218
3116982.5362 | 1.6271 | 35.8458 | 54.3349 | 13.4951 | 58.4159 | 71.8112 | 11.922 | 21.9697 | 85.6678 | 35 | 60.2999 | 1.5 | 99.7303 | 15 | 9.3012
3116990.718 | 1.56 | 34.3303 | 55.1894 | 15.6125 | 57.8646 | 71.53 | 11.8882 | 22.0045 | 85.6739 | 35 | 61.6969 | 1.5 | 98.6906 | 15 | 8.5325
3116994.8889 | 1.5615 | 36.0145 | 53.6095 | 13.9776 | 58.132 | 71.3128 | 11.8757 | 21.9641 | 85.6715 | 35 | 60.2647 | 1.5 | 100 | 15 | 9.3402
3117002.1041 | 1.4413 | 33.9645 | 53.4466 | 15.1608 | 58.3853 | 71.7007 | 11.9053 | 21.9534 | 85.6766 | 35 | 62.0377 | 1.5 | 20.9156 | 15 | 8.881
3117007.6147 | 1.4132 | 35.9972 | 55.3184 | 14.2019 | 57.8778 | 71.5389 | 11.9504 | 21.9177 | 85.6835 | 35 | 60.2186 | 1.5 | 0.67737 | 15 | 7.9686
3117008.1184 | 1.4133 | 36.0124 | 54.6545 | 15.6064 | 58.2629 | 71.5639 | 11.8875 | 22.0622 | 85.6743 | 35 | 60.0465 | 1.5 | 0.24125 | 15 | 8.1919
3117016.084 | 1.4805 | 34.8386 | 54.0152 | 16.4485 | 58.1743 | 71.6919 | 11.8527 | 22.0783 | 85.6717 | 35 | 61.7121 | 1.5 | 0.92814 | 15 | 8.7772
3117035.8539 | 1.5069 | 34.0175 | 54.4609 | 15.6863 | 57.6284 | 72.2315 | 11.8598 | 22.0094 | 85.6764 | 35 | 61.2678 | 1.5 | 99.5382 | 15 | 8.2302
3117040.5167 | 1.4144 | 35.9164 | 55.2508 | 13.4644 | 57.5579 | 71.3041 | 11.7568 | 22.0225 | 85.6754 | 35 | 60.2524 | 1.5 | 36.4113 | 15 | 9.2689
3117053.4939 | 1.4006 | 36.0874 | 55.1678 | 15.5511 | 58.2287 | 72.4354 | 11.8953 | 22.0762 | 85.6768 | 35 | 59.3711 | 1.5 | 0.66744 | 15 | 8.3406
3117057.7 | 1.4012 | 34.022 | 54.9435 | 14.245 | 57.9827 | 72.1146 | 11.9106 | 22.1141 | 85.6827 | 35 | 61.2623 | 1.5 | 0 | 15 | 9.1569
3117071.2667 | 1.5714 | 35.4456 | 54.6238 | 15.4558 | 58.2564 | 71.4822 | 11.9544 | 22.0871 | 85.6817 | 35 | 60.8048 | 1.5 | 99.3799 | 15 | 7.9991
3117073.2767 | 1.5326 | 36.4295 | 55.5029 | 15.5818 | 57.8529 | 72.5627 | 11.8713 | 22.0322 | 85.6811 | 35 | 59.3463 | 1.5 | 98.9386 | 15 | 8.0519
3117083.8879 | 1.4136 | 35.9235 | 55.2232 | 13.9776 | 58.1946 | 71.7811 | 11.8805 | 22.0786 | 85.6745 | 35 | 60.3498 | 1.5 | 26.9737 | 15 | 9.3099
3117085.013 | 1.408 | 36.2389 | 55.5428 | 15.1577 | 58.8284 | 71.8058 | 11.8758 | 22.0864 | 85.6678 | 35 | 59.7417 | 1.5 | 5.7268 | 15 | 8.5287
3117087.4096 | 1.4129 | 35.2378 | 55.217 | 15.3974 | 57.9487 | 72.0654 | 11.9361 | 22.0404 | 85.6746 | 35 | 59.8694 | 1.5 | 0 | 15 | 8.4651
3117090.5349 | 1.4109 | 33.8511 | 55.632 | 15.2837 | 58.1425 | 71.5179 | 11.8577 | 22.0883 | 85.6751 | 35 | 61.5558 | 1.5 | 0.026977 | 15 | 8.3431
3117102.1509 | 1.5706 | 34.2035 | 53.3483 | 16.2303 | 58.1037 | 71.6696 | 11.8719 | 21.9853 | 85.6835 | 35 | 61.9367 | 1.5 | 18.5891 | 15 | 8.0564
3117112.457 | 1.552 | 33.8926 | 52.7397 | 14.6168 | 57.9493 | 72.5102 | 11.8506 | 22.0564 | 85.676 | 35 | 61.5612 | 1.5 | 100 | 15 | 8.939
3117113.0089 | 1.5214 | 34.005 | 54.8082 | 13.8239 | 58.4115 | 71.9588 | 11.9058 | 22.08 | 85.6797 | 35 | 61.6866 | 1.5 | 97.9995 | 15 | 9.3533
3117116.481 | 1.5334 | 34.9917 | 52.5491 | 15.591 | 59.0665 | 71.8882 | 11.9225 | 21.9837 | 85.6761 | 35 | 61.4492 | 1.5 | 100 | 15 | 8.4906
3117120.998 | 1.4887 | 34.8639 | 52.3893 | 16.1043 | 57.94 | 72.4184 | 11.9132 | 22.0562 | 85.6674 | 35 | 60.1703 | 1.5 | 88.1184 | 15 | 8.1993
3117128.149 | 1.4135 | 35.4977 | 54.6146 | 15.3329 | 58.4134 | 71.6232 | 11.9268 | 22.0588 | 85.6738 | 35 | 61.0669 | 1.5 | 0 | 15 | 8.3113
3117139.4659 | 1.5602 | 35.3429 | 54.1628 | 14.5554 | 58.736 | 71.6369 | 11.8414 | 22.0447 | 85.6822 | 35 | 61.4322 | 1.5 | 25.1587 | 15 | 8.8511
3117149.8549 | 1.5156 | 34.2314 | 53.0378 | 15.8123 | 58.1077 | 71.6012 | 11.8991 | 21.9806 | 85.6811 | 35 | 62.045 | 1.5 | 98.2826 | 15 | 8.3437
3117150.7535 | 1.5079 | 34.7482 | 53.4958 | 13.3968 | 58.2148 | 71.6781 | 11.8939 | 22.0559 | 85.6745 | 35 | 61.7768 | 1.5 | 96.746 | 15 | 9.3907
3117171.0199 | 1.5553 | 35.2913 | 52.8135 | 15.3974 | 58.3196 | 71.6452 | 11.7639 | 22.0143 | 85.6757 | 35 | 60.7973 | 1.5 | 13.2403 | 15 | 8.4249
3117173.2465 | 1.5352 | 35.3967 | 55.0726 | 14.4662 | 57.8066 | 71.8007 | 11.9031 | 21.9999 | 85.6833 | 35 | 60.4447 | 1.5 | 39.9817 | 15 | 8.2432