## data
Time (sec) | Water Level (ft) | Water Flowrate (GPM) | House Steam Pressure (psig) | Steam Pressure (psig) | Inlet Water Temperature (C) | Outlet Water Temperature (C) | Water Feed Temperature (C) | Ambient Temperature (C) | Ambient Pressure (kPa) | Flow Setpoint (GPM) | Flow Control Output (%) | Level Setpoint (ft) | Level Control Output (%) | Steam Setpoint (psig) | Steam Control Output (%)
3283786.1406 | 1.546 | 49.5361 | 57.5437 | 13.996 | 59.0335 | 69.0815 | 12.2109 | 21.6503 | 85.9555 | 50 | 80.2744 | 1.5 | 40.1749 | 15 | 10.5322
3283791.5489 | 1.56 | 50.281 | 56.8706 | 12.9204 | 58.9767 | 68.4764 | 12.1521 | 21.5779 | 85.9565 | 50 | 79.9659 | 1.5 | 100 | 15 | 10.1592
3283799.64 | 1.4772 | 49.4149 | 55.3246 | 15.1024 | 58.7393 | 68.3064 | 12.1641 | 21.7144 | 85.9494 | 50 | 80.6819 | 1.5 | 67.1465 | 15 | 10.0684
3283808.078 | 1.485 | 49.9906 | 56.9444 | 13.7195 | 59.6614 | 69.2956 | 12.1325 | 21.6071 | 85.9534 | 50 | 79.7834 | 1.5 | 1.2327 | 15 | 10.582
3283810.7765 | 1.4984 | 49.4408 | 55.3307 | 14.8965 | 59.033 | 69.0352 | 12.2822 | 21.6586 | 85.9557 | 50 | 80.311 | 1.5 | 0.046937 | 15 | 10.1603
3283811.2709 | 1.4944 | 49.3402 | 56.7569 | 16.2364 | 59.4137 | 68.9489 | 12.1635 | 21.6597 | 85.9541 | 50 | 80.4859 | 1.5 | 1.0482 | 15 | 9.3881
3283818.4408 | 1.5583 | 50.5247 | 57.0765 | 15.8461 | 58.3043 | 68.6863 | 12.2154 | 21.6355 | 85.9571 | 50 | 79.763 | 1.5 | 53.3451 | 15 | 9.6297
3283833.4342 | 1.4059 | 50.2859 | 57.178 | 15.1301 | 58.2108 | 69.4278 | 12.1235 | 21.5973 | 85.9504 | 50 | 79.5272 | 1.5 | 34.9159 | 15 | 9.6698
3283840.814 | 1.4835 | 49.9861 | 56.4465 | 12.8743 | 59.5048 | 68.926 | 12.1882 | 21.6848 | 85.9497 | 50 | 80.0551 | 1.5 | 0.70685 | 15 | 10.0261
3283842.3155 | 1.472 | 50.1449 | 57.4669 | 14.6691 | 58.7984 | 68.9149 | 12.1653 | 21.6087 | 85.9563 | 50 | 79.8893 | 1.5 | 1.2858 | 15 | 9.5959
3283851.0499 | 1.5499 | 49.4606 | 56.0776 | 16.4269 | 60.2634 | 70.1374 | 12.1605 | 21.5665 | 85.9507 | 50 | 80.2077 | 1.5 | 99.2297 | 15 | 9.3521
3283859.4689 | 1.4513 | 50.2726 | 54.8789 | 14.3218 | 58.3766 | 68.363 | 12.1571 | 21.5029 | 85.9513 | 50 | 79.9133 | 1.5 | 51.081 | 15 | 10.4597
3283871.5109 | 1.553 | 50.2436 | 55.3215 | 14.2911 | 59.1934 | 68.7493 | 12.1163 | 21.5675 | 85.9548 | 50 | 80.0225 | 1.5 | 10.1217 | 15 | 10.3785
3283874.159 | 1.5402 | 50.1945 | 56.4465 | 13.6088 | 59.1415 | 68.9455 | 12.1329 | 21.5713 | 85.9491 | 50 | 79.8627 | 1.5 | 45.1566 | 15 | 9.7008
3283877.797 | 1.5545 | 49.723 | 54.55 | 15.8676 | 59.6677 | 69.5918 | 12.1487 | 21.4982 | 85.9529 | 50 | 80.2376 | 1.5 | 88.247 | 15 | 9.6052
3283892.213 | 1.4232 | 49.464 | 56.4096 | 15.717 | 58.9597 | 68.8368 | 12.1918 | 21.5268 | 85.9522 | 50 | 80.3061 | 1.5 | 1.4282 | 15 | 10.2238
3283897.3419 | 1.4577 | 50.1696 | 56.3758 | 15.4589 | 58.8893 | 69.2437 | 12.2369 | 21.5769 | 85.956 | 50 | 80.1048 | 1.5 | 1.5008 | 15 | 9.6518
3283900.3669 | 1.548 | 50.1865 | 55.6135 | 14.1866 | 58.8383 | 69.192 | 12.2594 | 21.4799 | 85.9525 | 50 | 79.8575 | 1.5 | 12.0505 | 15 | 10.408
3283904.5505 | 1.5092 | 49.5634 | 56.8706 | 14.9241 | 59.7538 | 69.5491 | 12.1058 | 21.4276 | 85.9497 | 50 | 80.5311 | 1.5 | 41.9465 | 15 | 10.0858
3283908.97 | 1.5069 | 50.4377 | 54.8021 | 15.8338 | 58.5109 | 69.444 | 12.2563 | 21.5246 | 85.9528 | 50 | 79.9745 | 1.5 | 73.5839 | 15 | 9.665
3283913.0969 | 1.5055 | 50.0971 | 54.5869 | 15.9414 | 59.3374 | 68.9306 | 12.1608 | 21.4963 | 85.9513 | 50 | 79.657 | 1.5 | 73.8546 | 15 | 9.643
3283916.9389 | 1.4635 | 49.5132 | 57.0458 | 14.0083 | 59.4988 | 68.7754 | 12.2042 | 21.5519 | 85.9511 | 50 | 80.5105 | 1.5 | 47.917 | 15 | 10.6266
3283926.0749 | 1.4608 | 49.9342 | 55.8133 | 16.0797 | 59.7179 | 70.0059 | 12.2522 | 21.5601 | 85.9493 | 50 | 79.8173 | 1.5 | 0.23026 | 15 | 10.4752
3283927.335 | 1.5184 | 49.7414 | 54.4394 | 15.1915 | 58.9747 | 69.5854 | 12.1878 | 21.5027 | 85.954 | 50 | 80.0293 | 1.5 | 3.4358 | 15 | 9.8342
3283933.3499 | 1.5703 | 50.093 | 55.1863 | 14.4048 | 60.2278 | 69.0812 | 12.199 | 21.5011 | 85.9464 | 50 | 80.046 | 1.5 | 68.3503 | 15 | 10.2835
3283933.8031 | 1.5579 | 50.1062 | 55.3461 | 15.9168 | 60.215 | 69.5844 | 12.2238 | 21.5944 | 85.9513 | 50 | 80.0215 | 1.5 | 75.0668 | 15 | 10.0637
3283935.2849 | 1.5447 | 50.3213 | 56.5725 | 13.2616 | 59.3848 | 69.9754 | 12.2155 | 21.4933 | 85.9508 | 50 | 79.7196 | 1.5 | 93.6622 | 15 | 10.4925
3283941.5209 | 1.4977 | 49.7273 | 55.5367 | 15.9475 | 57.4023 | 68.0457 | 12.1571 | 21.6181 | 85.9471 | 50 | 80.3933 | 1.5 | 98.3169 | 15 | 9.5784
3283941.9679 | 1.4875 | 49.9166 | 56.8491 | 14.1589 | 58.1254 | 68.0936 | 12.2366 | 21.5575 | 85.9438 | 50 | 80.2913 | 1.5 | 97.3275 | 15 | 10.4599
3283947.5279 | 1.4283 | 50.2465 | 55.5029 | 14.457 | 58.4086 | 68.8892 | 12.2226 | 21.6262 | 85.949 | 50 | 79.6361 | 1.5 | 30.2627 | 15 | 10.3722
3283957.8009 | 1.4859 | 50.4693 | 56.6739 | 14.9303 | 59.5151 | 68.9759 | 12.1411 | 21.5649 | 85.9558 | 50 | 79.6469 | 1.5 | 3.4256 | 15 | 10.1259
3283966.5179 | 1.5518 | 49.9407 | 56.3604 | 15.5203 | 59.4059 | 68.9377 | 12.1628 | 21.631 | 85.9509 | 50 | 80.1856 | 1.5 | 98.4389 | 15 | 9.769
3283968.3569 | 1.5147 | 50.202 | 56.9536 | 14.2419 | 58.5641 | 68.4767 | 12.1484 | 21.5751 | 85.9544 | 50 | 79.9469 | 1.5 | 98.1966 | 15 | 10.4228
3283974.523 | 1.4754 | 49.7419 | 55.2785 | 13.8977 | 58.3544 | 69.3485 | 12.2129 | 21.6384 | 85.9525 | 50 | 80.0903 | 1.5 | 68.8293 | 15 | 10.0715
3283978.8267 | 1.4681 | 50.0808 | 54.2365 | 15.3237 | 59.1934 | 68.4245 | 12.1209 | 21.6167 | 85.9448 | 50 | 80.2116 | 1.5 | 25.1969 | 15 | 10.1759
3283982.5956 | 1.4189 | 50.4937 | 56.3327 | 14.0391 | 58.5974 | 69.5011 | 12.1373 | 21.6086 | 85.9509 | 50 | 79.3948 | 1.5 | 0.59389 | 15 | 10.2907
3283992.6389 | 1.5357 | 49.8138 | 56.4987 | 14.3402 | 59.5307 | 69.8428 | 12.2312 | 21.7573 | 85.9487 | 50 | 80.5955 | 1.5 | 38.9454 | 15 | 10.3395
3283995.076 | 1.567 | 50.2092 | 55.1924 | 13.7656 | 58.8504 | 69.7293 | 12.1469 | 21.6796 | 85.9468 | 50 | 80.1836 | 1.5 | 71.027 | 15 | 10.651
3283995.5033 | 1.5424 | 50.243 | 54.1843 | 16.1534 | 58.4848 | 69.2978 | 12.205 | 21.6034 | 85.9488 | 50 | 80.1277 | 1.5 | 74.2886 | 15 | 10.1775
3283998.1489 | 1.5226 | 50.3808 | 56.2559 | 13.5289 | 58.246 | 68.7378 | 12.2537 | 21.6404 | 85.9495 | 50 | 79.7446 | 1.5 | 87.9974 | 15 | 10.1348
3283998.9925 | 1.5279 | 50.3973 | 53.7571 | 15.674 | 59.4936 | 68.679 | 12.2616 | 21.6868 | 85.9528 | 50 | 79.6181 | 1.5 | 90.5938 | 15 | 10.59
3284003.134 | 1.4802 | 49.4433 | 56.6278 | 14.0759 | 59.3259 | 69.2767 | 12.1328 | 21.6733 | 85.9484 | 50 | 80.4926 | 1.5 | 97.7501 | 15 | 9.816
3284010.9495 | 1.4329 | 50.4466 | 56.2682 | 16.7957 | 58.8915 | 69.1937 | 12.111 | 21.704 | 85.9487 | 50 | 79.7171 | 1.5 | 0 | 15 | 9.1191
3284015.5859 | 1.4893 | 49.5162 | 55.2017 | 15.8523 | 59.4587 | 69.3418 | 12.2246 | 21.6086 | 85.9504 | 50 | 80.4308 | 1.5 | 1.7588 | 15 | 9.5278
3284017.3828 | 1.4688 | 49.8718 | 56.4557 | 14.8842 | 58.3987 | 69.1238 | 12.0605 | 21.6708 | 85.9471 | 50 | 80.4008 | 1.5 | 1.914 | 15 | 10.1307
3284017.8409 | 1.5204 | 49.8659 | 54.3257 | 16.0121 | 58.2889 | 68.7753 | 12.2169 | 21.623 | 85.9467 | 50 | 80.4257 | 1.5 | 3.3141 | 15 | 9.4146
3284018.3272 | 1.5092 | 49.864 | 54.8297 | 14.036 | 58.6784 | 68.7925 | 12.0702 | 21.6989 | 85.9435 | 50 | 80.3013 | 1.5 | 2.686 | 15 | 9.3595
3284027.5301 | 1.5101 | 49.3123 | 56.4588 | 14.1343 | 59.3046 | 69.2414 | 12.1313 | 21.6754 | 85.9497 | 50 | 80.351 | 1.5 | 97.3242 | 15 | 10.4281
3284029.6335 | 1.5005 | 49.7032 | 56.5878 | 14.832 | 58.1453 | 68.7361 | 12.123 | 21.7063 | 85.9503 | 50 | 80.445 | 1.5 | 99.7431 | 15 | 9.823
3284034.0189 | 1.5132 | 50.4525 | 53.6526 | 15.2069 | 58.816 | 69.0638 | 12.2211 | 21.7272 | 85.9507 | 50 | 79.5993 | 1.5 | 88.8958 | 15 | 9.9379
3284035.775 | 1.4543 | 50.219 | 56.3512 | 14.4878 | 58.8371 | 69.2065 | 12.0995 | 21.7366 | 85.9461 | 50 | 79.536 | 1.5 | 76.5658 | 15 | 10.1418
3284038.0039 | 1.4374 | 49.6613 | 53.9691 | 14.1743 | 58.7717 | 69.9675 | 12.0878 | 21.6504 | 85.9488 | 50 | 80.0113 | 1.5 | 42.9515 | 15 | 9.739
3284043.9387 | 1.4574 | 50.2679 | 55.4906 | 14.1005 | 59.1146 | 68.6758 | 12.14 | 21.716 | 85.952 | 50 | 80.1702 | 1.5 | 0.7582 | 15 | 9.3956
3284048.2186 | 1.5351 | 50.1678 | 54.507 | 14.1005 | 59.3286 | 68.7694 | 12.1233 | 21.681 | 85.9473 | 50 | 79.8911 | 1.5 | 6.4975 | 15 | 10.3732
3284054.4302 | 1.5286 | 50.1157 | 56.4004 | 14.5339 | 59.0871 | 69.7875 | 12.1959 | 21.6666 | 85.948 | 50 | 80.2466 | 1.5 | 53.6749 | 15 | 10.2207
3284060.3769 | 1.5043 | 50.2956 | 56.1237 | 14.8934 | 58.5585 | 68.9154 | 12.1146 | 21.5766 | 85.9472 | 50 | 79.3373 | 1.5 | 83.9059 | 15 | 10.0852
3284075.3339 | 1.4618 | 49.8368 | 56.1575 | 14.6629 | 58.3488 | 69.4382 | 12.0906 | 21.6699 | 85.9498 | 50 | 80.1643 | 1.5 | 1.1273 | 15 | 9.7735
3284082.9044 | 1.5598 | 50.5245 | 55.7918 | 13.2247 | 60.5793 | 69.3515 | 12.1685 | 21.6858 | 85.952 | 50 | 79.8218 | 1.5 | 47.3732 | 15 | 9.3308
3284090.9609 | 1.5082 | 49.6432 | 55.4045 | 16.2856 | 59.1845 | 69.2363 | 12.1079 | 21.5894 | 85.9389 | 50 | 80.3574 | 1.5 | 97.4935 | 15 | 9.3511
3284095.191 | 1.4686 | 50.1991 | 56.6923 | 14.6875 | 60.1123 | 68.7415 | 12.2376 | 21.6958 | 85.9489 | 50 | 80.1251 | 1.5 | 67.406 | 15 | 10.1645
3284098.3865 | 1.4474 | 50.2476 | 56.4741 | 13.9776 | 58.5296 | 69.001 | 12.1454 | 21.6401 | 85.9508 | 50 | 79.8342 | 1.5 | 29.9991 | 15 | 10.5461
3284107.4529 | 1.4616 | 50.0158 | 56.0715 | 15.9014 | 59.6653 | 69.7064 | 12.0773 | 21.6281 | 85.9471 | 50 | 80.3122 | 1.5 | 1.1549 | 15 | 10.3254
3284117.5069 | 1.553 | 49.7123 | 56.5079 | 14.1866 | 60.1873 | 69.8509 | 12.2841 | 21.6408 | 85.949 | 50 | 80.3144 | 1.5 | 95.7905 | 15 | 10.3349
3284123.2327 | 1.4994 | 50.1917 | 53.8247 | 16.0213 | 58.4692 | 69.1122 | 12.1198 | 21.6738 | 85.9513 | 50 | 79.8926 | 1.5 | 94.4929 | 15 | 9.539
3284123.7893 | 1.4565 | 50.0403 | 56.554 | 15.2438 | 58.6432 | 68.591 | 12.1609 | 21.6449 | 85.9481 | 50 | 79.9684 | 1.5 | 90.4782 | 15 | 9.868
3284132.0699 | 1.4565 | 50.028 | 53.8247 | 14.5554 | 58.3431 | 68.3249 | 12.226 | 21.5494 | 85.946 | 50 | 80.6926 | 1.5 | 1.8533 | 15 | 10.2274
3284140.9327 | 1.5161 | 49.6857 | 54.381 | 14.583 | 59.2877 | 69.6028 | 12.0954 | 21.5692 | 85.9484 | 50 | 80.3374 | 1.5 | 1.9232 | 15 | 8.7917
3284141.5139 | 1.52 | 49.7051 | 55.2293 | 13.6027 | 58.1279 | 69.4889 | 12.1932 | 21.7156 | 85.9485 | 50 | 80.3897 | 1.5 | 5.2236 | 15 | 9.9354
3284146.4224 | 1.5437 | 50.4179 | 56.0131 | 15.7385 | 58.642 | 70.1223 | 12.1757 | 21.6443 | 85.9498 | 50 | 79.647 | 1.5 | 59.0777 | 15 | 10.6194
3284150.8098 | 1.5426 | 49.7577 | 55.5397 | 15.5326 | 58.504 | 69.7099 | 12.1776 | 21.5743 | 85.9427 | 50 | 79.8744 | 1.5 | 99.468 | 15 | 10.5266
3284151.3459 | 1.5329 | 49.5788 | 55.1678 | 15.966 | 59.335 | 69.3149 | 12.2294 | 21.6912 | 85.9491 | 50 | 80.0806 | 1.5 | 98.4867 | 15 | 10.8399
3284152.5569 | 1.5075 | 49.3844 | 55.2969 | 15.9567 | 59.7766 | 69.3556 | 12.2389 | 21.7265 | 85.9421 | 50 | 80.4466 | 1.5 | 98.8276 | 15 | 9.5115
3284156.5672 | 1.4764 | 50.2911 | 53.7878 | 15.9783 | 58.6945 | 68.5568 | 12.2159 | 21.5954 | 85.9465 | 50 | 80.0332 | 1.5 | 88.8752 | 15 | 9.5074
3284157.0839 | 1.4456 | 50.4163 | 56.0899 | 16.4269 | 57.6487 | 68.7573 | 12.2053 | 21.7065 | 85.9429 | 50 | 79.8735 | 1.5 | 81.76 | 15 | 9.7408
3284161.0809 | 1.445 | 49.9927 | 54.6791 | 16.261 | 59.3373 | 69.7826 | 12.2296 | 21.6174 | 85.9497 | 50 | 79.685 | 1.5 | 22.7238 | 15 | 9.3765
3284171.1329 | 1.5119 | 50.3198 | 56.2159 | 13.741 | 59.4902 | 69.1431 | 12.2608 | 21.5703 | 85.9496 | 50 | 79.769 | 1.5 | 19.7393 | 15 | 9.398
3284173.6366 | 1.5179 | 50.0911 | 54.8728 | 16.7465 | 58.4229 | 68.9871 | 12.182 | 21.564 | 85.9448 | 50 | 79.7339 | 1.5 | 28.5337 | 15 | 9.0688
3284181.295 | 1.4777 | 50.4325 | 55.9854 | 13.6641 | 59.0374 | 68.8724 | 12.0889 | 21.5492 | 85.9423 | 50 | 79.8768 | 1.5 | 78.6432 | 15 | 9.8371
3284204.0309 | 1.5652 | 50.106 | 56.0653 | 15.0563 | 58.3158 | 69.7583 | 12.0926 | 21.489 | 85.9477 | 50 | 80.1963 | 1.5 | 77.2055 | 15 | 9.868
3284210.3359 | 1.5423 | 49.6916 | 55.1279 | 16.1903 | 59.2681 | 68.9425 | 12.1996 | 21.5219 | 85.941 | 50 | 80.354 | 1.5 | 98.165 | 15 | 10.4047
3284220.5263 | 1.4151 | 49.8612 | 55.2785 | 15.5572 | 58.6095 | 69.2835 | 12.1612 | 21.6329 | 85.9454 | 50 | 79.7515 | 1.5 | 0.090217 | 15 | 9.5396
3284228.9149 | 1.4632 | 50.3048 | 56.0715 | 15.6494 | 59.5053 | 69.0704 | 12.1418 | 21.5963 | 85.9411 | 50 | 79.9989 | 1.5 | 0.99989 | 15 | 10.0313
3284233.0137 | 1.5226 | 50.1152 | 55.6504 | 13.2831 | 59.6328 | 69.7115 | 12.2422 | 21.5432 | 85.9402 | 50 | 79.8473 | 1.5 | 27.4449 | 15 | 9.101
3284235.091 | 1.5451 | 49.6846 | 54.4794 | 14.0882 | 59.1746 | 69.7835 | 12.0844 | 21.5909 | 85.9433 | 50 | 80.3064 | 1.5 | 46.6071 | 15 | 10.2165
3284241.4051 | 1.5324 | 50.4094 | 54.2304 | 14.8166 | 59.2341 | 70.3064 | 12.176 | 21.6211 | 85.9432 | 50 | 79.4216 | 1.5 | 98.7695 | 15 | 10.4717
3284241.9202 | 1.51 | 50.3115 | 56.9044 | 15.9291 | 59.1336 | 69.6899 | 12.1213 | 21.6605 | 85.9416 | 50 | 79.4415 | 1.5 | 100 | 15 | 9.7324
3284242.478 | 1.5342 | 50.117 | 54.3595 | 14.6168 | 59.5949 | 69.6358 | 12.0791 | 21.6585 | 85.9387 | 50 | 79.5346 | 1.5 | 100 | 15 | 10.0583
3284245.236 | 1.4807 | 49.6639 | 54.3472 | 16.2733 | 58.8396 | 69.0449 | 12.1944 | 21.6655 | 85.9451 | 50 | 79.9774 | 1.5 | 91.7999 | 15 | 9.2843
3284253.4159 | 1.4202 | 50.4071 | 55.7733 | 13.91 | 59.35 | 69.5711 | 12.1084 | 21.7715 | 85.9451 | 50 | 79.6042 | 1.5 | 0.5455 | 15 | 10.3052
3284259.8071 | 1.4513 | 49.3341 | 54.8021 | 15.8891 | 59.7232 | 70.1285 | 12.1961 | 21.7935 | 85.9437 | 50 | 80.7197 | 1.5 | 0 | 15 | 10.2136
3284267.7358 | 1.5522 | 50.1175 | 54.6054 | 14.9272 | 59.5657 | 70.348 | 12.175 | 21.5592 | 85.9492 | 50 | 79.7704 | 1.5 | 81.5391 | 15 | 9.892
3284282.0689 | 1.4054 | 49.6638 | 54.9957 | 15.7631 | 59.9161 | 70.377 | 12.2273 | 21.5349 | 85.9503 | 50 | 79.9371 | 1.5 | 4.5412 | 15 | 9.3462
3284284.4325 | 1.4203 | 49.483 | 55.2232 | 16.2579 | 60.365 | 69.6942 | 12.2611 | 21.5608 | 85.9538 | 50 | 80.512 | 1.5 | 2.0427 | 15 | 9.6674
3284284.9659 | 1.4277 | 49.7368 | 54.5562 | 16.2272 | 59.9918 | 69.8595 | 12.1465 | 21.5306 | 85.95 | 50 | 80.3752 | 1.5 | 1.6494 | 15 | 9.8594
3284290.34 | 1.4661 | 50.3229 | 53.5235 | 15.6033 | 60.2903 | 69.8733 | 12.1287 | 21.6411 | 85.9464 | 50 | 79.6563 | 1.5 | 0.62548 | 15 | 9.3111
3284294.8339 | 1.5212 | 49.5921 | 54.4701 | 14.1804 | 60.9828 | 70.1717 | 12.2161 | 21.4453 | 85.9484 | 50 | 80.1384 | 1.5 | 28.5065 | 15 | 9.694
3284295.3641 | 1.5025 | 49.5879 | 54.4947 | 15.2007 | 60.6382 | 70.3023 | 12.2425 | 21.5274 | 85.9421 | 50 | 80.2152 | 1.5 | 31.2133 | 15 | 10.2838
3284304.8249 | 1.4885 | 50.4199 | 53.17 | 13.8147 | 60.4961 | 70.1199 | 12.1211 | 21.41 | 85.9483 | 50 | 79.7903 | 1.5 | 81.7499 | 15 | 9.7854
3284307.5285 | 1.4408 | 50.1193 | 54.0982 | 16.1719 | 59.9766 | 70.4435 | 12.1225 | 21.3957 | 85.9463 | 50 | 79.7394 | 1.5 | 53.8556 | 15 | 9.5213
3284313.0329 | 1.4634 | 50.1186 | 52.208 | 16.261 | 60.4017 | 70.3246 | 12.2126 | 21.3605 | 85.9417 | 50 | 79.9078 | 1.5 | 0 | 15 | 9.5262
3284313.5549 | 1.4893 | 50.1159 | 52.7366 | 14.1559 | 59.9694 | 70.2409 | 12.1227 | 21.369 | 85.9478 | 50 | 79.8885 | 1.5 | 1.1205 | 15 | 9.8243
3284325.6076 | 1.5536 | 50.2951 | 53.2806 | 16.4116 | 60.6793 | 70.2647 | 12.2659 | 21.3743 | 85.9488 | 50 | 80.0562 | 1.5 | 70.5301 | 15 | 9.0492
3284327.4964 | 1.5374 | 50.3646 | 55.3922 | 15.8461 | 61.2984 | 71.1969 | 12.2737 | 21.3806 | 85.944 | 50 | 79.7458 | 1.5 | 95.1243 | 15 | 9.3403
3284333.4623 | 1.5196 | 49.5742 | 54.2335 | 13.8762 | 60.1525 | 70.4553 | 12.1854 | 21.454 | 85.9432 | 50 | 80.5521 | 1.5 | 98.0563 | 15 | 8.9558
3284341.7856 | 1.4269 | 49.9677 | 53.0501 | 15.3605 | 60.1796 | 70.8644 | 12.1379 | 21.4243 | 85.9506 | 50 | 79.8526 | 1.5 | 2.7126 | 15 | 9.71
3284345.5569 | 1.429 | 49.6623 | 53.7294 | 13.9284 | 60.5898 | 70.2195 | 12.1193 | 21.4541 | 85.9485 | 50 | 80.3512 | 1.5 | 0.98043 | 15 | 10.1229
3284372.5189 | 1.4351 | 49.5903 | 53.6218 | 15.4558 | 60.4173 | 70.1112 | 12.0633 | 21.5218 | 85.9475 | 50 | 80.8541 | 1.5 | 13.9786 | 15 | 9.5122
3284380.9046 | 1.4966 | 50.3956 | 53.7909 | 15.296 | 61.063 | 71.4103 | 12.1597 | 21.5205 | 85.9507 | 50 | 79.7074 | 1.5 | 1.573 | 15 | 9.9072
3284389.0199 | 1.5051 | 50.0149 | 55.7057 | 14.9795 | 60.8395 | 71.023 | 12.0917 | 21.5732 | 85.9467 | 50 | 80.3829 | 1.5 | 30.049 | 15 | 9.7559
3284403.2839 | 1.4635 | 50.27 | 54.2796 | 14.2757 | 61.306 | 70.4185 | 12.1264 | 21.6644 | 85.9437 | 50 | 79.9884 | 1.5 | 47.253 | 15 | 9.3998
3284408.6459 | 1.4159 | 49.9057 | 55.5305 | 15.2376 | 61.5577 | 71.9611 | 12.146 | 21.5272 | 85.9467 | 50 | 79.9836 | 1.5 | 0 | 15 | 9.5422
3284411.7999 | 1.4912 | 49.7884 | 53.5019 | 15.4312 | 61.8201 | 70.4428 | 12.1244 | 21.5876 | 85.9491 | 50 | 80.3412 | 1.5 | 1.9717 | 15 | 9.4319
3284415.7529 | 1.4876 | 50.2092 | 53.7878 | 14.6076 | 62.038 | 71.1067 | 12.1374 | 21.6103 | 85.9499 | 50 | 79.9391 | 1.5 | 0.88297 | 15 | 9.3975
3284421.815 | 1.5305 | 49.6321 | 55.4014 | 13.6979 | 61.01 | 71.3635 | 12.1788 | 21.6547 | 85.9463 | 50 | 80.0991 | 1.5 | 56.1851 | 15 | 9.6773
3284426.3027 | 1.5149 | 49.9944 | 53.2591 | 15.3698 | 61.4483 | 71.6247 | 12.106 | 21.6449 | 85.945 | 50 | 80.3153 | 1.5 | 77.5099 | 15 | 10.2434
3284428.4609 | 1.4571 | 50.4458 | 55.884 | 14.878 | 61.6863 | 71.4428 | 12.0769 | 21.6289 | 85.9479 | 50 | 79.7488 | 1.5 | 66.8418 | 15 | 9.7152
3284430.1662 | 1.4747 | 50.4686 | 53.588 | 13.366 | 60.985 | 70.8738 | 12.06 | 21.5925 | 85.9467 | 50 | 79.4616 | 1.5 | 54.489 | 15 | 10.5117
3284440.1229 | 1.4911 | 50.2948 | 54.507 | 15.926 | 60.7925 | 70.4309 | 12.0936 | 21.605 | 85.9465 | 50 | 80.1701 | 1.5 | 1.9962 | 15 | 10.1952
3284450.7949 | 1.5156 | 49.6417 | 54.7621 | 16.5499 | 60.8623 | 70.9962 | 12.1681 | 21.5513 | 85.9547 | 50 | 80.4853 | 1.5 | 96.0143 | 15 | 8.8891
3284458.7429 | 1.4339 | 50.092 | 54.507 | 15.6187 | 61.1764 | 71.4566 | 12.1504 | 21.6552 | 85.9505 | 50 | 80.1338 | 1.5 | 5.2146 | 15 | 10.2234
3284463.7476 | 1.4843 | 50.1363 | 53.6526 | 15.3544 | 61.2138 | 70.8177 | 12.1022 | 21.6307 | 85.9457 | 50 | 79.7949 | 1.5 | 1.9029 | 15 | 9.4027
3284473.1389 | 1.5712 | 50.2666 | 53.5081 | 16.218 | 62.2666 | 71.1332 | 12.1874 | 21.5121 | 85.9505 | 50 | 80.112 | 1.5 | 33.1904 | 15 | 9.1554
3284487.6169 | 1.4283 | 50.0399 | 55.2232 | 16.1442 | 60.4407 | 71.201 | 11.9738 | 21.5131 | 85.9475 | 50 | 79.988 | 1.5 | 33.6657 | 15 | 9.075
3284489.27 | 1.4388 | 49.9652 | 54.4701 | 14.0298 | 62.2749 | 70.6904 | 12.0224 | 21.5136 | 85.9509 | 50 | 80.0352 | 1.5 | 5.8531 | 15 | 10.1479
3284493.6241 | 1.4659 | 49.7383 | 54.839 | 16.3409 | 61.2341 | 71.4486 | 11.9821 | 21.4275 | 85.9533 | 50 | 80.5293 | 1.5 | 0 | 15 | 10.2499
3284509.9839 | 1.4996 | 50.1212 | 55.3277 | 15.5664 | 61.7622 | 71.2162 | 12.0914 | 21.4705 | 85.9467 | 50 | 80.1484 | 1.5 | 90.6159 | 15 | 9.8318
3284518.0639 | 1.4291 | 49.7411 | 54.8297 | 13.9038 | 61.5293 | 70.7887 | 12.0838 | 21.5271 | 85.9493 | 50 | 80.311 | 1.5 | 9.8496 | 15 | 9.3803
3284526.7979 | 1.4991 | 49.5106 | 54.1997 | 15.1362 | 60.1906 | 71.6328 | 12.0192 | 21.4595 | 85.9493 | 50 | 80.0868 | 1.5 | 2.4332 | 15 | 9.4783
3284528.4789 | 1.5043 | 49.3996 | 56.2928 | 14.3679 | 61.9214 | 71.0739 | 12.1543 | 21.4021 | 85.9537 | 50 | 80.4839 | 1.5 | 4.1837 | 15 | 9.873
3284536.5249 | 1.5489 | 50.2428 | 53.4097 | 15.7293 | 62.4302 | 71.8786 | 12.1443 | 21.4484 | 85.9504 | 50 | 79.5949 | 1.5 | 79.2347 | 15 | 9.1751
3284542.7209 | 1.4541 | 49.6656 | 56.3758 | 14.875 | 61.1804 | 70.0643 | 12.0136 | 21.4463 | 85.9475 | 50 | 80.6268 | 1.5 | 59.157 | 15 | 9.676
3284549.5869 | 1.453 | 50.2405 | 53.6372 | 15.6187 | 61.7564 | 72.1576 | 12.1455 | 21.4883 | 85.9492 | 50 | 79.7133 | 1.5 | 1.9419 | 15 | 9.2647
3284557.0175 | 1.5243 | 49.9881 | 55.7303 | 13.5105 | 62.0263 | 71.7658 | 12.1551 | 21.5202 | 85.9507 | 50 | 80.4606 | 1.5 | 18.7326 | 15 | 10.3493
3284560.8849 | 1.5215 | 50.2859 | 54.1812 | 15.0686 | 62.6457 | 72.1035 | 12.0914 | 21.5685 | 85.9501 | 50 | 80.0073 | 1.5 | 35.7719 | 15 | 9.4317
3284571.309 | 1.4683 | 49.8177 | 56.7016 | 14.9702 | 61.7529 | 71.0773 | 12.1701 | 21.6053 | 85.9496 | 50 | 80.7322 | 1.5 | 50.202 | 15 | 9.4915
3284577.4441 | 1.4687 | 50.3202 | 55.0633 | 14.3833 | 61.7288 | 71.7341 | 12.1816 | 21.4863 | 85.9482 | 50 | 79.8489 | 1.5 | 1.3465 | 15 | 9.2495
3284591.2869 | 1.5203 | 50.3225 | 55.8533 | 15.6033 | 60.8807 | 72.0027 | 12.0392 | 21.6052 | 85.9502 | 50 | 80.1058 | 1.5 | 81.633 | 15 | 9.1677
3284591.7805 | 1.5128 | 50.3239 | 56.4403 | 15.3544 | 62.1863 | 71.6672 | 12.0599 | 21.6056 | 85.9505 | 50 | 80.0503 | 1.5 | 84.7571 | 15 | 9.2903
3284595.6454 | 1.4571 | 49.9623 | 55.174 | 16.052 | 62.0642 | 71.7395 | 12.1484 | 21.7043 | 85.9486 | 50 | 80.0209 | 1.5 | 83.5517 | 15 | 10.2675
3284608.5709 | 1.4692 | 50.4194 | 56.1821 | 14.0083 | 61.9863 | 71.1575 | 12.0907 | 21.666 | 85.9494 | 50 | 79.7575 | 1.5 | 0.16729 | 15 | 10.11
3284621.7803 | 1.5175 | 50.2685 | 53.5696 | 15.4435 | 61.0889 | 71.4604 | 12.111 | 21.6694 | 85.9529 | 50 | 79.9293 | 1.5 | 96.7476 | 15 | 9.2559
3284622.2784 | 1.49 | 50.238 | 55.3092 | 16.5652 | 61.254 | 71.5636 | 12.0474 | 21.7108 | 85.9515 | 50 | 79.9062 | 1.5 | 94.6139 | 15 | 8.7154
3284631.0829 | 1.4543 | 50.0039 | 54.4271 | 16.1504 | 61.5206 | 71.0002 | 12.1562 | 21.7144 | 85.9515 | 50 | 80.4023 | 1.5 | 0 | 15 | 9.0616
3284648.489 | 1.5473 | 49.9697 | 55.3676 | 13.492 | 60.963 | 71.6721 | 12.1178 | 21.6564 | 85.9456 | 50 | 79.9081 | 1.5 | 96.0603 | 15 | 10.47
3284658.1061 | 1.3935 | 50.2457 | 56.2067 | 15.5111 | 62.1451 | 70.4645 | 12.1675 | 21.7285 | 85.9527 | 50 | 80.0824 | 1.5 | 18.8948 | 15 | 9.4504
3284661.8601 | 1.4395 | 50.0728 | 54.3257 | 16.6236 | 61.5893 | 71.6446 | 12.1805 | 21.7394 | 85.9547 | 50 | 79.8392 | 1.5 | 1.1439 | 15 | 8.661
3284670.0654 | 1.5557 | 50.1399 | 54.5716 | 14.8289 | 62.1266 | 71.827 | 12.16 | 21.7176 | 85.9457 | 50 | 80.1522 | 1.5 | 15.3296 | 15 | 9.3058
3284678.333 | 1.5073 | 49.609 | 56.2559 | 13.406 | 62.3457 | 71.4343 | 12.0605 | 21.7603 | 85.951 | 50 | 80.3452 | 1.5 | 77.6801 | 15 | 9.0422
3284684.6089 | 1.4279 | 50.3446 | 56.1391 | 16.4024 | 60.7257 | 70.9585 | 12.1195 | 21.6665 | 85.9539 | 50 | 79.5748 | 1.5 | 34.5311 | 15 | 8.8931
3284695.8589 | 1.4851 | 50.3927 | 57.0981 | 15.5787 | 61.7048 | 72.1162 | 12.2677 | 21.6418 | 85.9505 | 50 | 79.7 | 1.5 | 1.2286 | 15 | 9.5483
3284707.406 | 1.4868 | 50.1921 | 56.6063 | 13.953 | 61.825 | 71.9601 | 12.1247 | 21.6723 | 85.9484 | 50 | 79.9914 | 1.5 | 96.8292 | 15 | 10.0005
3284717.2659 | 1.373 | 49.7923 | 56.4465 | 16.2579 | 61.5714 | 71.2467 | 12.215 | 21.6674 | 85.9531 | 50 | 80.5556 | 1.5 | 0 | 15 | 8.8219
3284729.0441 | 1.5121 | 50.0437 | 56.3112 | 15.9598 | 62.371 | 72.0859 | 12.0679 | 21.6549 | 85.9545 | 50 | 80.1445 | 1.5 | 12.8738 | 15 | 9.6006
3284732.183 | 1.5405 | 50.3062 | 56.637 | 15.6586 | 62.3298 | 71.8046 | 12.045 | 21.7006 | 85.9528 | 50 | 79.7827 | 1.5 | 46.6328 | 15 | 10.1014
3284743.9059 | 1.4682 | 50.241 | 54.4732 | 14.6045 | 61.2852 | 71.4206 | 12.1687 | 21.7942 | 85.9526 | 50 | 80.1613 | 1.5 | 54.1247 | 15 | 9.4827
3284748.0759 | 1.4376 | 50.0129 | 53.588 | 16.4577 | 62.1573 | 71.3361 | 12.1259 | 21.7317 | 85.9522 | 50 | 79.9904 | 1.5 | 1.8669 | 15 | 8.8465
3284748.6099 | 1.4242 | 50.0167 | 54.925 | 15.6156 | 61.564 | 71.5768 | 12.167 | 21.6374 | 85.958 | 50 | 79.984 | 1.5 | 0.033199 | 15 | 9.2227
3284756.1689 | 1.4958 | 50.5258 | 55.1771 | 14.3402 | 62.1985 | 71.2878 | 12.1256 | 21.6127 | 85.9538 | 50 | 79.9409 | 1.5 | 1.8549 | 15 | 9.9024
3284762.716 | 1.5323 | 49.4874 | 53.8462 | 14.6937 | 62.0027 | 71.9184 | 12.0255 | 21.7703 | 85.9511 | 50 | 80.323 | 1.5 | 43.9083 | 15 | 9.7703
3284768.683 | 1.5195 | 50.6 | 54.0829 | 15.5511 | 62.8219 | 72.311 | 12.0093 | 21.6759 | 85.953 | 50 | 79.773 | 1.5 | 61.1277 | 15 | 9.5978
3284771.1379 | 1.5093 | 50.6748 | 54.0122 | 15.6679 | 62.1559 | 72.7353 | 12.1817 | 21.6625 | 85.9546 | 50 | 79.163 | 1.5 | 66.8814 | 15 | 9.1996
3284781.0609 | 1.4873 | 50.0343 | 56.0991 | 13.5689 | 62.0978 | 71.5037 | 12.1959 | 21.6755 | 85.9541 | 50 | 80.4564 | 1.5 | 0.56596 | 15 | 9.131
3284791.5033 | 1.5298 | 49.6925 | 56.3204 | 15.4558 | 61.7984 | 71.5793 | 12.1218 | 21.7891 | 85.9563 | 50 | 80.5864 | 1.5 | 71.5836 | 15 | 10.6075
3284796.7899 | 1.4633 | 50.3455 | 56.2036 | 14.1712 | 62.9108 | 72.2127 | 12.1092 | 21.7362 | 85.9566 | 50 | 80.0272 | 1.5 | 82.979 | 15 | 9.8141
3284816.0441 | 1.5187 | 49.5897 | 56.5387 | 15.1024 | 62.6322 | 71.7371 | 12.2023 | 21.7203 | 85.953 | 50 | 80.5767 | 1.5 | 25.445 | 15 | 9.6633
3284826.092 | 1.4708 | 49.9188 | 55.9424 | 15.3175 | 63.1701 | 72.6527 | 12.1973 | 21.7024 | 85.9527 | 50 | 79.9841 | 1.5 | 51.5095 | 15 | 9.8679
3284827.1039 | 1.449 | 49.6862 | 57.0089 | 15.127 | 60.9958 | 72.4988 | 12.0896 | 21.8394 | 85.9565 | 50 | 80.2549 | 1.5 | 42.6637 | 15 | 9.8497
3284842.6585 | 1.5575 | 49.9138 | 54.421 | 16.1381 | 61.9178 | 71.3132 | 12.0177 | 21.7089 | 85.9545 | 50 | 80.4925 | 1.5 | 66.7923 | 15 | 8.9698
3284855.1849 | 1.4451 | 49.7406 | 55.9147 | 14.3187 | 63.1071 | 71.7333 | 12.1067 | 21.6773 | 85.952 | 50 | 80.7112 | 1.5 | 79.3131 | 15 | 9.6716
3284857.2429 | 1.403 | 50.1946 | 56.4895 | 14.8873 | 61.678 | 71.3734 | 12.1149 | 21.7884 | 85.957 | 50 | 80.3484 | 1.5 | 41.2694 | 15 | 9.9613
3284865.4249 | 1.432 | 49.527 | 56.2497 | 15.5203 | 62.0789 | 71.9796 | 12.0172 | 21.7252 | 85.95 | 50 | 80.3986 | 1.5 | 0.15952 | 15 | 9.2983
3284869.72 | 1.503 | 50.078 | 55.2816 | 14.2235 | 61.782 | 71.2257 | 12.0217 | 21.829 | 85.9553 | 50 | 80.4721 | 1.5 | 2.2489 | 15 | 9.887
3284885.871 | 1.5069 | 50.5316 | 54.9496 | 14.2265 | 61.0006 | 71.0799 | 12.1216 | 21.7772 | 85.9579 | 50 | 79.4001 | 1.5 | 95.1469 | 15 | 9.8369
3284890.2741 | 1.42 | 49.5615 | 54.8636 | 13.4828 | 62.9266 | 71.7549 | 12.0987 | 21.7565 | 85.9555 | 50 | 80.2547 | 1.5 | 36.6047 | 15 | 8.9704
3284902.5489 | 1.4827 | 49.511 | 56.0039 | 15.5019 | 62.265 | 71.6764 | 12.0962 | 21.9023 | 85.9551 | 50 | 80.403 | 1.5 | 0.77543 | 15 | 9.2468
3284907.6609 | 1.5424 | 50.1697 | 54.59 | 16.178 | 60.3809 | 71.8048 | 12.1644 | 21.7554 | 85.9525 | 50 | 80.4277 | 1.5 | 43.2771 | 15 | 8.9597
3284912.4855 | 1.5155 | 50.245 | 55.4813 | 16.4146 | 62.2196 | 71.7498 | 12.2394 | 21.7722 | 85.9482 | 50 | 79.7913 | 1.5 | 79.3858 | 15 | 8.8499
3284918.678 | 1.4507 | 49.991 | 54.2027 | 16.0182 | 60.8752 | 71.4516 | 12.2454 | 21.825 | 85.9573 | 50 | 80.4511 | 1.5 | 64.4328 | 15 | 8.9252
3284919.3479 | 1.4582 | 49.99 | 54.1812 | 13.7379 | 60.0945 | 70.7735 | 12.0133 | 21.783 | 85.9538 | 50 | 80.4532 | 1.5 | 55.9586 | 15 | 10.0907
3284936.6659 | 1.5321 | 50.2122 | 53.5603 | 15.0993 | 61.7699 | 71.612 | 12.1004 | 21.8415 | 85.9458 | 50 | 79.7976 | 1.5 | 41.5558 | 15 | 9.8493
3284953.8379 | 1.5094 | 49.6941 | 54.9896 | 14.119 | 61.9387 | 71.5997 | 12.0545 | 21.8415 | 85.9458 | 50 | 80.1419 | 1.5 | 5.0755 | 15 | 9.1288
3284955.819 | 1.4931 | 49.9406 | 55.3277 | 13.2738 | 61.5889 | 71.4058 | 12.1205 | 21.8415 | 85.9458 | 50 | 80.1039 | 1.5 | 9.2573 | 15 | 10.2875
3284964.0674 | 1.5351 | 49.8644 | 55.5981 | 14.5922 | 62.2872 | 71.3524 | 12.1047 | 21.8415 | 85.9458 | 50 | 80.062 | 1.5 | 76.7685 | 15 | 9.7542
3284975.8783 | 1.4366 | 50.2173 | 55.5336 | 14.0053 | 61.6673 | 71.7882 | 12.1287 | 21.6875 | 85.9556 | 50 | 79.3946 | 1.5 | 40.2185 | 15 | 9.093
3284976.3862 | 1.4109 | 50.0426 | 54.3134 | 13.0249 | 61.2805 | 71.7345 | 12.0983 | 21.6184 | 85.9519 | 50 | 79.5133 | 1.5 | 27.6765 | 15 | 10.3742
3284976.9324 | 1.3859 | 49.8087 | 55.2662 | 14.1343 | 61.7092 | 71.4465 | 12.1041 | 21.611 | 85.9563 | 50 | 79.6822 | 1.5 | 13.2607 | 15 | 9.4047
3284978.5479 | 1.3825 | 49.5134 | 53.6864 | 15.0901 | 61.404 | 71.8838 | 12.0616 | 21.6727 | 85.9578 | 50 | 80.0562 | 1.5 | 1.2517 | 15 | 9.3244
3284984.6224 | 1.4589 | 50.2455 | 55.5059 | 13.658 | 62.171 | 71.8904 | 12.0734 | 21.6137 | 85.9551 | 50 | 79.9343 | 1.5 | 1.2478 | 15 | 10.0534
3284985.3205 | 1.489 | 50.2697 | 54.1566 | 15.1208 | 61.7151 | 71.6975 | 12.147 | 21.6124 | 85.9562 | 50 | 79.8542 | 1.5 | 1.9265 | 15 | 9.3442
3284988.7889 | 1.5315 | 50.1195 | 53.9907 | 13.5689 | 62.1206 | 72.3369 | 12.2483 | 21.6394 | 85.9544 | 50 | 79.6935 | 1.5 | 11.7739 | 15 | 10.1811
3284997.0759 | 1.5818 | 50.4506 | 53.5942 | 15.4712 | 63.1351 | 72.2807 | 12.1134 | 21.6273 | 85.9534 | 50 | 79.6915 | 1.5 | 85.2738 | 15 | 9.3226
3284999.1424 | 1.514 | 50.413 | 55.7395 | 14.4785 | 61.7847 | 71.9104 | 12.0204 | 21.5618 | 85.947 | 50 | 79.3691 | 1.5 | 100 | 15 | 9.0863
3285011.173 | 1.4337 | 50.119 | 54.6023 | 13.9254 | 61.5188 | 71.4316 | 12.1922 | 21.5727 | 85.9563 | 50 | 79.7823 | 1.5 | 1.961 | 15 | 9.4331
3285017.462 | 1.5131 | 49.8159 | 53.6341 | 16.2856 | 61.9219 | 71.816 | 12.1561 | 21.6384 | 85.9461 | 50 | 80.3926 | 1.5 | 1.6754 | 15 | 8.765
3285019.7949 | 1.5337 | 50.3459 | 55.6258 | 15.3022 | 62.6709 | 71.0888 | 12.0614 | 21.6385 | 85.9477 | 50 | 79.9424 | 1.5 | 18.5953 | 15 | 9.366
3285034.168 | 1.4187 | 50.225 | 54.3994 | 13.3691 | 61.8524 | 71.3413 | 12.0828 | 21.6717 | 85.9517 | 50 | 79.4351 | 1.5 | 23.5313 | 15 | 10.1857
3285052.604 | 1.5217 | 49.6458 | 54.3871 | 14.832 | 62.7847 | 72.0935 | 12.0844 | 21.6176 | 85.9554 | 50 | 80.4289 | 1.5 | 72.084 | 15 | 8.5522
3285068.821 | 1.4999 | 50.5453 | 55.5182 | 14.7674 | 62.1989 | 72.0536 | 12.185 | 21.4999 | 85.9558 | 50 | 80.0916 | 1.5 | 11.1151 | 15 | 9.4883
3285070.2159 | 1.5355 | 50.6213 | 54.2365 | 15.7939 | 61.6953 | 71.6327 | 12.1069 | 21.5587 | 85.9528 | 50 | 79.7525 | 1.5 | 22.1608 | 15 | 10.0248
3285072.8779 | 1.5491 | 50.2965 | 53.9476 | 13.6457 | 62.5211 | 71.8027 | 12.0309 | 21.6512 | 85.955 | 50 | 79.5088 | 1.5 | 49.0545 | 15 | 10.1302