## Sheet1
Time (sec) | Water Level (ft) | Water Flowrate (GPM) | House Steam Pressure (psig) | Steam Pressure (psig) | Inlet Water Temperature (C) | Outlet Water Temperature (C) | Water Feed Temperature (C) | Ambient Temperature (C) | Ambient Pressure (kPa) | Flow Setpoint (GPM) | Flow Control Output (%) | Level Setpoint (ft) | Level Control Output (%) | Steam Setpoint (psig) | Steam Control Output (%)
2510134.3105 | 1.4565 | 38.2367 | 54.1597 | 19.0484 | 55.3553 | 71.1114 | 12.716 | 21.1328 | 85.8216 | 38 | 64.2194 | 1.5 | 86.9508 | 20 | 17.941
2510143.2149 | 1.4655 | 37.6411 | 53.9323 | 20.0318 | 56.0433 | 71.9453 | 12.6863 | 21.2198 | 85.8293 | 38 | 63.5112 | 1.5 | 0 | 20 | 17.3224
2510154.291 | 1.5402 | 38.2975 | 53.84 | 18.4491 | 56.3823 | 72.7041 | 12.7014 | 21.1079 | 85.8152 | 38 | 63.5951 | 1.5 | 66.6987 | 20 | 18.2512
2510157.4089 | 1.5348 | 38.2253 | 52.3217 | 20.8155 | 57.0593 | 72.5396 | 12.6001 | 21.0495 | 85.817 | 38 | 63.375 | 1.5 | 99.3591 | 20 | 17.0539
2510158.2109 | 1.5156 | 37.9204 | 53.4927 | 19.1774 | 57.4153 | 72.5259 | 12.6389 | 21.1993 | 85.8184 | 38 | 63.6217 | 1.5 | 97.7546 | 20 | 17.2234
2510159.2369 | 1.5177 | 37.6153 | 54.2427 | 19.0422 | 57.0485 | 72.5175 | 12.6879 | 21.1262 | 85.8207 | 38 | 63.9643 | 1.5 | 97.9807 | 20 | 17.1607
2510163.2593 | 1.4505 | 38.134 | 53.8462 | 18.32 | 56.8578 | 71.8157 | 12.6847 | 21.1358 | 85.8214 | 38 | 64.0707 | 1.5 | 85.4081 | 20 | 18.3491
2510166.3129 | 1.4264 | 38.8971 | 54.8758 | 20.3176 | 57.0458 | 71.9338 | 12.6879 | 21.0628 | 85.8304 | 38 | 62.7282 | 1.5 | 40.5546 | 20 | 17.4892
2510168.3479 | 1.45 | 37.7701 | 52.5276 | 19.537 | 57.2698 | 72.2631 | 12.706 | 21.0353 | 85.8242 | 38 | 63.0742 | 1.5 | 11.4204 | 20 | 17.7235
2510170.5609 | 1.464 | 36.6798 | 53.7448 | 18.8394 | 57.3268 | 72.4961 | 12.6996 | 21.0112 | 85.8264 | 38 | 64.3076 | 1.5 | 0.86407 | 20 | 17.9706
2510175.4909 | 1.5127 | 38.5581 | 52.3432 | 20.0502 | 57.7279 | 71.8623 | 12.6586 | 21.1201 | 85.8262 | 38 | 64.2744 | 1.5 | 2.5257 | 20 | 17.3069
2510180.2425 | 1.5261 | 38.9871 | 54.6515 | 20.5358 | 58.0571 | 73.4505 | 12.7651 | 21.0522 | 85.8239 | 38 | 62.6661 | 1.5 | 40.3336 | 20 | 17.1143
2510182.1206 | 1.5352 | 38.0664 | 53.3606 | 20.4774 | 58.1696 | 73.1026 | 12.6076 | 21.0144 | 85.827 | 38 | 63.0492 | 1.5 | 59.1518 | 20 | 16.9869
2510184.0971 | 1.521 | 37.2568 | 53.7478 | 20.5973 | 58.2541 | 73.266 | 12.6797 | 21.0866 | 85.8258 | 38 | 63.787 | 1.5 | 72.2392 | 20 | 16.9759
2510190.1434 | 1.4827 | 38.9021 | 53.0778 | 19.2266 | 56.8601 | 72.2041 | 12.6683 | 21.0745 | 85.8289 | 38 | 63.073 | 1.5 | 86.0627 | 20 | 17.8784
2510194.3059 | 1.4914 | 37.6921 | 51.1506 | 20.0072 | 57.7962 | 72.9086 | 12.6471 | 21.1306 | 85.8218 | 38 | 63.3989 | 1.5 | 71.6954 | 20 | 17.3369
2510199.6699 | 1.4478 | 38.1666 | 49.8444 | 20.21 | 57.6328 | 72.7202 | 12.7555 | 21.077 | 85.8198 | 38 | 64.1188 | 1.5 | 3.6722 | 20 | 17.1372
2510206.1239 | 1.4957 | 37.3081 | 54.3533 | 21.7989 | 57.8468 | 72.7155 | 12.7256 | 21.0272 | 85.8149 | 38 | 63.4631 | 1.5 | 0.70401 | 20 | 15.649
2510210.1209 | 1.5271 | 37.0195 | 53.1854 | 22.3182 | 58.5795 | 71.864 | 12.7666 | 21.0035 | 85.8245 | 38 | 65.2236 | 1.5 | 7.6361 | 20 | 15.7107
2510214.2669 | 1.553 | 38.7753 | 54.9834 | 18.489 | 58.0682 | 72.808 | 12.737 | 20.9538 | 85.8191 | 38 | 63.5221 | 1.5 | 48.9751 | 20 | 18.113
2510219.3659 | 1.5231 | 37.9341 | 53.0716 | 20.6003 | 58.0833 | 73.0742 | 12.704 | 21.0606 | 85.818 | 38 | 63.0565 | 1.5 | 99.3324 | 20 | 17.1069
2510223.7629 | 1.4865 | 37.637 | 52.9794 | 19.7306 | 58.346 | 73.0217 | 12.7191 | 21.0398 | 85.8212 | 38 | 64.4069 | 1.5 | 93.7387 | 20 | 17.0513
2510228.6834 | 1.4636 | 38.814 | 54.4548 | 20.7571 | 58.8022 | 72.4102 | 12.5956 | 21.0752 | 85.8146 | 38 | 62.9527 | 1.5 | 52.3745 | 20 | 17.0419
2510230.907 | 1.4358 | 38.3118 | 55.0326 | 19.8044 | 58.2774 | 73.286 | 12.6976 | 21.0596 | 85.8145 | 38 | 62.7978 | 1.5 | 24.4533 | 20 | 17.5844
2510244.756 | 1.5263 | 38.2178 | 55.3707 | 21.2273 | 58.2765 | 73.3362 | 12.716 | 21.0676 | 85.8177 | 38 | 63.1309 | 1.5 | 36.6124 | 20 | 16.8041
2510248.304 | 1.5303 | 37.1308 | 54.7129 | 18.5997 | 58.1184 | 73.1445 | 12.7155 | 21.1151 | 85.809 | 38 | 64.2489 | 1.5 | 69.2968 | 20 | 17.4974
2510255.4336 | 1.4597 | 38.6461 | 55.6043 | 21.2488 | 58.0605 | 73.0228 | 12.6799 | 21.1072 | 85.8166 | 38 | 63.1962 | 1.5 | 88.4822 | 20 | 17.0417
2510260.0325 | 1.4335 | 37.0469 | 54.338 | 20.1301 | 58.2837 | 73.5297 | 12.7123 | 21.1565 | 85.8133 | 38 | 63.8248 | 1.5 | 38.2472 | 20 | 17.6106
2510270.1531 | 1.4834 | 38.8649 | 55.5428 | 19.5923 | 59.2473 | 74.0457 | 12.6344 | 21.1119 | 85.8173 | 38 | 62.6067 | 1.5 | 0.36319 | 20 | 17.0955
2510280.371 | 1.5356 | 38.873 | 56.4219 | 18.4061 | 58.666 | 73.5644 | 12.6702 | 21.0691 | 85.8175 | 38 | 63.4934 | 1.5 | 98.3936 | 20 | 17.966
2510284.613 | 1.4917 | 38.4131 | 55.5428 | 20.4713 | 57.9613 | 74.2358 | 12.5686 | 21.124 | 85.8168 | 38 | 62.6479 | 1.5 | 97.232 | 20 | 16.5167
2510294.9969 | 1.4308 | 38.494 | 56.3819 | 20.5757 | 58.6867 | 73.4388 | 12.6732 | 21.1149 | 85.8086 | 38 | 63.691 | 1.5 | 0 | 20 | 16.8729
2510298.8832 | 1.4788 | 38.465 | 56.219 | 19.4202 | 59.0577 | 73.8002 | 12.7388 | 21.2189 | 85.8135 | 38 | 63.0771 | 1.5 | 0 | 20 | 16.6231
2510303.1189 | 1.559 | 37.2597 | 54.4056 | 19.9765 | 58.918 | 73.5784 | 12.6679 | 21.2098 | 85.8183 | 38 | 64.2404 | 1.5 | 18.2584 | 20 | 17.1357
2510307.2099 | 1.5383 | 38.3962 | 54.839 | 20.081 | 58.7219 | 73.6774 | 12.6437 | 21.0983 | 85.8167 | 38 | 63.7444 | 1.5 | 62.1778 | 20 | 17.1847
2510309.5879 | 1.5336 | 38.3961 | 54.9189 | 21.1105 | 59.0839 | 73.6138 | 12.6538 | 21.1561 | 85.8153 | 38 | 63.4178 | 1.5 | 86.8057 | 20 | 16.7015
2510315.194 | 1.4742 | 37.3487 | 55.884 | 18.2063 | 59.3181 | 74.0728 | 12.649 | 21.2095 | 85.8084 | 38 | 63.97 | 1.5 | 84.4432 | 20 | 17.9901
2510329.4068 | 1.4889 | 36.9783 | 56.5356 | 19.6015 | 59.3981 | 73.5201 | 12.6768 | 21.1933 | 85.8212 | 38 | 64.2689 | 1.5 | 0.82413 | 20 | 17.3819
2510333.4779 | 1.4993 | 38.5017 | 56.6801 | 19.8382 | 59.4412 | 73.8918 | 12.5924 | 21.1844 | 85.8159 | 38 | 63.5934 | 1.5 | 20.3037 | 20 | 17.3006
2510333.9224 | 1.5212 | 38.5017 | 56.1637 | 19.8351 | 59.6379 | 73.8948 | 12.6522 | 21.0949 | 85.8182 | 38 | 63.5172 | 1.5 | 22.9203 | 20 | 17.3665
2510336.993 | 1.5274 | 38.3935 | 56.9813 | 19.6507 | 59.9254 | 74.0794 | 12.6027 | 21.2156 | 85.8193 | 38 | 63.1111 | 1.5 | 50.7997 | 20 | 17.41
2510339.5879 | 1.5368 | 37.4796 | 56.3174 | 19.7091 | 59.0367 | 73.9894 | 12.6571 | 21.0929 | 85.8123 | 38 | 63.8493 | 1.5 | 79.6511 | 20 | 17.4602
2510342.4869 | 1.526 | 37.841 | 54.9097 | 19.4909 | 59.6501 | 73.9979 | 12.6008 | 21.134 | 85.8159 | 38 | 64.0961 | 1.5 | 99.9668 | 20 | 17.5595
2510346.2579 | 1.4541 | 38.5634 | 57.0427 | 20.6679 | 59.2021 | 73.8412 | 12.5741 | 21.1471 | 85.8186 | 38 | 63.1698 | 1.5 | 83.7858 | 20 | 16.9375
2510353.9109 | 1.4258 | 37.1879 | 56.4987 | 19.5708 | 59.5906 | 73.9592 | 12.6523 | 21.1488 | 85.807 | 38 | 64.7566 | 1.5 | 0.21749 | 20 | 17.511
2510358.2199 | 1.4574 | 38.2711 | 56.342 | 20.3237 | 59.4703 | 74.048 | 12.7308 | 21.1305 | 85.8153 | 38 | 64.1497 | 1.5 | 0 | 20 | 17.0125
2510362.5408 | 1.5069 | 38.3457 | 56.9106 | 19.8013 | 59.4731 | 74.0106 | 12.7127 | 21.1779 | 85.8166 | 38 | 63.5995 | 1.5 | 2.9962 | 20 | 17.3379
2510372.7479 | 1.5543 | 37.4076 | 54.3994 | 20.1086 | 60.128 | 74.3877 | 12.6833 | 21.2057 | 85.8172 | 38 | 64.6049 | 1.5 | 100 | 20 | 17.2134
2510374.6329 | 1.5007 | 38.5201 | 56.7169 | 19.4049 | 59.5674 | 74.4475 | 12.624 | 21.1312 | 85.8192 | 38 | 63.7585 | 1.5 | 97.5145 | 20 | 17.6859
2510384.773 | 1.3959 | 37.5413 | 56.8829 | 19.8197 | 59.1726 | 74.2452 | 12.6825 | 21.0917 | 85.8136 | 38 | 64.5117 | 1.5 | 4.6106 | 20 | 16.5945
2510392.9641 | 1.494 | 38.1952 | 54.6668 | 19.7952 | 59.5715 | 74.5355 | 12.5961 | 21.1618 | 85.8155 | 38 | 63.0976 | 1.5 | 1.3656 | 20 | 17.0827
2510403.3171 | 1.5254 | 38.3982 | 56.9198 | 19.3434 | 60.0771 | 74.1135 | 12.5653 | 21.1443 | 85.8151 | 38 | 63.5859 | 1.5 | 98.5722 | 20 | 17.5287
2510411.2577 | 1.4663 | 37.2371 | 54.9742 | 19.872 | 59.0335 | 74.0142 | 12.641 | 21.0208 | 85.8052 | 38 | 63.9073 | 1.5 | 62.3717 | 20 | 17.3929
2510413.6889 | 1.4305 | 37.7463 | 55.0695 | 20.4866 | 59.2326 | 73.7821 | 12.5468 | 21.0743 | 85.8115 | 38 | 64.1357 | 1.5 | 23.6625 | 20 | 17.0988
2510414.5329 | 1.4188 | 37.9374 | 56.8153 | 19.2235 | 59.9734 | 73.7166 | 12.6759 | 21.153 | 85.8164 | 38 | 64.0677 | 1.5 | 5.6446 | 20 | 17.1892
2510415.6821 | 1.4114 | 38.1947 | 56.5817 | 20.4805 | 59.6755 | 74.2968 | 12.5091 | 21.0604 | 85.8157 | 38 | 63.8831 | 1.5 | 0 | 20 | 16.7892
2510423.9409 | 1.5282 | 38.3465 | 57.1319 | 20.0564 | 59.8433 | 74.8106 | 12.6153 | 21.0096 | 85.811 | 38 | 63.1496 | 1.5 | 8.5446 | 20 | 17.1725
2510424.364 | 1.5543 | 38.3575 | 54.4455 | 21.6544 | 59.8387 | 74.7117 | 12.6234 | 21.1164 | 85.8122 | 38 | 63.0913 | 1.5 | 14.8087 | 20 | 17.5717
2510426.8409 | 1.5372 | 37.7397 | 55.5551 | 20.9998 | 59.3153 | 74.6174 | 12.5712 | 21.0779 | 85.8153 | 38 | 63.6055 | 1.5 | 37.0309 | 20 | 16.7268
2510430.3689 | 1.529 | 37.6069 | 57.2702 | 19.8874 | 59.7192 | 74.2198 | 12.6573 | 21.0723 | 85.8101 | 38 | 64.4186 | 1.5 | 72.4619 | 20 | 17.3067
2510442.273 | 1.4195 | 37.4281 | 56.9751 | 20.4713 | 58.913 | 74.2869 | 12.6222 | 21.1094 | 85.8169 | 38 | 64.1619 | 1.5 | 7.9929 | 20 | 17.0431
2510452.4089 | 1.5408 | 37.0829 | 55.927 | 19.0975 | 59.9016 | 74.5917 | 12.7602 | 21.1462 | 85.8059 | 38 | 64.113 | 1.5 | 24.7724 | 20 | 17.6298
2510455.161 | 1.5456 | 37.5859 | 56.3758 | 20.8308 | 59.5703 | 74.2596 | 12.5937 | 21.0946 | 85.8132 | 38 | 64.7352 | 1.5 | 47.1555 | 20 | 16.8131
2510471.2185 | 1.3996 | 38.5111 | 56.7538 | 20.3391 | 59.7128 | 74.3349 | 12.6827 | 21.0458 | 85.8064 | 38 | 63.8693 | 1.5 | 14.3644 | 20 | 17.1312
2510487.6679 | 1.5406 | 38.7214 | 57.1534 | 20.2654 | 60.2698 | 75.045 | 12.6458 | 21.1005 | 85.8136 | 38 | 62.891 | 1.5 | 54.3156 | 20 | 17.0974
2510489.0021 | 1.5371 | 38.2173 | 57.1288 | 20.0594 | 60.0478 | 75.246 | 12.6471 | 21.0935 | 85.817 | 38 | 63.0042 | 1.5 | 72.2339 | 20 | 17.0071
2510495.4499 | 1.5049 | 38.0372 | 55.6074 | 20.1732 | 59.437 | 74.4691 | 12.6833 | 21.2167 | 85.8062 | 38 | 64.0271 | 1.5 | 96.7648 | 20 | 17.2471
2510498.2959 | 1.4489 | 38.5318 | 57.0981 | 19.8658 | 59.6629 | 74.2915 | 12.5683 | 21.0219 | 85.8095 | 38 | 63.2402 | 1.5 | 80.2516 | 20 | 17.3682
2510522.4709 | 1.5297 | 38.8743 | 55.9117 | 21.2396 | 60.7891 | 75.0026 | 12.6335 | 21.0552 | 85.8107 | 38 | 63.0684 | 1.5 | 99.2862 | 20 | 16.6638
2510532.9589 | 1.4481 | 38.3205 | 55.3369 | 20.9077 | 59.4041 | 74.4183 | 12.5891 | 21.3129 | 85.8081 | 38 | 63.9373 | 1.5 | 32.8621 | 20 | 16.9036
2510547.4789 | 1.5252 | 38.5406 | 56.1883 | 20.9568 | 59.7155 | 75.1339 | 12.5945 | 21.0943 | 85.8083 | 38 | 63.2724 | 1.5 | 15.5272 | 20 | 16.793
2510561.4729 | 1.4609 | 38.8124 | 57.1042 | 19.0269 | 60.3001 | 74.5374 | 12.6222 | 21.0988 | 85.8096 | 38 | 62.9558 | 1.5 | 79.9973 | 20 | 17.1062
2510574.33 | 1.4956 | 38.7675 | 55.8809 | 19.0361 | 60.4412 | 74.5284 | 12.552 | 21.2326 | 85.8135 | 38 | 62.7622 | 1.5 | 4.1866 | 20 | 17.6583
2510577.2896 | 1.5448 | 37.8168 | 55.1033 | 19.6661 | 60.4972 | 74.9666 | 12.639 | 21.2011 | 85.8113 | 38 | 63.0972 | 1.5 | 21.2731 | 20 | 17.3164
2510581.6725 | 1.5537 | 37.4103 | 54.9834 | 18.6888 | 59.1122 | 74.7493 | 12.5792 | 21.046 | 85.8123 | 38 | 64.8256 | 1.5 | 60.974 | 20 | 17.6438
2510584.809 | 1.5202 | 38.8161 | 56.6801 | 19.4172 | 60.3054 | 74.4977 | 12.7014 | 21.1867 | 85.8057 | 38 | 63.8438 | 1.5 | 90.7223 | 20 | 17.5621
2510590.0299 | 1.5181 | 38.4977 | 55.3062 | 19.6569 | 59.7899 | 75.3619 | 12.6581 | 21.1589 | 85.8129 | 38 | 62.4384 | 1.5 | 100 | 20 | 17.4682
2510592.6389 | 1.4486 | 36.836 | 55.6104 | 18.8548 | 60.0466 | 75.4275 | 12.6861 | 21.0448 | 85.8113 | 38 | 63.9325 | 1.5 | 77.593 | 20 | 17.8737
2510595.6629 | 1.4232 | 37.4794 | 57.052 | 19.8382 | 60.7644 | 74.4298 | 12.644 | 21.1369 | 85.8121 | 38 | 64.6297 | 1.5 | 32.1089 | 20 | 16.8652
2510596.937 | 1.4239 | 37.9887 | 55.0541 | 20.4897 | 59.9261 | 74.9731 | 12.655 | 21.1406 | 85.8112 | 38 | 64.3783 | 1.5 | 3.5245 | 20 | 17.0656
2510603.8549 | 1.5045 | 37.6906 | 54.6853 | 19.9119 | 60.0732 | 75.4607 | 12.6252 | 21.1385 | 85.8112 | 38 | 63.2942 | 1.5 | 1.5107 | 20 | 17.298
2510608.0044 | 1.5135 | 37.3342 | 57.1042 | 19.5032 | 60.6992 | 75.0318 | 12.6602 | 21.158 | 85.8138 | 38 | 64.6407 | 1.5 | 11.0335 | 20 | 16.4923
2510608.539 | 1.5507 | 37.7844 | 55.1033 | 21.175 | 59.9006 | 75.4975 | 12.6272 | 21.2056 | 85.813 | 38 | 64.4087 | 1.5 | 17.0379 | 20 | 16.6397
2510611.299 | 1.5449 | 38.6139 | 54.8758 | 18.9439 | 60.6509 | 75.1201 | 12.5366 | 21.1424 | 85.8098 | 38 | 63.7826 | 1.5 | 46.6432 | 20 | 17.3993
2510617.416 | 1.5301 | 38.4062 | 55.2447 | 21.4608 | 59.5017 | 75.1668 | 12.6352 | 21.1556 | 85.8089 | 38 | 62.7703 | 1.5 | 99.3873 | 20 | 16.5067
2510621.272 | 1.4959 | 37.0025 | 54.8205 | 18.821 | 60.33 | 74.6976 | 12.5988 | 21.1278 | 85.809 | 38 | 64.5388 | 1.5 | 99.6333 | 20 | 18.3508
2510626.2625 | 1.4139 | 38.7984 | 56.2497 | 18.95 | 59.974 | 74.5701 | 12.6175 | 21.1801 | 85.8089 | 38 | 63.1374 | 1.5 | 43.0958 | 20 | 16.9364
2510633.9469 | 1.4668 | 37.1368 | 55.7334 | 20.8185 | 60.6018 | 74.989 | 12.5962 | 21.1993 | 85.8134 | 38 | 64.6272 | 1.5 | 0.21579 | 20 | 16.8009
2510646.2495 | 1.5432 | 37.1092 | 55.7057 | 20.797 | 60.7604 | 74.9048 | 12.5006 | 21.292 | 85.8142 | 38 | 64.8292 | 1.5 | 63.2495 | 20 | 16.8942
2510648.4656 | 1.5524 | 38.1437 | 54.1597 | 19.4172 | 60.2701 | 75.3232 | 12.6042 | 21.1701 | 85.813 | 38 | 64.4687 | 1.5 | 87.8378 | 20 | 17.556
2510658.6399 | 1.4171 | 36.716 | 57.0489 | 19.9795 | 59.8955 | 74.653 | 12.6948 | 21.2517 | 85.8099 | 38 | 64.7453 | 1.5 | 49.4063 | 20 | 17.2994
2510663.635 | 1.4224 | 39.0033 | 56.1237 | 19.5309 | 60.1455 | 75.0715 | 12.6386 | 21.2164 | 85.8188 | 38 | 62.7923 | 1.5 | 0.18522 | 20 | 17.3014
2510668.9768 | 1.49 | 36.9875 | 55.1279 | 17.9021 | 59.9251 | 74.9072 | 12.6441 | 21.2199 | 85.8092 | 38 | 64.3173 | 1.5 | 1.3223 | 20 | 18.246
2510682.3299 | 1.5359 | 37.0328 | 54.63 | 20.6618 | 60.2116 | 74.8564 | 12.6732 | 21.0993 | 85.8063 | 38 | 64.732 | 1.5 | 99.7593 | 20 | 16.9027
2510687.3659 | 1.4724 | 38.5717 | 55.9608 | 18.8087 | 60.6858 | 74.5204 | 12.6814 | 21.1217 | 85.8012 | 38 | 63.5831 | 1.5 | 91.4058 | 20 | 17.873
2510687.8909 | 1.487 | 38.5681 | 54.4486 | 20.6218 | 60.2143 | 75.0204 | 12.6781 | 21.1633 | 85.8042 | 38 | 63.4823 | 1.5 | 89.3441 | 20 | 16.9727
2510694.6409 | 1.429 | 37.3138 | 56.6124 | 20.2561 | 60.3305 | 75.2917 | 12.5813 | 21.0059 | 85.8062 | 38 | 63.8986 | 1.5 | 0 | 20 | 17.1196
2510703.8089 | 1.5188 | 38.4962 | 54.922 | 20.7233 | 60.3326 | 75.4217 | 12.5661 | 21.1569 | 85.8004 | 38 | 63.0535 | 1.5 | 3.0511 | 20 | 16.8236
2510712.8289 | 1.5416 | 39.0513 | 56.5786 | 19.6814 | 60.2729 | 75.1277 | 12.4979 | 21.1374 | 85.8025 | 38 | 62.8461 | 1.5 | 98.5476 | 20 | 17.3632
2510713.4077 | 1.5519 | 39.0282 | 54.9435 | 21.4209 | 60.5314 | 75.3037 | 12.6899 | 21.2634 | 85.8028 | 38 | 62.6537 | 1.5 | 99.5789 | 20 | 16.7104
2510718.2049 | 1.4779 | 37.1208 | 55.1187 | 20.6434 | 60.505 | 75.2945 | 12.6046 | 21.2901 | 85.8081 | 38 | 64.034 | 1.5 | 94.0471 | 20 | 16.9436
2510730.5739 | 1.4543 | 36.7716 | 55.2385 | 18.7411 | 59.8859 | 74.6264 | 12.6684 | 21.2871 | 85.8124 | 38 | 64.5633 | 1.5 | 0.61199 | 20 | 17.3526
2510740.634 | 1.5744 | 38.6329 | 54.5716 | 18.3415 | 60.1541 | 75.1756 | 12.5911 | 21.2195 | 85.8013 | 38 | 62.8224 | 1.5 | 42.6204 | 20 | 17.5759
2510742.4788 | 1.5466 | 37.9147 | 56.2497 | 20.4159 | 60.2588 | 75.4429 | 12.6255 | 21.2202 | 85.8073 | 38 | 63.0886 | 1.5 | 76.7803 | 20 | 17.0265
2510746.9599 | 1.5518 | 37.1305 | 53.6741 | 20.9599 | 61.0174 | 74.763 | 12.6011 | 21.137 | 85.8026 | 38 | 64.7571 | 1.5 | 99.6959 | 20 | 16.7672
2510752.7574 | 1.4488 | 38.437 | 56.6247 | 19.872 | 60.1462 | 74.6044 | 12.6475 | 21.3095 | 85.808 | 38 | 63.4178 | 1.5 | 76.0534 | 20 | 17.3145
2510757.028 | 1.4133 | 37.9134 | 55.1033 | 20.9476 | 60.3596 | 75.3669 | 12.6517 | 21.2178 | 85.7984 | 38 | 63.2651 | 1.5 | 17.5533 | 20 | 16.7574
2510763.6277 | 1.4513 | 38.7248 | 56.2651 | 19.5524 | 60.4183 | 75.1307 | 12.7111 | 21.2506 | 85.7958 | 38 | 63.7879 | 1.5 | 0.96021 | 20 | 16.432
2510774.1209 | 1.5662 | 37.2126 | 53.6003 | 20.6802 | 60.8565 | 74.899 | 12.67 | 21.2185 | 85.8008 | 38 | 64.9823 | 1.5 | 71.5724 | 20 | 16.842
2510774.6399 | 1.5193 | 37.8692 | 56.5325 | 19.663 | 60.4285 | 75.0065 | 12.5957 | 21.2629 | 85.806 | 38 | 64.5683 | 1.5 | 74.7498 | 20 | 17.3443
2510783.775 | 1.4607 | 37.0242 | 56.219 | 20.3514 | 60.8106 | 75.6487 | 12.6519 | 21.1878 | 85.8053 | 38 | 63.6165 | 1.5 | 91.6176 | 20 | 16.9996
2510794.0199 | 1.4039 | 38.6749 | 56.0715 | 19.8781 | 60.4537 | 75.6821 | 12.7242 | 21.2089 | 85.8075 | 38 | 62.4163 | 1.5 | 0 | 20 | 17.1179
2510796.3067 | 1.4892 | 37.4917 | 54.3779 | 19.9427 | 60.0284 | 75.7207 | 12.6573 | 21.1695 | 85.8064 | 38 | 63.3517 | 1.5 | 1.9348 | 20 | 17.1993
2510808.3589 | 1.5414 | 37.8144 | 56.0592 | 18.6489 | 61.1495 | 75.2871 | 12.7422 | 21.2625 | 85.8037 | 38 | 63.0482 | 1.5 | 80.9299 | 20 | 17.8426
2510817.2644 | 1.4708 | 38.8467 | 56.2098 | 20.6772 | 60.4433 | 75.0033 | 12.719 | 21.3028 | 85.805 | 38 | 62.8261 | 1.5 | 88.147 | 20 | 17.1717
2510819.4749 | 1.4471 | 38.2912 | 55.5736 | 18.3262 | 59.9163 | 75.427 | 12.7543 | 21.2928 | 85.8044 | 38 | 62.8401 | 1.5 | 64.5111 | 20 | 17.924
2510822.8139 | 1.4361 | 36.8075 | 54.9004 | 19.5585 | 60.6023 | 74.8716 | 12.6387 | 21.3137 | 85.7982 | 38 | 64.5457 | 1.5 | 12.856 | 20 | 17.5222
2510827.6169 | 1.4587 | 39.3576 | 55.8348 | 20.9384 | 60.6743 | 74.9822 | 12.6178 | 21.3234 | 85.8042 | 38 | 62.7316 | 1.5 | 0 | 20 | 16.5968
2510828.1091 | 1.4919 | 39.3536 | 54.4701 | 19.1805 | 60.3185 | 75.2197 | 12.7887 | 21.34 | 85.8101 | 38 | 62.5065 | 1.5 | 2.0042 | 20 | 17.4745
2510837.8031 | 1.5398 | 38.9014 | 55.6535 | 18.7779 | 61.3291 | 75.1912 | 12.7279 | 21.2127 | 85.8047 | 38 | 63.9379 | 1.5 | 63.036 | 20 | 17.1601
2510840.6171 | 1.5289 | 39.2591 | 53.9845 | 20.0134 | 61.1781 | 75.2169 | 12.749 | 21.3413 | 85.8002 | 38 | 62.6445 | 1.5 | 87.79 | 20 | 16.9902
2510846.8179 | 1.4478 | 36.4259 | 55.6504 | 18.6519 | 60.2624 | 74.759 | 12.6276 | 21.3458 | 85.8087 | 38 | 64.8773 | 1.5 | 64.2517 | 20 | 17.8737
2510857.821 | 1.4906 | 36.8297 | 55.8994 | 19.6538 | 60.631 | 75.5628 | 12.668 | 21.2647 | 85.7958 | 38 | 63.961 | 1.5 | 0.53282 | 20 | 17.2566
2510866.8824 | 1.5392 | 39.0263 | 55.801 | 18.907 | 61.0181 | 75.3042 | 12.5881 | 21.29 | 85.7996 | 38 | 62.5831 | 1.5 | 74.4098 | 20 | 16.5662
2510869.2579 | 1.5427 | 38.8301 | 56.3143 | 19.6907 | 59.8158 | 75.9848 | 12.6074 | 21.3953 | 85.7991 | 38 | 62.0128 | 1.5 | 98.7146 | 20 | 16.9285
2510874.3329 | 1.5004 | 36.5266 | 53.8308 | 19.4325 | 60.7579 | 75.1444 | 12.6601 | 21.2561 | 85.8053 | 38 | 65.2367 | 1.5 | 95.5526 | 20 | 17.5165
2510880.534 | 1.4721 | 38.9439 | 54.1566 | 19.3895 | 60.9485 | 75.2658 | 12.6868 | 21.1321 | 85.8063 | 38 | 62.692 | 1.5 | 38.0522 | 20 | 17.5204
2510896.8086 | 1.5493 | 36.8045 | 56.1698 | 20.2408 | 60.4488 | 74.8295 | 12.6752 | 21.1895 | 85.8045 | 38 | 64.6368 | 1.5 | 43.8165 | 20 | 17.0941
2510901.144 | 1.5483 | 38.4622 | 54.9496 | 20.5604 | 60.4865 | 75.1073 | 12.6505 | 21.3766 | 85.7981 | 38 | 63.8889 | 1.5 | 99.7081 | 20 | 17.514
2510907.4475 | 1.4721 | 37.6655 | 55.7856 | 18.7165 | 60.0601 | 75.6027 | 12.6028 | 21.3257 | 85.7967 | 38 | 63.3422 | 1.5 | 91.289 | 20 | 17.8256
2510909.1881 | 1.461 | 36.8085 | 55.7303 | 20.6649 | 60.4463 | 75.1126 | 12.5226 | 21.3192 | 85.7998 | 38 | 64.4139 | 1.5 | 77.6261 | 20 | 16.8612
2510909.7139 | 1.4578 | 36.7992 | 55.6965 | 19.073 | 60.7475 | 74.795 | 12.6179 | 21.1943 | 85.8045 | 38 | 64.6364 | 1.5 | 71.7155 | 20 | 17.3249
2510915.7278 | 1.4202 | 39.2353 | 55.7764 | 20.9722 | 60.3549 | 75.0113 | 12.7271 | 21.2277 | 85.8049 | 38 | 62.5721 | 1.5 | 1.2797 | 20 | 16.8411
2510923.8249 | 1.5141 | 37.4348 | 54.4763 | 19.7214 | 61.3676 | 74.7333 | 12.5312 | 21.1932 | 85.7969 | 38 | 64.7969 | 1.5 | 2.5928 | 20 | 17.3273
2510925.9854 | 1.5282 | 38.5495 | 55.841 | 19.6261 | 60.6683 | 75.0752 | 12.5811 | 21.257 | 85.799 | 38 | 63.8324 | 1.5 | 15.5837 | 20 | 16.9238
2510932.5326 | 1.5487 | 37.8047 | 55.6996 | 18.0742 | 61.003 | 75.6619 | 12.6293 | 21.2792 | 85.8054 | 38 | 63.2465 | 1.5 | 77.844 | 20 | 17.1344
2510937.2139 | 1.4977 | 37.5103 | 55.1463 | 20.8431 | 60.7091 | 75.0861 | 12.6666 | 21.2953 | 85.8069 | 38 | 64.6045 | 1.5 | 99.0165 | 20 | 16.8818
2510938.3379 | 1.4784 | 37.513 | 56.3911 | 19.5401 | 60.6884 | 75.171 | 12.6798 | 21.0797 | 85.7947 | 38 | 64.7897 | 1.5 | 94.9247 | 20 | 17.3978
2510946.3143 | 1.4101 | 38.9346 | 56.3327 | 20.4651 | 60.8084 | 75.1367 | 12.6292 | 21.1176 | 85.8031 | 38 | 62.7413 | 1.5 | 29.6179 | 20 | 16.7657
2510947.0524 | 1.4358 | 38.9273 | 54.3441 | 21.0767 | 60.4237 | 75.5325 | 12.5853 | 21.1643 | 85.8007 | 38 | 62.5108 | 1.5 | 15.647 | 20 | 17.6514
2510950.5689 | 1.4263 | 35.8042 | 56.1975 | 19.9826 | 60.5569 | 74.4979 | 12.6205 | 21.2029 | 85.8048 | 38 | 67.4387 | 1.5 | 0 | 20 | 17.0644
2510952.7399 | 1.462 | 39.7352 | 55.5059 | 18.9869 | 60.4605 | 74.7079 | 12.6391 | 21.2307 | 85.8008 | 38 | 65.1818 | 1.5 | 0.17187 | 20 | 17.5664
2510959.1739 | 1.5268 | 37.7555 | 54.9926 | 19.0822 | 60.6041 | 75.6464 | 12.58 | 21.1992 | 85.8062 | 38 | 62.545 | 1.5 | 20.0949 | 20 | 17.2557
2510962.9179 | 1.5617 | 37.4421 | 54.6884 | 18.8855 | 61.2181 | 74.7967 | 12.7065 | 21.23 | 85.8032 | 38 | 64.3879 | 1.5 | 61.0302 | 20 | 17.7439
2510964.7209 | 1.5865 | 39.2054 | 53.9384 | 20.2684 | 60.8976 | 75.1235 | 12.6541 | 21.2073 | 85.8066 | 38 | 62.7884 | 1.5 | 91.8702 | 20 | 16.7186
2510971.1339 | 1.4686 | 36.9335 | 56.5448 | 20.1055 | 60.6504 | 75.506 | 12.6391 | 21.3095 | 85.8032 | 38 | 64.1211 | 1.5 | 87.3549 | 20 | 16.6279
2510983.3259 | 1.4505 | 36.6921 | 55.6596 | 19.0668 | 60.3378 | 74.738 | 12.6536 | 21.2422 | 85.796 | 38 | 65.0401 | 1.5 | 0.60118 | 20 | 17.5152
2510993.6552 | 1.549 | 36.4231 | 54.2519 | 21.132 | 60.8698 | 75.263 | 12.5809 | 21.2412 | 85.7985 | 38 | 64.4343 | 1.5 | 58.0451 | 20 | 16.9198
2511000.7146 | 1.4928 | 38.6976 | 54.925 | 19.1774 | 60.4911 | 74.9395 | 12.6094 | 21.1824 | 85.796 | 38 | 63.3744 | 1.5 | 97.7872 | 20 | 16.6617
2511001.264 | 1.5001 | 38.6972 | 55.008 | 20.5143 | 61.2864 | 74.7639 | 12.5797 | 21.1776 | 85.7964 | 38 | 63.2513 | 1.5 | 99.172 | 20 | 16.8462
2511003.966 | 1.4679 | 38.3786 | 53.5327 | 19.4387 | 60.6076 | 75.8876 | 12.6113 | 21.121 | 85.8009 | 38 | 62.9502 | 1.5 | 88.3805 | 20 | 17.4523
2511014.2269 | 1.463 | 38.897 | 55.8533 | 20.9261 | 60.8326 | 75.236 | 12.6096 | 21.2071 | 85.7962 | 38 | 62.5281 | 1.5 | 1.1407 | 20 | 17.2829
2511018.996 | 1.5201 | 36.6797 | 55.1279 | 21.218 | 60.5066 | 75.1253 | 12.6144 | 21.321 | 85.7993 | 38 | 64.5886 | 1.5 | 5.6596 | 20 | 17.3152
2511019.5279 | 1.5139 | 36.6779 | 54.4025 | 21.2119 | 60.945 | 74.9374 | 12.5913 | 21.2279 | 85.797 | 38 | 64.8257 | 1.5 | 8.3975 | 20 | 16.4863
2511028.9679 | 1.5454 | 37.7403 | 53.4282 | 21.0214 | 60.6782 | 75.6093 | 12.7297 | 21.2023 | 85.7964 | 38 | 62.9188 | 1.5 | 99.8327 | 20 | 16.6241
2511047.0966 | 1.4759 | 37.7637 | 54.6822 | 20.8001 | 60.6547 | 74.7054 | 12.639 | 21.184 | 85.7986 | 38 | 64.4891 | 1.5 | 1.1681 | 20 | 16.5059
2511055.2699 | 1.5503 | 37.5252 | 54.3718 | 19.7122 | 60.395 | 75.067 | 12.7474 | 21.2252 | 85.7913 | 38 | 63.3074 | 1.5 | 24.5739 | 20 | 16.9863
2511055.8109 | 1.5686 | 36.9849 | 54.4701 | 19.7829 | 60.437 | 75.3097 | 12.6569 | 21.0219 | 85.799 | 38 | 63.8269 | 1.5 | 33.0407 | 20 | 16.9494
2511056.3156 | 1.5561 | 36.9873 | 55.3523 | 18.5782 | 60.6219 | 75.0651 | 12.6852 | 21.2241 | 85.8003 | 38 | 63.9999 | 1.5 | 38.1303 | 20 | 16.6012
2511059.9479 | 1.5455 | 38.0799 | 55.9946 | 21.636 | 60.7147 | 74.9352 | 12.654 | 21.1018 | 85.8022 | 38 | 64.1339 | 1.5 | 91.6032 | 20 | 16.0312
2511060.6179 | 1.537 | 38.602 | 56.4188 | 21.3932 | 60.049 | 74.7367 | 12.6339 | 21.1796 | 85.7973 | 38 | 63.7219 | 1.5 | 98.2472 | 20 | 16.1778
2511061.1484 | 1.557 | 38.5939 | 54.0091 | 20.2438 | 60.6099 | 74.5494 | 12.5424 | 21.1671 | 85.7943 | 38 | 63.6186 | 1.5 | 100 | 20 | 16.7598
2511065.641 | 1.4964 | 38.5435 | 54.7652 | 19.3403 | 60.3821 | 74.9952 | 12.6292 | 21.1738 | 85.7959 | 38 | 62.5401 | 1.5 | 96.7568 | 20 | 17.1844
2511075.8128 | 1.4366 | 38.8766 | 55.2355 | 19.3895 | 60.0684 | 74.716 | 12.659 | 21.2636 | 85.7908 | 38 | 62.6162 | 1.5 | 0 | 20 | 16.2055
2511076.416 | 1.4356 | 38.8771 | 54.5347 | 20.8308 | 60.2343 | 75.175 | 12.634 | 21.2621 | 85.7915 | 38 | 62.4335 | 1.5 | 0.73123 | 20 | 16.3716
2511077.9369 | 1.4306 | 37.826 | 56.0623 | 21.0244 | 60.3249 | 74.9064 | 12.6295 | 21.2087 | 85.7942 | 38 | 62.9743 | 1.5 | 0 | 20 | 16.1824
2511084.5657 | 1.5474 | 37.7459 | 54.3503 | 20.8093 | 60.9787 | 74.6229 | 12.6607 | 21.1991 | 85.7962 | 38 | 64.7426 | 1.5 | 19.9255 | 20 | 16.8952
2511092.5152 | 1.5508 | 37.1105 | 54.8052 | 21.7282 | 60.6678 | 74.74 | 12.6568 | 21.2331 | 85.7994 | 38 | 63.5341 | 1.5 | 99.9917 | 20 | 16.1183
2511098.6469 | 1.4703 | 38.6475 | 54.7498 | 20.0656 | 59.4105 | 74.717 | 12.6472 | 21.0686 | 85.7959 | 38 | 63.5492 | 1.5 | 67.4713 | 20 | 16.7569
2511100.509 | 1.4413 | 38.9551 | 55.2478 | 18.821 | 59.1247 | 74.3033 | 12.6242 | 21.3563 | 85.7882 | 38 | 62.7514 | 1.5 | 39.3569 | 20 | 17.4012
2511118.9159 | 1.5082 | 36.9468 | 56.1975 | 18.8025 | 60.7839 | 74.4534 | 12.5917 | 21.2078 | 85.7989 | 38 | 64.9195 | 1.5 | 75.4569 | 20 | 17.5076
2511122.7159 | 1.4816 | 38.6884 | 56.7139 | 20.3084 | 60.0958 | 74.7371 | 12.6979 | 21.2304 | 85.7984 | 38 | 63.6346 | 1.5 | 76.6317 | 20 | 16.7581
2511123.2252 | 1.5035 | 38.7232 | 55.4199 | 20.1209 | 60.5492 | 74.5721 | 12.7462 | 21.1566 | 85.7988 | 38 | 63.4879 | 1.5 | 75.6075 | 20 | 16.895
2511137.3909 | 1.5119 | 39.0249 | 55.1771 | 20.2408 | 59.7624 | 74.7328 | 12.6339 | 21.241 | 85.7958 | 38 | 62.9091 | 1.5 | 7.4745 | 20 | 17.5707
2511137.8259 | 1.4963 | 39.0379 | 57.1534 | 20.3545 | 60.3203 | 74.6569 | 12.6443 | 21.1589 | 85.7965 | 38 | 62.7404 | 1.5 | 9.4854 | 20 | 17.4348
2511148.043 | 1.5171 | 38.6958 | 56.4219 | 18.2801 | 60.1293 | 74.4168 | 12.7478 | 21.2936 | 85.7842 | 38 | 63.4103 | 1.5 | 98.1423 | 20 | 17.0627
2511150.9589 | 1.4983 | 38.775 | 57.0765 | 18.8117 | 58.9919 | 75.3932 | 12.664 | 21.2332 | 85.7969 | 38 | 62.5442 | 1.5 | 98.093 | 20 | 17.5162
2511151.5075 | 1.4733 | 38.3488 | 57.4423 | 19.872 | 60.1219 | 75.1506 | 12.6754 | 21.2893 | 85.7899 | 38 | 62.7909 | 1.5 | 96.8063 | 20 | 16.8683
2511155.7734 | 1.4637 | 36.9065 | 54.9681 | 20.3422 | 60.1565 | 74.6313 | 12.6823 | 21.2136 | 85.7893 | 38 | 64.7665 | 1.5 | 53.9222 | 20 | 17.2407
2511156.3078 | 1.4613 | 37.4154 | 56.4649 | 20.671 | 59.527 | 74.5743 | 12.697 | 21.2843 | 85.7913 | 38 | 64.5627 | 1.5 | 47.7481 | 20 | 17.594
2511156.8465 | 1.4365 | 37.4081 | 57.6544 | 19.5923 | 59.8058 | 74.4799 | 12.6459 | 21.3332 | 85.7961 | 38 | 64.6765 | 1.5 | 39.6449 | 20 | 17.1761
2511157.7409 | 1.4442 | 37.8933 | 56.6923 | 18.5229 | 60.1741 | 74.1898 | 12.7281 | 21.3606 | 85.7936 | 38 | 64.392 | 1.5 | 29.6551 | 20 | 17.7307
2511160.2689 | 1.4371 | 38.9783 | 56.4772 | 20.4836 | 59.6288 | 74.7057 | 12.5913 | 21.3173 | 85.7924 | 38 | 63.0904 | 1.5 | 0.17119 | 20 | 16.7389
2511160.7969 | 1.4384 | 38.993 | 57.0489 | 19.6784 | 60.1285 | 74.5601 | 12.6034 | 21.2649 | 85.7988 | 38 | 62.9022 | 1.5 | 0 | 20 | 17.1082
2511162.3361 | 1.4485 | 38.9898 | 57.2487 | 19.7306 | 59.6255 | 74.9107 | 12.6806 | 21.3191 | 85.7939 | 38 | 62.3712 | 1.5 | 0 | 20 | 17.0078
2511166.0049 | 1.497 | 37.7647 | 55.426 | 19.2573 | 59.7771 | 75.1206 | 12.6658 | 21.1577 | 85.795 | 38 | 62.9506 | 1.5 | 1.3454 | 20 | 17.2719
2511166.531 | 1.4856 | 36.6236 | 56.5172 | 17.9666 | 59.6433 | 74.9456 | 12.6627 | 21.2201 | 85.7858 | 38 | 63.9679 | 1.5 | 1.1166 | 20 | 17.9039
2511168.2569 | 1.4943 | 36.7273 | 56.8184 | 20.6249 | 60.4244 | 74.2464 | 12.6736 | 21.2298 | 85.7958 | 38 | 64.8115 | 1.5 | 1.4888 | 20 | 16.5973
2511174.69 | 1.533 | 39.1316 | 56.7507 | 20.3883 | 59.8484 | 74.9014 | 12.629 | 21.2981 | 85.7965 | 38 | 62.7278 | 1.5 | 55.2387 | 20 | 16.775
2511186.61 | 1.4608 | 39.0771 | 55.1801 | 20.3545 | 60.86 | 74.5711 | 12.6506 | 21.2219 | 85.7924 | 38 | 62.668 | 1.5 | 62.5203 | 20 | 16.8149
2511198.0437 | 1.5127 | 38.6272 | 55.1279 | 19.6169 | 60.5852 | 74.4983 | 12.5879 | 21.3154 | 85.7986 | 38 | 63.43 | 1.5 | 1.276 | 20 | 16.2789
2511205.2438 | 1.5195 | 36.7822 | 56.428 | 21.0337 | 61.0251 | 74.9985 | 12.7712 | 21.3443 | 85.7944 | 38 | 64.3626 | 1.5 | 54.3627 | 20 | 17.0962
2511215.2929 | 1.4749 | 37.6782 | 55.7856 | 21.2396 | 59.6232 | 74.9793 | 12.6924 | 21.3699 | 85.7957 | 38 | 63.2895 | 1.5 | 62.1331 | 20 | 17.635
2511217.523 | 1.4516 | 36.8869 | 56.2252 | 19.3096 | 60.4086 | 74.395 | 12.7381 | 21.354 | 85.7911 | 38 | 64.7306 | 1.5 | 40.7349 | 20 | 16.5405
2511221.8324 | 1.4584 | 39.0714 | 55.1064 | 21.7128 | 60.9044 | 74.6448 | 12.5948 | 21.4007 | 85.7899 | 38 | 63.3997 | 1.5 | 0 | 20 | 16.8593
2511222.3379 | 1.4702 | 39.0805 | 55.6719 | 19.6046 | 60.8507 | 74.7295 | 12.6787 | 21.2521 | 85.7903 | 38 | 63.2057 | 1.5 | 1.4872 | 20 | 17.1164
2511228.5789 | 1.5266 | 36.6017 | 56.9997 | 18.2401 | 60.3637 | 74.9236 | 12.625 | 21.3682 | 85.7963 | 38 | 64.1676 | 1.5 | 5.8901 | 20 | 17.7743
2511238.4989 | 1.4954 | 38.7183 | 57.387 | 19.7245 | 60.1934 | 75.2938 | 12.6647 | 21.2618 | 85.794 | 38 | 62.3769 | 1.5 | 94.1522 | 20 | 17.0988
2511241.2048 | 1.4974 | 37.1317 | 55.6873 | 18.7533 | 60.1606 | 75.0648 | 12.6928 | 21.3816 | 85.7939 | 38 | 63.8095 | 1.5 | 93.3769 | 20 | 17.0969
2511246.524 | 1.4623 | 38.4517 | 56.6309 | 18.698 | 60.3516 | 74.6714 | 12.714 | 21.4438 | 85.7878 | 38 | 63.9022 | 1.5 | 57.77 | 20 | 17.0769