## data-1
Time (sec) | Water Level (ft) | Water Flowrate (GPM) | House Steam Pressure (psig) | Steam Pressure (psig) | Inlet Water Temperature (C) | Outlet Water Temperature (C) | Water Feed Temperature (C) | Ambient Temperature (C) | Ambient Pressure (kPa) | Flow Setpoint (GPM) | Flow Control Output (%) | Level Setpoint (ft) | Level Control Output (%) | Steam Setpoint (psig) | Steam Control Output (%)
2511478.3476 | 1.5613 | 25.2477 | 53.8093 | 25.3576 | 60.0239 | 81.304 | 12.6977 | 21.3356 | 85.7772 | 25 | 47.5712 | 1.5 | 100 | 25 | 22.001
2511479.1089 | 1.505 | 25.2363 | 55.549 | 23.4 | 60.2406 | 81.3044 | 12.7266 | 21.386 | 85.7725 | 25 | 47.5167 | 1.5 | 96.3076 | 25 | 22.9835
2511481.3027 | 1.4753 | 25.3896 | 56.3143 | 24.4387 | 60.4374 | 81.2002 | 12.6846 | 21.4323 | 85.773 | 25 | 47.146 | 1.5 | 97.425 | 25 | 21.9149
2511491.3999 | 1.4584 | 25.2766 | 55.1924 | 24.617 | 59.8125 | 81.5286 | 12.7135 | 21.3607 | 85.784 | 25 | 47.644 | 1.5 | 1.3312 | 25 | 22.2729
2511512.9688 | 1.448 | 24.9083 | 54.9465 | 26.0583 | 60.1801 | 81.1474 | 12.7291 | 21.3144 | 85.7758 | 25 | 47.8296 | 1.5 | 28.8898 | 25 | 22.5635
2511524.2289 | 1.5539 | 24.5056 | 54.4732 | 25.7326 | 59.541 | 80.8618 | 12.7123 | 21.3579 | 85.7818 | 25 | 47.8556 | 1.5 | 17.963 | 25 | 21.7556
2511528.6591 | 1.5414 | 25.2345 | 54.6392 | 24.7584 | 59.5117 | 80.6813 | 12.757 | 21.4705 | 85.7814 | 25 | 47.3846 | 1.5 | 73.2726 | 25 | 22.6654
2511536.536 | 1.5001 | 24.3454 | 53.8124 | 25.9477 | 59.6449 | 80.9847 | 12.7374 | 21.3954 | 85.778 | 25 | 48.02 | 1.5 | 96.4312 | 25 | 22.549
2511544.7906 | 1.4316 | 25.3024 | 55.8256 | 25.2777 | 60.2363 | 82.0356 | 12.7977 | 21.3143 | 85.7797 | 25 | 46.8976 | 1.5 | 0 | 25 | 21.9978
2511550.961 | 1.5192 | 24.7082 | 55.9731 | 23.9409 | 60.1165 | 81.0815 | 12.6935 | 21.3573 | 85.7812 | 25 | 48.0075 | 1.5 | 5.429 | 25 | 22.6408
2511559.1624 | 1.5274 | 24.6604 | 54.6853 | 24.0239 | 59.7566 | 81.8591 | 12.7326 | 21.38 | 85.7773 | 25 | 47.5386 | 1.5 | 58.9815 | 25 | 21.8234
2511562.5736 | 1.5258 | 24.86 | 54.0122 | 25.8309 | 59.7196 | 80.9324 | 12.5651 | 21.2764 | 85.7713 | 25 | 47.776 | 1.5 | 73.0572 | 25 | 22.4996
2511565.1389 | 1.5261 | 25.4621 | 54.3687 | 24.0024 | 59.9987 | 81.1226 | 12.7191 | 21.3363 | 85.7712 | 25 | 47.2101 | 1.5 | 84.6345 | 25 | 22.1014
2511565.6299 | 1.5027 | 25.4656 | 56.2836 | 23.8333 | 59.971 | 81.1824 | 12.6811 | 21.3648 | 85.7727 | 25 | 47.1287 | 1.5 | 85.7654 | 25 | 22.763
2511575.4651 | 1.4479 | 25.1145 | 55.3215 | 24.2851 | 59.8602 | 81.0316 | 12.5473 | 21.2996 | 85.7814 | 25 | 47.7291 | 1.5 | 0.34988 | 25 | 21.7354
2511581.6989 | 1.5309 | 25.236 | 55.7057 | 23.0773 | 59.2742 | 81.4387 | 12.6945 | 21.2565 | 85.784 | 25 | 46.9732 | 1.5 | 8.4066 | 25 | 23.0569
2511585.566 | 1.5405 | 24.3817 | 54.1505 | 24.5033 | 59.3558 | 81.1011 | 12.7523 | 21.319 | 85.777 | 25 | 47.7749 | 1.5 | 43.4737 | 25 | 22.3891
2511590.9309 | 1.5208 | 25.3336 | 55.1064 | 23.9685 | 59.7518 | 80.4801 | 12.6641 | 21.3406 | 85.7797 | 25 | 47.5445 | 1.5 | 85.754 | 25 | 22.6715
2511595.6465 | 1.4438 | 24.8799 | 55.0111 | 25.3576 | 59.7846 | 81.4378 | 12.8158 | 21.2932 | 85.7693 | 25 | 47.1944 | 1.5 | 71.9885 | 25 | 22.8379
2511601.9127 | 1.4641 | 25.1826 | 54.3134 | 25.204 | 59.5298 | 80.83 | 12.6564 | 21.2643 | 85.7736 | 25 | 47.6415 | 1.5 | 0 | 25 | 21.9085
2511604.3649 | 1.4581 | 25.4558 | 55.8379 | 25.6803 | 59.6462 | 80.8898 | 12.7341 | 21.4017 | 85.7807 | 25 | 47.1125 | 1.5 | 1.3584 | 25 | 21.9461
2511612.1687 | 1.5532 | 24.7346 | 54.7529 | 26.2857 | 59.4869 | 80.4468 | 12.6474 | 21.3839 | 85.7784 | 25 | 47.9086 | 1.5 | 54.948 | 25 | 21.473
2511625.8339 | 1.3931 | 25.2275 | 56.7876 | 25.5881 | 59.7332 | 80.8199 | 12.7506 | 21.322 | 85.7747 | 25 | 47.3878 | 1.5 | 24.305 | 25 | 22.1068
2511629.705 | 1.4215 | 25.1898 | 54.2826 | 26.0214 | 59.5959 | 81.6876 | 12.7307 | 21.3443 | 85.77 | 25 | 47.0069 | 1.5 | 0 | 25 | 21.8288
2511634.3904 | 1.477 | 24.4556 | 56.2528 | 23.7719 | 59.3911 | 80.8458 | 12.6746 | 21.4 | 85.7751 | 25 | 47.8979 | 1.5 | 0.11889 | 25 | 22.7073
2511639.2729 | 1.5497 | 25.4453 | 56.5141 | 25.6865 | 59.0811 | 80.6214 | 12.6461 | 21.2469 | 85.78 | 25 | 47.3535 | 1.5 | 35.1907 | 25 | 22.3534
2511650.5529 | 1.4812 | 25.4109 | 54.8113 | 24.6477 | 60.0103 | 81.0922 | 12.6517 | 21.3156 | 85.7689 | 25 | 47.4596 | 1.5 | 87.2022 | 25 | 21.8994
2511652.7609 | 1.4047 | 25.4791 | 55.8932 | 25.4529 | 59.8273 | 81.2177 | 12.6844 | 21.363 | 85.7753 | 25 | 47.0709 | 1.5 | 39.532 | 25 | 21.9278
2511657.0669 | 1.3973 | 24.6805 | 55.1433 | 25.834 | 59.6309 | 81.6067 | 12.7618 | 21.3283 | 85.7748 | 25 | 47.3392 | 1.5 | 0.47711 | 25 | 21.6437
2511659.27 | 1.4348 | 24.4611 | 56.5325 | 24.199 | 59.4992 | 80.969 | 12.7538 | 21.426 | 85.7749 | 25 | 47.8703 | 1.5 | 0 | 25 | 22.4672
2511660.4655 | 1.4871 | 24.4756 | 55.9793 | 24.0945 | 59.057 | 80.8084 | 12.759 | 21.3082 | 85.7751 | 25 | 48.073 | 1.5 | 2.8987 | 25 | 21.6346
2511665.448 | 1.5385 | 25.467 | 54.9742 | 24.2205 | 59.2241 | 80.7095 | 12.7079 | 21.2578 | 85.7776 | 25 | 47.1109 | 1.5 | 14.4984 | 25 | 22.4585
2511669.0629 | 1.5705 | 24.8023 | 54.7314 | 26.4148 | 59.3561 | 81.2622 | 12.69 | 21.3823 | 85.7725 | 25 | 47.3941 | 1.5 | 58.5841 | 25 | 22.8138
2511671.6733 | 1.5764 | 24.59 | 54.925 | 26.3564 | 59.4838 | 80.7062 | 12.7707 | 21.3109 | 85.7688 | 25 | 47.9492 | 1.5 | 100 | 25 | 22.7115
2511673.9864 | 1.5517 | 25.0851 | 55.1617 | 23.4062 | 59.6147 | 80.6906 | 12.6954 | 21.3379 | 85.77 | 25 | 47.7593 | 1.5 | 97.5539 | 25 | 22.1988
2511676.9848 | 1.4678 | 25.529 | 55.5244 | 25.8493 | 59.5274 | 81.0774 | 12.7375 | 21.3347 | 85.7704 | 25 | 47.123 | 1.5 | 88.2595 | 25 | 22.5524
2511681.3489 | 1.4657 | 25.0344 | 54.8082 | 25.4744 | 59.5517 | 81.7307 | 12.7178 | 21.3622 | 85.7817 | 25 | 47.0956 | 1.5 | 46.8175 | 25 | 21.7653
2511682.0684 | 1.4361 | 24.5013 | 56.3758 | 24.3957 | 59.8325 | 81.5806 | 12.7988 | 21.3937 | 85.7755 | 25 | 47.5496 | 1.5 | 36.8093 | 25 | 22.3224
2511689.2131 | 1.4998 | 25.4949 | 55.0449 | 26.4486 | 59.9186 | 80.7983 | 12.769 | 21.3167 | 85.7722 | 25 | 47.1735 | 1.5 | 0.68973 | 25 | 21.4834
2511694.1789 | 1.5626 | 24.7674 | 55.3092 | 24.1529 | 59.2862 | 81.3199 | 12.7472 | 21.3711 | 85.7718 | 25 | 47.2205 | 1.5 | 21.5585 | 25 | 22.5022
2511696.4299 | 1.5785 | 24.4041 | 55.6811 | 23.9501 | 59.4843 | 81.0758 | 12.7975 | 21.3348 | 85.7798 | 25 | 47.8409 | 1.5 | 58.3602 | 25 | 22.6184
2511700.4127 | 1.5477 | 25.0865 | 56.1022 | 26.1567 | 59.2289 | 80.6455 | 12.7722 | 21.3187 | 85.7846 | 25 | 47.6963 | 1.5 | 100 | 25 | 22.2961
2511709.9529 | 1.4253 | 24.7128 | 56.9044 | 24.5125 | 59.3773 | 80.8278 | 12.6894 | 21.4135 | 85.7731 | 25 | 47.7583 | 1.5 | 1.5889 | 25 | 22.4763
2511725.0039 | 1.5313 | 25.0342 | 56.5325 | 25.3576 | 59.3624 | 80.5375 | 12.6426 | 21.3492 | 85.776 | 25 | 47.5951 | 1.5 | 65.1442 | 25 | 22.175
2511732.9874 | 1.5016 | 24.5571 | 54.3441 | 24.5986 | 59.5161 | 81.2642 | 12.7618 | 21.4032 | 85.7745 | 25 | 47.5889 | 1.5 | 98.3115 | 25 | 22.2177
2511735.5321 | 1.436 | 24.4532 | 55.0295 | 25.9876 | 59.4626 | 80.7705 | 12.7982 | 21.3632 | 85.7768 | 25 | 48.099 | 1.5 | 72.1326 | 25 | 22.6683
2511738.547 | 1.4533 | 25.3578 | 55.4445 | 23.569 | 59.5427 | 80.6566 | 12.6775 | 21.3384 | 85.781 | 25 | 47.4075 | 1.5 | 25.6397 | 25 | 22.7207
2511740.8509 | 1.4303 | 25.5593 | 56.9659 | 25.4744 | 59.7013 | 81.1842 | 12.716 | 21.4215 | 85.7687 | 25 | 46.8393 | 1.5 | 0 | 25 | 21.7574
2511745.5609 | 1.4974 | 24.3515 | 54.4855 | 25.4898 | 59.551 | 81.4925 | 12.7028 | 21.3895 | 85.7758 | 25 | 47.7998 | 1.5 | 2.0836 | 25 | 21.6911
2511753.0925 | 1.5375 | 25.4194 | 56.5448 | 24.0054 | 59.2343 | 80.5289 | 12.743 | 21.3155 | 85.7762 | 25 | 46.9592 | 1.5 | 48.4936 | 25 | 21.9125
2511765.4999 | 1.4262 | 25.3357 | 57.1104 | 25.4867 | 59.4312 | 80.8439 | 12.6176 | 21.2991 | 85.7691 | 25 | 46.9106 | 1.5 | 65.736 | 25 | 21.7879
2511772.6506 | 1.4425 | 24.9111 | 55.4199 | 25.963 | 59.0001 | 80.7803 | 12.628 | 21.2915 | 85.7755 | 25 | 47.886 | 1.5 | 0.5813 | 25 | 21.4527
2511778.678 | 1.4872 | 25.1871 | 56.6032 | 24.5002 | 58.9787 | 81.2028 | 12.7426 | 21.354 | 85.7816 | 25 | 47.1041 | 1.5 | 1.3692 | 25 | 22.2593
2511797.13 | 1.4296 | 24.7931 | 56.7815 | 24.0146 | 59.3426 | 80.4449 | 12.657 | 21.2743 | 85.7725 | 25 | 47.8214 | 1.5 | 60.9691 | 25 | 22.2049
2511807.4458 | 1.4707 | 24.5487 | 55.3922 | 25.2101 | 59.0971 | 80.9025 | 12.5992 | 21.1724 | 85.7742 | 25 | 47.876 | 1.5 | 0.70378 | 25 | 21.9638
2511808.2398 | 1.4785 | 24.5539 | 55.5766 | 24.0146 | 58.9291 | 80.698 | 12.6931 | 21.2427 | 85.7789 | 25 | 47.9988 | 1.5 | 1.2452 | 25 | 22.4945
2511813.4979 | 1.5586 | 25.4257 | 56.0315 | 24.1622 | 59.0221 | 80.5596 | 12.6825 | 21.2123 | 85.7758 | 25 | 46.9373 | 1.5 | 33.9861 | 25 | 22.4252
2511814.5767 | 1.556 | 25.1655 | 56.3604 | 26.3257 | 58.9259 | 81.0107 | 12.6788 | 21.2013 | 85.7738 | 25 | 47.0032 | 1.5 | 50.3252 | 25 | 21.891
2511821.2198 | 1.5113 | 24.9105 | 54.8513 | 25.1026 | 59.2142 | 80.3566 | 12.7993 | 21.1743 | 85.7755 | 25 | 47.8949 | 1.5 | 99.5416 | 25 | 22.0127
2511827.5631 | 1.4502 | 24.9294 | 55.2816 | 24.6539 | 59.7611 | 81.3106 | 12.7158 | 21.2223 | 85.7794 | 25 | 47.2131 | 1.5 | 31.9277 | 25 | 21.5388
2511830.6759 | 1.4235 | 24.357 | 57.4792 | 24.6354 | 59.7074 | 81.2555 | 12.6648 | 21.2504 | 85.7765 | 25 | 47.9168 | 1.5 | 0 | 25 | 22.1984
2511842.1925 | 1.5555 | 25.2327 | 56.8983 | 24.3558 | 59.0274 | 80.8569 | 12.6459 | 21.2251 | 85.7776 | 25 | 47.1483 | 1.5 | 39.2691 | 25 | 21.3588
2511850.3299 | 1.524 | 24.7329 | 55.0265 | 24.6201 | 59.4128 | 80.5521 | 12.6742 | 21.2316 | 85.7839 | 25 | 48.0022 | 1.5 | 99.859 | 25 | 22.2084
2511852.5462 | 1.4426 | 25.4121 | 56.8091 | 25.4621 | 59.3004 | 80.7107 | 12.6934 | 21.2791 | 85.7813 | 25 | 47.5122 | 1.5 | 85.6689 | 25 | 21.7826
2511855.9965 | 1.4394 | 25.4405 | 56.7262 | 26.3687 | 59.3356 | 80.9616 | 12.6931 | 21.335 | 85.7707 | 25 | 46.9521 | 1.5 | 47.9831 | 25 | 21.7158
2511858.707 | 1.4083 | 24.6798 | 56.6432 | 26.043 | 59.5172 | 81.3208 | 12.7022 | 21.1662 | 85.7744 | 25 | 47.3828 | 1.5 | 0 | 25 | 21.4739
2511873.041 | 1.5663 | 24.6458 | 57.095 | 24.0331 | 59.5525 | 81.3637 | 12.776 | 21.2364 | 85.7758 | 25 | 47.6548 | 1.5 | 84.0318 | 25 | 22.4579
2511877.1519 | 1.5416 | 25.0104 | 55.2877 | 25.0104 | 59.3471 | 80.8946 | 12.7258 | 21.294 | 85.7778 | 25 | 47.7577 | 1.5 | 97.897 | 25 | 21.9893
2511881.6425 | 1.4571 | 25.2516 | 57.2425 | 24.3926 | 59.4547 | 81.0391 | 12.7223 | 21.219 | 85.7687 | 25 | 47.3216 | 1.5 | 87.6008 | 25 | 21.5561
2511886.887 | 1.375 | 24.6664 | 57.0888 | 25.6373 | 59.7864 | 80.8104 | 12.6347 | 21.3034 | 85.7688 | 25 | 47.9705 | 1.5 | 7.5584 | 25 | 21.7011
2511887.4979 | 1.3978 | 24.6563 | 55.5305 | 26.2335 | 59.4895 | 80.7887 | 12.7357 | 21.3176 | 85.774 | 25 | 48.0493 | 1.5 | 0.30761 | 25 | 21.4116
2511890.1529 | 1.4718 | 25.3013 | 56.0715 | 25.9907 | 59.3992 | 80.8287 | 12.6485 | 21.2651 | 85.7729 | 25 | 47.582 | 1.5 | 0.094896 | 25 | 21.6398
2511910.026 | 1.5327 | 24.7835 | 56.4065 | 24.5617 | 58.9424 | 81.048 | 12.6174 | 21.3067 | 85.778 | 25 | 47.4992 | 1.5 | 98.365 | 25 | 21.6156
2511924.7579 | 1.464 | 24.4294 | 56.9843 | 23.9501 | 59.1349 | 80.8375 | 12.6751 | 21.3772 | 85.7658 | 25 | 47.9067 | 1.5 | 1.8076 | 25 | 22.032
2511929.0524 | 1.5421 | 25.5694 | 57.4792 | 24.2728 | 59.1145 | 80.0903 | 12.7925 | 21.3622 | 85.7723 | 25 | 47.1194 | 1.5 | 15.7611 | 25 | 22.2355
2511939.1259 | 1.5298 | 25.2511 | 55.2201 | 26.1321 | 59.1035 | 80.2359 | 12.5396 | 21.3174 | 85.7765 | 25 | 47.6174 | 1.5 | 100 | 25 | 21.434
2511939.659 | 1.5171 | 25.2518 | 57.4792 | 25.0196 | 59.0304 | 80.4139 | 12.7739 | 21.3283 | 85.7771 | 25 | 47.5728 | 1.5 | 98.4789 | 25 | 22.0255
2511940.178 | 1.5012 | 25.5831 | 57.0243 | 25.2408 | 59.1021 | 80.2296 | 12.6417 | 21.3769 | 85.7704 | 25 | 47.253 | 1.5 | 97.8945 | 25 | 21.9209
2511943.293 | 1.46 | 25.4627 | 57.2825 | 25.0319 | 59.4455 | 81.1323 | 12.6937 | 21.4204 | 85.7829 | 25 | 46.7001 | 1.5 | 87.144 | 25 | 22.3378
2511944.581 | 1.4568 | 25.1135 | 55.6627 | 24.1284 | 59.4563 | 81.4561 | 12.7407 | 21.4582 | 85.7773 | 25 | 46.8328 | 1.5 | 69.9682 | 25 | 22.4836
2511948.1159 | 1.4195 | 24.3763 | 56.9444 | 24.4111 | 59.1303 | 80.9405 | 12.6125 | 21.3578 | 85.7804 | 25 | 47.843 | 1.5 | 14.5463 | 25 | 22.3425
2511969.5089 | 1.5195 | 25.2857 | 57.0919 | 25.4806 | 58.8491 | 80.2656 | 12.6482 | 21.3476 | 85.7794 | 25 | 47.1796 | 1.5 | 98.1096 | 25 | 21.7776
2511977.657 | 1.4554 | 24.6801 | 55.4844 | 25.7909 | 59.2247 | 80.3805 | 12.6857 | 21.5337 | 85.7746 | 25 | 47.9102 | 1.5 | 65.1473 | 25 | 22.4065
2511982.1349 | 1.4115 | 25.5693 | 55.7703 | 23.987 | 59.635 | 80.7241 | 12.6884 | 21.3752 | 85.7672 | 25 | 46.909 | 1.5 | 1.5473 | 25 | 21.4387
2511988.0779 | 1.4469 | 24.3538 | 57.0427 | 24.6385 | 58.6024 | 80.6584 | 12.6459 | 21.4165 | 85.778 | 25 | 47.8658 | 1.5 | 0 | 25 | 22.1333
2511990.0489 | 1.4804 | 24.6791 | 54.8144 | 24.2052 | 58.8047 | 79.9601 | 12.6668 | 21.4536 | 85.7785 | 25 | 47.9333 | 1.5 | 1.1198 | 25 | 22.3716
2511998.1369 | 1.5485 | 24.9055 | 57.012 | 25.4252 | 58.8509 | 81.018 | 12.675 | 21.2984 | 85.7744 | 25 | 47.2648 | 1.5 | 64.7016 | 25 | 21.7429
2512002.2909 | 1.5483 | 24.8604 | 54.9773 | 25.8493 | 58.5699 | 80.1676 | 12.6674 | 21.392 | 85.7786 | 25 | 47.8179 | 1.5 | 99.9162 | 25 | 21.5469
2512009.8459 | 1.4538 | 24.8868 | 54.7252 | 25.0042 | 59.2718 | 80.8957 | 12.6698 | 21.3767 | 85.7707 | 25 | 47.135 | 1.5 | 71.9719 | 25 | 22.1244
2512014.8209 | 1.4062 | 24.9356 | 56.4219 | 25.9538 | 59.4072 | 80.5538 | 12.6387 | 21.4453 | 85.7656 | 25 | 47.7879 | 1.5 | 0 | 25 | 21.4901
2512023.1401 | 1.5024 | 24.4024 | 56.4987 | 24.9428 | 58.9204 | 80.9993 | 12.7931 | 21.4838 | 85.7728 | 25 | 47.6262 | 1.5 | 5.4366 | 25 | 21.5558
2512023.6379 | 1.541 | 24.152 | 55.1033 | 26.6207 | 59.1881 | 81.0235 | 12.6333 | 21.4745 | 85.7732 | 25 | 47.9394 | 1.5 | 10.9144 | 25 | 21.1205
2512031.0589 | 1.5508 | 25.4657 | 54.6023 | 26.0061 | 58.7789 | 80.1977 | 12.7575 | 21.4211 | 85.7688 | 25 | 47.1808 | 1.5 | 95.851 | 25 | 21.4242
2512038.7669 | 1.4568 | 24.5063 | 56.9628 | 24.5924 | 59.935 | 80.7975 | 12.6637 | 21.4194 | 85.7769 | 25 | 48.0146 | 1.5 | 54.4224 | 25 | 22.1611
2512061.5734 | 1.4993 | 24.2994 | 56.1975 | 26.1198 | 59.1841 | 81.0797 | 12.7561 | 21.1179 | 85.7726 | 25 | 47.8497 | 1.5 | 97.1582 | 25 | 22.4542
2512062.308 | 1.4829 | 24.3065 | 57.0735 | 25.7387 | 59.0913 | 80.6102 | 12.6595 | 21.1087 | 85.771 | 25 | 48.0264 | 1.5 | 95.7772 | 25 | 21.5297
2512072.1249 | 1.4212 | 24.5715 | 55.9117 | 26.3595 | 59.6809 | 81.6115 | 12.6163 | 21.1926 | 85.7775 | 25 | 47.4794 | 1.5 | 0.52347 | 25 | 21.2911
2512080.2589 | 1.542 | 25.4692 | 55.2232 | 25.5389 | 59.1355 | 80.576 | 12.6984 | 21.1914 | 85.779 | 25 | 47.0486 | 1.5 | 11.7736 | 25 | 21.6071
2512084.0599 | 1.5575 | 24.6766 | 54.7498 | 25.164 | 59.2052 | 81.181 | 12.6785 | 21.2455 | 85.778 | 25 | 47.4679 | 1.5 | 47.646 | 25 | 21.8137
2512092.5309 | 1.493 | 25.5427 | 56.8337 | 23.9931 | 59.8558 | 81.3418 | 12.6634 | 21.3373 | 85.7831 | 25 | 46.7641 | 1.5 | 97.4101 | 25 | 22.4495
2512102.8389 | 1.4103 | 25.5144 | 56.2436 | 24.5217 | 59.4214 | 80.6783 | 12.6379 | 21.2778 | 85.7772 | 25 | 47.1914 | 1.5 | 0 | 25 | 22.0781
2512111.1888 | 1.5171 | 24.5785 | 56.176 | 24.3435 | 58.6835 | 80.0365 | 12.737 | 21.2314 | 85.7733 | 25 | 48.0071 | 1.5 | 10.0733 | 25 | 22.2034
2512125.1754 | 1.4717 | 25.3177 | 56.554 | 24.5924 | 59.2657 | 80.513 | 12.6552 | 21.2591 | 85.7806 | 25 | 47.4811 | 1.5 | 86.6808 | 25 | 22.0768
2512133.8696 | 1.4396 | 24.4334 | 55.5797 | 24.5832 | 58.9659 | 80.5839 | 12.5939 | 21.2618 | 85.7764 | 25 | 47.9752 | 1.5 | 0.96108 | 25 | 22.0185
2512143.9241 | 1.5494 | 24.8791 | 54.3011 | 25.6988 | 59.0787 | 81.0417 | 12.7879 | 21.2117 | 85.7725 | 25 | 47.1976 | 1.5 | 25.0482 | 25 | 22.0673
2512153.0391 | 1.4951 | 25.2644 | 56.4618 | 23.9747 | 59.1626 | 80.4807 | 12.6531 | 21.1726 | 85.7762 | 25 | 47.3999 | 1.5 | 97.0492 | 25 | 22.4518
2512162.2679 | 1.4188 | 24.4662 | 53.9968 | 25.1517 | 59.1924 | 80.4497 | 12.6682 | 21.3122 | 85.7688 | 25 | 47.9185 | 1.5 | 22.2967 | 25 | 21.8855
2512164.1809 | 1.4197 | 24.961 | 55.7949 | 25.0718 | 59.2808 | 80.7997 | 12.5851 | 21.1063 | 85.7738 | 25 | 47.777 | 1.5 | 1.5164 | 25 | 21.8706
2512168.8952 | 1.4884 | 25.5621 | 55.174 | 25.4529 | 58.7023 | 80.7119 | 12.5269 | 21.257 | 85.7758 | 25 | 46.7419 | 1.5 | 0 | 25 | 21.5804
2512178.6109 | 1.533 | 25.2097 | 55.3246 | 26.5685 | 58.8387 | 79.8234 | 12.5739 | 21.2971 | 85.777 | 25 | 47.4938 | 1.5 | 66.597 | 25 | 21.1407
2512181.0089 | 1.515 | 25.4426 | 56.0192 | 24.0208 | 58.8056 | 80.5078 | 12.6581 | 21.2802 | 85.7727 | 25 | 46.987 | 1.5 | 81.6929 | 25 | 22.4038
2512183.9908 | 1.5095 | 24.6329 | 56.3788 | 25.3822 | 58.6865 | 80.7597 | 12.5996 | 21.2428 | 85.7834 | 25 | 47.0968 | 1.5 | 97.576 | 25 | 22.734
2512186.0159 | 1.4618 | 24.4046 | 55.7949 | 23.9317 | 58.6826 | 80.7391 | 12.6148 | 21.1356 | 85.7701 | 25 | 47.9198 | 1.5 | 83.6977 | 25 | 21.4624
2512186.9625 | 1.4428 | 24.4773 | 55.7334 | 26.1413 | 58.6323 | 80.0639 | 12.5987 | 21.1788 | 85.7661 | 25 | 48.0373 | 1.5 | 72.4206 | 25 | 22.4149
2512187.4779 | 1.4619 | 24.6941 | 54.0152 | 26.2212 | 58.6278 | 79.9982 | 12.6734 | 21.2622 | 85.775 | 25 | 47.9438 | 1.5 | 66.3232 | 25 | 21.3334
2512192.6449 | 1.4625 | 25.3653 | 54.7406 | 24.365 | 59.0277 | 80.2906 | 12.5638 | 21.2954 | 85.7703 | 25 | 47.2799 | 1.5 | 1.6013 | 25 | 21.9888
2512199.1309 | 1.5038 | 24.4911 | 56.2528 | 24.1191 | 58.8295 | 80.6787 | 12.6497 | 21.2303 | 85.7688 | 25 | 48.1042 | 1.5 | 8.6915 | 25 | 22.2913
2512203.0894 | 1.5366 | 25.4262 | 55.7979 | 23.8057 | 59.0384 | 80.1676 | 12.6022 | 21.1854 | 85.7698 | 25 | 47.4301 | 1.5 | 46.0821 | 25 | 22.4725
2512209.6179 | 1.5133 | 24.5734 | 54.2242 | 25.6803 | 59.2612 | 80.9957 | 12.6899 | 21.2426 | 85.7749 | 25 | 47.4828 | 1.5 | 93.0297 | 25 | 22.0288
2512210.1539 | 1.5199 | 24.5622 | 54.2027 | 24.5094 | 59.3264 | 80.8324 | 12.5112 | 21.1885 | 85.7727 | 25 | 47.5727 | 1.5 | 94.6408 | 25 | 21.598
2512214.054 | 1.467 | 25.091 | 54.2519 | 24.8598 | 58.8538 | 80.3672 | 12.7182 | 21.2197 | 85.7657 | 25 | 47.5481 | 1.5 | 85.7554 | 25 | 21.6018
2512217.9079 | 1.4063 | 25.3923 | 54.7929 | 25.7571 | 59.0711 | 80.8563 | 12.6061 | 21.2035 | 85.7667 | 25 | 46.8619 | 1.5 | 20.4102 | 25 | 21.5151
2512223.938 | 1.468 | 24.7347 | 55.6197 | 24.156 | 59.0307 | 80.1958 | 12.6038 | 21.237 | 85.7744 | 25 | 47.8556 | 1.5 | 1.105 | 25 | 22.2062
2512234.1389 | 1.5499 | 24.4299 | 54.2581 | 24.9212 | 59.0561 | 80.8486 | 12.6029 | 21.2252 | 85.7756 | 25 | 47.8421 | 1.5 | 80.0669 | 25 | 21.8946
2512241.96 | 1.4252 | 25.3817 | 55.8963 | 25.751 | 59.6739 | 80.5288 | 12.5892 | 21.2797 | 85.7713 | 25 | 47.3652 | 1.5 | 61.1838 | 25 | 21.5107
2512247.449 | 1.4522 | 24.9358 | 54.0337 | 26.2458 | 59.0156 | 81.8854 | 12.6136 | 21.2588 | 85.7719 | 25 | 47.1891 | 1.5 | 1.6686 | 25 | 22.0937
2512248.4159 | 1.484 | 24.9381 | 53.9476 | 25.4375 | 58.8489 | 81.5806 | 12.7062 | 21.1588 | 85.7728 | 25 | 47.2067 | 1.5 | 1.8924 | 25 | 21.5382
2512251.4249 | 1.5065 | 24.475 | 55.5981 | 23.6766 | 58.7163 | 80.2199 | 12.6456 | 21.2785 | 85.7725 | 25 | 48.14 | 1.5 | 2.7398 | 25 | 22.2111
2512266.8895 | 1.4769 | 25.3172 | 56.0715 | 23.4676 | 59.1534 | 80.7491 | 12.6241 | 21.2993 | 85.7789 | 25 | 47.537 | 1.5 | 94.6555 | 25 | 22.6487
2512269.035 | 1.4089 | 25.3923 | 56.4833 | 25.6465 | 59.3955 | 80.4084 | 12.578 | 21.3255 | 85.7756 | 25 | 47.1915 | 1.5 | 64.7607 | 25 | 22.0702
2512277.3866 | 1.4214 | 24.864 | 55.8379 | 24.8137 | 59.4798 | 80.5918 | 12.6587 | 21.3081 | 85.7751 | 25 | 47.915 | 1.5 | 0 | 25 | 21.8624
2512278.2689 | 1.4461 | 25.1738 | 55.6227 | 23.5414 | 59.411 | 80.468 | 12.6803 | 21.3033 | 85.7771 | 25 | 47.6493 | 1.5 | 0.041642 | 25 | 22.4962
2512279.5824 | 1.4524 | 25.3898 | 56.262 | 25.33 | 59.1645 | 80.579 | 12.6184 | 21.3049 | 85.7682 | 25 | 47.3226 | 1.5 | 0.75907 | 25 | 22.2492
2512281.4569 | 1.5088 | 25.5464 | 53.8739 | 25.5328 | 58.965 | 80.7611 | 12.6586 | 21.2653 | 85.7737 | 25 | 46.8486 | 1.5 | 2.562 | 25 | 21.5355
2512289.7319 | 1.5326 | 25.0656 | 56.3143 | 25.204 | 58.9131 | 80.3146 | 12.6417 | 21.3525 | 85.7759 | 25 | 47.5493 | 1.5 | 82.7577 | 25 | 22.1932
2512302.0979 | 1.4597 | 25.0386 | 54.421 | 26.212 | 59.1877 | 80.4149 | 12.6592 | 21.4662 | 85.7769 | 25 | 47.8434 | 1.5 | 39.1492 | 25 | 21.2714
2512302.6209 | 1.4474 | 25.3107 | 55.8471 | 24.5955 | 58.9892 | 80.4965 | 12.6476 | 21.3929 | 85.7802 | 25 | 47.6296 | 1.5 | 31.2735 | 25 | 22.0708
2512304.1971 | 1.4235 | 25.5651 | 53.8523 | 26.1198 | 59.4297 | 80.4344 | 12.7421 | 21.4204 | 85.7731 | 25 | 47.2289 | 1.5 | 0 | 25 | 21.8986
2512312.3901 | 1.5312 | 24.4534 | 54.1044 | 25.1886 | 59.443 | 80.4021 | 12.6467 | 21.3579 | 85.7718 | 25 | 48.0105 | 1.5 | 7.6667 | 25 | 21.7004
2512320.0569 | 1.5312 | 25.1918 | 55.8994 | 23.6182 | 59.3772 | 80.954 | 12.738 | 21.4215 | 85.7655 | 25 | 47.0309 | 1.5 | 57.044 | 25 | 22.5432
2512331.0028 | 1.4767 | 25.5121 | 54.0122 | 25.9446 | 58.6556 | 80.893 | 12.7309 | 21.2684 | 85.7758 | 25 | 46.8378 | 1.5 | 73.506 | 25 | 21.7859
2512331.836 | 1.4443 | 25.3055 | 56.2282 | 24.0146 | 58.755 | 81.0226 | 12.5977 | 21.311 | 85.775 | 25 | 46.8565 | 1.5 | 64.8721 | 25 | 22.1768
2512340.83 | 1.4782 | 25.2147 | 54.1197 | 25.2224 | 58.9474 | 80.2823 | 12.8632 | 21.2969 | 85.7769 | 25 | 47.4943 | 1.5 | 1.614 | 25 | 21.6633
2512347.1949 | 1.5426 | 24.5312 | 54.0552 | 25.6988 | 58.3457 | 81.1148 | 12.5701 | 21.3308 | 85.7753 | 25 | 47.5296 | 1.5 | 34.3985 | 25 | 21.467
2512347.7449 | 1.5408 | 24.537 | 55.3215 | 23.6551 | 58.636 | 81.0065 | 12.6905 | 21.3767 | 85.7737 | 25 | 47.6146 | 1.5 | 38.5595 | 25 | 22.3234
2512353.11 | 1.5331 | 25.2841 | 54.7037 | 25.0657 | 58.894 | 80.2826 | 12.6515 | 21.3519 | 85.7699 | 25 | 47.513 | 1.5 | 83.5472 | 25 | 21.8311
2512355.5125 | 1.5195 | 25.3158 | 54.1935 | 24.8167 | 58.6091 | 80.2434 | 12.6623 | 21.2686 | 85.776 | 25 | 47.2431 | 1.5 | 89.185 | 25 | 21.3669
2512357.1709 | 1.5024 | 25.1132 | 53.9784 | 25.1671 | 58.5485 | 80.8513 | 12.7169 | 21.4119 | 85.7743 | 25 | 47.235 | 1.5 | 87.1756 | 25 | 21.7883
2512367.4685 | 1.4686 | 25.4697 | 53.9169 | 24.8413 | 58.9808 | 80.2242 | 12.792 | 21.3178 | 85.7779 | 25 | 47.1065 | 1.5 | 1.5833 | 25 | 21.8111
2512373.65 | 1.5637 | 24.4535 | 55.9946 | 24.4111 | 58.256 | 79.7388 | 12.5854 | 21.3048 | 85.7686 | 25 | 48.0647 | 1.5 | 29.0925 | 25 | 22.0798
2512379.7649 | 1.5453 | 25.6161 | 56.6923 | 24.2359 | 59.0778 | 80.8491 | 12.7037 | 21.353 | 85.7727 | 25 | 46.6685 | 1.5 | 98.6294 | 25 | 22.1494
2512395.7249 | 1.4828 | 25.0098 | 56.6616 | 25.1917 | 58.691 | 81.0134 | 12.7359 | 21.4359 | 85.7717 | 25 | 46.9308 | 1.5 | 0.28666 | 25 | 21.7313
2512400.195 | 1.5144 | 24.7142 | 55.5859 | 24.2267 | 58.7277 | 80.0927 | 12.6189 | 21.2596 | 85.7708 | 25 | 47.9317 | 1.5 | 12.5125 | 25 | 22.1218
2512404.548 | 1.5616 | 25.4691 | 55.1094 | 26.4025 | 59.1252 | 80.5401 | 12.6353 | 21.3136 | 85.7763 | 25 | 46.9143 | 1.5 | 58.7475 | 25 | 22.3002
2512406.8458 | 1.5401 | 24.9485 | 56.1176 | 23.6244 | 59.0009 | 81.0786 | 12.675 | 21.3865 | 85.7746 | 25 | 47.1522 | 1.5 | 87.7957 | 25 | 21.5571
2512423.108 | 1.4366 | 24.4853 | 56.5633 | 25.2408 | 58.6375 | 80.5448 | 12.6539 | 21.4341 | 85.777 | 25 | 47.8497 | 1.5 | 0.013378 | 25 | 21.6721
2512427.5529 | 1.4701 | 25.1629 | 56.4803 | 25.3822 | 59.0796 | 80.4201 | 12.6427 | 21.3985 | 85.7718 | 25 | 47.5819 | 1.5 | 0.1855 | 25 | 22.2372
2512428.8579 | 1.4998 | 25.3639 | 55.4076 | 25.9661 | 58.8698 | 80.0532 | 12.5575 | 21.4087 | 85.7756 | 25 | 47.3232 | 1.5 | 1.6028 | 25 | 21.2705
2512439.4959 | 1.5389 | 25.4662 | 54.7959 | 26.5623 | 58.6218 | 79.9718 | 12.4468 | 21.3944 | 85.7704 | 25 | 47.2302 | 1.5 | 97.6798 | 25 | 21.733
2512445.956 | 1.4847 | 24.4819 | 55.217 | 25.1517 | 58.6423 | 80.794 | 12.6313 | 21.2648 | 85.7723 | 25 | 47.5587 | 1.5 | 80.5195 | 25 | 21.6011
2512449.4867 | 1.4222 | 24.7846 | 56.5756 | 24.9212 | 58.8487 | 80.2339 | 12.561 | 21.2996 | 85.7786 | 25 | 47.8946 | 1.5 | 35.3657 | 25 | 21.8607
2512466.3459 | 1.5466 | 25.4639 | 55.1002 | 24.2267 | 58.3866 | 80.2628 | 12.6309 | 21.3421 | 85.7678 | 25 | 46.8324 | 1.5 | 76.29 | 25 | 22.1301
2512474.564 | 1.4451 | 25.1098 | 55.8717 | 26.0583 | 59.0638 | 80.3092 | 12.5824 | 21.367 | 85.7807 | 25 | 47.7749 | 1.5 | 55.475 | 25 | 21.6056
2512495.0969 | 1.5169 | 24.7623 | 57.387 | 24.9397 | 59.0067 | 80.965 | 12.5926 | 21.3948 | 85.7728 | 25 | 47.2698 | 1.5 | 100 | 25 | 21.7921
2512499.2222 | 1.4901 | 24.5771 | 55.8994 | 23.8733 | 58.1823 | 80.2617 | 12.5648 | 21.3807 | 85.774 | 25 | 48.0328 | 1.5 | 93.3685 | 25 | 21.2968
2512501.6833 | 1.4221 | 25.4951 | 55.4936 | 25.6281 | 58.659 | 79.8142 | 12.552 | 21.3889 | 85.7769 | 25 | 47.2822 | 1.5 | 58.8201 | 25 | 22.16
2512507.7131 | 1.4381 | 24.5069 | 56.554 | 25.5236 | 58.8604 | 81.3762 | 12.5452 | 21.4027 | 85.7669 | 25 | 47.5772 | 1.5 | 0.69748 | 25 | 21.9294
2512509.1979 | 1.4589 | 24.5053 | 54.4978 | 25.1302 | 59.0076 | 80.6946 | 12.5374 | 21.2761 | 85.7679 | 25 | 47.8282 | 1.5 | 1.2993 | 25 | 21.5767
2512510.3149 | 1.4797 | 24.6554 | 55.1125 | 25.0349 | 58.8833 | 80.365 | 12.5765 | 21.42 | 85.7781 | 25 | 47.8731 | 1.5 | 1.3204 | 25 | 21.5805
2512515.5439 | 1.5416 | 25.4608 | 56.5878 | 24.03 | 58.7652 | 80.5025 | 12.674 | 21.4316 | 85.7745 | 25 | 46.8564 | 1.5 | 20.9844 | 25 | 21.6817
2512517.797 | 1.5569 | 24.9642 | 54.8328 | 25.6066 | 58.7273 | 80.9115 | 12.5309 | 21.3526 | 85.7766 | 25 | 46.9688 | 1.5 | 41.2541 | 25 | 21.6757
2512527.6749 | 1.4782 | 25.2946 | 56.0592 | 23.8886 | 58.744 | 80.3764 | 12.6785 | 21.2863 | 85.7646 | 25 | 47.2415 | 1.5 | 77.054 | 25 | 21.8765
2512535.9959 | 1.4703 | 24.6841 | 56.1483 | 26.0276 | 59.3002 | 80.2201 | 12.6348 | 21.2892 | 85.7742 | 25 | 47.8905 | 1.5 | 0.99579 | 25 | 21.2209
2512544.2475 | 1.5215 | 24.7573 | 56.7692 | 25.0011 | 58.9989 | 80.9017 | 12.6268 | 21.2525 | 85.7625 | 25 | 47.3278 | 1.5 | 33.9904 | 25 | 21.6999
2512552.4036 | 1.4891 | 25.4135 | 57.1503 | 24.0823 | 58.702 | 80.2159 | 12.6346 | 21.3597 | 85.7765 | 25 | 47.2684 | 1.5 | 94.1406 | 25 | 22.0666
2512558.8989 | 1.4245 | 24.8177 | 56.5387 | 25.6158 | 58.6578 | 80.6131 | 12.6341 | 21.3174 | 85.7738 | 25 | 47.4003 | 1.5 | 21.9443 | 25 | 21.3988
2512559.4359 | 1.4178 | 24.441 | 57.1534 | 25.6189 | 58.56 | 80.3918 | 12.5582 | 21.3578 | 85.7746 | 25 | 47.7739 | 1.5 | 12.2327 | 25 | 21.4005
2512562.207 | 1.4347 | 25.143 | 56.2713 | 24.6078 | 58.7737 | 80.2394 | 12.6898 | 21.3207 | 85.7693 | 25 | 47.5177 | 1.5 | 0.52923 | 25 | 21.8368
2512566.7825 | 1.5059 | 25.4104 | 56.763 | 24.1837 | 58.4686 | 80.5613 | 12.586 | 21.2521 | 85.7736 | 25 | 46.676 | 1.5 | 3.6294 | 25 | 21.9844
2512580.2069 | 1.4826 | 25.34 | 54.5162 | 25.917 | 58.7814 | 80.1668 | 12.4904 | 21.3698 | 85.7677 | 25 | 47.0572 | 1.5 | 87.4734 | 25 | 21.2722
2512589.2259 | 1.4749 | 25.0586 | 55.4844 | 24.9704 | 58.7681 | 80.4679 | 12.5327 | 21.2775 | 85.7751 | 25 | 47.7829 | 1.5 | 1.742 | 25 | 21.6647
2512589.7209 | 1.4695 | 25.0615 | 55.9547 | 24.8813 | 58.7746 | 80.4579 | 12.6467 | 21.2838 | 85.7748 | 25 | 47.7699 | 1.5 | 0 | 25 | 21.9164
2512599.6049 | 1.5285 | 24.5327 | 57.3009 | 24.3558 | 58.8391 | 80.3191 | 12.6074 | 21.3002 | 85.7721 | 25 | 47.9325 | 1.5 | 64.3643 | 25 | 21.9462
2512602.015 | 1.5475 | 24.9333 | 54.6207 | 25.6004 | 58.5338 | 80.3479 | 12.6061 | 21.3052 | 85.7748 | 25 | 47.8145 | 1.5 | 86.9942 | 25 | 21.4742
2512609.4759 | 1.4597 | 25.2424 | 57.3931 | 25.3822 | 58.7331 | 80.798 | 12.5162 | 21.364 | 85.7725 | 25 | 47.1003 | 1.5 | 91.1941 | 25 | 21.538
2512618.065 | 1.4634 | 25.212 | 56.4372 | 24.1898 | 58.893 | 80.6827 | 12.5348 | 21.4242 | 85.767 | 25 | 47.4778 | 1.5 | 1.3169 | 25 | 21.9514
2512636.4485 | 1.5409 | 25.3116 | 55.8717 | 26.4916 | 58.9219 | 80.4051 | 12.5801 | 21.3558 | 85.7763 | 25 | 47.0764 | 1.5 | 99.8964 | 25 | 20.3118
2512638.639 | 1.5268 | 25.1873 | 56.4772 | 26.5377 | 59.0099 | 81.0114 | 12.6657 | 21.3847 | 85.7749 | 25 | 46.9372 | 1.5 | 99.1422 | 25 | 21.0829
2512644.6583 | 1.4214 | 24.8035 | 56.0807 | 26.1751 | 58.6499 | 80.2513 | 12.6543 | 21.2698 | 85.7708 | 25 | 47.9953 | 1.5 | 34.5604 | 25 | 20.3742
2512646.7969 | 1.4255 | 25.058 | 54.7345 | 25.9262 | 59.1666 | 80.3722 | 12.5495 | 21.2975 | 85.7748 | 25 | 47.8198 | 1.5 | 0.94966 | 25 | 21.2114
2512655.121 | 1.5064 | 24.4709 | 56.7507 | 23.5137 | 58.4573 | 80.8137 | 12.6673 | 21.3157 | 85.7712 | 25 | 47.6481 | 1.5 | 8.7845 | 25 | 21.5195
2512658.1789 | 1.5261 | 24.6827 | 57.5038 | 25.1056 | 58.3923 | 79.8714 | 12.6397 | 21.38 | 85.7633 | 25 | 48.0882 | 1.5 | 20.4444 | 25 | 20.7755
2512663.1279 | 1.5165 | 25.5167 | 57.6236 | 25.8647 | 58.5538 | 80.3434 | 12.565 | 21.359 | 85.769 | 25 | 47.0056 | 1.5 | 80.1625 | 25 | 20.3963
2512677.4589 | 1.4247 | 24.9877 | 55.1125 | 26.0122 | 58.9453 | 80.9807 | 12.6373 | 21.3524 | 85.776 | 25 | 47.2552 | 1.5 | 1.1252 | 25 | 20.3217
2512687.9941 | 1.5208 | 25.3927 | 57.5991 | 25.1917 | 58.6742 | 80.7823 | 12.5983 | 21.3364 | 85.7691 | 25 | 46.873 | 1.5 | 16.5987 | 25 | 21.0708
2512691.4859 | 1.5556 | 24.7019 | 54.9373 | 24.8075 | 58.2494 | 80.771 | 12.6403 | 21.3492 | 85.7699 | 25 | 47.3486 | 1.5 | 54.1777 | 25 | 20.8817
2512702.1118 | 1.4624 | 24.8728 | 54.8267 | 24.9919 | 59.235 | 80.8827 | 12.6586 | 21.3556 | 85.7663 | 25 | 47.2059 | 1.5 | 83.9149 | 25 | 20.8483
2512706.254 | 1.4244 | 24.4041 | 55.3492 | 24.5955 | 58.9648 | 80.5086 | 12.608 | 21.4404 | 85.7799 | 25 | 48.2621 | 1.5 | 21.3425 | 25 | 20.5893
2512710.3179 | 1.4198 | 25.524 | 56.4188 | 26.3318 | 58.4124 | 80.6349 | 12.6768 | 21.3045 | 85.7699 | 25 | 47.1047 | 1.5 | 0 | 25 | 20.0512
2512724.4229 | 1.5439 | 25.3349 | 54.7775 | 24.8014 | 59.3078 | 81.0052 | 12.507 | 21.3622 | 85.7718 | 25 | 46.9252 | 1.5 | 85.8001 | 25 | 20.1896