## data (2)
Time (sec) | Water Level (ft) | Water Flowrate (GPM) | House Steam Pressure (psig) | Steam Pressure (psig) | Inlet Water Temperature (C) | Outlet Water Temperature (C) | Water Feed Temperature (C) | Ambient Temperature (C) | Ambient Pressure (kPa) | Flow Setpoint (GPM) | Flow Control Output (%) | Level Setpoint (ft) | Level Control Output (%) | Steam Setpoint (psig) | Steam Control Output (%)
2683239.6922 | 1.4448 | 50.7 | 51.1261 | 25.7449 | 63.0231 | 75.6991 | 12.0471 | 21.3695 | 85.8595 | 50 | 79.223 | 1.5 | 23.4578 | 25 | 19.1214
2683250.0361 | 1.5156 | 49.7347 | 54.1167 | 24.8229 | 64.2514 | 77.0582 | 12.0366 | 21.3715 | 85.8596 | 50 | 80.1103 | 1.5 | 11.7283 | 25 | 19.5564
2683256.2529 | 1.5308 | 50.3958 | 52.4661 | 26.8297 | 64.8517 | 77.4637 | 12.039 | 21.4832 | 85.8542 | 50 | 79.0612 | 1.5 | 61.2903 | 25 | 18.9622
2683257.2279 | 1.5339 | 49.9939 | 52.8288 | 23.8487 | 64.6709 | 76.8786 | 12.0698 | 21.3972 | 85.8566 | 50 | 79.3396 | 1.5 | 67.5841 | 25 | 20.159
2683257.7059 | 1.5295 | 49.8302 | 51.9774 | 24.7246 | 65.1671 | 76.3717 | 12.0682 | 21.4447 | 85.856 | 50 | 79.4721 | 1.5 | 70.1733 | 25 | 19.72
2683272.6818 | 1.4378 | 49.2942 | 52.8073 | 24.0761 | 66.3571 | 77.5611 | 12.0537 | 21.3894 | 85.8576 | 50 | 79.966 | 1.5 | 0.17558 | 25 | 19.8344
2683279.4679 | 1.5058 | 50.6742 | 53.8032 | 25.5113 | 65.9987 | 77.0553 | 12.041 | 21.5934 | 85.8558 | 50 | 79.0617 | 1.5 | 4.1987 | 25 | 19.1764
2683282.9869 | 1.5559 | 49.8356 | 54.4517 | 25.3638 | 67.0979 | 77.8319 | 12.0845 | 21.5325 | 85.856 | 50 | 79.2547 | 1.5 | 51.9194 | 25 | 19.3795
2683287.3649 | 1.5219 | 49.483 | 54.633 | 24.1345 | 67.271 | 77.9704 | 12.072 | 21.4512 | 85.8577 | 50 | 80.3191 | 1.5 | 98.0054 | 25 | 19.9953
2683299.4699 | 1.4521 | 49.3922 | 53.0839 | 24.8383 | 65.3834 | 78.704 | 12.016 | 21.5739 | 85.8495 | 50 | 80.109 | 1.5 | 2.1977 | 25 | 19.535
2683309.8879 | 1.4906 | 49.7334 | 54.1259 | 24.66 | 67.3194 | 78.7813 | 12.035 | 21.4847 | 85.8576 | 50 | 79.3082 | 1.5 | 2.0877 | 25 | 19.6734
2683318.2027 | 1.5487 | 50.4697 | 53.9107 | 26.7344 | 67.0307 | 79.4201 | 12.1118 | 21.5116 | 85.8505 | 50 | 79.1412 | 1.5 | 97.5791 | 25 | 18.5512
2683322.1989 | 1.5148 | 49.716 | 52.1619 | 25.0011 | 65.4758 | 78.5858 | 12.0561 | 21.5259 | 85.8549 | 50 | 79.345 | 1.5 | 99.4775 | 25 | 19.4235
2683329.6931 | 1.4192 | 50.3925 | 52.0082 | 25.4099 | 66.7109 | 78.6607 | 12.0433 | 21.4749 | 85.8583 | 50 | 79.4979 | 1.5 | 24.095 | 25 | 20.0855
2683342.0766 | 1.5201 | 49.9936 | 54.2673 | 23.1357 | 66.7829 | 78.3831 | 12.0448 | 21.4136 | 85.8578 | 50 | 80.0061 | 1.5 | 22.9164 | 25 | 20.3413
2683347.2509 | 1.5342 | 50.5978 | 55.0879 | 24.2052 | 67.1029 | 79.2268 | 12.1249 | 21.5023 | 85.8604 | 50 | 78.7392 | 1.5 | 50.2113 | 25 | 19.8911
2683353.494 | 1.5117 | 49.3847 | 52.8811 | 25.6035 | 68.2297 | 79.8815 | 12.0941 | 21.446 | 85.8567 | 50 | 79.9699 | 1.5 | 71.1465 | 25 | 19.5694
2683353.929 | 1.5041 | 49.3928 | 52.8995 | 26.802 | 68.5761 | 79.5778 | 12.1554 | 21.3759 | 85.8584 | 50 | 80.0549 | 1.5 | 71.8289 | 25 | 18.7485
2683355.1555 | 1.4886 | 49.6383 | 53.4036 | 26.9987 | 65.6673 | 79.5693 | 12.0419 | 21.4606 | 85.8532 | 50 | 80.0771 | 1.5 | 69.6404 | 25 | 18.5554
2683371.4059 | 1.5232 | 50.5763 | 54.8021 | 23.8794 | 67.35 | 78.7493 | 12.1092 | 21.5562 | 85.8507 | 50 | 79.2009 | 1.5 | 18.2398 | 25 | 19.9582
2683378.6179 | 1.5285 | 49.487 | 52.8842 | 24.5863 | 67.4887 | 79.392 | 12.0895 | 21.4904 | 85.863 | 50 | 79.8662 | 1.5 | 99.8785 | 25 | 19.714
2683380.5129 | 1.5089 | 49.9168 | 53.8554 | 23.6274 | 66.958 | 79.331 | 12.0525 | 21.4341 | 85.8673 | 50 | 79.829 | 1.5 | 98.8514 | 25 | 20.557
2683384.0124 | 1.4557 | 50.5208 | 53.336 | 26.0614 | 68.0171 | 78.6209 | 12.0731 | 21.6153 | 85.8562 | 50 | 79.0535 | 1.5 | 83.8585 | 25 | 19.0157
2683392.2549 | 1.4193 | 49.8344 | 54.8943 | 24.7368 | 68.2494 | 79.2326 | 12.0573 | 21.5993 | 85.8538 | 50 | 79.8603 | 1.5 | 0.11587 | 25 | 19.4221
2683400.4879 | 1.4904 | 49.582 | 54.8912 | 25.9661 | 67.9896 | 80.1847 | 12.1089 | 21.4765 | 85.8596 | 50 | 79.6879 | 1.5 | 1.8264 | 25 | 18.8995
2683407.6169 | 1.5394 | 50.4409 | 55.4045 | 24.955 | 68.9989 | 79.9908 | 12.1339 | 21.5051 | 85.8621 | 50 | 79.392 | 1.5 | 65.3567 | 25 | 19.6493
2683410.7779 | 1.5255 | 50.0071 | 53.4374 | 26.5777 | 69.1724 | 80.0293 | 11.9786 | 21.4968 | 85.848 | 50 | 79.388 | 1.5 | 94.2498 | 25 | 18.7648
2683417.5859 | 1.4662 | 50.4446 | 53.4282 | 26.2489 | 67.9558 | 78.8726 | 12.0828 | 21.4672 | 85.8533 | 50 | 79.5709 | 1.5 | 65.8055 | 25 | 18.7158
2683423.0942 | 1.4276 | 49.9148 | 53.0809 | 24.7768 | 68.8645 | 79.9622 | 12.0675 | 21.4575 | 85.8548 | 50 | 79.0614 | 1.5 | 1.4644 | 25 | 19.3189
2683424.6849 | 1.439 | 49.51 | 53.5511 | 25.078 | 68.2097 | 79.8538 | 12.1071 | 21.4498 | 85.8572 | 50 | 79.5275 | 1.5 | 1.3251 | 25 | 19.2914
2683426.9779 | 1.4258 | 49.4069 | 55.6197 | 24.8844 | 67.7583 | 79.332 | 12.0513 | 21.547 | 85.8531 | 50 | 80.0634 | 1.5 | 0 | 25 | 19.3598
2683441.0899 | 1.4917 | 49.9865 | 55.1986 | 24.8045 | 67.6908 | 79.8593 | 12.0502 | 21.3948 | 85.8592 | 50 | 79.8345 | 1.5 | 88.5246 | 25 | 19.436
2683443.9724 | 1.4554 | 50.5902 | 55.3922 | 25.6434 | 67.9208 | 79.2793 | 12.1652 | 21.4431 | 85.8531 | 50 | 78.9839 | 1.5 | 73.4838 | 25 | 19.2618
2683446.6599 | 1.4581 | 50.1922 | 53.9753 | 24.4726 | 68.3328 | 78.276 | 12.0564 | 21.3905 | 85.8512 | 50 | 78.7857 | 1.5 | 42.6152 | 25 | 19.6002
2683455.311 | 1.4606 | 50.0277 | 55.4783 | 25.6834 | 68.4025 | 79.7168 | 12.0911 | 21.4268 | 85.8573 | 50 | 79.9798 | 1.5 | 0 | 25 | 18.9697
2683459.5759 | 1.5274 | 50.5444 | 54.9312 | 23.483 | 68.1696 | 80.311 | 12.0682 | 21.4816 | 85.8525 | 50 | 78.9208 | 1.5 | 13.4108 | 25 | 19.9943
2683468 | 1.5207 | 49.792 | 55.8686 | 26.0184 | 68.4562 | 80.3567 | 12.0599 | 21.4335 | 85.8618 | 50 | 80.2553 | 1.5 | 83.1023 | 25 | 18.8198
2683475.991 | 1.4678 | 50.0213 | 53.714 | 25.0749 | 68.2083 | 78.6787 | 12.1295 | 21.3218 | 85.8561 | 50 | 79.5091 | 1.5 | 47.3821 | 25 | 19.3616
2683480.9206 | 1.431 | 49.7666 | 55.0172 | 26.6023 | 68.0657 | 79.7113 | 12.0676 | 21.383 | 85.8548 | 50 | 80.1259 | 1.5 | 0.17643 | 25 | 18.5174
2683484.2129 | 1.4408 | 50.3931 | 54.4732 | 26.3902 | 68.7381 | 79.7857 | 12.049 | 21.4271 | 85.8577 | 50 | 79.5816 | 1.5 | 1.3474 | 25 | 18.6011
2683489.9779 | 1.5173 | 49.8386 | 55.2908 | 25.4129 | 69.0228 | 81.0163 | 12.1154 | 21.2052 | 85.8494 | 50 | 79.3658 | 1.5 | 4.2593 | 25 | 19.165
2683490.4399 | 1.5224 | 49.8393 | 55.8317 | 23.9808 | 67.909 | 80.4023 | 12.0827 | 21.3187 | 85.8462 | 50 | 79.3903 | 1.5 | 7.4565 | 25 | 19.8934
2683491.3069 | 1.5476 | 49.7172 | 54.5039 | 24.5463 | 68.8663 | 79.8797 | 12.0392 | 21.2421 | 85.8549 | 50 | 79.5589 | 1.5 | 15.0352 | 25 | 19.621
2683492.081 | 1.5243 | 49.515 | 54.1843 | 25.8063 | 68.3807 | 79.9543 | 12.0576 | 21.4207 | 85.8527 | 50 | 79.8084 | 1.5 | 15.7859 | 25 | 18.9534
2683498.751 | 1.5321 | 50.6268 | 55.5152 | 23.9225 | 68.4074 | 79.9594 | 12.1308 | 21.3633 | 85.8495 | 50 | 79.1029 | 1.5 | 82.7774 | 25 | 19.9501
2683509.0059 | 1.4628 | 50.2704 | 53.6648 | 26.4855 | 67.723 | 80.2637 | 12.0266 | 21.4502 | 85.8486 | 50 | 79.6017 | 1.5 | 44.1409 | 25 | 18.8627
2683523.2799 | 1.5552 | 50.6713 | 54.8113 | 26.1843 | 68.8603 | 80.5012 | 12.0614 | 21.3925 | 85.8512 | 50 | 78.8916 | 1.5 | 41.2339 | 25 | 18.6313
2683533.4424 | 1.4571 | 50.4432 | 54.507 | 26.9618 | 68.0693 | 79.7563 | 12.1783 | 21.4945 | 85.8526 | 50 | 79.3766 | 1.5 | 68.9826 | 25 | 18.8623
2683535.9579 | 1.447 | 50.4556 | 54.9527 | 23.7626 | 67.7668 | 79.4862 | 12.0838 | 21.4971 | 85.8616 | 50 | 78.8807 | 1.5 | 28.6115 | 25 | 20.0633
2683545.57 | 1.4964 | 50.5091 | 54.2335 | 23.1357 | 68.2326 | 79.9665 | 12.0917 | 21.51 | 85.8516 | 50 | 79.4224 | 1.5 | 2.295 | 25 | 20.3403
2683555.2309 | 1.5568 | 50.2918 | 56.6801 | 24.9796 | 69.5926 | 80.6573 | 12.0492 | 21.6146 | 85.8502 | 50 | 79.6146 | 1.5 | 98.5794 | 25 | 19.2151
2683568.6799 | 1.4343 | 50.065 | 56.0623 | 23.6858 | 68.4205 | 80.3233 | 12.0284 | 21.5131 | 85.8579 | 50 | 79.9661 | 1.5 | 0.35769 | 25 | 19.9067
2683575.1949 | 1.4786 | 49.8971 | 56.1975 | 25.2654 | 68.2303 | 79.8722 | 12.0821 | 21.477 | 85.8617 | 50 | 79.4019 | 1.5 | 0.21223 | 25 | 19.6691
2683588.2209 | 1.5019 | 49.6664 | 54.0122 | 24.6108 | 70.1243 | 80.7729 | 12.0999 | 21.5321 | 85.8625 | 50 | 79.667 | 1.5 | 81.2699 | 25 | 19.5253
2683592.5289 | 1.418 | 49.8177 | 56.8307 | 23.8057 | 69.1416 | 79.6265 | 12.1013 | 21.5393 | 85.8589 | 50 | 80.2655 | 1.5 | 34.452 | 25 | 20.0177
2683595.7089 | 1.416 | 50.7072 | 55.3584 | 25.8032 | 68.848 | 80.0801 | 12.0403 | 21.5116 | 85.8607 | 50 | 79.4386 | 1.5 | 0 | 25 | 18.9851
2683599.486 | 1.4788 | 50.007 | 55.0756 | 24.1806 | 68.8035 | 80.3134 | 12.117 | 21.582 | 85.8556 | 50 | 79.2784 | 1.5 | 1.6253 | 25 | 19.7101
2683605.7504 | 1.5301 | 49.8913 | 55.6904 | 24.4848 | 69.1441 | 80.3446 | 12.0499 | 21.6608 | 85.8607 | 50 | 80.0937 | 1.5 | 31.6083 | 25 | 19.5844
2683613.8689 | 1.4903 | 49.8369 | 54.4455 | 24.4418 | 69.4343 | 80.3101 | 12.1208 | 21.3269 | 85.8587 | 50 | 79.0993 | 1.5 | 89.035 | 25 | 19.5924
2683614.7238 | 1.4773 | 49.5884 | 54.9404 | 23.2525 | 69.0733 | 80.5376 | 12.1183 | 21.5755 | 85.8577 | 50 | 79.3766 | 1.5 | 81.5138 | 25 | 20.5114
2683618.0399 | 1.4285 | 49.4028 | 54.4271 | 24.0915 | 69.6752 | 80.4943 | 12.0695 | 21.3634 | 85.8551 | 50 | 80.0835 | 1.5 | 40.3612 | 25 | 19.8431
2683622.0109 | 1.4219 | 50.2174 | 54.6515 | 27.1124 | 68.8267 | 80.2467 | 12.0391 | 21.4133 | 85.8655 | 50 | 79.7583 | 1.5 | 0 | 25 | 18.2649
2683626.1849 | 1.4627 | 50.3926 | 56.2006 | 23.7165 | 68.9953 | 80.2016 | 12.0488 | 21.4526 | 85.8604 | 50 | 78.8894 | 1.5 | 1.2951 | 25 | 19.7554
2683635.0899 | 1.5617 | 50.1396 | 53.8769 | 24.4418 | 68.7891 | 80.559 | 12.1585 | 21.5044 | 85.8632 | 50 | 79.847 | 1.5 | 48.0396 | 25 | 19.7189
2683640.9209 | 1.5174 | 50.0912 | 54.7898 | 24.2113 | 69.917 | 80.2817 | 11.9892 | 21.5336 | 85.8583 | 50 | 79.0713 | 1.5 | 95.766 | 25 | 19.5841
2683643.3459 | 1.5027 | 49.6641 | 53.4774 | 25.1456 | 67.6077 | 80.3603 | 12.1195 | 21.4081 | 85.8552 | 50 | 79.5133 | 1.5 | 91.3698 | 25 | 19.2719
2683650.855 | 1.4184 | 50.3459 | 55.1371 | 26.7805 | 68.5395 | 79.4154 | 11.9867 | 21.3985 | 85.8651 | 50 | 79.7339 | 1.5 | 0 | 25 | 19.0183
2683664.5439 | 1.5211 | 50.6184 | 54.4855 | 23.821 | 69.6151 | 79.8136 | 12.0783 | 21.4271 | 85.8592 | 50 | 79.0088 | 1.5 | 25.6867 | 25 | 19.99
2683672.8639 | 1.4657 | 50.0666 | 56.385 | 26.5316 | 69.8818 | 80.0747 | 12.0292 | 21.374 | 85.8645 | 50 | 79.5777 | 1.5 | 59.6256 | 25 | 18.8281
2683676.0046 | 1.4669 | 50.4186 | 55.8041 | 23.7012 | 68.607 | 80.4046 | 11.9598 | 21.4017 | 85.8619 | 50 | 79.0054 | 1.5 | 43.5597 | 25 | 19.8442
2683678.0239 | 1.459 | 50.3675 | 56.176 | 25.0718 | 67.4498 | 79.5648 | 11.9111 | 21.4832 | 85.8685 | 50 | 78.6921 | 1.5 | 31.7942 | 25 | 19.269
2683690.005 | 1.5417 | 50.3751 | 53.9476 | 23.3939 | 69.2202 | 79.4481 | 12.0784 | 21.3811 | 85.8545 | 50 | 78.9475 | 1.5 | 22.4841 | 25 | 20.0133
2683704.034 | 1.4899 | 49.8603 | 55.1924 | 24.2912 | 67.7702 | 79.9754 | 11.9605 | 21.3582 | 85.8561 | 50 | 79.4357 | 1.5 | 96.7939 | 25 | 20.0518
2683712.7289 | 1.4119 | 50.5762 | 55.1555 | 24.9796 | 68.8848 | 78.7187 | 12.0454 | 21.3697 | 85.8539 | 50 | 79.0204 | 1.5 | 0.18394 | 25 | 19.2051
2683721.1311 | 1.4905 | 49.6394 | 55.0234 | 25.6158 | 68.4536 | 80.051 | 12.0814 | 21.3418 | 85.8576 | 50 | 80.0195 | 1.5 | 0.93975 | 25 | 19.0102
2683725.0629 | 1.578 | 50.5191 | 53.0286 | 25.33 | 69.7585 | 79.8558 | 12.081 | 21.429 | 85.8589 | 50 | 79.1601 | 1.5 | 30.9871 | 25 | 19.5545
2683733.1589 | 1.5048 | 49.5113 | 55.4752 | 24.0085 | 68.9886 | 79.7408 | 12.0214 | 21.4195 | 85.864 | 50 | 79.7747 | 1.5 | 98.3518 | 25 | 19.9605
2683735.5139 | 1.4986 | 49.5133 | 55.4629 | 25.1302 | 67.8932 | 79.2169 | 12.032 | 21.2933 | 85.8652 | 50 | 80.1644 | 1.5 | 99.0636 | 25 | 19.5669
2683743.5649 | 1.4174 | 49.9933 | 55.549 | 25.4283 | 68.8464 | 79.4969 | 12.1326 | 21.319 | 85.8662 | 50 | 79.4551 | 1.5 | 22.9019 | 25 | 18.9608
2683749.7169 | 1.4608 | 50.0817 | 55.1094 | 23.3109 | 69.2729 | 79.7364 | 12.1093 | 21.2867 | 85.8624 | 50 | 79.637 | 1.5 | 1.0457 | 25 | 20.013
2683756.0749 | 1.5318 | 49.7498 | 53.7386 | 24.3588 | 67.9102 | 80.2344 | 11.9837 | 21.4385 | 85.8626 | 50 | 79.5212 | 1.5 | 14.1159 | 25 | 19.727
2683759.6239 | 1.5359 | 49.8071 | 54.6607 | 23.7626 | 68.4867 | 79.6041 | 12.0164 | 21.3932 | 85.8588 | 50 | 79.8315 | 1.5 | 36.1205 | 25 | 19.5363
2683764.375 | 1.5449 | 50.222 | 55.2754 | 26.4578 | 69.6321 | 79.6006 | 11.9326 | 21.432 | 85.8626 | 50 | 79.2545 | 1.5 | 91.9854 | 25 | 18.663
2683770.6129 | 1.4923 | 49.6014 | 54.4117 | 23.5844 | 67.6505 | 79.5084 | 12.0814 | 21.4019 | 85.8653 | 50 | 80.0365 | 1.5 | 95.0475 | 25 | 20.0937
2683771.2031 | 1.4777 | 49.7937 | 55.1463 | 24.0177 | 67.2484 | 79.3313 | 12.0078 | 21.4097 | 85.8586 | 50 | 79.9607 | 1.5 | 90.7926 | 25 | 19.2647
2683786.764 | 1.5215 | 50.3345 | 54.0952 | 24.3005 | 69.3362 | 80.4859 | 12.0502 | 21.3745 | 85.8568 | 50 | 79.5813 | 1.5 | 3.0206 | 25 | 19.3495
2683794.778 | 1.536 | 49.5128 | 53.4005 | 26.0983 | 70.5746 | 80.7502 | 12.0069 | 21.4239 | 85.8593 | 50 | 79.3808 | 1.5 | 63.8748 | 25 | 19.0665
2683795.2929 | 1.5202 | 49.1325 | 54.0798 | 25.9538 | 70.3779 | 81.2152 | 11.989 | 21.4546 | 85.86 | 50 | 79.7764 | 1.5 | 67.1083 | 25 | 19.0482
2683796.4389 | 1.5461 | 49.111 | 54.424 | 23.3693 | 69.9839 | 81.2105 | 12.0755 | 21.3845 | 85.859 | 50 | 80.134 | 1.5 | 76.422 | 25 | 19.8746
2683805.5156 | 1.4392 | 50.1177 | 55.1217 | 26.1106 | 68.4751 | 80.9829 | 11.9912 | 21.4051 | 85.8569 | 50 | 79.3229 | 1.5 | 71.9516 | 25 | 18.8885
2683826.0212 | 1.5681 | 50.3911 | 54.5224 | 26.3165 | 69.7953 | 80.3061 | 11.9216 | 21.3222 | 85.8586 | 50 | 79.5848 | 1.5 | 74.3146 | 25 | 18.7321
2683835.9879 | 1.4481 | 49.4903 | 55.1986 | 24.9366 | 69.5147 | 79.9485 | 12.097 | 21.4376 | 85.865 | 50 | 79.8685 | 1.5 | 89.1083 | 25 | 19.3766
2683838.087 | 1.4344 | 49.7082 | 53.9937 | 25.9415 | 67.4417 | 79.6613 | 12.0239 | 21.5207 | 85.8664 | 50 | 80.0076 | 1.5 | 59.6268 | 25 | 18.8906
2683842.5109 | 1.4161 | 50.6749 | 52.6198 | 25.1487 | 69.0096 | 79.9006 | 12.0004 | 21.4203 | 85.863 | 50 | 78.8324 | 1.5 | 1.4333 | 25 | 19.2809
2683844.4999 | 1.4421 | 50.1995 | 54.3626 | 24.199 | 68.1365 | 80.3854 | 11.9449 | 21.4676 | 85.8633 | 50 | 78.8147 | 1.5 | 1.1076 | 25 | 19.6404
2683845.0505 | 1.4348 | 50.1905 | 54.132 | 25.8401 | 68.4911 | 80.1389 | 11.9532 | 21.4081 | 85.8635 | 50 | 78.7841 | 1.5 | 0.48328 | 25 | 18.8096
2683850.1358 | 1.485 | 49.6118 | 52.9364 | 25.6926 | 68.7663 | 80.597 | 11.9811 | 21.3113 | 85.8591 | 50 | 79.7238 | 1.5 | 1.9901 | 25 | 19.7069
2683856.4139 | 1.5539 | 50.5448 | 52.2479 | 25.8155 | 67.9378 | 79.9833 | 11.9802 | 21.4434 | 85.8631 | 50 | 78.4129 | 1.5 | 27.5274 | 25 | 19.5986
2683860.8239 | 1.5409 | 49.002 | 53.7386 | 26.3042 | 69.8668 | 81.2575 | 11.8997 | 21.3248 | 85.8636 | 50 | 79.6547 | 1.5 | 78.3195 | 25 | 18.5372
2683867.6666 | 1.4616 | 50.561 | 55.4414 | 24.4664 | 69.0896 | 79.537 | 12.0708 | 21.4192 | 85.864 | 50 | 79.0851 | 1.5 | 69.7292 | 25 | 19.9338
2683875.7589 | 1.4613 | 49.5401 | 54.1259 | 23.7473 | 69.3734 | 80.211 | 12.0444 | 21.3384 | 85.8572 | 50 | 79.8313 | 1.5 | 1.423 | 25 | 19.8723
2683879.6711 | 1.4952 | 50.3421 | 53.0686 | 24.9151 | 69.0352 | 79.7411 | 11.9777 | 21.389 | 85.8634 | 50 | 79.4783 | 1.5 | 2.1814 | 25 | 19.3493
2683879.8991 | 1.4883 | 50.3447 | 52.7581 | 25.6096 | 69.0888 | 79.8481 | 12.0144 | 21.2831 | 85.8634 | 50 | 79.4492 | 1.5 | 1.1013 | 25 | 18.9964
2683889.533 | 1.5534 | 49.8458 | 52.6967 | 25.4283 | 69.2572 | 80.6574 | 11.9495 | 21.4021 | 85.8609 | 50 | 79.9381 | 1.5 | 67.46 | 25 | 19.3085
2683906.3079 | 1.4502 | 50.8316 | 53.0655 | 24.0454 | 69.1016 | 80.4983 | 12.0058 | 21.3376 | 85.8628 | 50 | 78.613 | 1.5 | 1.5551 | 25 | 19.8594
2683916.2059 | 1.5193 | 49.5051 | 53.3698 | 24.1284 | 69.5689 | 80.4373 | 11.9784 | 21.416 | 85.8546 | 50 | 79.945 | 1.5 | 26.1495 | 25 | 19.5659
2683920.7259 | 1.5434 | 50.6423 | 54.1105 | 23.8702 | 69.8394 | 80.6264 | 11.9297 | 21.4271 | 85.8577 | 50 | 78.8612 | 1.5 | 56.3017 | 25 | 19.8066
2683924.806 | 1.518 | 49.6295 | 53.6526 | 25.9108 | 68.9774 | 80.1046 | 12.0933 | 21.4327 | 85.8618 | 50 | 79.3109 | 1.5 | 85.4657 | 25 | 18.8726
2683939.091 | 1.4538 | 49.661 | 55.0111 | 24.6907 | 67.6284 | 80.7393 | 12.0213 | 21.5929 | 85.8639 | 50 | 79.6514 | 1.5 | 0.39807 | 25 | 19.4421
2683943.2386 | 1.5531 | 50.2897 | 52.7274 | 25.8002 | 68.7154 | 79.549 | 11.9301 | 21.4639 | 85.8683 | 50 | 79.3171 | 1.5 | 9.9511 | 25 | 19.3176
2683944.1039 | 1.5319 | 50.3706 | 55.0357 | 23.6827 | 68.9517 | 79.9362 | 11.9327 | 21.4944 | 85.8626 | 50 | 79.1608 | 1.5 | 16.4168 | 25 | 19.2596
2683957.9106 | 1.4574 | 50.4847 | 53.7632 | 23.6151 | 67.8096 | 79.5409 | 12.1023 | 21.556 | 85.8596 | 50 | 78.8604 | 1.5 | 28.1834 | 25 | 20.0653
2683968.0491 | 1.4736 | 50.3889 | 55.4598 | 24.6108 | 69.5447 | 80.1743 | 11.9629 | 21.5981 | 85.8671 | 50 | 79.6262 | 1.5 | 2.6895 | 25 | 19.48
2683968.5929 | 1.527 | 50.3774 | 52.878 | 24.6016 | 68.6485 | 80.382 | 12.1042 | 21.5994 | 85.8666 | 50 | 79.5675 | 1.5 | 5.8601 | 25 | 19.8993
2683981.2976 | 1.5139 | 50.6692 | 52.9764 | 25.2408 | 67.8176 | 78.5116 | 11.9977 | 21.5109 | 85.867 | 50 | 79.3716 | 1.5 | 99.597 | 25 | 19.0965
2683988.7659 | 1.4085 | 49.4579 | 54.4394 | 26.3072 | 69.5807 | 80.6704 | 11.9536 | 21.398 | 85.8521 | 50 | 79.3683 | 1.5 | 0 | 25 | 18.6545
2683997.266 | 1.5019 | 50.5889 | 53.4897 | 26.0891 | 69.0525 | 80.1777 | 12.0197 | 21.4656 | 85.8528 | 50 | 78.8517 | 1.5 | 1.8932 | 25 | 18.7273
2683999.1248 | 1.4885 | 50.4013 | 54.4394 | 26.1935 | 67.9628 | 80.0941 | 12.0603 | 21.4862 | 85.8538 | 50 | 78.6735 | 1.5 | 4.4169 | 25 | 19.4858
2684003.1245 | 1.5548 | 49.4121 | 54.4855 | 23.7934 | 70.1124 | 79.9977 | 12.0394 | 21.4871 | 85.8628 | 50 | 79.7287 | 1.5 | 35.2833 | 25 | 19.6689
2684010.913 | 1.5139 | 50.4379 | 52.8995 | 25.1825 | 68.8157 | 80.3175 | 12.068 | 21.4983 | 85.8609 | 50 | 79.08 | 1.5 | 87.4266 | 25 | 19.4391
2684012.4624 | 1.4993 | 50.1106 | 55.7119 | 25.8616 | 67.4769 | 79.1568 | 12.1049 | 21.6006 | 85.8653 | 50 | 79.1635 | 1.5 | 88.2302 | 25 | 18.9324
2684012.991 | 1.5137 | 50.1034 | 53.6833 | 26.2058 | 69.37 | 78.8912 | 11.9847 | 21.5446 | 85.8654 | 50 | 79.1514 | 1.5 | 89.6482 | 25 | 18.7521
2684023.7359 | 1.4424 | 50.5244 | 56.385 | 25.2408 | 68.3175 | 79.7996 | 12.016 | 21.3845 | 85.8663 | 50 | 78.6518 | 1.5 | 0 | 25 | 19.0665
2684027.6069 | 1.5089 | 49.3433 | 53.797 | 25.6404 | 68.5352 | 80.29 | 12.0907 | 21.4506 | 85.8626 | 50 | 79.4929 | 1.5 | 2.2793 | 25 | 18.9182
2684037.8427 | 1.5425 | 49.9389 | 55.549 | 24.3097 | 69.7446 | 80.5176 | 12.0122 | 21.5101 | 85.8597 | 50 | 78.8335 | 1.5 | 67.5766 | 25 | 19.6621
2684043.7279 | 1.4928 | 49.7644 | 54.1443 | 26.0614 | 68.6203 | 79.0385 | 11.9859 | 21.5783 | 85.8665 | 50 | 80.1893 | 1.5 | 96.0528 | 25 | 18.8771
2684049.9529 | 1.4169 | 50.318 | 54.8912 | 25.8063 | 68.2122 | 79.8394 | 11.9865 | 21.471 | 85.8597 | 50 | 78.9946 | 1.5 | 46.5122 | 25 | 18.9769
2684052.2459 | 1.3964 | 49.992 | 55.4783 | 25.6434 | 69.1832 | 80.0992 | 11.9632 | 21.5045 | 85.8618 | 50 | 79.1619 | 1.5 | 0 | 25 | 19.9341
2684055.7264 | 1.4553 | 49.5155 | 54.1566 | 24.1468 | 69.5192 | 79.8383 | 12.0298 | 21.4554 | 85.8599 | 50 | 79.9391 | 1.5 | 1.748 | 25 | 19.6475
2684059.687 | 1.4754 | 50.3735 | 56.1053 | 23.2771 | 68.9116 | 79.5031 | 12.0534 | 21.5399 | 85.862 | 50 | 79.5715 | 1.5 | 0.42456 | 25 | 20.154
2684060.3361 | 1.465 | 50.3738 | 55.8317 | 25.081 | 67.9915 | 79.9016 | 12.0397 | 21.404 | 85.8657 | 50 | 79.4879 | 1.5 | 0 | 25 | 19.2631
2684063.3529 | 1.5251 | 50.6237 | 55.1525 | 23.735 | 69.385 | 80.4049 | 12.0025 | 21.4205 | 85.8614 | 50 | 78.6742 | 1.5 | 6.4577 | 25 | 19.5764
2684074.896 | 1.5168 | 50.3428 | 55.4813 | 26.2857 | 68.312 | 79.3517 | 12.0828 | 21.4167 | 85.8613 | 50 | 79.6334 | 1.5 | 83.2069 | 25 | 18.7204
2684080.975 | 1.4336 | 49.7585 | 55.7856 | 24.6969 | 68.1829 | 79.6615 | 11.8958 | 21.2683 | 85.8598 | 50 | 79.5034 | 1.5 | 20.8036 | 25 | 19.3781
2684081.5749 | 1.4324 | 49.5587 | 55.1801 | 26.2857 | 68.1554 | 79.6941 | 11.9386 | 21.2674 | 85.8622 | 50 | 79.6829 | 1.5 | 12.1456 | 25 | 18.682
2684083.2389 | 1.4298 | 49.5607 | 55.5459 | 23.8333 | 67.7322 | 79.4102 | 12.0107 | 21.2161 | 85.866 | 50 | 79.9482 | 1.5 | 1.3041 | 25 | 19.8805
2684085.191 | 1.4564 | 50.0155 | 54.6761 | 26.3349 | 68.6366 | 79.1401 | 12.0553 | 21.2387 | 85.8642 | 50 | 79.7207 | 1.5 | 0.76411 | 25 | 18.5513
2684091.3504 | 1.4881 | 50.4667 | 56.4372 | 25.6619 | 69.4708 | 79.5223 | 12.0397 | 21.1553 | 85.8528 | 50 | 78.2466 | 1.5 | 2.4851 | 25 | 18.8718
2684091.8706 | 1.4972 | 49.8116 | 55.5397 | 22.9482 | 68.3144 | 80.0933 | 12.049 | 21.2991 | 85.854 | 50 | 78.72 | 1.5 | 2.8005 | 25 | 19.2591
2684101.8282 | 1.5486 | 50.6987 | 54.716 | 23.8548 | 70.1187 | 80.9651 | 12.0456 | 21.3778 | 85.8585 | 50 | 78.8115 | 1.5 | 98.8223 | 25 | 19.9826
2684105.7279 | 1.4969 | 49.7558 | 55.2293 | 26.5992 | 69.3533 | 79.1786 | 11.9889 | 21.3548 | 85.8518 | 50 | 79.2499 | 1.5 | 96.953 | 25 | 18.6058
2684109.8999 | 1.4631 | 49.8645 | 54.0859 | 24.7799 | 68.9418 | 80.1186 | 11.9894 | 21.3837 | 85.8578 | 50 | 79.8918 | 1.5 | 60.8796 | 25 | 18.5112
2684116.2429 | 1.4652 | 50.1938 | 53.8923 | 24.9888 | 68.2234 | 80.1046 | 12.0437 | 21.3206 | 85.8587 | 50 | 78.8664 | 1.5 | 0.60617 | 25 | 19.8003
2684118.268 | 1.4856 | 49.7253 | 53.7909 | 24.5525 | 68.5452 | 80.5303 | 12.0012 | 21.4215 | 85.8593 | 50 | 79.2668 | 1.5 | 2.0917 | 25 | 19.4551
2684124.127 | 1.5222 | 49.7879 | 53.9568 | 24.451 | 68.8181 | 80.2945 | 12.0257 | 21.3314 | 85.8563 | 50 | 80.2447 | 1.5 | 5.0014 | 25 | 18.8346
2684142.3129 | 1.4754 | 50.6228 | 54.2826 | 23.8333 | 67.7267 | 78.6743 | 12.1489 | 21.3947 | 85.8586 | 50 | 78.5101 | 1.5 | 58.0616 | 25 | 20.1569
2684144.6269 | 1.3924 | 49.9126 | 55.131 | 25.6311 | 68.5404 | 80.2866 | 12.0158 | 21.3883 | 85.8502 | 50 | 78.8348 | 1.5 | 0.006635 | 25 | 19.0285
2684150.9729 | 1.4777 | 50.197 | 55.6289 | 23.6858 | 69.5007 | 80.04 | 12.0154 | 21.4388 | 85.8633 | 50 | 79.8404 | 1.5 | 0 | 25 | 19.2126
2684157.0909 | 1.525 | 49.7147 | 56.2036 | 23.7043 | 69.3651 | 80.7346 | 12.0757 | 21.3293 | 85.8585 | 50 | 79.8942 | 1.5 | 11.1706 | 25 | 19.9936
2684165.3339 | 1.5152 | 50.5979 | 53.7786 | 24.9151 | 68.6917 | 80.4534 | 11.9765 | 21.4137 | 85.8557 | 50 | 78.9037 | 1.5 | 83.6991 | 25 | 18.7004
2684168.9392 | 1.4886 | 49.7107 | 56.0346 | 24.9612 | 68.4138 | 78.6407 | 12.0002 | 21.3093 | 85.8632 | 50 | 79.2306 | 1.5 | 79.189 | 25 | 19.4032
2684173.5269 | 1.4825 | 49.7532 | 54.6146 | 26.0245 | 68.7888 | 79.7883 | 12.0017 | 21.2963 | 85.855 | 50 | 79.7374 | 1.5 | 67.8885 | 25 | 18.8176
2684180.3809 | 1.4439 | 50.1161 | 53.4097 | 25.0196 | 68.0038 | 80.3527 | 12.0027 | 21.4227 | 85.8661 | 50 | 79.0419 | 1.5 | 1.3804 | 25 | 19.2148
2684189.2699 | 1.5208 | 50.8096 | 53.8585 | 25.9969 | 70.029 | 80.4659 | 12.1134 | 21.4207 | 85.8561 | 50 | 79.1238 | 1.5 | 7.542 | 25 | 18.849
2684190.131 | 1.5333 | 50.7581 | 55.2478 | 23.9378 | 69.5104 | 80.7575 | 11.9508 | 21.4855 | 85.8548 | 50 | 78.9265 | 1.5 | 11.7413 | 25 | 19.876
2684196.1399 | 1.5103 | 49.5224 | 56.4649 | 25.8985 | 68.0382 | 80.4455 | 12.0398 | 21.4014 | 85.8514 | 50 | 79.4992 | 1.5 | 86.1176 | 25 | 19.4978
2684202.5229 | 1.4426 | 50.3571 | 55.6873 | 26.0675 | 68.9469 | 80.6544 | 12.0663 | 21.4256 | 85.857 | 50 | 79.4298 | 1.5 | 59.268 | 25 | 18.6746
2684206.4599 | 1.4331 | 50.0782 | 54.6791 | 23.4461 | 68.9591 | 79.6587 | 11.9149 | 21.4164 | 85.854 | 50 | 79.0131 | 1.5 | 1.4263 | 25 | 20.1183
2684212.5009 | 1.4589 | 49.6851 | 56.803 | 23.7043 | 69.4243 | 80.2695 | 11.9835 | 21.2051 | 85.8627 | 50 | 79.9173 | 1.5 | 0.10292 | 25 | 19.9232
2684222.8371 | 1.5453 | 49.185 | 56.2866 | 25.7571 | 68.1841 | 80.4831 | 12.0872 | 21.3901 | 85.863 | 50 | 79.7449 | 1.5 | 62.3175 | 25 | 18.7005
2684243.7859 | 1.526 | 50.597 | 56.3696 | 24.0362 | 68.8259 | 80.0017 | 11.985 | 21.3525 | 85.8548 | 50 | 79.0498 | 1.5 | 11.1888 | 25 | 19.8076
2684244.7289 | 1.5416 | 50.6478 | 55.6904 | 24.4603 | 68.4862 | 80.0048 | 12.0007 | 21.3229 | 85.8597 | 50 | 78.8112 | 1.5 | 22.916 | 25 | 19.6154
2684256.1749 | 1.476 | 50.2165 | 54.7375 | 26.5869 | 69.1262 | 79.4939 | 12.0206 | 21.3725 | 85.8665 | 50 | 79.5052 | 1.5 | 85.0285 | 25 | 18.7166
2684259.1205 | 1.4774 | 50.3826 | 53.5942 | 25.9538 | 68.5248 | 80.3678 | 12.0005 | 21.4418 | 85.8665 | 50 | 79.0334 | 1.5 | 48.91 | 25 | 19.8652
2684260.1451 | 1.4516 | 50.1897 | 55.8348 | 23.5106 | 68.8612 | 80.0088 | 12.0147 | 21.3548 | 85.8632 | 50 | 79.0792 | 1.5 | 37.2733 | 25 | 19.5754
2684270.3129 | 1.5044 | 50.1552 | 54.0152 | 24.7184 | 68.7123 | 79.9645 | 12.032 | 21.317 | 85.8534 | 50 | 79.7524 | 1.5 | 0.84684 | 25 | 19.8989
2684273.193 | 1.4876 | 50.2463 | 55.4229 | 25.4068 | 68.6059 | 79.945 | 11.9739 | 21.3756 | 85.8509 | 50 | 79.4156 | 1.5 | 2.2982 | 25 | 19.1449
2684274.723 | 1.5141 | 50.1479 | 55.884 | 24.6078 | 68.3508 | 79.8845 | 11.998 | 21.405 | 85.8473 | 50 | 79.3645 | 1.5 | 10.155 | 25 | 19.9243
2684276.0369 | 1.5472 | 50.0414 | 54.5408 | 25.3453 | 68.8051 | 80.0668 | 12.1277 | 21.2924 | 85.8525 | 50 | 79.3974 | 1.5 | 21.144 | 25 | 19.1638
2684280.7349 | 1.536 | 49.8166 | 55.718 | 25.8586 | 68.1141 | 80.5144 | 12.0636 | 21.2693 | 85.8558 | 50 | 79.9309 | 1.5 | 88.2235 | 25 | 18.8778
2684283.0424 | 1.5322 | 50.2326 | 56.1606 | 25.3423 | 69.5557 | 79.8409 | 11.9524 | 21.312 | 85.856 | 50 | 79.6133 | 1.5 | 98.714 | 25 | 19.189
2684294.3666 | 1.4509 | 49.6301 | 53.8923 | 25.5482 | 69.6685 | 79.9498 | 12.0162 | 21.3982 | 85.862 | 50 | 80.0595 | 1.5 | 19.3848 | 25 | 19.094
2684301.1499 | 1.4356 | 49.9434 | 55.0818 | 23.4277 | 69.0106 | 79.6346 | 11.9426 | 21.3187 | 85.8624 | 50 | 79.0786 | 1.5 | 0 | 25 | 18.907
2684311.1949 | 1.5281 | 50.525 | 56.4249 | 24.6815 | 67.6508 | 79.6572 | 12.0781 | 21.4307 | 85.8553 | 50 | 78.6079 | 1.5 | 50.1943 | 25 | 19.4003
2684318.0609 | 1.457 | 49.7641 | 56.345 | 25.5605 | 67.8097 | 79.6541 | 12.1451 | 21.3064 | 85.8533 | 50 | 79.9207 | 1.5 | 74.3733 | 25 | 19.0021
2684318.8169 | 1.4757 | 50.1115 | 55.3646 | 23.5813 | 68.4124 | 79.456 | 11.9885 | 21.3666 | 85.8531 | 50 | 79.7235 | 1.5 | 71.1455 | 25 | 20.0141
2684322.079 | 1.4515 | 50.7738 | 54.1044 | 25.2869 | 67.8201 | 79.9847 | 12.1142 | 21.4327 | 85.8564 | 50 | 78.7879 | 1.5 | 32.1358 | 25 | 18.9241
2684322.6179 | 1.4509 | 50.7749 | 53.3636 | 25.8678 | 68.3515 | 79.7857 | 12.0561 | 21.3468 | 85.8562 | 50 | 78.6518 | 1.5 | 24.3912 | 25 | 18.8849
2684339.4274 | 1.5218 | 49.9675 | 55.3738 | 26.0153 | 69.3496 | 80.5067 | 11.934 | 21.4222 | 85.8579 | 50 | 78.808 | 1.5 | 61.6394 | 25 | 18.882
2684342.966 | 1.4959 | 49.1549 | 55.4537 | 24.8813 | 67.8873 | 79.5465 | 12.0704 | 21.3753 | 85.8582 | 50 | 80.1598 | 1.5 | 84.6427 | 25 | 19.2929
2684348.977 | 1.4187 | 50.5668 | 56.0653 | 25.2163 | 67.6172 | 78.7262 | 12.0341 | 21.4238 | 85.8611 | 50 | 79.1971 | 1.5 | 29.768 | 25 | 19.2267
2684349.5249 | 1.438 | 50.5462 | 54.4271 | 25.7694 | 68.6399 | 79.085 | 12.0484 | 21.3415 | 85.8593 | 50 | 79.1088 | 1.5 | 22.1188 | 25 | 19.0835
2684353.1899 | 1.3986 | 49.9154 | 55.6596 | 24.6508 | 68.475 | 80.027 | 11.908 | 21.3679 | 85.8548 | 50 | 79.3435 | 1.5 | 0 | 25 | 19.4475
2684361.355 | 1.5258 | 50.8256 | 55.1986 | 23.5567 | 69.0297 | 80.4084 | 12.0476 | 21.4031 | 85.8605 | 50 | 78.9279 | 1.5 | 6.1707 | 25 | 19.0483
2684369.605 | 1.502 | 49.4179 | 55.3246 | 26.0768 | 68.0459 | 80.2847 | 11.9547 | 21.432 | 85.8567 | 50 | 80.2709 | 1.5 | 98.8769 | 25 | 18.4692
2684370.2724 | 1.5091 | 49.7394 | 54.922 | 24.4664 | 68.709 | 79.7404 | 11.8937 | 21.5175 | 85.86 | 50 | 80.1344 | 1.5 | 97.8193 | 25 | 19.6827
2684374.8269 | 1.4578 | 50.8076 | 53.5358 | 23.8671 | 68.0766 | 79.5269 | 12.1 | 21.5017 | 85.8617 | 50 | 78.8241 | 1.5 | 70.5242 | 25 | 19.9485
2684377.8409 | 1.4026 | 50.1884 | 55.8748 | 25.5297 | 67.8834 | 79.9205 | 11.9544 | 21.3791 | 85.8583 | 50 | 78.75 | 1.5 | 15.6682 | 25 | 19.0202
2684382.6039 | 1.4481 | 49.5351 | 53.963 | 23.861 | 68.1011 | 79.456 | 11.9033 | 21.5254 | 85.8587 | 50 | 79.6454 | 1.5 | 0.25904 | 25 | 19.199
2684393.499 | 1.5395 | 49.6131 | 53.6003 | 26.8205 | 69.4411 | 80.2469 | 12.0378 | 21.5229 | 85.8651 | 50 | 79.6647 | 1.5 | 52.1284 | 25 | 18.4464
2684404.549 | 1.4507 | 49.7902 | 54.7652 | 26.0706 | 69.4172 | 80.4404 | 12.03 | 21.4398 | 85.8568 | 50 | 79.178 | 1.5 | 44.0665 | 25 | 18.7851
2684416.894 | 1.5067 | 50.1923 | 54.2365 | 26.4978 | 69.1214 | 80.0567 | 12.0436 | 21.5481 | 85.8586 | 50 | 79.254 | 1.5 | 3.6734 | 25 | 19.2057
2684427.1484 | 1.4717 | 50.4509 | 55.0941 | 25.6834 | 68.9045 | 80.7298 | 11.9682 | 21.588 | 85.8554 | 50 | 79.1327 | 1.5 | 79.1643 | 25 | 18.8408
2684438.8949 | 1.4573 | 50.5464 | 54.8144 | 26.086 | 69.1659 | 79.7083 | 12.0608 | 21.3538 | 85.853 | 50 | 78.8966 | 1.5 | 0.43253 | 25 | 18.6857
2684443.6469 | 1.5275 | 49.5859 | 53.0255 | 25.3699 | 68.2717 | 79.6704 | 11.9828 | 21.2895 | 85.8542 | 50 | 79.283 | 1.5 | 6.6549 | 25 | 19.0201
2684449.5359 | 1.537 | 50.0049 | 53.2284 | 26.1013 | 68.4457 | 79.6062 | 11.9885 | 21.3911 | 85.8617 | 50 | 79.7324 | 1.5 | 61.4847 | 25 | 18.7712
2684471.2349 | 1.4708 | 49.7188 | 54.7529 | 24.6047 | 69.2221 | 80.4414 | 11.9641 | 21.3794 | 85.858 | 50 | 79.5413 | 1.5 | 1.6475 | 25 | 19.8776
2684474.3525 | 1.5337 | 49.8147 | 52.6659 | 25.4775 | 68.1548 | 80.234 | 11.9864 | 21.2887 | 85.8597 | 50 | 79.8313 | 1.5 | 7.2894 | 25 | 20.3121
2684484.7389 | 1.5175 | 49.2336 | 54.0029 | 26.6053 | 69.0037 | 80.4383 | 12.0409 | 21.3032 | 85.8498 | 50 | 80.1686 | 1.5 | 98.6091 | 25 | 18.6053
2684492.405 | 1.4457 | 50.715 | 52.5922 | 26.0675 | 68.4527 | 79.6953 | 12.1925 | 21.4451 | 85.8461 | 50 | 78.7597 | 1.5 | 46.6396 | 25 | 19.4368