## data
Time (sec) | Water Level (ft) | Water Flowrate (GPM) | House Steam Pressure (psig) | Steam Pressure (psig) | Inlet Water Temperature (C) | Outlet Water Temperature (C) | Water Feed Temperature (C) | Ambient Temperature (C) | Ambient Pressure (kPa) | Flow Setpoint (GPM) | Flow Control Output (%) | Level Setpoint (ft) | Level Control Output (%) | Steam Setpoint (psig) | Steam Control Output (%)
3286733.7466 | 1.5237 | 38.856 | 53.6187 | 35.115 | 70.1636 | 85.041 | 12.1387 | 21.948 | 85.9468 | 40 | 67.6577 | 1.5 | 5.8648 | 35 | 29.7533
3286747.141 | 1.4885 | 38.8078 | 53.1977 | 35.5668 | 70.1188 | 84.6065 | 12.0878 | 21.9973 | 85.9443 | 40 | 67.4311 | 1.5 | 72.9231 | 35 | 29.5476
3286749.4682 | 1.4572 | 40.2662 | 56.01 | 34.6264 | 70.5694 | 84.7851 | 12.1971 | 21.9321 | 85.9425 | 40 | 66.6696 | 1.5 | 50.7521 | 35 | 30.0755
3286761.6149 | 1.5053 | 40.4996 | 54.2673 | 32.8808 | 70.6596 | 84.9549 | 12.2899 | 21.9788 | 85.9471 | 40 | 66.8358 | 1.5 | 2.3106 | 35 | 30.859
3286762.1959 | 1.517 | 41.1141 | 54.5931 | 34.1992 | 69.8579 | 85.078 | 12.3225 | 21.9906 | 85.9444 | 40 | 66.178 | 1.5 | 3.1788 | 35 | 30.3395
3286764.8581 | 1.5012 | 41.205 | 55.6104 | 35.2164 | 70.7396 | 84.9414 | 12.0634 | 21.9334 | 85.9484 | 40 | 65.0195 | 1.5 | 6.0707 | 35 | 29.9663
3286769.086 | 1.5111 | 38.6268 | 55.8502 | 35.4838 | 70.3262 | 85.5606 | 12.1859 | 21.9544 | 85.9436 | 40 | 66.3493 | 1.5 | 33.1675 | 35 | 29.6658
3286769.8696 | 1.5099 | 37.988 | 56.0623 | 35.3025 | 70.4637 | 85.6457 | 12.1398 | 21.8611 | 85.9415 | 40 | 67.1993 | 1.5 | 40.4596 | 35 | 30.1727
3286777.0849 | 1.525 | 41.292 | 53.7017 | 34.2852 | 70.1602 | 84.259 | 12.2589 | 21.9431 | 85.9514 | 40 | 65.7565 | 1.5 | 97.3443 | 35 | 30.2379
3286780.6129 | 1.4591 | 40.8491 | 54.0982 | 35.8587 | 69.5587 | 85.7682 | 12.1407 | 22.0402 | 85.956 | 40 | 64.5847 | 1.5 | 83.1449 | 35 | 29.6116
3286786.2382 | 1.4416 | 39.2099 | 53.3083 | 34.6848 | 70.0494 | 84.5179 | 12.2461 | 21.9383 | 85.947 | 40 | 67.6015 | 1.5 | 1.3872 | 35 | 30.0936
3286786.8909 | 1.4387 | 40.0268 | 54.5101 | 33.1697 | 70.0757 | 84.1847 | 12.2347 | 21.8858 | 85.9458 | 40 | 67.1559 | 1.5 | 0 | 35 | 30.0403
3286787.3179 | 1.4433 | 40.0148 | 52.9887 | 36.2951 | 70.7293 | 84.4294 | 12.28 | 21.8402 | 85.9432 | 40 | 67.1622 | 1.5 | 2.0708 | 35 | 29.2791
3286794.5469 | 1.5207 | 38.6535 | 53.9907 | 34.611 | 70.2598 | 86.3184 | 12.1877 | 21.9698 | 85.9465 | 40 | 66.7322 | 1.5 | 3.5184 | 35 | 30.0458
3286796.3939 | 1.519 | 38.4709 | 55.3338 | 34.0148 | 70.6029 | 84.6008 | 12.1754 | 21.9291 | 85.9432 | 40 | 67.9287 | 1.5 | 11.7437 | 35 | 30.442
3286808.818 | 1.4714 | 39.1838 | 54.4578 | 36.1384 | 71.1003 | 84.5262 | 12.2739 | 21.9476 | 85.9443 | 40 | 67.7975 | 1.5 | 67.7725 | 35 | 29.3525
3286812.0179 | 1.4504 | 41.6617 | 54.7099 | 35.3977 | 71.5293 | 85.8727 | 12.2252 | 21.9378 | 85.9413 | 40 | 64.8816 | 1.5 | 36.6945 | 35 | 29.7771
3286813.0499 | 1.443 | 40.8983 | 55.9117 | 34.9214 | 69.7111 | 86.4448 | 12.2717 | 21.9289 | 85.9421 | 40 | 64.9063 | 1.5 | 27.1654 | 35 | 29.2374
3286832.5479 | 1.5186 | 40.4738 | 55.3031 | 33.5446 | 71.5786 | 84.964 | 12.2397 | 21.9126 | 85.9459 | 40 | 66.8425 | 1.5 | 76.66 | 35 | 30.5197
3286841.6099 | 1.4382 | 38.601 | 55.3215 | 33.1205 | 69.7424 | 84.9926 | 12.1989 | 21.9246 | 85.9416 | 40 | 67.9941 | 1.5 | 21.2827 | 35 | 30.9158
3286846.6583 | 1.4503 | 40.9471 | 54.5162 | 35.5483 | 70.6179 | 84.7989 | 12.1743 | 21.8835 | 85.9428 | 40 | 66.0317 | 1.5 | 0.96587 | 35 | 29.5945
3286851.8671 | 1.5305 | 39.8376 | 53.9476 | 33.8058 | 69.903 | 85.7379 | 12.1438 | 21.9302 | 85.9434 | 40 | 65.5957 | 1.5 | 3.7562 | 35 | 29.7897
3286858.3278 | 1.5411 | 40.0305 | 53.5296 | 36.2183 | 70.9444 | 85.0594 | 12.2934 | 21.9355 | 85.9492 | 40 | 67.1104 | 1.5 | 68.4474 | 35 | 29.1971
3286860.2441 | 1.5186 | 40.7459 | 54.255 | 33.2619 | 71.0553 | 85.0188 | 12.2995 | 21.967 | 85.9484 | 40 | 66.3101 | 1.5 | 76.667 | 35 | 30.0659
3286872.5389 | 1.4801 | 41.1043 | 54.3072 | 33.8888 | 71.5553 | 84.8584 | 12.3272 | 21.9642 | 85.9388 | 40 | 66.0336 | 1.5 | 1.2652 | 35 | 30.4115
3286872.9701 | 1.4969 | 41.1006 | 53.7017 | 34.654 | 70.3517 | 85.1284 | 12.1712 | 22.0646 | 85.9423 | 40 | 65.8735 | 1.5 | 1.9566 | 35 | 30.0646
3286879.7618 | 1.5458 | 38.6477 | 53.2315 | 36.6455 | 70.3038 | 85.1336 | 12.2308 | 21.8892 | 85.9447 | 40 | 67.8741 | 1.5 | 27.4489 | 35 | 29.1132
3286888.4209 | 1.47 | 40.3169 | 55.3707 | 34.6909 | 71.0146 | 86.2567 | 12.0771 | 22.0339 | 85.9471 | 40 | 65.128 | 1.5 | 88.1702 | 35 | 29.9606
3286897.0649 | 1.4726 | 40.5343 | 53.6372 | 35.3639 | 70.9581 | 84.6537 | 12.2051 | 21.8988 | 85.9489 | 40 | 67.2168 | 1.5 | 14.743 | 35 | 30.5362
3286905.3501 | 1.4908 | 39.2399 | 55.5766 | 33.4555 | 69.9079 | 85.4351 | 12.1956 | 21.9546 | 85.9437 | 40 | 66.2331 | 1.5 | 1.1288 | 35 | 30.4847
3286907.5499 | 1.5313 | 38.9157 | 53.9384 | 34.7247 | 70.0472 | 84.8025 | 12.1493 | 21.8883 | 85.9437 | 40 | 67.5959 | 1.5 | 7.742 | 35 | 30.0506
3286916.6728 | 1.5281 | 38.8177 | 53.5327 | 35.8096 | 69.6736 | 86.0473 | 12.2026 | 21.9605 | 85.952 | 40 | 66.4454 | 1.5 | 97.6031 | 35 | 29.8668
3286923.8269 | 1.4657 | 41.229 | 56.05 | 33.855 | 71.1462 | 85.1064 | 12.0922 | 21.908 | 85.9484 | 40 | 65.6344 | 1.5 | 84.8543 | 35 | 30.3084
3286925.9049 | 1.4321 | 40.7669 | 55.8994 | 33.8335 | 70.1385 | 85.9089 | 12.1796 | 21.9736 | 85.9457 | 40 | 65.1584 | 1.5 | 55.4009 | 35 | 30.3506
3286931.269 | 1.4329 | 38.6903 | 53.7171 | 35.9233 | 70.201 | 84.0896 | 12.1964 | 21.887 | 85.9462 | 40 | 68.0673 | 1.5 | 1.4936 | 35 | 29.4016
3286936.4999 | 1.4873 | 41.9829 | 54.9066 | 34.402 | 70.5417 | 86.1651 | 12.2247 | 21.9644 | 85.9477 | 40 | 64.3403 | 1.5 | 1.7112 | 35 | 30.0417
3286938.33 | 1.4885 | 40.3702 | 55.7641 | 35.0413 | 70.5625 | 86.2523 | 12.168 | 21.9544 | 85.949 | 40 | 64.9809 | 1.5 | 1.9674 | 35 | 29.6618
3286938.79 | 1.4998 | 39.5835 | 55.4076 | 35.6036 | 71.1162 | 86.0898 | 12.107 | 21.8828 | 85.9437 | 40 | 65.5719 | 1.5 | 3.8738 | 35 | 29.3449
3286940.43 | 1.5121 | 39.5834 | 55.7733 | 33.3356 | 70.8079 | 85.8939 | 12.224 | 21.9146 | 85.9404 | 40 | 65.8031 | 1.5 | 12.3018 | 35 | 30.4517
3286940.863 | 1.503 | 38.1697 | 55.718 | 34.1162 | 70.7481 | 85.7446 | 12.243 | 21.8717 | 85.9424 | 40 | 67.1043 | 1.5 | 15.7065 | 35 | 30.4906
3286944.3051 | 1.5073 | 39.9123 | 54.7375 | 35.871 | 70.7922 | 84.78 | 12.266 | 21.8448 | 85.9415 | 40 | 67.1553 | 1.5 | 39.0404 | 35 | 30.0169
3286952.0359 | 1.5111 | 37.9943 | 54.5347 | 33.4555 | 70.614 | 85.7776 | 12.1725 | 21.9372 | 85.9457 | 40 | 67.1875 | 1.5 | 69.5299 | 35 | 30.673
3286952.5239 | 1.5145 | 37.9937 | 53.6372 | 34.2023 | 70.4051 | 85.1946 | 12.266 | 21.892 | 85.9477 | 40 | 67.5224 | 1.5 | 69.5188 | 35 | 29.7637
3286956.8725 | 1.4978 | 42.1122 | 53.2929 | 35.324 | 69.8733 | 84.9312 | 12.0624 | 21.9037 | 85.9467 | 40 | 65.0017 | 1.5 | 70.0539 | 35 | 29.1161
3286962.9249 | 1.435 | 37.7706 | 55.549 | 35.0751 | 69.8227 | 85.315 | 12.2548 | 21.886 | 85.943 | 40 | 67.375 | 1.5 | 18.2455 | 35 | 30.167
3286965.6239 | 1.4594 | 39.3367 | 54.8605 | 34.4942 | 70.5361 | 84.609 | 12.1946 | 21.9215 | 85.9476 | 40 | 67.5203 | 1.5 | 1.6027 | 35 | 29.9494
3286980.895 | 1.5337 | 40.7031 | 53.4005 | 35.8157 | 70.4891 | 85.8306 | 12.2565 | 21.9404 | 85.9501 | 40 | 64.7576 | 1.5 | 87.8454 | 35 | 29.6703
3286981.4811 | 1.531 | 40.695 | 55.7242 | 33.9503 | 70.7086 | 85.7424 | 12.1438 | 22.0275 | 85.9464 | 40 | 64.6292 | 1.5 | 92.4877 | 35 | 30.3045
3286985.3339 | 1.477 | 37.8303 | 55.7764 | 34.6909 | 69.8429 | 84.4802 | 12.2296 | 21.9623 | 85.947 | 40 | 68.0264 | 1.5 | 97.7877 | 35 | 30.0545
3286989.7306 | 1.4635 | 42.2632 | 56.0746 | 36.3474 | 71.1723 | 84.2229 | 12.1785 | 21.9858 | 85.9462 | 40 | 65.3372 | 1.5 | 75.5148 | 35 | 29.2323
3287012.0869 | 1.5522 | 41.5191 | 53.6003 | 36.4734 | 70.3101 | 85.1471 | 12.2354 | 21.9318 | 85.9483 | 40 | 65.7004 | 1.5 | 49.0113 | 35 | 29.1696
3287022.8559 | 1.5088 | 41.1477 | 55.1555 | 33.6768 | 70.6423 | 84.9598 | 12.1785 | 21.9286 | 85.9483 | 40 | 66.5577 | 1.5 | 99.2616 | 35 | 30.6149
3287024.5699 | 1.5058 | 41.7543 | 55.1955 | 33.7782 | 69.1996 | 85.0194 | 12.2829 | 21.8859 | 85.9482 | 40 | 65.1286 | 1.5 | 98.9799 | 35 | 30.5516
3287032.5554 | 1.4046 | 39.5348 | 55.9516 | 34.9183 | 70.9523 | 84.5576 | 12.1356 | 21.8178 | 85.9502 | 40 | 67.1478 | 1.5 | 8.3703 | 35 | 30.008
3287036.6726 | 1.4375 | 41.6331 | 55.0172 | 34.1623 | 70.4869 | 85.3166 | 12.1548 | 21.8369 | 85.9466 | 40 | 64.2022 | 1.5 | 1.0515 | 35 | 29.0012
3287044.8062 | 1.4908 | 40.5168 | 55.3 | 35.7973 | 71.7455 | 85.0259 | 12.0804 | 21.895 | 85.9484 | 40 | 66.4331 | 1.5 | 0.72595 | 35 | 29.3686
3287061.368 | 1.4602 | 39.835 | 54.046 | 34.6479 | 69.9297 | 85.4569 | 12.2537 | 21.9095 | 85.9502 | 40 | 65.6843 | 1.5 | 77.191 | 35 | 30.118
3287079.0199 | 1.5307 | 39.3499 | 55.1064 | 34.4328 | 70.2107 | 85.0297 | 12.2511 | 21.8856 | 85.9514 | 40 | 67.694 | 1.5 | 27.6218 | 35 | 30.0626
3287080.5273 | 1.5199 | 39.986 | 55.3615 | 35.9755 | 71.1351 | 85.0413 | 12.2068 | 22.0207 | 85.9465 | 40 | 67.2753 | 1.5 | 36.4916 | 35 | 29.2394
3287096.224 | 1.4582 | 41.5822 | 54.9619 | 33.6921 | 70.5552 | 84.8367 | 12.1777 | 21.8888 | 85.9496 | 40 | 65.3059 | 1.5 | 1.5667 | 35 | 30.2439
3287102.5276 | 1.4841 | 38.5056 | 54.9804 | 35.7081 | 70.4807 | 84.8001 | 12.1571 | 21.9337 | 85.9452 | 40 | 67.8249 | 1.5 | 0.67635 | 35 | 29.4429
3287110.8539 | 1.5537 | 40.0148 | 53.6802 | 35.1181 | 71.8873 | 86.2493 | 12.264 | 21.9076 | 85.946 | 40 | 65.3682 | 1.5 | 54.2625 | 35 | 29.2639
3287118.8709 | 1.4936 | 40.7339 | 55.2631 | 33.0437 | 69.9175 | 85.6633 | 12.2609 | 22.049 | 85.9429 | 40 | 66.3281 | 1.5 | 84.4748 | 35 | 30.8129
3287123.4177 | 1.4168 | 40.5721 | 56.3389 | 35.0966 | 70.3985 | 85.5613 | 12.2252 | 22.0116 | 85.9447 | 40 | 65.4688 | 1.5 | 19.6751 | 35 | 29.8207
3287132.7774 | 1.5015 | 40.7174 | 55.2447 | 36.292 | 70.4758 | 84.9278 | 12.1237 | 21.9331 | 85.9477 | 40 | 66.4066 | 1.5 | 5.8388 | 35 | 29.1993
3287141.589 | 1.5351 | 39.1006 | 54.8758 | 33.2834 | 70.8558 | 84.892 | 12.0896 | 21.9309 | 85.946 | 40 | 67.5838 | 1.5 | 48.3736 | 35 | 30.6461
3287143.5739 | 1.5139 | 39.7264 | 55.3492 | 36.3996 | 70.5165 | 84.8255 | 12.182 | 21.9857 | 85.948 | 40 | 67.5359 | 1.5 | 57.9284 | 35 | 29.7453
3287147.734 | 1.5051 | 40.9192 | 53.7601 | 34.4912 | 70.6972 | 85.5098 | 12.1478 | 21.9141 | 85.9433 | 40 | 65.7227 | 1.5 | 48.4993 | 35 | 29.7755
3287152.3136 | 1.4877 | 39.4992 | 53.9046 | 35.0874 | 70.4989 | 85.7551 | 12.1676 | 21.9087 | 85.9451 | 40 | 65.9076 | 1.5 | 25.4904 | 35 | 29.4007
3287162.122 | 1.5306 | 40.8125 | 54.0921 | 34.7524 | 71.2403 | 86.1049 | 12.2788 | 21.8772 | 85.9485 | 40 | 65.1231 | 1.5 | 5.7607 | 35 | 29.7069
3287166.2011 | 1.5378 | 38.2444 | 54.2396 | 34.6694 | 69.8832 | 85.3296 | 12.1379 | 21.8431 | 85.9481 | 40 | 67.5535 | 1.5 | 38.5223 | 35 | 30.0156
3287177.3699 | 1.4439 | 40.469 | 56.1514 | 33.0713 | 70.0684 | 85.853 | 12.2019 | 21.8788 | 85.9443 | 40 | 64.9274 | 1.5 | 57.4007 | 35 | 30.8068
3287177.8944 | 1.4639 | 39.7932 | 53.5112 | 35.8464 | 69.4469 | 85.7501 | 12.1468 | 21.8853 | 85.9457 | 40 | 65.3951 | 1.5 | 51.0528 | 35 | 29.5299
3287184.6455 | 1.4492 | 40.73 | 54.3165 | 34.2207 | 70.5879 | 84.9936 | 12.1724 | 21.8597 | 85.9451 | 40 | 66.5349 | 1.5 | 1.5113 | 35 | 29.4161
3287192.8135 | 1.4959 | 38.7908 | 56.3665 | 33.7474 | 70.0619 | 84.6003 | 12.3564 | 21.9265 | 85.9409 | 40 | 67.441 | 1.5 | 6.1419 | 35 | 30.4941
3287203.4849 | 1.5117 | 38.743 | 56.2221 | 36.0493 | 69.8926 | 85.3218 | 12.2567 | 21.8469 | 85.9433 | 40 | 66.7178 | 1.5 | 95.2434 | 35 | 29.4494
3287213.4742 | 1.4112 | 39.7606 | 56.3911 | 35.6989 | 70.6698 | 85.8665 | 12.2668 | 21.7195 | 85.9402 | 40 | 65.7285 | 1.5 | 0.64269 | 35 | 30.2959
3287221.6027 | 1.4682 | 41.0277 | 56.1514 | 34.6325 | 70.0195 | 84.8565 | 12.1659 | 21.7529 | 85.9435 | 40 | 66.0676 | 1.5 | 0.17353 | 35 | 30.4581
3287228.0536 | 1.5035 | 38.7359 | 56.2743 | 34.485 | 70.6765 | 85.2603 | 12.1819 | 21.8001 | 85.9436 | 40 | 66.7337 | 1.5 | 17.0818 | 35 | 29.9019
3287239.476 | 1.5044 | 38.3233 | 53.8954 | 35.9233 | 71.1407 | 84.7281 | 12.2506 | 21.7882 | 85.9467 | 40 | 67.7697 | 1.5 | 96.8016 | 35 | 29.3533
3287242.6325 | 1.4859 | 40.7463 | 54.1474 | 33.9749 | 71.231 | 84.6432 | 12.1938 | 21.8172 | 85.9431 | 40 | 66.8095 | 1.5 | 77.3102 | 35 | 29.9117
3287253.5229 | 1.4572 | 39.8099 | 53.5511 | 34.9767 | 70.1084 | 85.0248 | 12.1922 | 21.8536 | 85.9416 | 40 | 67.1733 | 1.5 | 0.97973 | 35 | 29.5072
3287267.5169 | 1.5631 | 41.5275 | 53.4835 | 36.3013 | 70.5664 | 85.4705 | 12.1304 | 21.8304 | 85.941 | 40 | 65.2203 | 1.5 | 100 | 35 | 29.1558
3287274.9979 | 1.4417 | 39.2353 | 56.2067 | 33.437 | 70.8458 | 84.7022 | 12.2277 | 21.8682 | 85.9388 | 40 | 67.8888 | 1.5 | 63.3016 | 35 | 30.6974
3287279.1749 | 1.4372 | 41.2941 | 55.0633 | 33.7567 | 69.8478 | 84.8002 | 12.2344 | 21.9072 | 85.9473 | 40 | 65.3649 | 1.5 | 0.79156 | 35 | 30.29
3287291.3788 | 1.5182 | 41.1606 | 55.1801 | 34.8507 | 70.5948 | 85.296 | 12.1195 | 21.8472 | 85.9424 | 40 | 64.8495 | 1.5 | 16.4978 | 35 | 29.8223
3287295.6601 | 1.5261 | 38.9815 | 54.5378 | 35.8096 | 70.8879 | 85.1497 | 12.2559 | 21.8138 | 85.9456 | 40 | 66.5643 | 1.5 | 39.8916 | 35 | 29.3073
3287296.1359 | 1.5119 | 38.9819 | 55.9701 | 34.3559 | 69.4494 | 84.7104 | 12.1166 | 21.7564 | 85.9417 | 40 | 66.7298 | 1.5 | 42.2161 | 35 | 30.0636
3287297.6449 | 1.5192 | 39.3514 | 55.6258 | 35.1212 | 70.1708 | 83.7164 | 12.1455 | 21.8974 | 85.9456 | 40 | 67.0413 | 1.5 | 53.8744 | 35 | 29.8509
3287301.9299 | 1.5169 | 41.3772 | 53.5788 | 35.1457 | 70.1304 | 85.3572 | 12.2066 | 21.865 | 85.9456 | 40 | 64.59 | 1.5 | 71.5723 | 35 | 30.1005
3287306.0369 | 1.4766 | 38.1985 | 54.9435 | 35.702 | 70.105 | 85.6647 | 12.2543 | 21.8587 | 85.9403 | 40 | 67.5267 | 1.5 | 61.6894 | 35 | 29.4266
3287326.261 | 1.5513 | 38.2439 | 55.1217 | 36.163 | 70.7396 | 85.6258 | 12.2569 | 21.8674 | 85.9463 | 40 | 66.8084 | 1.5 | 63.3741 | 35 | 29.2786
3287332.4835 | 1.4951 | 41.5052 | 56.3174 | 34.8722 | 69.6214 | 84.79 | 12.1839 | 21.763 | 85.9408 | 40 | 65.3918 | 1.5 | 99.9752 | 35 | 29.9693
3287338.7869 | 1.3987 | 38.3512 | 55.7672 | 33.9902 | 70.4694 | 84.7117 | 12.2674 | 21.8174 | 85.9433 | 40 | 67.7084 | 1.5 | 21.6354 | 35 | 30.3703
3287343.3057 | 1.4191 | 40.8709 | 55.1064 | 35.4715 | 70.6016 | 85.0513 | 12.3222 | 21.7643 | 85.9493 | 40 | 66.4678 | 1.5 | 0.01499 | 35 | 29.7627
3287346.8075 | 1.4343 | 40.9596 | 54.5716 | 35.7973 | 69.8149 | 84.5145 | 12.265 | 21.8306 | 85.9394 | 40 | 65.248 | 1.5 | 0 | 35 | 30.0542
3287349.5111 | 1.4699 | 39.8886 | 54.8144 | 35.3977 | 70.3278 | 84.8325 | 12.2643 | 21.7678 | 85.9396 | 40 | 65.6414 | 1.5 | 1.5679 | 35 | 29.6155
3287357.1979 | 1.5217 | 41.6293 | 55.2846 | 35.8218 | 71.3388 | 84.988 | 12.2024 | 21.8453 | 85.9413 | 40 | 65.2857 | 1.5 | 47.049 | 35 | 29.4529
3287359.2341 | 1.5556 | 40.8221 | 53.6864 | 33.9288 | 70.4854 | 86.1651 | 12.2641 | 21.9122 | 85.9449 | 40 | 64.9618 | 1.5 | 69.7243 | 35 | 29.8576
3287360.0032 | 1.5598 | 40.0159 | 53.4343 | 35.2595 | 69.9829 | 85.9143 | 12.2544 | 21.9245 | 85.9419 | 40 | 65.4836 | 1.5 | 76.6754 | 35 | 29.5465
3287364.4582 | 1.5129 | 38.8484 | 55.131 | 35.3609 | 69.9316 | 84.8809 | 12.2477 | 21.8097 | 85.9446 | 40 | 68.1451 | 1.5 | 99.0191 | 35 | 30.2501
3287369.5289 | 1.4807 | 41.8753 | 55.9055 | 34.9644 | 71.8015 | 85.7754 | 12.1783 | 21.8813 | 85.9402 | 40 | 64.3078 | 1.5 | 95.5983 | 35 | 29.91
3287371.5409 | 1.4692 | 40.2438 | 55.0664 | 33.1021 | 70.0832 | 86.2853 | 12.2239 | 21.9294 | 85.9417 | 40 | 64.9783 | 1.5 | 84.814 | 35 | 30.7898
3287377.8689 | 1.3779 | 40.944 | 55.6104 | 34.8415 | 70.7619 | 84.478 | 12.2237 | 21.8328 | 85.9415 | 40 | 66.3406 | 1.5 | 0 | 35 | 29.7593
3287381.505 | 1.451 | 41.1005 | 53.8247 | 34.0671 | 70.4758 | 85.5632 | 12.1801 | 21.826 | 85.9395 | 40 | 64.4276 | 1.5 | 1.8478 | 35 | 30.0247
3287387.5359 | 1.5122 | 38.3955 | 54.4886 | 36.2705 | 70.0067 | 84.959 | 12.1929 | 21.8658 | 85.9423 | 40 | 68.5497 | 1.5 | 6.4345 | 35 | 29.1447
3287392.0091 | 1.5162 | 42.1091 | 56.9352 | 34.4912 | 71.0499 | 86.0725 | 12.1784 | 21.9306 | 85.9391 | 40 | 63.7506 | 1.5 | 38.9785 | 35 | 30.0827
3287392.7609 | 1.519 | 40.3156 | 55.8778 | 35.6989 | 69.9199 | 86.1978 | 12.2659 | 22.0039 | 85.9377 | 40 | 64.5671 | 1.5 | 45.4235 | 35 | 29.4873
3287398.1859 | 1.5298 | 39.0539 | 53.1731 | 35.7665 | 71.4577 | 84.8703 | 12.1524 | 21.9146 | 85.9436 | 40 | 67.8315 | 1.5 | 89.532 | 35 | 29.5253
3287410.8499 | 1.4536 | 38.5975 | 53.963 | 36.3351 | 70.1755 | 85.1001 | 12.2762 | 21.884 | 85.9403 | 40 | 67.8683 | 1.5 | 1.8736 | 35 | 29.2063
3287417.5189 | 1.5317 | 40.9931 | 53.0471 | 35.5299 | 71.34 | 85.4897 | 12.246 | 21.8634 | 85.9374 | 40 | 65.1925 | 1.5 | 11.3682 | 35 | 30.5402
3287424.4584 | 1.5437 | 40.2338 | 52.7704 | 36.206 | 70.3891 | 84.5699 | 12.2124 | 21.8858 | 85.9448 | 40 | 66.8803 | 1.5 | 59.5836 | 35 | 29.0799
3287436.1934 | 1.4231 | 40.8458 | 53.7571 | 35.8249 | 70.4345 | 84.7226 | 12.2189 | 21.8636 | 85.9408 | 40 | 66.1699 | 1.5 | 24.1316 | 35 | 29.9145
3287437.1794 | 1.4014 | 41.6488 | 55.9793 | 34.9675 | 70.9451 | 85.1566 | 12.2265 | 21.9004 | 85.9433 | 40 | 65.2365 | 1.5 | 3.4932 | 35 | 29.8824
3287447.2469 | 1.5063 | 41.5522 | 53.754 | 36.4027 | 71.0425 | 85.1411 | 12.1943 | 21.9528 | 85.9337 | 40 | 65.5494 | 1.5 | 2.2269 | 35 | 29.1071
3287451.3429 | 1.4901 | 40.6106 | 55.9946 | 35.2349 | 69.1855 | 85.8327 | 12.2641 | 21.8623 | 85.9375 | 40 | 64.4048 | 1.5 | 2.1837 | 35 | 30.2405
3287455.4149 | 1.5325 | 38.8015 | 55.9578 | 35.0628 | 70.7942 | 84.6184 | 12.2773 | 21.8477 | 85.944 | 40 | 67.5312 | 1.5 | 39.2852 | 35 | 29.8754
3287465.3349 | 1.5219 | 38.5524 | 53.3268 | 34.4789 | 71.3744 | 84.6253 | 12.2215 | 21.8796 | 85.9408 | 40 | 67.4351 | 1.5 | 94.5913 | 35 | 30.0688
3287475.033 | 1.4379 | 38.9561 | 53.6771 | 34.4205 | 70.1638 | 85.6761 | 12.1651 | 21.9434 | 85.9424 | 40 | 65.976 | 1.5 | 53.3165 | 35 | 29.7718
3287476.5825 | 1.4396 | 38.284 | 53.6618 | 35.1027 | 70.3756 | 85.0902 | 12.2441 | 22.0245 | 85.9478 | 40 | 67.4161 | 1.5 | 22.6319 | 35 | 29.1772
3287487.5528 | 1.5251 | 38.775 | 54.6945 | 33.0007 | 69.6449 | 85.238 | 12.1672 | 21.9107 | 85.9454 | 40 | 67.9293 | 1.5 | 7.3318 | 35 | 30.5631
3287496.4899 | 1.5162 | 38.2641 | 55.6135 | 33.8243 | 70.4725 | 86.2338 | 12.2626 | 21.9527 | 85.9394 | 40 | 66.5123 | 1.5 | 97.8313 | 35 | 30.4749
3287497.3579 | 1.5052 | 38.0226 | 55.3615 | 33.6798 | 70.9643 | 85.8775 | 12.3059 | 22.0053 | 85.9384 | 40 | 67.2146 | 1.5 | 97.9487 | 35 | 30.5617
3287506.7589 | 1.4571 | 39.2324 | 53.8247 | 35.7542 | 69.6862 | 85.8211 | 12.2104 | 21.9093 | 85.9374 | 40 | 66.0069 | 1.5 | 35.8231 | 35 | 29.5139
3287509.8651 | 1.4286 | 38.9185 | 55.1586 | 34.7708 | 71.3443 | 85.1473 | 12.1943 | 21.8897 | 85.9385 | 40 | 67.7106 | 1.5 | 0.36417 | 35 | 29.7197
3287521.0849 | 1.5345 | 38.8303 | 55.2262 | 33.9841 | 70.8936 | 84.7088 | 12.1944 | 21.9419 | 85.9379 | 40 | 67.8991 | 1.5 | 12.1818 | 35 | 30.3318
3287524.4159 | 1.5534 | 42.0084 | 53.7386 | 36.3812 | 70.6141 | 84.6713 | 12.2865 | 21.9944 | 85.9417 | 40 | 65.2343 | 1.5 | 48.4907 | 35 | 29.9472
3287531.0609 | 1.518 | 38.4711 | 54.9558 | 33.8212 | 70.41 | 84.4494 | 12.1447 | 21.9667 | 85.9423 | 40 | 67.5354 | 1.5 | 98.7381 | 35 | 30.4721
3287539.4956 | 1.4488 | 38.3972 | 53.4712 | 35.659 | 69.4467 | 85.8664 | 12.1638 | 21.8209 | 85.9443 | 40 | 66.0242 | 1.5 | 55.7172 | 35 | 29.8227
3287547.8026 | 1.4712 | 41.6022 | 54.2765 | 36.2552 | 70.6766 | 85.809 | 12.1663 | 21.7511 | 85.9448 | 40 | 64.7869 | 1.5 | 0 | 35 | 29.6139
3287555.202 | 1.5015 | 38.7772 | 55.7119 | 34.863 | 69.9868 | 84.4199 | 12.2705 | 21.7796 | 85.9422 | 40 | 68.3774 | 1.5 | 31.8038 | 35 | 30.439
3287558.0737 | 1.504 | 42.4543 | 55.426 | 35.072 | 70.6318 | 85.0933 | 12.2191 | 21.9419 | 85.9429 | 40 | 64.4938 | 1.5 | 40.7063 | 35 | 30.4583
3287562.3979 | 1.5129 | 38.8464 | 53.2561 | 34.4635 | 70.0864 | 86.3618 | 12.2414 | 21.9241 | 85.9449 | 40 | 65.9565 | 1.5 | 69.0837 | 35 | 30.1645
3287574.5179 | 1.4777 | 39.2819 | 53.1639 | 34.2883 | 70.6545 | 85.895 | 12.1694 | 21.8502 | 85.9521 | 40 | 66.2207 | 1.5 | 2.0764 | 35 | 30.0881
3287580.5834 | 1.5174 | 40.596 | 53.0901 | 35.0535 | 70.481 | 84.6954 | 12.2128 | 21.794 | 85.946 | 40 | 66.6348 | 1.5 | 5.9484 | 35 | 29.2457
3287592.973 | 1.5203 | 40.1711 | 55.927 | 34.4451 | 71.1111 | 85.2741 | 12.1837 | 21.8926 | 85.9402 | 40 | 67.4019 | 1.5 | 100 | 35 | 29.2847
3287596.914 | 1.5017 | 41.331 | 53.8124 | 36.5225 | 71.0902 | 84.5566 | 12.1775 | 21.9238 | 85.937 | 40 | 65.2662 | 1.5 | 98.6022 | 35 | 29.8418
3287601.0759 | 1.4233 | 38.9424 | 54.9373 | 34.064 | 70.8406 | 85.0817 | 12.1772 | 21.9308 | 85.9471 | 40 | 66.6158 | 1.5 | 55.2605 | 35 | 30.449
3287605.0034 | 1.4156 | 40.0867 | 54.0214 | 36.6977 | 70.4458 | 84.5146 | 12.208 | 21.8091 | 85.9426 | 40 | 67.1864 | 1.5 | 1.664 | 35 | 29.535
3287613.5649 | 1.479 | 39.0541 | 55.0849 | 34.7186 | 69.4579 | 85.4513 | 12.1964 | 21.9012 | 85.9435 | 40 | 66.68 | 1.5 | 0.12387 | 35 | 30.0689
3287616.8549 | 1.4921 | 39.4872 | 55.4721 | 33.5446 | 70.2918 | 84.461 | 12.202 | 21.904 | 85.9464 | 40 | 67.3961 | 1.5 | 2.7143 | 35 | 30.6711
3287619.9519 | 1.5169 | 41.1 | 55.4014 | 33.1328 | 70.7407 | 85.0549 | 12.218 | 21.8474 | 85.945 | 40 | 65.5396 | 1.5 | 22.3502 | 35 | 30.8639
3287622.8426 | 1.5524 | 40.1165 | 55.4506 | 34.7339 | 70.5143 | 85.9862 | 12.1738 | 21.9242 | 85.9452 | 40 | 65.2187 | 1.5 | 62.379 | 35 | 30.2105
3287633.8424 | 1.4577 | 40.9771 | 53.3729 | 36.5195 | 70.1223 | 85.5637 | 12.2563 | 21.7849 | 85.9427 | 40 | 64.933 | 1.5 | 77.9822 | 35 | 29.7918
3287638.1269 | 1.4207 | 38.6861 | 54.3533 | 36.1138 | 70.71 | 84.9213 | 12.206 | 21.6983 | 85.9418 | 40 | 67.4739 | 1.5 | 1.1336 | 35 | 29.357
3287646.1324 | 1.447 | 39.7923 | 55.6197 | 34.9491 | 69.4201 | 86.0933 | 12.2142 | 21.8276 | 85.9424 | 40 | 65.5405 | 1.5 | 0.29009 | 35 | 30.3229
3287648.3289 | 1.471 | 38.2467 | 55.5705 | 35.3793 | 70.4599 | 85.8682 | 12.1835 | 21.8239 | 85.9462 | 40 | 67.3335 | 1.5 | 0.4774 | 35 | 29.6339
3287660.28 | 1.4943 | 38.3133 | 55.3092 | 35.155 | 70.2791 | 84.9022 | 12.2517 | 21.8861 | 85.9502 | 40 | 67.5341 | 1.5 | 98.5207 | 35 | 29.5445
3287671.9134 | 1.4282 | 38.4238 | 55.7733 | 34.9614 | 70.1584 | 84.6271 | 12.2199 | 21.9707 | 85.9492 | 40 | 67.5493 | 1.5 | 47.6968 | 35 | 30.4598
3287676.8726 | 1.4217 | 41.8723 | 55.7764 | 35.3055 | 70.7441 | 85.2918 | 12.2059 | 21.7949 | 85.9422 | 40 | 64.6236 | 1.5 | 0.98518 | 35 | 29.9969
3287679.237 | 1.4327 | 39.6322 | 55.7026 | 34.6356 | 70.0653 | 85.9677 | 12.2364 | 21.813 | 85.944 | 40 | 65.5129 | 1.5 | 0 | 35 | 29.8263
3287689.5929 | 1.521 | 40.7821 | 55.8686 | 34.4604 | 71.0289 | 85.7286 | 12.1682 | 21.9627 | 85.9508 | 40 | 64.4117 | 1.5 | 36.2521 | 35 | 30.2217
3287690.1159 | 1.5386 | 40.7868 | 53.545 | 35.9478 | 70.2928 | 86.1302 | 12.2783 | 21.9135 | 85.9468 | 40 | 64.2693 | 1.5 | 40.252 | 35 | 29.2452
3287699.7396 | 1.5059 | 41.547 | 53.213 | 35.4992 | 69.6282 | 85.565 | 12.3419 | 21.8964 | 85.9412 | 40 | 64.377 | 1.5 | 93.5613 | 35 | 29.5468
3287716.133 | 1.4785 | 38.3509 | 55.7365 | 34.1224 | 70.3641 | 84.6079 | 12.2997 | 21.8827 | 85.9462 | 40 | 67.8481 | 1.5 | 1.8277 | 35 | 29.958
3287716.6349 | 1.4812 | 39.1813 | 54.6853 | 36.0554 | 70.265 | 84.4481 | 12.1994 | 21.82 | 85.9393 | 40 | 67.4164 | 1.5 | 0.36456 | 35 | 29.0387
3287722.2159 | 1.5246 | 40.8754 | 55.7488 | 35.5115 | 69.9859 | 85.6207 | 12.2944 | 21.9558 | 85.9419 | 40 | 64.9121 | 1.5 | 35.8231 | 35 | 29.3372
3287726.9089 | 1.533 | 38.7395 | 53.5511 | 33.7259 | 70.1115 | 83.9583 | 12.1805 | 21.9445 | 85.9446 | 40 | 67.7976 | 1.5 | 75.8012 | 35 | 30.36
3287736.3689 | 1.4762 | 38.4729 | 52.9057 | 35.9294 | 70.7296 | 86.0039 | 12.1702 | 21.9627 | 85.946 | 40 | 66.809 | 1.5 | 90.1228 | 35 | 29.3341
3287744.741 | 1.4629 | 40.6699 | 54.6515 | 36.289 | 69.886 | 85.1316 | 12.1748 | 21.8635 | 85.9432 | 40 | 64.289 | 1.5 | 1.351 | 35 | 28.9673
3287751.1841 | 1.5221 | 40.1886 | 54.2365 | 33.391 | 70.8117 | 84.5692 | 12.2262 | 21.9898 | 85.9466 | 40 | 67.1632 | 1.5 | 4.7596 | 35 | 30.1456
3287757.3639 | 1.5262 | 39.1542 | 55.257 | 35.8956 | 70.2372 | 85.7024 | 12.2853 | 21.8877 | 85.9417 | 40 | 66.0098 | 1.5 | 43.5047 | 35 | 29.8934
3287757.911 | 1.5237 | 38.2527 | 55.6412 | 35.4162 | 70.7706 | 85.2569 | 12.2388 | 21.8546 | 85.9432 | 40 | 66.961 | 1.5 | 48.0262 | 35 | 29.4731
3287763.075 | 1.5415 | 41.7197 | 53.7048 | 36.0155 | 70.0431 | 84.5518 | 12.3516 | 21.8936 | 85.9488 | 40 | 65.6912 | 1.5 | 93.7161 | 35 | 29.8372
3287767.5629 | 1.4944 | 39.9282 | 55.9147 | 32.8347 | 70.2561 | 85.7735 | 12.2035 | 21.847 | 85.9426 | 40 | 65.1211 | 1.5 | 100 | 35 | 30.3489
3287781.7827 | 1.4339 | 38.0684 | 55.2017 | 36.4549 | 70.8739 | 84.5597 | 12.1394 | 21.6614 | 85.9417 | 40 | 68.3071 | 1.5 | 0 | 35 | 29.2162
3287791.7157 | 1.5083 | 38.1611 | 56.3911 | 34.0609 | 70.1765 | 84.0472 | 12.2118 | 21.5562 | 85.9418 | 40 | 67.8054 | 1.5 | 9.954 | 35 | 30.4308
3287794.0904 | 1.5555 | 39.9365 | 53.714 | 35.2011 | 70.177 | 84.6241 | 12.2159 | 21.629 | 85.9455 | 40 | 67.482 | 1.5 | 30.2396 | 35 | 29.6375
3287796.3529 | 1.5413 | 41.5296 | 56.4465 | 36.1814 | 70.0873 | 84.8424 | 12.2239 | 21.6602 | 85.9415 | 40 | 65.6611 | 1.5 | 62.1089 | 35 | 30.4063
3287809.5929 | 1.4433 | 41.2181 | 53.6464 | 35.1365 | 70.2472 | 84.2248 | 12.282 | 21.697 | 85.9387 | 40 | 65.4929 | 1.5 | 56.253 | 35 | 29.4219
3287820.4441 | 1.472 | 41.462 | 55.7334 | 35.3332 | 71.0415 | 84.7831 | 12.1919 | 21.7987 | 85.9437 | 40 | 65.8293 | 1.5 | 0.36939 | 35 | 29.4747
3287824.7049 | 1.4983 | 40.1796 | 56.4895 | 35.4162 | 70.0523 | 85.6554 | 12.2271 | 21.7711 | 85.9437 | 40 | 64.9674 | 1.5 | 2.5067 | 35 | 29.8764
3287838.761 | 1.4763 | 37.4872 | 54.1689 | 36.1507 | 69.5552 | 84.1362 | 12.2113 | 21.7888 | 85.941 | 40 | 67.9229 | 1.5 | 82.5525 | 35 | 30.6458
3287839.2725 | 1.4386 | 38.2004 | 55.5613 | 33.5323 | 69.7245 | 84.3061 | 12.2388 | 21.7697 | 85.9457 | 40 | 67.7358 | 1.5 | 75.2019 | 35 | 29.7605
3287846.459 | 1.4598 | 41.1256 | 54.1997 | 34.5895 | 69.46 | 85.7262 | 12.1388 | 21.7171 | 85.9393 | 40 | 64.4316 | 1.5 | 1.929 | 35 | 29.7935
3287847.705 | 1.4385 | 39.5877 | 56.2743 | 35.5176 | 69.7852 | 85.1493 | 12.2921 | 21.8146 | 85.9443 | 40 | 65.4945 | 1.5 | 0.24146 | 35 | 29.6559
3287851.1259 | 1.4754 | 39.1589 | 55.758 | 34.3313 | 70.694 | 83.9222 | 12.2711 | 21.8862 | 85.9399 | 40 | 67.5742 | 1.5 | 0.24984 | 35 | 30.0047
3287853.2889 | 1.5174 | 40.8237 | 54.4117 | 33.7321 | 70.941 | 84.5562 | 12.2402 | 21.8192 | 85.942 | 40 | 66.4807 | 1.5 | 3.0903 | 35 | 30.3607
3287855.4499 | 1.539 | 41.7821 | 53.8062 | 35.6036 | 70.254 | 85.0124 | 12.252 | 21.7565 | 85.9478 | 40 | 64.6851 | 1.5 | 17.1094 | 35 | 29.4148
3287866.7609 | 1.4815 | 41.7714 | 56.2436 | 34.7647 | 69.166 | 85.4668 | 12.2078 | 21.7422 | 85.9425 | 40 | 64.4016 | 1.5 | 87.1241 | 35 | 29.7365
3287875.89 | 1.4328 | 41.7861 | 55.7979 | 33.6921 | 70.0584 | 84.2344 | 12.2394 | 21.8533 | 85.944 | 40 | 65.1743 | 1.5 | 1.4901 | 35 | 29.7958
3287876.4124 | 1.4118 | 42.1384 | 56.093 | 35.533 | 69.7274 | 84.8536 | 12.2194 | 21.7548 | 85.9454 | 40 | 64.5576 | 1.5 | 0.96072 | 35 | 29.8162
3287882.7096 | 1.4535 | 38.2919 | 56.2713 | 34.3897 | 70.546 | 84.0722 | 12.26 | 21.8772 | 85.9431 | 40 | 68.0081 | 1.5 | 0 | 35 | 30.0261
3287891.4151 | 1.5363 | 38.5017 | 54.0183 | 34.0578 | 69.99 | 85.6768 | 12.2671 | 21.8427 | 85.9366 | 40 | 66.5605 | 1.5 | 45.8587 | 35 | 29.9616
3287896.56 | 1.5225 | 41.2992 | 54.2427 | 33.5569 | 70.2478 | 85.0944 | 12.2252 | 21.8163 | 85.937 | 40 | 66.0687 | 1.5 | 64.9173 | 35 | 30.4637
3287906.6961 | 1.462 | 40.8218 | 56.3204 | 34.9275 | 69.9902 | 84.3512 | 12.2976 | 21.854 | 85.9374 | 40 | 66.1551 | 1.5 | 1.4673 | 35 | 30.5477
3287907.1775 | 1.458 | 40.8269 | 55.7887 | 35.8526 | 70.2722 | 84.3487 | 12.1651 | 21.8725 | 85.9394 | 40 | 66.0184 | 1.5 | 0.15969 | 35 | 29.714
3287907.8971 | 1.4964 | 41.9107 | 55.0664 | 34.273 | 70.3715 | 84.9432 | 12.2025 | 21.8065 | 85.9409 | 40 | 64.7856 | 1.5 | 1.7642 | 35 | 29.5077
3287910.9199 | 1.4777 | 40.0022 | 56.4772 | 34.5188 | 69.8656 | 85.3483 | 12.1602 | 21.8673 | 85.939 | 40 | 65.0559 | 1.5 | 0 | 35 | 29.9218
3287923.8869 | 1.4923 | 38.5359 | 54.0859 | 36.9098 | 70.6605 | 85.5262 | 12.215 | 21.7887 | 85.9405 | 40 | 66.7156 | 1.5 | 96.2168 | 35 | 28.7123
3287931.1519 | 1.4362 | 41.3222 | 55.3092 | 36.3381 | 70.127 | 85.0754 | 12.1925 | 21.8964 | 85.9441 | 40 | 64.5784 | 1.5 | 23.9848 | 35 | 30.043
3287938.5389 | 1.467 | 40.7698 | 54.7406 | 35.8372 | 69.7215 | 84.1063 | 12.18 | 21.7515 | 85.9338 | 40 | 66.5417 | 1.5 | 0.56194 | 35 | 29.2316
3287955.9166 | 1.4608 | 38.5017 | 56.6186 | 34.1931 | 69.4244 | 85.313 | 12.332 | 21.787 | 85.9388 | 40 | 66.4473 | 1.5 | 62.4194 | 35 | 30.0472
3287968.0089 | 1.49 | 38.2415 | 56.1637 | 34.442 | 69.8517 | 84.3566 | 12.2876 | 21.8031 | 85.9404 | 40 | 67.837 | 1.5 | 1.3015 | 35 | 29.8981
3287976.6048 | 1.5518 | 39.9546 | 54.1935 | 34.7831 | 69.8825 | 85.6919 | 12.1619 | 21.8907 | 85.9414 | 40 | 65.5 | 1.5 | 47.9654 | 35 | 29.0431
3287980.76 | 1.5764 | 39.5595 | 53.3268 | 35.4807 | 70.7497 | 84.6512 | 12.2021 | 21.7807 | 85.9338 | 40 | 67.2067 | 1.5 | 100 | 35 | 29.3872
3288000.0931 | 1.4943 | 40.8961 | 54.0552 | 34.6755 | 69.5624 | 84.7997 | 12.1246 | 21.8128 | 85.944 | 40 | 65.0619 | 1.5 | 1.351 | 35 | 29.0399
3288000.59 | 1.4961 | 40.9014 | 53.7232 | 35.0628 | 69.2288 | 85.3872 | 12.2578 | 21.7681 | 85.9395 | 40 | 64.9042 | 1.5 | 1.5397 | 35 | 29.6498
3288019.7224 | 1.4399 | 39.3182 | 54.2796 | 34.7585 | 70.8482 | 84.5834 | 12.2163 | 21.8178 | 85.9329 | 40 | 67.6974 | 1.5 | 20.2724 | 35 | 28.9259
3288020.4926 | 1.4307 | 40.8467 | 53.8831 | 34.5772 | 71.0359 | 84.647 | 12.1623 | 21.8337 | 85.9391 | 40 | 66.3798 | 1.5 | 4.8689 | 35 | 29.1968