## data (1)
Time (sec) | Water Level (ft) | Water Flowrate (GPM) | House Steam Pressure (psig) | Steam Pressure (psig) | Inlet Water Temperature (C) | Outlet Water Temperature (C) | Water Feed Temperature (C) | Ambient Temperature (C) | Ambient Pressure (kPa) | Flow Setpoint (GPM) | Flow Control Output (%) | Level Setpoint (ft) | Level Control Output (%) | Steam Setpoint (psig) | Steam Control Output (%)
2681407.429 | 1.4294 | 49.9656 | 52.7981 | 33.895 | 72.9792 | 85.3314 | 12.1765 | 21.4431 | 85.8797 | 50 | 80.0674 | 1.5 | 0.91604 | 35 | 30.8444
2681408.176 | 1.4129 | 49.9709 | 54.1628 | 35.3209 | 72.9527 | 85.4307 | 12.1975 | 21.4113 | 85.8745 | 50 | 80.0713 | 1.5 | 0 | 35 | 30.3079
2681413.2026 | 1.4679 | 50.4148 | 54.4148 | 34.6294 | 72.8247 | 85.6352 | 12.1415 | 21.3637 | 85.8756 | 50 | 79.1266 | 1.5 | 1.0339 | 35 | 30.8733
2681419.1858 | 1.5056 | 49.6598 | 53.4743 | 35.0966 | 74.0242 | 85.6178 | 12.1573 | 21.4118 | 85.8739 | 50 | 79.8542 | 1.5 | 11.3859 | 35 | 31.0336
2681421.715 | 1.5689 | 50.0642 | 52.6475 | 33.4862 | 73.7679 | 86.086 | 12.1816 | 21.3174 | 85.8738 | 50 | 79.6791 | 1.5 | 40.342 | 35 | 30.6291
2681422.6279 | 1.5582 | 50.1914 | 53.4005 | 35.2103 | 71.6431 | 86.2561 | 12.1849 | 21.3207 | 85.8672 | 50 | 79.5606 | 1.5 | 55.9063 | 35 | 30.2583
2681425.6079 | 1.5431 | 50.3756 | 53.0624 | 33.7597 | 74.0258 | 86.3699 | 12.2118 | 21.5068 | 85.8828 | 50 | 79.1475 | 1.5 | 99.147 | 35 | 30.8817
2681432.519 | 1.4501 | 49.9382 | 53.4712 | 36.1445 | 72.5037 | 85.1058 | 12.092 | 21.4297 | 85.8778 | 50 | 79.7313 | 1.5 | 58.1286 | 35 | 29.896
2681438.0379 | 1.4184 | 50.5242 | 53.5757 | 36.3013 | 72.9013 | 85.2746 | 12.2545 | 21.4359 | 85.8726 | 50 | 78.6474 | 1.5 | 0.76248 | 35 | 29.707
2681441.818 | 1.4728 | 49.6118 | 52.6383 | 34.0517 | 73.2211 | 85.9742 | 12.1257 | 21.4258 | 85.8751 | 50 | 79.0781 | 1.5 | 1.2717 | 35 | 30.8349
2681444.1524 | 1.4858 | 49.3968 | 54.212 | 34.568 | 73.341 | 85.3006 | 12.1402 | 21.5241 | 85.8758 | 50 | 79.6811 | 1.5 | 2.4444 | 35 | 31.1515
2681450.6939 | 1.5358 | 50.7084 | 52.6659 | 36.7008 | 74.1749 | 86.0806 | 12.1361 | 21.5655 | 85.8738 | 50 | 78.7171 | 1.5 | 50.1962 | 35 | 29.6609
2681456.6349 | 1.4913 | 49.2548 | 52.3432 | 35.7112 | 73.0602 | 86.5408 | 12.1249 | 21.5122 | 85.8786 | 50 | 79.7117 | 1.5 | 59.515 | 35 | 30.0119
2681466.793 | 1.4937 | 50.011 | 54.2581 | 33.5846 | 74.645 | 85.652 | 12.1882 | 21.471 | 85.8858 | 50 | 78.7899 | 1.5 | 4.0216 | 35 | 30.815
2681469.0089 | 1.5244 | 49.588 | 52.3739 | 35.4899 | 72.1974 | 86.1281 | 12.0684 | 21.3788 | 85.8799 | 50 | 79.2165 | 1.5 | 10.1315 | 35 | 30.1246
2681477.4769 | 1.5265 | 50.5965 | 52.3586 | 34.651 | 73.1807 | 86.1281 | 12.1759 | 21.5032 | 85.8797 | 50 | 78.4503 | 1.5 | 71.3305 | 35 | 30.625
2681478.9089 | 1.5196 | 50.0653 | 52.921 | 36.9128 | 74.4718 | 86.1686 | 12.1143 | 21.4845 | 85.8779 | 50 | 78.5844 | 1.5 | 76.1705 | 35 | 29.497
2681481.9712 | 1.4738 | 49.3123 | 52.8165 | 36.0308 | 73.6419 | 86.322 | 12.1152 | 21.4913 | 85.8785 | 50 | 79.4279 | 1.5 | 68.6049 | 35 | 29.791
2681489.735 | 1.4298 | 50.0955 | 54.4056 | 35.6129 | 73.3266 | 85.9844 | 12.0734 | 21.4461 | 85.879 | 50 | 79.2118 | 1.5 | 0 | 35 | 30.0103
2681494.178 | 1.493 | 49.6158 | 52.3801 | 35.2902 | 74.0192 | 85.6031 | 12.117 | 21.384 | 85.8683 | 50 | 80.092 | 1.5 | 1.7447 | 35 | 30.1506
2681500.3825 | 1.5425 | 50.5713 | 50.7419 | 36.5287 | 74.0851 | 86.0378 | 12.2031 | 21.5632 | 85.8758 | 50 | 78.7958 | 1.5 | 37.3329 | 35 | 29.6232
2681514.1369 | 1.465 | 50.0943 | 52.7551 | 34.3252 | 73.3139 | 86.6147 | 12.1984 | 21.502 | 85.8726 | 50 | 79.088 | 1.5 | 76.5749 | 35 | 30.5632
2681514.8907 | 1.4436 | 50.0936 | 52.4354 | 35.6497 | 74.0479 | 86.2058 | 12.2213 | 21.5578 | 85.8726 | 50 | 79.0642 | 1.5 | 63.3073 | 35 | 30.1064
2681515.3509 | 1.4117 | 50.0876 | 54.716 | 34.0087 | 73.9987 | 85.8917 | 12.1639 | 21.4512 | 85.8777 | 50 | 79.0535 | 1.5 | 54.9517 | 35 | 30.7661
2681524.4879 | 1.4689 | 50.4976 | 52.9241 | 35.1027 | 73.6347 | 86.5633 | 12.1388 | 21.7173 | 85.8796 | 50 | 79.0556 | 1.5 | 2.5121 | 35 | 30.2076
2681528.5609 | 1.4808 | 49.9106 | 54.6884 | 34.9306 | 74.6376 | 86.5825 | 12.1316 | 21.5198 | 85.8739 | 50 | 78.9459 | 1.5 | 1.1365 | 35 | 29.8034
2681539.9319 | 1.5237 | 50.2034 | 53.6126 | 36.2797 | 72.9579 | 86.2035 | 12.1616 | 21.5393 | 85.8793 | 50 | 78.9381 | 1.5 | 94.0395 | 35 | 30.6807
2681545.2949 | 1.4488 | 49.7927 | 53.5819 | 36.7223 | 73.816 | 85.68 | 12.0461 | 21.4578 | 85.8815 | 50 | 79.8633 | 1.5 | 69.5711 | 35 | 29.6955
2681545.7539 | 1.4339 | 49.7908 | 53.923 | 35.0843 | 73.6618 | 85.4372 | 12.1422 | 21.6134 | 85.8759 | 50 | 79.8974 | 1.5 | 62.0489 | 35 | 30.4357
2681547.2299 | 1.428 | 50.1408 | 52.5215 | 34.6294 | 74.6301 | 86.3855 | 12.0505 | 21.4669 | 85.8795 | 50 | 79.6128 | 1.5 | 33.659 | 35 | 30.3681
2681549.3659 | 1.4308 | 50.5851 | 54.3871 | 34.5588 | 74.3349 | 86.5232 | 12.1058 | 21.4665 | 85.8815 | 50 | 78.996 | 1.5 | 0 | 35 | 30.3524
2681555.3235 | 1.4715 | 49.6636 | 53.3052 | 34.6663 | 74.1771 | 87.2465 | 12.1816 | 21.4565 | 85.8755 | 50 | 79.0432 | 1.5 | 1.5953 | 35 | 30.4965
2681557.9269 | 1.4867 | 49.4635 | 55.2478 | 35.3824 | 75.4231 | 86.458 | 12.1778 | 21.4308 | 85.8741 | 50 | 79.6251 | 1.5 | 0.42719 | 35 | 29.9611
2681566.089 | 1.5874 | 50.0677 | 53.4097 | 35.6958 | 75.3032 | 86.8747 | 12.0923 | 21.5268 | 85.8739 | 50 | 79.0623 | 1.5 | 58.0003 | 35 | 29.9042
2681568.1139 | 1.5779 | 49.7267 | 53.5696 | 35.6067 | 73.3752 | 87.0849 | 12.1287 | 21.6001 | 85.8724 | 50 | 79.4506 | 1.5 | 92.523 | 35 | 29.741
2681584.1076 | 1.4298 | 49.7735 | 55.1002 | 37.0941 | 73.6138 | 85.4984 | 12.1208 | 21.5835 | 85.8731 | 50 | 80.0704 | 1.5 | 0.73694 | 35 | 29.1264
2681594.8528 | 1.5369 | 49.5569 | 54.8052 | 35.2902 | 75.5979 | 86.6651 | 12.1721 | 21.5576 | 85.8759 | 50 | 79.7519 | 1.5 | 27.3536 | 35 | 29.8149
2681598.5309 | 1.5462 | 50.2873 | 53.8769 | 36.4795 | 73.6316 | 86.6643 | 12.0633 | 21.5069 | 85.879 | 50 | 79.4972 | 1.5 | 68.7239 | 35 | 29.569
2681609.1525 | 1.4141 | 49.7649 | 56.3051 | 34.1162 | 74.021 | 85.6653 | 12.1928 | 21.5699 | 85.8747 | 50 | 79.7332 | 1.5 | 2.7356 | 35 | 30.4665
2681617.1109 | 1.5234 | 49.9124 | 54.2581 | 33.7874 | 73.9468 | 86.2153 | 12.2462 | 21.4364 | 85.8677 | 50 | 79.4086 | 1.5 | 9.7257 | 35 | 30.762
2681623.4359 | 1.5469 | 49.9642 | 52.8964 | 35.0966 | 74.9955 | 86.2538 | 12.1229 | 21.3993 | 85.868 | 50 | 79.9422 | 1.5 | 41.6937 | 35 | 30.2344
2681631.6599 | 1.5018 | 49.459 | 53.9507 | 33.0529 | 74.1461 | 86.1594 | 12.1084 | 21.5051 | 85.877 | 50 | 79.7752 | 1.5 | 82.6565 | 35 | 31.1449
2681633.6897 | 1.4591 | 49.5655 | 55.1525 | 35.7757 | 72.2093 | 86.106 | 12.1899 | 21.4424 | 85.8736 | 50 | 80.1032 | 1.5 | 66.4944 | 35 | 29.8397
2681634.1589 | 1.4695 | 49.5602 | 54.5193 | 36.2398 | 71.4404 | 85.1077 | 12.0546 | 21.4285 | 85.8783 | 50 | 80.1771 | 1.5 | 64.0133 | 35 | 29.6119
2681639.8225 | 1.4161 | 50.5728 | 55.9762 | 35.0658 | 73.553 | 86.5756 | 12.1361 | 21.4107 | 85.8711 | 50 | 79.0091 | 1.5 | 0 | 35 | 30.0338
2681644.1064 | 1.4493 | 49.8357 | 54.4578 | 33.5323 | 74.3656 | 86.4949 | 12.1672 | 21.526 | 85.8702 | 50 | 79.1646 | 1.5 | 0.19101 | 35 | 31.1037
2681648.4259 | 1.5171 | 49.6615 | 53.7202 | 35.7788 | 74.0556 | 86.3087 | 12.1611 | 21.5306 | 85.8751 | 50 | 79.7437 | 1.5 | 7.6883 | 35 | 29.8695
2681658.2689 | 1.5184 | 50.0423 | 52.7213 | 35.6497 | 73.5363 | 86.3658 | 12.1934 | 21.4221 | 85.869 | 50 | 78.9467 | 1.5 | 77.3181 | 35 | 29.8325
2681662.5424 | 1.467 | 49.5882 | 54.1167 | 36.2982 | 74.2426 | 85.8087 | 12.1424 | 21.4168 | 85.8747 | 50 | 79.7726 | 1.5 | 64.1079 | 35 | 29.7492
2681687.1345 | 1.5077 | 49.6164 | 53.2745 | 34.5833 | 74.4582 | 87.0702 | 12.2464 | 21.2985 | 85.8758 | 50 | 80.0592 | 1.5 | 84.1975 | 35 | 29.9468
2681689.1759 | 1.5142 | 50.1889 | 53.0132 | 35.6129 | 73.9685 | 85.9674 | 12.0814 | 21.4063 | 85.8754 | 50 | 79.8066 | 1.5 | 76.3439 | 35 | 29.9566
2681689.7218 | 1.4615 | 50.194 | 53.714 | 35.6006 | 74.2902 | 86.4639 | 12.1902 | 21.3116 | 85.8738 | 50 | 79.7662 | 1.5 | 67.4058 | 35 | 29.967
2681691.4302 | 1.4381 | 50.7 | 55.3215 | 35.3209 | 73.0268 | 85.6222 | 12.1128 | 21.3901 | 85.8755 | 50 | 79.0657 | 1.5 | 45.2345 | 35 | 30.114
2681713.7099 | 1.4698 | 49.6139 | 53.8185 | 33.6552 | 74.0246 | 87.0245 | 12.148 | 21.6182 | 85.8685 | 50 | 80.141 | 1.5 | 21.0353 | 35 | 30.9304
2681730.2559 | 1.5232 | 50.5943 | 53.3575 | 34.6079 | 74.8892 | 86.9738 | 12.1604 | 21.5672 | 85.8774 | 50 | 79.0519 | 1.5 | 53.3058 | 35 | 30.5048
2681744.707 | 1.5096 | 50.3446 | 53.8124 | 35.0628 | 74.3663 | 86.0879 | 12.048 | 21.4268 | 85.8711 | 50 | 79.1828 | 1.5 | 1.9528 | 35 | 30.2179
2681745.4569 | 1.4988 | 50.3572 | 55.2908 | 35.6067 | 74.8236 | 86.4603 | 12.2573 | 21.4214 | 85.8758 | 50 | 79.0833 | 1.5 | 3.4578 | 35 | 29.7825
2681754.7195 | 1.5968 | 50.4612 | 53.419 | 36.1568 | 73.0582 | 86.492 | 12.1638 | 21.3341 | 85.8715 | 50 | 78.9911 | 1.5 | 90.8936 | 35 | 29.5696
2681761.0969 | 1.5461 | 49.4013 | 54.5101 | 33.4924 | 73.4674 | 86.143 | 12.1453 | 21.3 | 85.8773 | 50 | 79.536 | 1.5 | 98.8227 | 35 | 31.0122
2681769.9467 | 1.4787 | 50.2515 | 51.7408 | 34.7524 | 75.0334 | 86.0241 | 12.1525 | 21.4024 | 85.8744 | 50 | 79.0474 | 1.5 | 90.895 | 35 | 30.4819
2681781.7279 | 1.4154 | 50.5494 | 53.3636 | 36.1169 | 74.4696 | 86.4023 | 12.1614 | 21.3644 | 85.8772 | 50 | 78.9011 | 1.5 | 0.29745 | 35 | 29.4173
2681789.9939 | 1.4299 | 49.6862 | 52.7028 | 34.2852 | 73.9642 | 86.0831 | 12.2343 | 21.3724 | 85.8741 | 50 | 79.9732 | 1.5 | 0.61665 | 35 | 30.2386
2681797.3935 | 1.6025 | 49.7679 | 53.1362 | 35.7266 | 75.166 | 87.0121 | 12.1761 | 21.5107 | 85.8667 | 50 | 79.7473 | 1.5 | 98.3756 | 35 | 30.1852
2681800.633 | 1.6342 | 49.8909 | 52.334 | 33.7474 | 75.4124 | 87.2192 | 12.085 | 21.4226 | 85.8807 | 50 | 79.9776 | 1.5 | 100 | 35 | 30.0853
2681801.6519 | 1.6377 | 50.0132 | 51.8914 | 36.0001 | 75.2066 | 87.2243 | 12.0863 | 21.4744 | 85.8844 | 50 | 79.9123 | 1.5 | 99.6501 | 35 | 29.7823
2681804.5169 | 1.5928 | 50.4198 | 53.1485 | 33.5047 | 73.3291 | 85.5463 | 12.2548 | 21.6262 | 85.8762 | 50 | 79.3566 | 1.5 | 100 | 35 | 31.0382
2681810.638 | 1.509 | 49.4589 | 53.5942 | 36.2644 | 73.7773 | 85.7613 | 12.1891 | 21.3899 | 85.8751 | 50 | 79.688 | 1.5 | 98.168 | 35 | 29.5675
2681814.9099 | 1.4117 | 49.7631 | 54.2611 | 34.2607 | 73.6392 | 85.6251 | 12.151 | 21.4477 | 85.8658 | 50 | 80.2571 | 1.5 | 36.2547 | 35 | 29.8333
2681816.9859 | 1.4304 | 50.3994 | 52.0789 | 35.5268 | 73.7128 | 86.612 | 12.1532 | 21.3544 | 85.8786 | 50 | 79.7006 | 1.5 | 0.8576 | 35 | 29.9297
2681817.537 | 1.435 | 50.6863 | 51.3412 | 34.9583 | 75.0422 | 86.3898 | 12.1634 | 21.369 | 85.8749 | 50 | 79.4043 | 1.5 | 0.5159 | 35 | 30.2269
2681821.5647 | 1.4255 | 50.2916 | 53.714 | 33.8181 | 73.8338 | 86.2567 | 12.2031 | 21.3369 | 85.8703 | 50 | 78.933 | 1.5 | 0.004074 | 35 | 30.5934
2681823.1224 | 1.4342 | 49.7402 | 52.3832 | 33.5262 | 73.6987 | 86.6593 | 12.1889 | 21.3819 | 85.8731 | 50 | 79.3148 | 1.5 | 1.0013 | 35 | 30.7237
2681828.2389 | 1.4406 | 49.7887 | 54.3472 | 34.8446 | 72.6217 | 85.9607 | 12.1811 | 21.3447 | 85.8745 | 50 | 80.0044 | 1.5 | 0 | 35 | 30.3445
2681830.6159 | 1.4606 | 50.3217 | 54.0214 | 33.3418 | 75.2085 | 87.03 | 12.2014 | 21.4447 | 85.8748 | 50 | 79.4788 | 1.5 | 0 | 35 | 31.0954
2681833.5979 | 1.555 | 50.3243 | 53.2376 | 36.6916 | 75.3871 | 86.738 | 12.0101 | 21.5234 | 85.8683 | 50 | 79.1477 | 1.5 | 40.0048 | 35 | 29.3443
2681837.8339 | 1.5757 | 49.3834 | 51.8975 | 34.7216 | 74.9074 | 86.7545 | 12.1336 | 21.4862 | 85.8764 | 50 | 80.2022 | 1.5 | 99.8763 | 35 | 29.8654
2681848.5199 | 1.4161 | 49.8646 | 54.1197 | 33.9902 | 72.3192 | 86.3471 | 12.1548 | 21.4142 | 85.875 | 50 | 79.4457 | 1.5 | 57.0769 | 35 | 30.7384
2681862.0459 | 1.4336 | 49.5426 | 54.2304 | 35.0382 | 72.8136 | 86.4794 | 12.1678 | 21.3769 | 85.8718 | 50 | 79.5117 | 1.5 | 0.48581 | 35 | 30.2013
2681863.9097 | 1.4391 | 49.5113 | 53.6556 | 34.694 | 73.8972 | 86.3709 | 12.1764 | 21.425 | 85.8665 | 50 | 79.837 | 1.5 | 0.25687 | 35 | 30.3194
2681868.533 | 1.5626 | 50.4943 | 54.2703 | 34.0701 | 74.9984 | 86.5325 | 12.172 | 21.3397 | 85.8704 | 50 | 79.1008 | 1.5 | 26.0132 | 35 | 30.2716
2681875.8379 | 1.5658 | 49.3312 | 52.0635 | 35.3855 | 72.1414 | 86.0678 | 12.2339 | 21.2324 | 85.8714 | 50 | 79.9668 | 1.5 | 100 | 35 | 30.0336
2681878.4559 | 1.5192 | 49.8143 | 52.8473 | 36.4273 | 73.9819 | 86.9403 | 12.0966 | 21.3448 | 85.8742 | 50 | 80.0004 | 1.5 | 98.8428 | 35 | 29.5323
2681892.6504 | 1.4605 | 49.889 | 54.2888 | 35.576 | 74.5299 | 86.7636 | 12.151 | 21.37 | 85.8696 | 50 | 80.1391 | 1.5 | 0 | 35 | 29.8912
2681902.9969 | 1.5366 | 49.6772 | 52.7305 | 35.8556 | 73.6152 | 85.9178 | 12.2438 | 21.4191 | 85.8755 | 50 | 79.7602 | 1.5 | 25.962 | 35 | 30.0456
2681908.8027 | 1.5653 | 50.3832 | 52.4846 | 36.7192 | 73.6444 | 86.7394 | 12.2398 | 21.4321 | 85.8782 | 50 | 79.155 | 1.5 | 98.9016 | 35 | 29.4967
2681913.981 | 1.5694 | 49.444 | 53.1915 | 33.9933 | 75.3631 | 86.7103 | 12.0739 | 21.3636 | 85.8737 | 50 | 79.8322 | 1.5 | 99.7692 | 35 | 30.7453
2681923.65 | 1.4238 | 50.4914 | 53.5142 | 33.6061 | 74.2407 | 86.4842 | 12.2335 | 21.269 | 85.8768 | 50 | 78.7131 | 1.5 | 31.56 | 35 | 30.9651
2681925.8829 | 1.4044 | 49.8932 | 54.4486 | 34.9675 | 74.4317 | 86.5744 | 12.1122 | 21.3461 | 85.8767 | 50 | 79.0933 | 1.5 | 0.30868 | 35 | 30.0854
2681941.8259 | 1.5443 | 49.4278 | 54.7591 | 35.0167 | 74.0487 | 85.8115 | 12.2614 | 21.3011 | 85.8719 | 50 | 80.0712 | 1.5 | 12.9823 | 35 | 30.1881
2681947.5429 | 1.6212 | 50.5415 | 52.3893 | 36.4703 | 74.5599 | 86.6313 | 12.1601 | 21.3715 | 85.878 | 50 | 78.8907 | 1.5 | 99.8818 | 35 | 29.1471
2681960.6489 | 1.4731 | 50.5353 | 54.633 | 35.3055 | 74.7793 | 85.4178 | 12.1804 | 21.4294 | 85.8754 | 50 | 78.8328 | 1.5 | 97.0662 | 35 | 30.397
2681970.7939 | 1.4374 | 50.0031 | 53.4743 | 36.1322 | 74.4921 | 86.7934 | 12.1935 | 21.471 | 85.8777 | 50 | 79.83 | 1.5 | 0.024851 | 35 | 29.3478
2681973.1489 | 1.4752 | 50.2463 | 54.1658 | 33.8581 | 73.5269 | 86.4792 | 12.1343 | 21.4262 | 85.877 | 50 | 79.5104 | 1.5 | 0.53609 | 35 | 30.4511
2681979.15 | 1.5017 | 49.8102 | 54.3195 | 34.6848 | 73.1523 | 86.1924 | 12.1549 | 21.458 | 85.8818 | 50 | 79.5128 | 1.5 | 10.0902 | 35 | 30.2681
2681987.2959 | 1.5341 | 50.3303 | 55.3984 | 34.0578 | 75.3116 | 86.3503 | 12.051 | 21.2946 | 85.8778 | 50 | 78.9071 | 1.5 | 70.2092 | 35 | 29.9635
2682005.749 | 1.387 | 49.4618 | 54.7068 | 35.2256 | 73.5529 | 85.0666 | 12.1241 | 21.4441 | 85.8729 | 50 | 79.932 | 1.5 | 0 | 35 | 29.8518
2682009.9409 | 1.4085 | 50.4941 | 54.7099 | 34.3037 | 73.1178 | 85.9327 | 12.1452 | 21.4802 | 85.8801 | 50 | 79.0671 | 1.5 | 0 | 35 | 30.466
2682015.0291 | 1.4996 | 49.4488 | 53.6648 | 33.8458 | 73.2251 | 87.1539 | 12.1254 | 21.4081 | 85.8694 | 50 | 79.7015 | 1.5 | 1.184 | 35 | 31.0343
2682015.7179 | 1.5063 | 49.2742 | 52.5522 | 34.6294 | 73.16 | 86.4589 | 12.0769 | 21.2514 | 85.8711 | 50 | 79.9693 | 1.5 | 1.8717 | 35 | 30.4138
2682017.864 | 1.4833 | 49.8147 | 54.3042 | 34.5926 | 74.3871 | 86.1814 | 12.1296 | 21.3693 | 85.877 | 50 | 79.9397 | 1.5 | 0 | 35 | 30.2821
2682024.5876 | 1.6091 | 50.1456 | 52.2387 | 33.8611 | 74.9201 | 86.414 | 12.2151 | 21.4588 | 85.8728 | 50 | 79.0179 | 1.5 | 86.5697 | 35 | 30.2921
2682031.8812 | 1.5699 | 50.2183 | 55.134 | 33.7198 | 73.8803 | 86.8506 | 12.168 | 21.2383 | 85.8759 | 50 | 79.6972 | 1.5 | 100 | 35 | 30.6646
2682036.6235 | 1.4755 | 50.1411 | 53.6157 | 33.437 | 72.7902 | 85.1814 | 12.177 | 21.3901 | 85.882 | 50 | 79.1055 | 1.5 | 87.7991 | 35 | 30.5457
2682037.1604 | 1.4823 | 50.1469 | 51.4426 | 34.6786 | 74.4828 | 85.5843 | 12.1526 | 21.3504 | 85.8744 | 50 | 79.0787 | 1.5 | 83.187 | 35 | 30.2702
2682053.38 | 1.4906 | 49.4746 | 53.5665 | 35.4315 | 75.2788 | 87.499 | 12.1334 | 21.4506 | 85.881 | 50 | 79.8312 | 1.5 | 0.80121 | 35 | 29.917
2682058.9959 | 1.5689 | 50.5198 | 53.1884 | 36.4119 | 75.4476 | 86.3679 | 12.1995 | 21.4801 | 85.8804 | 50 | 79.5441 | 1.5 | 47.7232 | 35 | 29.6774
2682059.547 | 1.6066 | 50.5376 | 53.5603 | 34.9736 | 75.4302 | 86.9394 | 12.1284 | 21.4112 | 85.8739 | 50 | 79.4295 | 1.5 | 60.6278 | 35 | 30.8605
2682063.0853 | 1.5885 | 50.2442 | 52.4692 | 35.9571 | 74.7094 | 87.1548 | 12.0613 | 21.3836 | 85.8685 | 50 | 78.9737 | 1.5 | 100 | 35 | 29.6723
2682078.796 | 1.4703 | 49.5914 | 52.0297 | 36.7838 | 73.139 | 86.5339 | 12.2095 | 21.4822 | 85.8749 | 50 | 79.8037 | 1.5 | 0.40829 | 35 | 29.2724
2682083.5409 | 1.4779 | 50.4011 | 53.4251 | 34.3221 | 74.6934 | 86.368 | 12.1374 | 21.47 | 85.869 | 50 | 79.2676 | 1.5 | 0.53019 | 35 | 30.6036
2682085.4498 | 1.4667 | 50.5598 | 54.6545 | 34.3436 | 73.7384 | 86.6385 | 12.2065 | 21.5455 | 85.8689 | 50 | 78.7982 | 1.5 | 0.71671 | 35 | 30.5835
2682097.9279 | 1.5374 | 50.469 | 54.5408 | 35.4684 | 74.7343 | 86.7285 | 12.2586 | 21.5628 | 85.8812 | 50 | 79.1705 | 1.5 | 50.749 | 35 | 29.9512
2682102.2824 | 1.5828 | 49.6734 | 52.2172 | 35.4899 | 75.1173 | 87.8179 | 12.0271 | 21.5897 | 85.8789 | 50 | 79.5855 | 1.5 | 98.6408 | 35 | 29.443
2682106.0249 | 1.5476 | 49.9931 | 53.3052 | 33.812 | 75.5242 | 86.1961 | 12.1522 | 21.5656 | 85.8721 | 50 | 79.7785 | 1.5 | 98.542 | 35 | 30.6083
2682114.2661 | 1.4836 | 49.7166 | 53.9661 | 34.0425 | 74.3355 | 87.6001 | 12.1424 | 21.5946 | 85.8753 | 50 | 79.522 | 1.5 | 92.5478 | 35 | 30.6844
2682120.5349 | 1.4378 | 50.2889 | 54.4117 | 36.2982 | 75.204 | 86.4772 | 12.1511 | 21.5645 | 85.8673 | 50 | 79.4661 | 1.5 | 19.3457 | 35 | 29.4527
2682132.7331 | 1.5056 | 50.4474 | 53.4128 | 34.2791 | 73.7821 | 87.0263 | 12.2219 | 21.5628 | 85.8659 | 50 | 79.4918 | 1.5 | 2.1852 | 35 | 30.3621
2682139.1896 | 1.5775 | 49.3481 | 53.6648 | 36.753 | 75.1492 | 87.6553 | 12.2226 | 21.4764 | 85.8735 | 50 | 79.5926 | 1.5 | 39.1136 | 35 | 29.2693
2682141.5587 | 1.5629 | 49.4631 | 55.2293 | 34.2945 | 74.6874 | 86.6835 | 12.26 | 21.553 | 85.873 | 50 | 80.0616 | 1.5 | 86.0143 | 35 | 30.692
2682154.8349 | 1.4724 | 49.6646 | 52.7274 | 33.4186 | 73.8076 | 85.9887 | 12.1851 | 21.5439 | 85.8762 | 50 | 79.9939 | 1.5 | 61.0637 | 35 | 30.1983
2682167.644 | 1.5264 | 49.8422 | 53.1516 | 34.9829 | 75.4761 | 86.8015 | 12.2283 | 21.5067 | 85.8786 | 50 | 79.8876 | 1.5 | 5.8668 | 35 | 29.7625
2682171.94 | 1.5365 | 50.3987 | 54.9988 | 34.0763 | 73.5361 | 86.7454 | 12.2443 | 21.3727 | 85.877 | 50 | 79.2427 | 1.5 | 34.5894 | 35 | 30.526
2682172.4809 | 1.5644 | 50.3363 | 54.1904 | 36.5809 | 74.3395 | 86.4629 | 12.3272 | 21.48 | 85.8774 | 50 | 79.2205 | 1.5 | 44.1606 | 35 | 29.2421
2682176.0565 | 1.5403 | 50.0653 | 53.4804 | 36.2183 | 73.5243 | 87.3907 | 12.33 | 21.5467 | 85.8778 | 50 | 79.2163 | 1.5 | 91.8987 | 35 | 29.2918
2682176.601 | 1.5267 | 49.7161 | 55.7026 | 33.7935 | 73.5975 | 86.9423 | 12.2201 | 21.5689 | 85.8792 | 50 | 79.5119 | 1.5 | 95.377 | 35 | 30.5098
2682184.313 | 1.4545 | 50.7269 | 53.8769 | 34.3221 | 74.7417 | 86.5087 | 12.1812 | 21.5768 | 85.8707 | 50 | 78.7543 | 1.5 | 29.3339 | 35 | 30.6112
2682192.374 | 1.4805 | 49.3742 | 55.7733 | 35.9939 | 74.2362 | 86.7572 | 12.1744 | 21.5735 | 85.8735 | 50 | 79.918 | 1.5 | 2.5572 | 35 | 29.7002
2682200.846 | 1.539 | 49.9944 | 54.8267 | 36.2337 | 73.4955 | 86.9588 | 12.1892 | 21.5887 | 85.8725 | 50 | 79.1579 | 1.5 | 37.4767 | 35 | 29.3144
2682206.7039 | 1.5074 | 49.8629 | 53.6648 | 36.2244 | 74.7903 | 87.1064 | 12.2664 | 21.5303 | 85.8739 | 50 | 79.9963 | 1.5 | 81.0672 | 35 | 29.4819
2682215.0424 | 1.4744 | 49.9479 | 52.168 | 35.3516 | 75.3558 | 87.3098 | 12.234 | 21.5495 | 85.8747 | 50 | 79.3497 | 1.5 | 32.4117 | 35 | 30.4848
2682217.1385 | 1.4708 | 49.6095 | 52.7889 | 34.7155 | 74.7808 | 87.0246 | 12.221 | 21.5104 | 85.8743 | 50 | 79.7769 | 1.5 | 11.1 | 35 | 30.3069
2682220.4969 | 1.4736 | 50.1105 | 53.4651 | 34.0793 | 74.4015 | 86.6825 | 12.2893 | 21.6261 | 85.8781 | 50 | 79.6937 | 1.5 | 1.373 | 35 | 30.5459
2682221.2929 | 1.4765 | 50.1168 | 52.2817 | 35.407 | 75.0795 | 86.6367 | 12.3078 | 21.6243 | 85.8805 | 50 | 79.656 | 1.5 | 1.1544 | 35 | 30.0123
2682235.6689 | 1.4958 | 50.6211 | 54.381 | 33.812 | 73.4185 | 86.444 | 12.1801 | 21.5326 | 85.872 | 50 | 78.434 | 1.5 | 66.7145 | 35 | 30.6779
2682239.984 | 1.4391 | 49.7494 | 55.5828 | 35.4715 | 74.7572 | 86.7978 | 12.2401 | 21.4858 | 85.8677 | 50 | 78.923 | 1.5 | 33.8306 | 35 | 30.0869
2682241.588 | 1.4647 | 49.3365 | 54.1413 | 34.5004 | 74.9435 | 86.9151 | 12.151 | 21.5798 | 85.8673 | 50 | 79.4696 | 1.5 | 18.4376 | 35 | 30.4225
2682251.1424 | 1.5119 | 50.3013 | 55.0265 | 34.5833 | 75.0688 | 86.7137 | 12.1089 | 21.5909 | 85.8701 | 50 | 79.094 | 1.5 | 13.9509 | 35 | 30.1136
2682259.8469 | 1.5176 | 50.4385 | 55.3922 | 33.8427 | 74.7066 | 86.204 | 12.0328 | 21.6213 | 85.8701 | 50 | 79.2788 | 1.5 | 98.0006 | 35 | 30.6605
2682271.262 | 1.4138 | 49.816 | 55.552 | 35.5821 | 73.3036 | 86.1823 | 12.2476 | 21.4603 | 85.8682 | 50 | 79.8275 | 1.5 | 0 | 35 | 29.664
2682280.2439 | 1.5425 | 49.4362 | 53.7417 | 35.4807 | 73.2226 | 86.4201 | 12.1169 | 21.5158 | 85.8688 | 50 | 79.9848 | 1.5 | 7.2218 | 35 | 29.6915
2682289.1126 | 1.5134 | 50.4467 | 55.2939 | 33.7782 | 76.1211 | 87.0509 | 12.1922 | 21.3698 | 85.8709 | 50 | 78.6715 | 1.5 | 97.6263 | 35 | 30.5614
2682304.938 | 1.4446 | 49.7429 | 54.9373 | 35.3209 | 73.7999 | 86.287 | 12.0781 | 21.3137 | 85.8721 | 50 | 79.394 | 1.5 | 0 | 35 | 29.8238
2682307.543 | 1.4687 | 49.3615 | 55.4598 | 34.402 | 74.3986 | 86.4476 | 12.1622 | 21.2733 | 85.8683 | 50 | 80.0825 | 1.5 | 0.013647 | 35 | 29.9369
2682311.7179 | 1.4899 | 50.1461 | 56.1391 | 34.4235 | 74.5932 | 87.1799 | 12.1508 | 21.2411 | 85.8787 | 50 | 79.9009 | 1.5 | 6.3958 | 35 | 30.3868
2682314.745 | 1.5392 | 50.468 | 55.4629 | 35.5821 | 74.1653 | 86.8161 | 12.107 | 21.2283 | 85.8771 | 50 | 79.228 | 1.5 | 42.6164 | 35 | 29.7335
2682317.0559 | 1.5311 | 49.8635 | 55.4352 | 34.3068 | 73.7725 | 85.9429 | 12.2031 | 21.3728 | 85.8705 | 50 | 79.4985 | 1.5 | 65.4755 | 35 | 30.4482
2682317.706 | 1.5499 | 49.8649 | 55.134 | 33.4463 | 74.611 | 86.4445 | 12.1761 | 21.2653 | 85.8751 | 50 | 79.5158 | 1.5 | 76.0527 | 35 | 29.9864
2682320.2976 | 1.5275 | 49.56 | 54.1874 | 33.4493 | 73.8239 | 86.2377 | 12.1994 | 21.3832 | 85.8747 | 50 | 80.0547 | 1.5 | 98.2957 | 35 | 30.8801
2682328.3425 | 1.4747 | 50.0816 | 53.9599 | 36.7469 | 74.446 | 86.8536 | 12.0718 | 21.3578 | 85.8718 | 50 | 78.8771 | 1.5 | 87.3486 | 35 | 29.3379
2682330.68 | 1.4345 | 49.5053 | 53.4712 | 34.4082 | 73.8663 | 86.446 | 12.1037 | 21.387 | 85.8805 | 50 | 79.4935 | 1.5 | 43.3483 | 35 | 30.3547
2682344.8427 | 1.5109 | 49.6821 | 55.1433 | 33.5938 | 74.7926 | 86.9164 | 12.1645 | 21.4264 | 85.8773 | 50 | 79.7222 | 1.5 | 11.6593 | 35 | 30.4302
2682347.574 | 1.5343 | 50.0839 | 52.8503 | 34.4235 | 74.1575 | 86.5513 | 12.123 | 21.2509 | 85.8747 | 50 | 79.5902 | 1.5 | 26.4698 | 35 | 30.8399
2682353.1976 | 1.4965 | 50.2729 | 55.6811 | 34.3959 | 74.7442 | 86.2049 | 12.0946 | 21.3198 | 85.8722 | 50 | 78.7057 | 1.5 | 45.6127 | 35 | 30.2515
2682368.9031 | 1.4674 | 49.7917 | 55.4629 | 33.9503 | 74.089 | 86.1231 | 12.2331 | 21.3602 | 85.8724 | 50 | 79.5261 | 1.5 | 0 | 35 | 30.2647
2682371.6379 | 1.5395 | 49.8024 | 54.8205 | 34.0548 | 73.4942 | 86.7892 | 12.0871 | 21.3694 | 85.8709 | 50 | 79.8767 | 1.5 | 12.8071 | 35 | 30.5105
2682400.593 | 1.4832 | 50.5455 | 53.7601 | 34.4881 | 74.7122 | 86.6927 | 12.0374 | 21.3214 | 85.8751 | 50 | 78.9176 | 1.5 | 1.4458 | 35 | 30.6437
2682412.6229 | 1.5146 | 50.3925 | 54.4916 | 35.7788 | 74.939 | 86.4868 | 12.1346 | 21.3802 | 85.8763 | 50 | 79.1326 | 1.5 | 65.7527 | 35 | 29.3195
2682427.1546 | 1.4591 | 50.4507 | 53.7386 | 35.5084 | 73.7513 | 85.3765 | 12.2081 | 21.46 | 85.8747 | 50 | 78.698 | 1.5 | 1.0529 | 35 | 29.7067
2682433.0465 | 1.5017 | 49.2853 | 55.8164 | 35.0382 | 73.0727 | 86.2102 | 12.1093 | 21.346 | 85.8788 | 50 | 80.2176 | 1.5 | 13.5196 | 35 | 29.9964
2682441.2539 | 1.5227 | 49.8876 | 52.835 | 35.3855 | 74.9563 | 86.2237 | 12.11 | 21.4479 | 85.8781 | 50 | 78.8211 | 1.5 | 61.4398 | 35 | 30.0244
2682445.4309 | 1.489 | 49.4407 | 53.7171 | 35.1611 | 73.1168 | 86.7523 | 12.1925 | 21.4842 | 85.8768 | 50 | 80.0679 | 1.5 | 59.0874 | 35 | 30.0362
2682448.334 | 1.4204 | 50.413 | 55.8655 | 34.1101 | 73.508 | 86.2882 | 12.119 | 21.3576 | 85.8737 | 50 | 79.3489 | 1.5 | 15.1205 | 35 | 30.2544
2682461.9409 | 1.5417 | 50.5477 | 56.133 | 35.0136 | 73.8562 | 86.3419 | 12.1102 | 21.5097 | 85.8783 | 50 | 79.2786 | 1.5 | 47.2402 | 35 | 29.9228
2682464.5339 | 1.5649 | 50.6424 | 54.6238 | 33.7413 | 74.6061 | 86.4956 | 12.1297 | 21.5437 | 85.8827 | 50 | 78.6305 | 1.5 | 85.5143 | 35 | 30.6652
2682465.075 | 1.5494 | 50.3898 | 55.3891 | 34.0732 | 74.7699 | 86.4989 | 12.1793 | 21.4697 | 85.88 | 50 | 78.7369 | 1.5 | 92.8136 | 35 | 30.4595
2682475.3169 | 1.441 | 50.408 | 53.545 | 34.903 | 73.9336 | 86.4269 | 12.1568 | 21.4664 | 85.8741 | 50 | 79.176 | 1.5 | 24.5634 | 35 | 29.9778
2682478.2589 | 1.454 | 49.9151 | 54.5255 | 33.7874 | 72.9175 | 85.8085 | 12.142 | 21.465 | 85.8761 | 50 | 79.3279 | 1.5 | 0.8327 | 35 | 30.54
2682479.8646 | 1.4339 | 49.5369 | 55.3031 | 33.9749 | 73.5707 | 85.8017 | 12.1378 | 21.473 | 85.8736 | 50 | 79.7514 | 1.5 | 0.14743 | 35 | 30.2985
2682485.5399 | 1.5453 | 50.3656 | 53.5696 | 35.2379 | 74.7663 | 86.3143 | 12.1689 | 21.4983 | 85.8745 | 50 | 79.6482 | 1.5 | 22.6567 | 35 | 29.7813
2682492.8039 | 1.5029 | 49.3555 | 53.8984 | 36.1199 | 74.0495 | 86.4885 | 12.044 | 21.4855 | 85.8792 | 50 | 79.7967 | 1.5 | 42.947 | 35 | 29.5103
2682496.9863 | 1.5129 | 49.6826 | 55.5705 | 34.7278 | 73.7465 | 87.0349 | 12.0758 | 21.5545 | 85.8713 | 50 | 80.3394 | 1.5 | 58.3236 | 35 | 30.2718
2682497.5256 | 1.5206 | 49.6848 | 54.7099 | 36.1353 | 73.5048 | 86.9868 | 12.0314 | 21.5449 | 85.8758 | 50 | 80.3945 | 1.5 | 61.6411 | 35 | 29.7049
2682503.2592 | 1.4501 | 50.234 | 55.718 | 35.2779 | 73.7431 | 85.2024 | 12.1836 | 21.6009 | 85.8799 | 50 | 79.0293 | 1.5 | 50.7114 | 35 | 29.6524
2682507.2769 | 1.4572 | 49.5836 | 54.5808 | 34.3252 | 74.026 | 86.2358 | 12.0258 | 21.6017 | 85.88 | 50 | 79.7387 | 1.5 | 5.6241 | 35 | 30.3994
2682511.3699 | 1.4908 | 49.835 | 53.2684 | 36.1169 | 73.1557 | 84.842 | 12.2308 | 21.5034 | 85.8782 | 50 | 80.0275 | 1.5 | 0.36562 | 35 | 29.4689
2682517.587 | 1.5383 | 50.3692 | 53.7909 | 35.9263 | 73.4678 | 86.0692 | 12.1161 | 21.6263 | 85.8778 | 50 | 78.8685 | 1.5 | 13.2093 | 35 | 29.7815
2682518.4027 | 1.5601 | 50.0866 | 54.7129 | 33.3418 | 71.8799 | 85.9051 | 12.1155 | 21.626 | 85.8814 | 50 | 79.0247 | 1.5 | 24.1107 | 35 | 30.6546
2682521.8259 | 1.5544 | 49.6197 | 54.3503 | 33.7874 | 73.719 | 86.6992 | 12.1465 | 21.559 | 85.8762 | 50 | 79.5477 | 1.5 | 52.2524 | 35 | 30.4843
2682523.818 | 1.5501 | 49.5891 | 55.0849 | 33.8704 | 74.3684 | 86.8336 | 12.1327 | 21.613 | 85.878 | 50 | 79.8413 | 1.5 | 77.5562 | 35 | 30.6672
2682529.9945 | 1.5056 | 50.4987 | 52.9641 | 34.4819 | 74.4119 | 86.0792 | 12.0151 | 21.5482 | 85.8812 | 50 | 79.1925 | 1.5 | 97.5145 | 35 | 29.595
2682536.1459 | 1.4849 | 49.5128 | 54.6177 | 33.4248 | 73.8482 | 85.7386 | 12.1135 | 21.6468 | 85.8725 | 50 | 79.902 | 1.5 | 69.87 | 35 | 31.0265
2682544.409 | 1.5013 | 50.3211 | 53.1393 | 36.4027 | 74.4865 | 86.1522 | 12.1305 | 21.6514 | 85.8806 | 50 | 79.0423 | 1.5 | 1.6505 | 35 | 29.1216
2682549.8369 | 1.51 | 49.3755 | 54.5593 | 35.5422 | 75.0066 | 87.1318 | 12.1012 | 21.6131 | 85.8706 | 50 | 80.1598 | 1.5 | 5.8079 | 35 | 29.5454
2682554.2339 | 1.5592 | 50.5613 | 53.3636 | 35.281 | 73.7664 | 85.9648 | 12.0105 | 21.5904 | 85.8685 | 50 | 79.5762 | 1.5 | 44.6278 | 35 | 29.5305
2682562.8424 | 1.5004 | 49.3123 | 54.7744 | 36.1445 | 72.9861 | 86.1216 | 11.9649 | 21.637 | 85.8763 | 50 | 79.9379 | 1.5 | 97.9396 | 35 | 29.7723
2682572.7958 | 1.4446 | 49.7752 | 55.7026 | 35.7419 | 73.2291 | 85.6332 | 12.1214 | 21.4348 | 85.878 | 50 | 79.4288 | 1.5 | 26.0499 | 35 | 29.9058
2682577.02 | 1.4416 | 49.8426 | 54.2796 | 36.3228 | 74.6559 | 86.0387 | 12.1344 | 21.4555 | 85.8727 | 50 | 79.9142 | 1.5 | 0 | 35 | 29.384
2682581.661 | 1.4911 | 50.6727 | 54.5101 | 33.9072 | 74.2751 | 86.4357 | 12.1173 | 21.4515 | 85.8772 | 50 | 78.6583 | 1.5 | 1.3387 | 35 | 30.2948
2682591.9449 | 1.5346 | 50.2172 | 55.091 | 35.3424 | 74.1285 | 86.8191 | 12.1221 | 21.4635 | 85.8812 | 50 | 79.7398 | 1.5 | 98.4544 | 35 | 29.921
2682597.111 | 1.4533 | 49.9664 | 54.7068 | 34.8415 | 73.6561 | 85.8364 | 12.0511 | 21.3423 | 85.8746 | 50 | 79.5112 | 1.5 | 87.5455 | 35 | 30.1533
2682606.4026 | 1.452 | 50.3418 | 54.4148 | 34.0363 | 74.1115 | 85.608 | 12.1417 | 21.445 | 85.8777 | 50 | 78.7359 | 1.5 | 0 | 35 | 30.3068
2682609.0049 | 1.4849 | 49.7428 | 53.5757 | 35.7696 | 74.2276 | 86.7453 | 12.0733 | 21.4915 | 85.8828 | 50 | 79.1231 | 1.5 | 0.99692 | 35 | 29.4256
2682615.1539 | 1.5282 | 49.8851 | 54.9742 | 34.7001 | 74.8557 | 85.4468 | 12.043 | 21.4645 | 85.8779 | 50 | 79.8247 | 1.5 | 17.5575 | 35 | 29.5252
2682622.8289 | 1.5355 | 49.9151 | 52.9456 | 36.7254 | 73.7626 | 86.4501 | 12.0937 | 21.5662 | 85.8794 | 50 | 79.7935 | 1.5 | 88.2175 | 35 | 29.1724
2682628.9569 | 1.4728 | 50.5271 | 54.6914 | 35.2041 | 73.2641 | 85.4416 | 12.0568 | 21.5137 | 85.8827 | 50 | 79.2578 | 1.5 | 92.4213 | 35 | 29.9899
2682639.4739 | 1.4288 | 50.0942 | 54.0921 | 34.8138 | 72.5973 | 85.9542 | 12.0602 | 21.4628 | 85.8821 | 50 | 79.7676 | 1.5 | 0.071769 | 35 | 29.7389
2682644.1909 | 1.4587 | 50.5434 | 54.7314 | 34.0548 | 73.9209 | 85.8239 | 12.1151 | 21.574 | 85.8767 | 50 | 78.8235 | 1.5 | 0.34921 | 35 | 30.1651
2682647.6059 | 1.4991 | 49.9735 | 54.3656 | 33.3233 | 74.1381 | 86.611 | 12.0817 | 21.4758 | 85.8751 | 50 | 78.9852 | 1.5 | 3.2695 | 35 | 30.6149
2682649.6537 | 1.5462 | 49.5049 | 52.1188 | 34.9368 | 74.3242 | 86.5831 | 12.1018 | 21.5442 | 85.8742 | 50 | 79.5587 | 1.5 | 20.6165 | 35 | 29.5673
2682666.8779 | 1.4445 | 50.5367 | 53.4897 | 33.0037 | 74.4809 | 86.4788 | 12.0071 | 21.4853 | 85.8795 | 50 | 78.8056 | 1.5 | 48.693 | 35 | 31.0868