## data
Time (sec) | Water Level (ft) | Water Flowrate (GPM) | House Steam Pressure (psig) | Steam Pressure (psig) | Inlet Water Temperature (C) | Outlet Water Temperature (C) | Water Feed Temperature (C) | Ambient Temperature (C) | Ambient Pressure (kPa) | Flow Setpoint (GPM) | Flow Control Output (%) | Level Setpoint (ft) | Level Control Output (%) | Steam Setpoint (psig) | Steam Control Output (%)
10987.2895 | 1.5394 | 25.0149 | 55.592 | 45.0752 | 61.83 | 87.7082 | 12.3238 | 21.8272 | 86.3787 | 25 | 48.2203 | 1.5 | 35.9883 | 45 | 38.422
10997.9441 | 1.4658 | 24.9845 | 56.4403 | 43.0746 | 61.6782 | 87.7988 | 12.3796 | 21.8798 | 86.3746 | 25 | 48.0199 | 1.5 | 95.4461 | 45 | 39.6091
11005.1498 | 1.4258 | 25.2404 | 54.4701 | 43.3973 | 62.3148 | 87.746 | 12.1861 | 21.866 | 86.3763 | 25 | 48.424 | 1.5 | 1.4955 | 45 | 39.0459
11005.6018 | 1.4424 | 25.2775 | 54.424 | 44.9093 | 62.2413 | 87.8272 | 12.3377 | 21.7449 | 86.3768 | 25 | 48.3576 | 1.5 | 0.42338 | 45 | 39.1023
11012.232 | 1.5139 | 24.9156 | 55.3984 | 44.5897 | 61.8068 | 88.0015 | 12.4127 | 21.7851 | 86.3767 | 25 | 48.2692 | 1.5 | 3.1331 | 45 | 38.7477
11013.7445 | 1.5255 | 24.7587 | 56.4649 | 42.967 | 61.6395 | 87.7982 | 12.2998 | 21.8641 | 86.3856 | 25 | 48.4922 | 1.5 | 10.4722 | 45 | 39.0598
11028.4178 | 1.4699 | 25.1421 | 54.3626 | 43.0531 | 62.2242 | 87.3868 | 12.3014 | 21.7028 | 86.3792 | 25 | 48.5066 | 1.5 | 82.9163 | 45 | 38.3601
11036.7133 | 1.4259 | 24.4871 | 56.7169 | 43.262 | 62.9186 | 88.3993 | 12.3405 | 21.6867 | 86.378 | 25 | 48.604 | 1.5 | 0.21085 | 45 | 40
11043.3938 | 1.5158 | 25.1906 | 57.2302 | 43.4679 | 62.567 | 88.0433 | 12.2699 | 21.8096 | 86.3786 | 25 | 48.3874 | 1.5 | 12.6786 | 45 | 39.3824
11044.9108 | 1.5603 | 25.254 | 55.6381 | 41.9559 | 62.7034 | 88.1527 | 12.2766 | 21.8371 | 86.3742 | 25 | 48.2301 | 1.5 | 30.3389 | 45 | 40
11054.8018 | 1.4933 | 25.2155 | 56.5817 | 42.5122 | 62.9853 | 88.061 | 12.2858 | 21.8659 | 86.3761 | 25 | 48.4314 | 1.5 | 97.1714 | 45 | 39.7417
11059.7938 | 1.4046 | 24.8815 | 57.1964 | 43.9689 | 63.1651 | 89.3121 | 12.312 | 21.8359 | 86.3744 | 25 | 48.3662 | 1.5 | 39.3197 | 45 | 38.8732
11062.7649 | 1.4621 | 24.5939 | 56.4372 | 44.1072 | 63.3394 | 88.4379 | 12.2303 | 21.8165 | 86.3817 | 25 | 48.8493 | 1.5 | 1.4148 | 45 | 39.0977
11065.3718 | 1.4412 | 25.1622 | 56.3573 | 44.5128 | 63.1499 | 88.2827 | 12.3218 | 21.8965 | 86.3813 | 25 | 48.5754 | 1.5 | 0.17394 | 45 | 38.393
11065.8368 | 1.469 | 25.3667 | 56.4004 | 45.0138 | 63.2207 | 88.5341 | 12.4128 | 21.8158 | 86.3767 | 25 | 48.393 | 1.5 | 0.70369 | 45 | 38.2444
11071.8238 | 1.5408 | 24.707 | 56.0623 | 42.3585 | 63.1173 | 89.1417 | 12.3662 | 21.7331 | 86.3797 | 25 | 48.3069 | 1.5 | 22.6321 | 45 | 38.3932
11079.5999 | 1.5416 | 25.3197 | 54.5531 | 43.1606 | 63.0435 | 87.9695 | 12.2807 | 21.7951 | 86.3792 | 25 | 48.0624 | 1.5 | 98.1419 | 45 | 39.254
11091.5868 | 1.446 | 25.3942 | 57.0858 | 44.2424 | 64.0024 | 88.938 | 12.3759 | 21.7802 | 86.3769 | 25 | 47.9718 | 1.5 | 0.05862 | 45 | 38.6079
11103.4098 | 1.5441 | 25.3314 | 57.6482 | 44.1379 | 63.1981 | 88.6409 | 12.2419 | 21.7477 | 86.3872 | 25 | 48.1662 | 1.5 | 46.0322 | 45 | 38.7438
11124.1508 | 1.4659 | 24.7621 | 56.3481 | 43.0408 | 63.7951 | 89.3262 | 12.2784 | 21.7715 | 86.3794 | 25 | 48.6826 | 1.5 | 1.1998 | 45 | 39.3316
11137.0438 | 1.5476 | 24.9648 | 56.8983 | 44.1686 | 64.3925 | 89.4689 | 12.2624 | 21.7807 | 86.3833 | 25 | 48.7275 | 1.5 | 99.3129 | 45 | 39.5695
11139.2498 | 1.5219 | 25.214 | 55.3492 | 43.7753 | 64.3528 | 89.6469 | 12.1906 | 21.8256 | 86.3818 | 25 | 48.4571 | 1.5 | 99.101 | 45 | 38.6193
11145.3133 | 1.4531 | 24.838 | 55.0449 | 44.436 | 64.3407 | 90.193 | 12.2176 | 21.8514 | 86.3772 | 25 | 48.2986 | 1.5 | 44.1452 | 45 | 38.3041
11159.5798 | 1.5233 | 24.3523 | 57.344 | 43.8613 | 64.6323 | 89.9945 | 12.2763 | 21.8712 | 86.3759 | 25 | 48.6894 | 1.5 | 28.4519 | 45 | 39.0409
11163.8438 | 1.5574 | 25.0047 | 56.6616 | 44.7802 | 64.4781 | 89.1835 | 12.2128 | 21.7388 | 86.3758 | 25 | 48.9419 | 1.5 | 91.1376 | 45 | 39.2594
11173.8168 | 1.4363 | 24.6202 | 58.0785 | 42.6597 | 64.4469 | 90.1935 | 12.2785 | 21.7718 | 86.3733 | 25 | 48.4881 | 1.5 | 63.6479 | 45 | 39.3243
11194.4868 | 1.572 | 25.5154 | 54.9527 | 42.38 | 64.37 | 88.6421 | 12.2934 | 21.7338 | 86.3735 | 25 | 48.0956 | 1.5 | 77.9302 | 45 | 39.2688
11197.1498 | 1.5336 | 25.2983 | 57.722 | 44.6296 | 64.3018 | 89.8665 | 12.2122 | 21.7777 | 86.3726 | 25 | 47.8457 | 1.5 | 98.3782 | 45 | 38.629
11198.9468 | 1.5295 | 24.86 | 55.8748 | 45.2412 | 64.4698 | 90.3408 | 12.2932 | 21.7586 | 86.3724 | 25 | 48.1438 | 1.5 | 99.7804 | 45 | 37.9037
11204.7489 | 1.487 | 25.287 | 56.0991 | 42.8564 | 64.1789 | 89.3468 | 12.2192 | 21.7463 | 86.3771 | 25 | 48.4119 | 1.5 | 92.7716 | 45 | 38.1873
11206.9055 | 1.4567 | 25.4749 | 57.1349 | 41.4304 | 64.498 | 89.051 | 12.2113 | 21.8185 | 86.3776 | 25 | 48.0288 | 1.5 | 75.1204 | 45 | 39.5768
11207.8118 | 1.4315 | 25.4114 | 57.4208 | 44.5005 | 64.5021 | 89.024 | 12.2126 | 21.8492 | 86.3864 | 25 | 47.9325 | 1.5 | 60.3777 | 45 | 38.374
11215.0608 | 1.4518 | 24.6562 | 55.6412 | 43.5048 | 64.4091 | 89.9897 | 12.2864 | 21.8884 | 86.3783 | 25 | 48.8213 | 1.5 | 1.3103 | 45 | 39.2913
11223.4508 | 1.566 | 25.1914 | 55.2816 | 43.6831 | 64.2604 | 89.8565 | 12.3008 | 21.7812 | 86.374 | 25 | 48.1962 | 1.5 | 27.8429 | 45 | 39.808
11229.3538 | 1.5337 | 24.8824 | 57.3071 | 41.7347 | 64.5122 | 89.0245 | 12.209 | 21.8222 | 86.38 | 25 | 48.8466 | 1.5 | 100 | 45 | 39.5067
11231.551 | 1.5172 | 25.2882 | 55.7426 | 43.6277 | 64.3307 | 89.1963 | 12.2818 | 21.8242 | 86.3832 | 25 | 48.4261 | 1.5 | 99.3395 | 45 | 38.7902
11243.9518 | 1.4686 | 25.3193 | 55.0879 | 43.723 | 64.5759 | 89.5826 | 12.2033 | 21.8171 | 86.3694 | 25 | 48.4361 | 1.5 | 1.5429 | 45 | 39.1871
11244.5898 | 1.4498 | 25.3134 | 57.5775 | 42.294 | 64.6825 | 89.4136 | 12.2642 | 21.7629 | 86.3667 | 25 | 48.3703 | 1.5 | 0 | 45 | 39.9801
11256.436 | 1.603 | 25.1406 | 54.7345 | 44.3192 | 64.4337 | 89.534 | 12.1434 | 21.6229 | 86.3787 | 25 | 48.5968 | 1.5 | 99.3069 | 45 | 38.1045
11261.4948 | 1.5332 | 25.0367 | 54.9066 | 43.2836 | 65.0636 | 90.02 | 12.3132 | 21.7155 | 86.3769 | 25 | 48.2084 | 1.5 | 99.2262 | 45 | 38.6701
11266.2653 | 1.4253 | 24.8339 | 56.1698 | 44.227 | 64.7232 | 89.6293 | 12.2345 | 21.675 | 86.3795 | 25 | 48.8475 | 1.5 | 68.1481 | 45 | 39.2116
11266.7338 | 1.4111 | 24.8287 | 57.4546 | 42.5736 | 64.935 | 89.4042 | 12.2508 | 21.6608 | 86.3779 | 25 | 48.8817 | 1.5 | 61.2394 | 45 | 39.7476
11280.7375 | 1.5466 | 25.2617 | 54.633 | 43.8244 | 64.5446 | 89.176 | 12.3006 | 21.666 | 86.3808 | 25 | 48.5483 | 1.5 | 26.7089 | 45 | 38.759
11303.0632 | 1.44 | 24.6082 | 56.5141 | 43.7753 | 64.624 | 89.4828 | 12.2988 | 21.5666 | 86.3772 | 25 | 48.7309 | 1.5 | 0 | 45 | 39.2711
11306.2748 | 1.4684 | 25.2887 | 56.0991 | 41.4734 | 64.5833 | 89.3082 | 12.2892 | 21.6147 | 86.3724 | 25 | 48.4259 | 1.5 | 1.4286 | 45 | 39.6017
11312.4167 | 1.5368 | 24.8334 | 55.4229 | 42.1342 | 64.2633 | 89.9103 | 12.2256 | 21.6988 | 86.3723 | 25 | 48.2331 | 1.5 | 12.9063 | 45 | 39.1996
11316.5998 | 1.5554 | 24.8581 | 56.0899 | 44.5774 | 64.3837 | 88.724 | 12.3435 | 21.7854 | 86.372 | 25 | 48.6337 | 1.5 | 70.96 | 45 | 38.238
11322.7878 | 1.5428 | 25.1982 | 54.8543 | 43.2221 | 64.7187 | 90.139 | 12.2123 | 21.6895 | 86.3749 | 25 | 47.853 | 1.5 | 100 | 45 | 39.2099
11326.4027 | 1.493 | 24.3456 | 55.1648 | 44.7249 | 64.5265 | 89.7514 | 12.3244 | 21.5713 | 86.3766 | 25 | 48.8216 | 1.5 | 91.8739 | 45 | 38.5326
11334.0479 | 1.4297 | 25.4438 | 56.7784 | 43.7814 | 64.9652 | 89.3157 | 12.2254 | 21.6115 | 86.3704 | 25 | 47.9959 | 1.5 | 0 | 45 | 39.014
11341.4798 | 1.4926 | 24.4408 | 56.3481 | 42.5429 | 63.9453 | 88.5643 | 12.2941 | 21.698 | 86.3833 | 25 | 48.9763 | 1.5 | 2.1974 | 45 | 39.4089
11342.0264 | 1.5038 | 24.4432 | 56.2006 | 42.1588 | 64.115 | 89.0492 | 12.2035 | 21.5871 | 86.3802 | 25 | 49.0805 | 1.5 | 3.4214 | 45 | 39.7366
11358.2368 | 1.4 | 25.2896 | 56.5325 | 44.4729 | 64.4669 | 89.4284 | 12.2716 | 21.509 | 86.3709 | 25 | 48.4459 | 1.5 | 52.7301 | 45 | 38.5686
11366.3928 | 1.4931 | 24.3815 | 55.1986 | 43.5939 | 64.4091 | 89.9606 | 12.3297 | 21.6093 | 86.3803 | 25 | 48.801 | 1.5 | 0 | 45 | 38.7682
11374.8579 | 1.5507 | 25.2763 | 55.0971 | 42.8871 | 64.195 | 89.8612 | 12.2996 | 21.5938 | 86.3761 | 25 | 47.9268 | 1.5 | 72.3431 | 45 | 39.3172
11381.376 | 1.4895 | 25.1859 | 55.5828 | 44.5589 | 64.0522 | 89.0056 | 12.2144 | 21.6002 | 86.3811 | 25 | 48.5553 | 1.5 | 94.7989 | 45 | 38.6732
11395.2208 | 1.4513 | 25.4101 | 56.763 | 42.7949 | 64.3852 | 88.7447 | 12.3804 | 21.5861 | 86.3731 | 25 | 48.3055 | 1.5 | 0 | 45 | 39.5592
11399.6748 | 1.5363 | 24.949 | 54.7314 | 43.7599 | 64.2771 | 89.8639 | 12.2435 | 21.6716 | 86.376 | 25 | 48.0489 | 1.5 | 26.446 | 45 | 39.0456
11402.1068 | 1.5237 | 24.4835 | 55.3062 | 42.3032 | 64.6674 | 89.7544 | 12.2972 | 21.7044 | 86.3788 | 25 | 48.613 | 1.5 | 42.864 | 45 | 39.492
11407.6188 | 1.5025 | 25.5326 | 56.2436 | 44.1164 | 64.616 | 89.2238 | 12.3106 | 21.6971 | 86.3796 | 25 | 48.325 | 1.5 | 84.246 | 45 | 38.9815
11409.7948 | 1.5225 | 25.5927 | 54.6392 | 44.6204 | 64.6616 | 89.6914 | 12.3168 | 21.6449 | 86.3721 | 25 | 47.8526 | 1.5 | 90.252 | 45 | 38.7869
11411.649 | 1.5344 | 25.119 | 53.6833 | 43.0408 | 65.0117 | 89.9278 | 12.2635 | 21.7048 | 86.3699 | 25 | 47.9256 | 1.5 | 99.9497 | 45 | 38.7331
11412.2237 | 1.4894 | 25.1323 | 55.2631 | 42.7058 | 65.1405 | 90.2865 | 12.4043 | 21.6666 | 86.3694 | 25 | 47.8927 | 1.5 | 98.9774 | 45 | 38.9046
11421.9548 | 1.4395 | 25.569 | 55.6227 | 43.0899 | 65.0713 | 89.6026 | 12.2857 | 21.6546 | 86.3731 | 25 | 47.8212 | 1.5 | 0 | 45 | 39.7856
11427.0338 | 1.5526 | 24.2524 | 54.3656 | 42.589 | 64.6492 | 89.2939 | 12.3705 | 21.678 | 86.3744 | 25 | 48.8974 | 1.5 | 25.4889 | 45 | 39.253
11436.3068 | 1.5141 | 24.9247 | 54.3841 | 43.4464 | 64.5458 | 89.9446 | 12.2952 | 21.6817 | 86.3723 | 25 | 47.9509 | 1.5 | 98.8653 | 45 | 38.9233
11445.1543 | 1.4235 | 25.4801 | 54.4916 | 44.6972 | 65.0619 | 89.4599 | 12.3352 | 21.7557 | 86.3829 | 25 | 48.1218 | 1.5 | 0.36849 | 45 | 38.6984
11452.6968 | 1.528 | 24.36 | 53.5665 | 43.1268 | 64.5086 | 89.5679 | 12.2773 | 21.7794 | 86.3809 | 25 | 48.9505 | 1.5 | 8.7178 | 45 | 38.9089
11457.204 | 1.519 | 25.4569 | 56.3143 | 43.6769 | 64.3268 | 89.2632 | 12.3231 | 21.7396 | 86.3771 | 25 | 48.3256 | 1.5 | 49.9526 | 45 | 38.8635
11463.0379 | 1.4841 | 24.572 | 56.302 | 42.9916 | 64.5728 | 90.1446 | 12.3381 | 21.7135 | 86.3789 | 25 | 48.6727 | 1.5 | 86.5602 | 45 | 38.8832
11475.4737 | 1.4684 | 24.509 | 55.5705 | 43.1698 | 64.5675 | 90.1852 | 12.348 | 21.6925 | 86.3775 | 25 | 48.5551 | 1.5 | 0.92876 | 45 | 39.1972
11477.6788 | 1.5105 | 24.4057 | 54.5685 | 44.6603 | 64.6025 | 89.1164 | 12.2486 | 21.6991 | 86.3773 | 25 | 49.0676 | 1.5 | 2.3402 | 45 | 38.2486
11478.3304 | 1.4891 | 24.8981 | 55.466 | 43.9965 | 64.7254 | 88.9902 | 12.209 | 21.6777 | 86.3785 | 25 | 48.7649 | 1.5 | 1.2463 | 45 | 38.7235
11492.2333 | 1.4832 | 25.3601 | 55.6934 | 43.9597 | 64.9982 | 89.4221 | 12.3553 | 21.7588 | 86.3703 | 25 | 48.4061 | 1.5 | 97.0719 | 45 | 39.1688
11496.0898 | 1.4699 | 25.2928 | 54.673 | 44.6081 | 64.5232 | 90.6218 | 12.2782 | 21.7233 | 86.3751 | 25 | 47.9421 | 1.5 | 80.833 | 45 | 38.2391
11496.6808 | 1.4759 | 25.2947 | 54.0982 | 44.7894 | 64.8014 | 90.2988 | 12.3136 | 21.6668 | 86.3819 | 25 | 47.8811 | 1.5 | 77.1404 | 45 | 39.1583
11500.2658 | 1.4028 | 24.3056 | 55.0449 | 42.1803 | 64.5484 | 90.2708 | 12.2884 | 21.6764 | 86.3718 | 25 | 48.8379 | 1.5 | 0 | 45 | 39.8399
11501.0505 | 1.4018 | 24.405 | 55.9024 | 42.1926 | 64.8856 | 89.6294 | 12.2987 | 21.8922 | 86.3796 | 25 | 48.9427 | 1.5 | 0 | 45 | 39.4253
11508.397 | 1.507 | 25.4173 | 54.172 | 42.9455 | 64.2526 | 89.4399 | 12.2716 | 21.7938 | 86.3735 | 25 | 48.1105 | 1.5 | 2.4391 | 45 | 39.1914
11527.8778 | 1.447 | 24.2538 | 54.9097 | 42.0051 | 64.5988 | 89.9988 | 12.3976 | 21.7947 | 86.3752 | 25 | 48.902 | 1.5 | 62.899 | 45 | 39.7057
11534.849 | 1.4399 | 25.2415 | 55.5643 | 42.7396 | 64.3882 | 89.5009 | 12.3416 | 21.717 | 86.3781 | 25 | 48.3036 | 1.5 | 0 | 45 | 39.6506
11549.1168 | 1.5661 | 25.4674 | 55.1371 | 43.9474 | 65.0427 | 89.2365 | 12.1761 | 21.7854 | 86.3786 | 25 | 47.8657 | 1.5 | 99.2696 | 45 | 38.6785
11551.5699 | 1.5706 | 24.7915 | 54.9681 | 42.1495 | 64.7651 | 90.2497 | 12.2737 | 21.7087 | 86.3768 | 25 | 48.2292 | 1.5 | 100 | 45 | 39.6145
11556.5868 | 1.443 | 25.0135 | 54.0706 | 44.2977 | 65.0723 | 89.5348 | 12.3548 | 21.7242 | 86.3772 | 25 | 48.7181 | 1.5 | 80.7289 | 45 | 38.7501
11557.5138 | 1.4194 | 25.2383 | 56.1545 | 42.7058 | 64.997 | 89.1155 | 12.3474 | 21.7441 | 86.3747 | 25 | 48.52 | 1.5 | 64.4717 | 45 | 39.918
11573.3108 | 1.5522 | 25.1909 | 55.9793 | 42.4692 | 64.7457 | 89.4077 | 12.271 | 21.7657 | 86.3806 | 25 | 48.6122 | 1.5 | 53.3861 | 45 | 39.7949
11586.1844 | 1.424 | 24.5341 | 56.0623 | 43.8367 | 64.6925 | 89.4666 | 12.2741 | 21.8247 | 86.3749 | 25 | 48.8693 | 1.5 | 44.9826 | 45 | 39.3298
11588.9348 | 1.401 | 25.1926 | 55.6258 | 43.0684 | 65.3228 | 89.4678 | 12.3046 | 21.8134 | 86.3735 | 25 | 48.5012 | 1.5 | 0.015648 | 45 | 39.8798
11590.0878 | 1.4118 | 25.4152 | 56.0991 | 43.8367 | 64.7063 | 89.7203 | 12.3986 | 21.7405 | 86.3746 | 25 | 48.206 | 1.5 | 0 | 45 | 39.0996
11593.2008 | 1.4503 | 25.4139 | 55.7887 | 42.463 | 64.9633 | 89.8006 | 12.3109 | 21.7591 | 86.379 | 25 | 47.7418 | 1.5 | 0 | 45 | 39.6374
11600.5788 | 1.5409 | 25.0745 | 55.8686 | 44.0303 | 64.0973 | 88.9837 | 12.2781 | 21.7768 | 86.3762 | 25 | 48.6329 | 1.5 | 20.7695 | 45 | 38.7055
11604.9984 | 1.5885 | 25.5296 | 53.1362 | 44.6265 | 65.2934 | 89.2332 | 12.2122 | 21.8403 | 86.3741 | 25 | 47.7786 | 1.5 | 99.2926 | 45 | 38.4331
11609.3818 | 1.5206 | 24.581 | 54.0613 | 42.2694 | 65.0029 | 90.088 | 12.2808 | 21.8876 | 86.3751 | 25 | 48.3062 | 1.5 | 100 | 45 | 39.3477
11610.0218 | 1.5087 | 24.298 | 54.59 | 43.0531 | 64.9553 | 90.1919 | 12.3187 | 21.868 | 86.3742 | 25 | 48.664 | 1.5 | 98.819 | 45 | 39.1288
11616.6088 | 1.4538 | 25.4673 | 55.5121 | 42.3155 | 64.488 | 89.0756 | 12.2176 | 21.804 | 86.3725 | 25 | 48.2735 | 1.5 | 57.7122 | 45 | 39.4597
11624.864 | 1.4782 | 24.4468 | 53.9753 | 42.9609 | 64.5024 | 89.4198 | 12.3277 | 21.7722 | 86.376 | 25 | 48.6466 | 1.5 | 0.83547 | 45 | 39.4925
11629.1633 | 1.5215 | 25.2087 | 55.2785 | 43.3481 | 64.7826 | 89.3825 | 12.2868 | 21.7071 | 86.375 | 25 | 48.505 | 1.5 | 4.6726 | 45 | 39.2729
11643.5498 | 1.5071 | 25.1669 | 55.5889 | 42.2448 | 64.3154 | 89.3131 | 12.1782 | 21.7605 | 86.3707 | 25 | 48.6231 | 1.5 | 99.1229 | 45 | 39.9046
11651.1518 | 1.4308 | 25.2862 | 54.212 | 44.1102 | 65.3396 | 89.4461 | 12.291 | 21.7955 | 86.3634 | 25 | 47.9377 | 1.5 | 11.9348 | 45 | 39.2224
11652.208 | 1.4067 | 25.2999 | 56.9413 | 43.9658 | 64.9181 | 90.4126 | 12.2096 | 21.8722 | 86.3707 | 25 | 47.8336 | 1.5 | 0 | 45 | 38.9239
11658.8533 | 1.4907 | 25.1125 | 55.0172 | 44.5866 | 64.8274 | 89.2089 | 12.2834 | 21.7525 | 86.3717 | 25 | 48.7466 | 1.5 | 1.3577 | 45 | 38.6727
11660.1299 | 1.4915 | 25.438 | 55.509 | 44.3499 | 64.5398 | 89.227 | 12.2556 | 21.7782 | 86.3695 | 25 | 48.409 | 1.5 | 1.0126 | 45 | 38.5267
11672.2534 | 1.4975 | 24.8146 | 56.8091 | 42.6597 | 64.9423 | 89.3946 | 12.354 | 21.8762 | 86.3687 | 25 | 48.8668 | 1.5 | 97.1094 | 45 | 39.7778
11673.8098 | 1.4861 | 25.0893 | 55.9977 | 41.8084 | 64.7176 | 89.0718 | 12.2609 | 21.7619 | 86.3698 | 25 | 48.6519 | 1.5 | 91.7321 | 45 | 39.7812
11680.9909 | 1.4153 | 24.7122 | 56.428 | 43.5786 | 65.0286 | 90.3215 | 12.3102 | 21.765 | 86.3675 | 25 | 48.4484 | 1.5 | 5.0468 | 45 | 39.1414
11683.9298 | 1.4746 | 24.826 | 55.6012 | 42.9885 | 64.656 | 89.3951 | 12.3054 | 21.778 | 86.3712 | 25 | 48.7536 | 1.5 | 0.89673 | 45 | 39.3524
11697.1365 | 1.5319 | 25.2444 | 55.2232 | 44.4975 | 64.5494 | 89.1853 | 12.3447 | 21.7007 | 86.3698 | 25 | 48.5992 | 1.5 | 78.893 | 45 | 38.4478
11709.4888 | 1.4078 | 25.1909 | 56.8921 | 43.5356 | 64.9725 | 89.781 | 12.2858 | 21.8013 | 86.372 | 25 | 48.6348 | 1.5 | 13.0361 | 45 | 39.1338
11711.4348 | 1.4306 | 25.5266 | 54.7345 | 45.1367 | 65.2792 | 89.6865 | 12.2542 | 21.8107 | 86.3736 | 25 | 48.1151 | 1.5 | 0 | 45 | 38.6352
11712.4533 | 1.4394 | 25.5311 | 55.7272 | 43.9689 | 65.084 | 89.5679 | 12.3214 | 21.763 | 86.37 | 25 | 47.9386 | 1.5 | 0 | 45 | 38.6138
11723.7433 | 1.5433 | 25.239 | 54.5101 | 43.9043 | 63.8125 | 88.8511 | 12.3386 | 21.8017 | 86.3721 | 25 | 48.4043 | 1.5 | 42.4172 | 45 | 38.5548
11732.0888 | 1.505 | 24.7914 | 56.4926 | 43.5817 | 64.0878 | 88.8617 | 12.3378 | 21.7899 | 86.3829 | 25 | 48.8301 | 1.5 | 98.1742 | 45 | 38.9563
11746.4158 | 1.4717 | 25.026 | 55.8686 | 41.873 | 64.4521 | 88.9648 | 12.3551 | 21.7437 | 86.3749 | 25 | 48.7632 | 1.5 | 1.3015 | 45 | 40
11752.5388 | 1.5277 | 25.1454 | 56.9014 | 42.5736 | 64.4939 | 89.6063 | 12.3121 | 21.7453 | 86.3753 | 25 | 48.1731 | 1.5 | 28.7934 | 45 | 39.4158
11777.2058 | 1.4736 | 25.2197 | 57.1626 | 43.8367 | 64.4 | 89.4797 | 12.1907 | 21.7284 | 86.3793 | 25 | 48.18 | 1.5 | 0.43441 | 45 | 39.5362
11783.4679 | 1.5683 | 24.4839 | 55.3984 | 44.5774 | 64.106 | 89.3643 | 12.1642 | 21.7584 | 86.3679 | 25 | 48.8429 | 1.5 | 66.9278 | 45 | 38.643
11788.4376 | 1.523 | 25.5488 | 55.174 | 42.3247 | 64.7422 | 88.4216 | 12.2444 | 21.7104 | 86.3734 | 25 | 48.0846 | 1.5 | 99.4659 | 45 | 39.1119
11797.7459 | 1.4526 | 24.8073 | 57.2579 | 43.1545 | 64.7311 | 88.8617 | 12.3286 | 21.6144 | 86.3751 | 25 | 48.6407 | 1.5 | 0.044142 | 45 | 39.5157
11810.2148 | 1.5608 | 24.6104 | 55.3676 | 44.0672 | 64.4588 | 88.8221 | 12.2936 | 21.7732 | 86.3593 | 25 | 49.1354 | 1.5 | 52.9894 | 45 | 38.9829
11814.3058 | 1.527 | 25.5361 | 56.4465 | 44.9277 | 64.1052 | 89.0556 | 12.2629 | 21.6823 | 86.3654 | 25 | 47.9128 | 1.5 | 97.1311 | 45 | 38.1169
11820.5358 | 1.4586 | 24.7545 | 55.9301 | 42.38 | 65.074 | 89.0766 | 12.1593 | 21.7174 | 86.3738 | 25 | 48.8758 | 1.5 | 72.5018 | 45 | 39.4127
11832.7788 | 1.5441 | 24.4869 | 56.5417 | 41.5318 | 64.479 | 88.9822 | 12.2233 | 21.7441 | 86.3646 | 25 | 49.0538 | 1.5 | 13.9524 | 45 | 40
11849.1868 | 1.4321 | 25.0641 | 56.8153 | 42.9209 | 64.5844 | 89.7105 | 12.3192 | 21.6954 | 86.3709 | 25 | 48.6384 | 1.5 | 64.8569 | 45 | 39.4084
11853.416 | 1.4096 | 25.2039 | 56.1145 | 44.98 | 64.5965 | 90.57 | 12.281 | 21.7353 | 86.3646 | 25 | 48.1282 | 1.5 | 0.25301 | 45 | 38.416
11855.7788 | 1.4223 | 24.584 | 56.5663 | 44.3254 | 64.4058 | 90.2889 | 12.2297 | 21.7549 | 86.3687 | 25 | 48.5992 | 1.5 | 0 | 45 | 38.7477
11856.7195 | 1.4227 | 24.4776 | 56.8645 | 44.3838 | 64.2322 | 90.4883 | 12.2553 | 21.7362 | 86.3716 | 25 | 48.8153 | 1.5 | 0 | 45 | 38.908
11859.9433 | 1.5051 | 25.0787 | 55.2385 | 43.975 | 64.0598 | 88.9861 | 12.2799 | 21.6742 | 86.3621 | 25 | 48.8286 | 1.5 | 2.0094 | 45 | 39.1466
11865.8558 | 1.5167 | 25.143 | 58.0232 | 43.7199 | 64.1672 | 90.3317 | 12.2394 | 21.7497 | 86.3663 | 25 | 47.9165 | 1.5 | 26.4514 | 45 | 38.8668
11868.1154 | 1.5667 | 24.5699 | 55.2078 | 43.4833 | 63.7789 | 89.6068 | 12.2671 | 21.7656 | 86.3654 | 25 | 48.3932 | 1.5 | 53.9898 | 45 | 39.2671
11875.0818 | 1.522 | 25.4916 | 55.4783 | 44.9861 | 65.0335 | 89.0118 | 12.2371 | 21.8316 | 86.3628 | 25 | 48.1267 | 1.5 | 99.5143 | 45 | 38.355
11881.7948 | 1.4023 | 24.5602 | 57.5837 | 43.9136 | 65.176 | 89.8953 | 12.2489 | 21.9112 | 86.3642 | 25 | 48.677 | 1.5 | 33.8683 | 45 | 39.0779
11892.6298 | 1.5167 | 24.713 | 55.3676 | 43.5939 | 65.115 | 90.3693 | 12.3542 | 21.688 | 86.3671 | 25 | 48.4717 | 1.5 | 3.1421 | 45 | 39.1901
11896.5138 | 1.5745 | 24.9626 | 55.7979 | 43.259 | 64.5497 | 89.1989 | 12.3312 | 21.7809 | 86.3683 | 25 | 48.7487 | 1.5 | 47.4011 | 45 | 38.8079
11906.4018 | 1.4885 | 24.3795 | 55.1494 | 44.5804 | 64.7359 | 89.3394 | 12.321 | 21.6702 | 86.373 | 25 | 49.0449 | 1.5 | 91.0738 | 45 | 38.6139
11928.4089 | 1.5862 | 24.7601 | 54.8758 | 43.3296 | 64.6811 | 89.7162 | 12.2909 | 21.7825 | 86.3716 | 25 | 48.4528 | 1.5 | 74.8268 | 45 | 39.4991
11931.6858 | 1.553 | 24.7085 | 56.6862 | 41.9068 | 64.092 | 88.873 | 12.4296 | 21.7503 | 86.376 | 25 | 48.8508 | 1.5 | 98.8637 | 45 | 39.8236
11937.6407 | 1.4773 | 25.3577 | 54.9097 | 44.5251 | 64.8129 | 90.003 | 12.4663 | 21.8765 | 86.372 | 25 | 47.8966 | 1.5 | 79.7724 | 45 | 38.2005
11938.1832 | 1.423 | 25.1255 | 57.6882 | 43.975 | 64.8423 | 90.1846 | 12.3162 | 21.9353 | 86.3715 | 25 | 47.9991 | 1.5 | 70.8891 | 45 | 39.1255
11939.7908 | 1.453 | 24.8619 | 56.7262 | 42.0789 | 64.7369 | 89.9312 | 12.3229 | 21.8089 | 86.3687 | 25 | 48.1935 | 1.5 | 53.8677 | 45 | 39.6447
11946.0285 | 1.428 | 24.9086 | 56.4803 | 42.0451 | 64.6774 | 89.4156 | 12.2617 | 21.9131 | 86.3712 | 25 | 49.0797 | 1.5 | 0.38876 | 45 | 39.8465
11950.2218 | 1.5 | 25.2676 | 56.7415 | 42.9547 | 64.4212 | 89.295 | 12.2187 | 21.776 | 86.3689 | 25 | 48.4103 | 1.5 | 2.5606 | 45 | 39.4066
11956.7898 | 1.5658 | 25.0394 | 55.0387 | 43.2282 | 64.1762 | 89.8913 | 12.2607 | 21.6515 | 86.3634 | 25 | 48.0717 | 1.5 | 50.6956 | 45 | 39.1803
11966.6765 | 1.4845 | 25.4078 | 54.8851 | 44.9185 | 64.3253 | 88.868 | 12.1964 | 21.7473 | 86.3636 | 25 | 48.225 | 1.5 | 83.3325 | 45 | 38.3666
11979.0848 | 1.4846 | 25.4061 | 56.1268 | 45.0045 | 63.9541 | 88.4615 | 12.3027 | 21.6707 | 86.3714 | 25 | 48.0961 | 1.5 | 1.2408 | 45 | 38.4543
11985.1397 | 1.529 | 24.6109 | 57.1196 | 42.1373 | 64.0373 | 88.8736 | 12.3281 | 21.7119 | 86.3687 | 25 | 48.7233 | 1.5 | 33.6066 | 45 | 39.7629
11991.0733 | 1.5378 | 25.6209 | 57.6482 | 43.9105 | 64.5655 | 89.4756 | 12.2161 | 21.7106 | 86.3688 | 25 | 47.6955 | 1.5 | 98.7305 | 45 | 39.5198
11993.4088 | 1.5571 | 25.2343 | 56.7446 | 41.8269 | 64.5173 | 89.9166 | 12.333 | 21.7548 | 86.3658 | 25 | 47.6912 | 1.5 | 99.4867 | 45 | 39.9894
11999.5008 | 1.4793 | 24.7894 | 54.7037 | 43.262 | 64.7227 | 88.6846 | 12.3251 | 21.6698 | 86.369 | 25 | 48.8775 | 1.5 | 59.8008 | 45 | 39.1682
12005.5088 | 1.4269 | 25.1672 | 56.1422 | 44.854 | 64.8937 | 90.1494 | 12.3125 | 21.8715 | 86.3752 | 25 | 48.088 | 1.5 | 0 | 45 | 38.6639
12007.9068 | 1.4396 | 24.6857 | 57.0366 | 42.5122 | 64.6489 | 90.164 | 12.3731 | 21.7871 | 86.3723 | 25 | 48.3863 | 1.5 | 0.08018 | 45 | 39.6199
12021.3934 | 1.5371 | 24.5599 | 55.6043 | 44.8048 | 64.3098 | 89.0592 | 12.2652 | 21.7949 | 86.3753 | 25 | 48.8572 | 1.5 | 92.5577 | 45 | 38.4064
12030.1718 | 1.4638 | 24.8879 | 54.8205 | 42.6413 | 64.5266 | 90.1053 | 12.4041 | 21.7231 | 86.3736 | 25 | 47.9418 | 1.5 | 59.752 | 45 | 39.4912
12041.0518 | 1.5166 | 25.3562 | 55.7395 | 45.0138 | 64.6799 | 90.2564 | 12.2498 | 21.7823 | 86.3698 | 25 | 47.8018 | 1.5 | 4.9847 | 45 | 38.5513
12049.2088 | 1.5636 | 25.1817 | 55.3123 | 42.881 | 65.1038 | 88.8294 | 12.2962 | 21.7564 | 86.3694 | 25 | 48.6918 | 1.5 | 72.9865 | 45 | 39.5268
12058.7594 | 1.451 | 24.3293 | 57.0151 | 43.3696 | 64.8613 | 89.5831 | 12.3323 | 21.7627 | 86.3693 | 25 | 49.0241 | 1.5 | 68.0571 | 45 | 39.2643
12071.6197 | 1.5177 | 24.3898 | 56.2344 | 42.6105 | 63.9156 | 88.9424 | 12.2923 | 21.7918 | 86.37 | 25 | 48.9197 | 1.5 | 15.0034 | 45 | 39.6637
12077.5268 | 1.529 | 25.4943 | 55.6043 | 42.7027 | 64.5288 | 88.4536 | 12.276 | 21.6974 | 86.3681 | 25 | 48.1403 | 1.5 | 66.337 | 45 | 39.5528
12085.4233 | 1.4841 | 24.7559 | 56.093 | 42.3647 | 64.7701 | 88.9843 | 12.3411 | 21.717 | 86.372 | 25 | 48.7859 | 1.5 | 75.0582 | 45 | 39.5763
12092.9407 | 1.4448 | 24.8385 | 55.0695 | 45.1244 | 64.6017 | 90.1612 | 12.2824 | 21.7082 | 86.37 | 25 | 48.1453 | 1.5 | 0 | 45 | 38.5885
12093.7878 | 1.4372 | 24.6309 | 56.1452 | 44.8447 | 64.7784 | 89.9718 | 12.3295 | 21.783 | 86.3714 | 25 | 48.3462 | 1.5 | 0 | 45 | 38.801
12100.0458 | 1.5155 | 25.3158 | 53.8616 | 44.0887 | 64.5095 | 88.9078 | 12.3648 | 21.7912 | 86.3704 | 25 | 48.3483 | 1.5 | 5.1168 | 45 | 38.9242
12103.6298 | 1.5267 | 25.3636 | 57.0028 | 43.9904 | 64.0895 | 89.0729 | 12.3579 | 21.8275 | 86.3688 | 25 | 47.881 | 1.5 | 23.7289 | 45 | 39.2966
12104.1608 | 1.5526 | 25.1386 | 54.3257 | 44.1225 | 64.0242 | 89.2187 | 12.387 | 21.7812 | 86.3716 | 25 | 47.9989 | 1.5 | 30.8559 | 45 | 38.6704
12110.4118 | 1.5132 | 24.5007 | 56.6616 | 43.1268 | 64.4102 | 88.3462 | 12.2715 | 21.807 | 86.3709 | 25 | 49.065 | 1.5 | 97.6357 | 45 | 39.1796
12125.9879 | 1.4478 | 25.2254 | 56.0838 | 44.4667 | 64.2191 | 89.053 | 12.3698 | 21.8195 | 86.3645 | 25 | 48.3959 | 1.5 | 0 | 45 | 39.0051
12131.1058 | 1.5172 | 24.8512 | 55.8778 | 43.2836 | 64.6436 | 90.102 | 12.3498 | 21.7903 | 86.3713 | 25 | 48.2369 | 1.5 | 5.1711 | 45 | 39.2314
12131.6789 | 1.5056 | 24.8396 | 55.0418 | 44.5897 | 64.6229 | 89.9281 | 12.4058 | 21.7481 | 86.3721 | 25 | 48.2726 | 1.5 | 5.4786 | 45 | 38.6736
12132.8938 | 1.5369 | 24.8408 | 56.053 | 42.4415 | 64.6984 | 89.5862 | 12.3863 | 21.8094 | 86.3763 | 25 | 48.3385 | 1.5 | 12.553 | 45 | 40
12141.1898 | 1.5449 | 25.1875 | 54.6361 | 42.8656 | 64.9104 | 89.5744 | 12.2851 | 21.8837 | 86.3727 | 25 | 48.2986 | 1.5 | 99.7773 | 45 | 39.3724
12151.3689 | 1.4286 | 24.9387 | 54.3441 | 44.2916 | 64.7167 | 89.0683 | 12.4031 | 21.7866 | 86.3744 | 25 | 48.7217 | 1.5 | 0.28381 | 45 | 39.2772
12165.5634 | 1.5219 | 25.3655 | 55.0695 | 43.9136 | 64.2158 | 88.5355 | 12.2535 | 21.7703 | 86.3645 | 25 | 48.4282 | 1.5 | 89.0526 | 45 | 38.7277
12171.9739 | 1.4376 | 24.7716 | 56.4065 | 42.1987 | 64.4038 | 89.8384 | 12.3945 | 21.7593 | 86.3695 | 25 | 48.2867 | 1.5 | 74.5807 | 45 | 39.8758
12180.4477 | 1.4566 | 25.4501 | 55.9209 | 45.4225 | 64.6702 | 89.4311 | 12.3171 | 21.6925 | 86.3678 | 25 | 48.0509 | 1.5 | 0.32951 | 45 | 38.821
12181.3134 | 1.4747 | 25.4426 | 55.6043 | 44.8201 | 64.4957 | 89.4933 | 12.3067 | 21.7304 | 86.3673 | 25 | 47.9232 | 1.5 | 1.0874 | 45 | 38.6537
12186.7177 | 1.5325 | 24.5585 | 56.3512 | 43.64 | 64.5061 | 89.4602 | 12.3472 | 21.6771 | 86.367 | 25 | 48.6357 | 1.5 | 25.2896 | 45 | 39.0588
12190.5948 | 1.556 | 25.1611 | 55.217 | 44.4391 | 64.5264 | 88.7661 | 12.4325 | 21.7136 | 86.3596 | 25 | 48.5097 | 1.5 | 76.1556 | 45 | 38.984
12192.8044 | 1.5387 | 25.3254 | 56.7815 | 42.7027 | 64.4605 | 89.1689 | 12.2153 | 21.7511 | 86.3657 | 25 | 48.1889 | 1.5 | 98.543 | 45 | 39.6262
12193.3988 | 1.5349 | 25.321 | 56.4772 | 44.3008 | 64.3216 | 88.8533 | 12.4069 | 21.7831 | 86.3649 | 25 | 48.1269 | 1.5 | 98.3913 | 45 | 38.7735
12198.7726 | 1.454 | 24.4738 | 55.632 | 44.1932 | 64.4047 | 88.8196 | 12.3699 | 21.7448 | 86.3669 | 25 | 48.9194 | 1.5 | 86.5432 | 45 | 38.7748
12212.5198 | 1.506 | 24.6998 | 56.5325 | 43.7353 | 64.4618 | 89.0062 | 12.2595 | 21.9074 | 86.3677 | 25 | 48.8736 | 1.5 | 10.9802 | 45 | 39.5742
12229.3188 | 1.4504 | 25.5886 | 54.9896 | 42.9762 | 64.6806 | 88.731 | 12.4017 | 21.7798 | 86.363 | 25 | 48.0169 | 1.5 | 45.1569 | 45 | 39.5432
12236.6843 | 1.4744 | 24.6466 | 54.8359 | 42.1833 | 64.8908 | 89.2153 | 12.2425 | 21.7775 | 86.371 | 25 | 48.7653 | 1.5 | 0.82588 | 45 | 39.8906
12241.4839 | 1.535 | 25.4286 | 53.7509 | 44.2485 | 64.1486 | 88.9928 | 12.3966 | 21.7401 | 86.3756 | 25 | 48.0112 | 1.5 | 6.2676 | 45 | 39.3771
12243.6933 | 1.5281 | 25.0274 | 56.0377 | 43.8798 | 64.1043 | 89.4499 | 12.2069 | 21.942 | 86.367 | 25 | 48.0336 | 1.5 | 25.5207 | 45 | 38.785
12244.2633 | 1.5578 | 25.0207 | 54.2365 | 43.1791 | 64.2949 | 89.8144 | 12.2884 | 21.7758 | 86.3734 | 25 | 48.0202 | 1.5 | 33.1679 | 45 | 39.6121
12245.9159 | 1.535 | 24.4545 | 55.8471 | 42.5583 | 64.2584 | 89.7818 | 12.2417 | 21.8761 | 86.3726 | 25 | 48.597 | 1.5 | 49.2943 | 45 | 39.9386
12251.9558 | 1.5114 | 25.5547 | 55.3738 | 42.2755 | 64.2481 | 88.6342 | 12.179 | 21.8803 | 86.3654 | 25 | 48.2504 | 1.5 | 99.2913 | 45 | 39.8525
12252.6718 | 1.4902 | 25.601 | 56.4895 | 42.629 | 64.4033 | 88.6226 | 12.3557 | 21.8219 | 86.3675 | 25 | 48.0813 | 1.5 | 97.7399 | 45 | 39.4544
12255.7827 | 1.4647 | 25.0772 | 56.3143 | 41.0094 | 64.6556 | 89.6864 | 12.2749 | 21.797 | 86.3691 | 25 | 47.9158 | 1.5 | 90.6506 | 45 | 40
12264.082 | 1.4109 | 25.2686 | 56.2036 | 43.1545 | 64.812 | 89.96 | 12.2566 | 21.7826 | 86.3718 | 25 | 48.6656 | 1.5 | 0 | 45 | 39.0075
12270.2408 | 1.4871 | 25.216 | 54.633 | 43.1176 | 64.5513 | 89.7899 | 12.2744 | 21.8242 | 86.3747 | 25 | 48.0762 | 1.5 | 1.308 | 45 | 39.3788
12276.4208 | 1.5437 | 24.5781 | 54.7222 | 44.6358 | 64.1554 | 88.6187 | 12.3272 | 21.8631 | 86.3598 | 25 | 48.8569 | 1.5 | 29.352 | 45 | 38.6266
12280.7768 | 1.5326 | 25.3408 | 55.5705 | 44.9615 | 64.1061 | 89.0863 | 12.2701 | 21.943 | 86.3671 | 25 | 48.1683 | 1.5 | 69.69 | 45 | 38.5756
12283.4098 | 1.5578 | 25.1907 | 54.3134 | 42.8287 | 64.386 | 89.9085 | 12.2313 | 21.8402 | 86.3636 | 25 | 48.0146 | 1.5 | 99.6047 | 45 | 39.5247
12293.5283 | 1.4265 | 25.4214 | 54.0921 | 43.8613 | 65.3722 | 88.9946 | 12.1631 | 21.8631 | 86.3683 | 25 | 48.2678 | 1.5 | 48.4504 | 45 | 38.8311
12295.0768 | 1.4267 | 25.3882 | 56.259 | 42.798 | 65.2746 | 89.1339 | 12.2866 | 21.7726 | 86.3676 | 25 | 48.0886 | 1.5 | 20.5651 | 45 | 39.4584
12307.2139 | 1.5286 | 25.5407 | 54.1843 | 44.479 | 64.2432 | 89.1698 | 12.2599 | 21.8689 | 86.3697 | 25 | 47.7409 | 1.5 | 9.7911 | 45 | 38.6935
12309.5419 | 1.5709 | 24.9081 | 54.63 | 44.3622 | 64.5279 | 90.0179 | 12.2503 | 21.9006 | 86.3763 | 25 | 48.0177 | 1.5 | 41.9006 | 45 | 38.9218
12327.6379 | 1.4345 | 24.9626 | 56.1698 | 42.3462 | 65.068 | 88.9906 | 12.3922 | 21.9375 | 86.3685 | 25 | 48.8818 | 1.5 | 3.1643 | 45 | 39.7534
12344.0208 | 1.5017 | 25.5038 | 54.2888 | 43.4311 | 64.4963 | 88.6644 | 12.2886 | 21.829 | 86.3757 | 25 | 48.0772 | 1.5 | 66.1481 | 45 | 39.1694