## data
Time (sec) | Water Level (ft) | Water Flowrate (GPM) | House Steam Pressure (psig) | Steam Pressure (psig) | Inlet Water Temperature (C) | Outlet Water Temperature (C) | Water Feed Temperature (C) | Ambient Temperature (C) | Ambient Pressure (kPa) | Flow Setpoint (GPM) | Flow Control Output (%) | Level Setpoint (ft) | Level Control Output (%) | Steam Setpoint (psig) | Steam Control Output (%)
3291556.212 | 1.5054 | 29.0544 | 56.7692 | 44.7986 | 66.8174 | 88.2083 | 12.3501 | 21.8729 | 85.9587 | 30 | 55.394 | 1.5 | 11.0806 | 45 | 39.0253
3291561.7109 | 1.5473 | 30.8451 | 56.1237 | 45.0752 | 66.5377 | 87.1949 | 12.3273 | 21.8803 | 85.9577 | 30 | 54.9322 | 1.5 | 69.8206 | 45 | 38.4013
3291563.2165 | 1.5176 | 30.9288 | 56.5663 | 44.9185 | 66.6086 | 86.9812 | 12.3164 | 21.8563 | 85.9571 | 30 | 54.4184 | 1.5 | 85.9578 | 45 | 38.7736
3291581.8469 | 1.472 | 30.5556 | 54.2458 | 45.2074 | 67.0031 | 86.8664 | 12.2922 | 21.911 | 85.9574 | 30 | 55.2388 | 1.5 | 1.4945 | 45 | 38.5035
3291586.3471 | 1.4985 | 30.2863 | 56.6493 | 42.9117 | 66.5503 | 88.0463 | 12.3777 | 21.9088 | 85.9563 | 30 | 54.1027 | 1.5 | 18.0819 | 45 | 39.098
3291593.996 | 1.5482 | 30.547 | 55.5766 | 45.5669 | 67.9235 | 87.7161 | 12.3506 | 21.9571 | 85.9526 | 30 | 55.4793 | 1.5 | 98.896 | 45 | 38.4349
3291594.4349 | 1.5473 | 30.5433 | 56.0592 | 45.235 | 67.3428 | 87.7641 | 12.3727 | 21.9073 | 85.955 | 30 | 55.3997 | 1.5 | 99.2045 | 45 | 38.5943
3291610.5521 | 1.456 | 30.2644 | 54.2058 | 44.6142 | 66.5858 | 88.7297 | 12.3769 | 21.8472 | 85.9534 | 30 | 54.3262 | 1.5 | 0.67567 | 45 | 39.518
3291611.2209 | 1.445 | 30.2628 | 55.5736 | 42.0297 | 66.8448 | 88.3031 | 12.3436 | 22.0458 | 85.9575 | 30 | 54.2658 | 1.5 | 1.1488 | 45 | 40
3291618.1204 | 1.5384 | 30.6147 | 55.8471 | 44.6757 | 66.8581 | 87.0733 | 12.3411 | 22.0194 | 85.9557 | 30 | 55.453 | 1.5 | 23.3911 | 45 | 38.6689
3291624.9169 | 1.4786 | 29.4215 | 56.5264 | 42.3831 | 65.6165 | 87.7383 | 12.3462 | 22.041 | 85.9536 | 30 | 55.1965 | 1.5 | 94.9556 | 45 | 39.323
3291628.8119 | 1.4811 | 29.9112 | 56.9382 | 43.5909 | 66.9627 | 86.755 | 12.3623 | 21.8136 | 85.9623 | 30 | 55.8165 | 1.5 | 95.7844 | 45 | 38.7691
3291639.4889 | 1.4744 | 29.3572 | 55.4014 | 42.9424 | 65.8913 | 87.067 | 12.3177 | 21.984 | 85.9558 | 30 | 56.2674 | 1.5 | 1.8773 | 45 | 39.134
3291647.2879 | 1.566 | 30.3475 | 55.7119 | 43.1821 | 66.7463 | 88.6382 | 12.3204 | 21.8989 | 85.9653 | 30 | 54.1886 | 1.5 | 43.6618 | 45 | 39.4538
3291653.7869 | 1.5173 | 29.9606 | 56.6708 | 44.396 | 67.9113 | 87.4156 | 12.2476 | 21.9869 | 85.9564 | 30 | 55.6272 | 1.5 | 98.625 | 45 | 38.5011
3291659.9855 | 1.4384 | 29.5851 | 55.8717 | 45.0414 | 66.7772 | 88.5911 | 12.2798 | 21.9272 | 85.9546 | 30 | 54.9177 | 1.5 | 51.6887 | 45 | 37.9785
3291665.9725 | 1.4592 | 29.6878 | 55.3277 | 44.101 | 66.8021 | 86.9836 | 12.2193 | 21.9049 | 85.9581 | 30 | 56.2068 | 1.5 | 0.88756 | 45 | 38.8916
3291675.737 | 1.5707 | 28.8536 | 54.3287 | 43.4126 | 67.3845 | 87.4059 | 12.291 | 21.9416 | 85.9558 | 30 | 55.9891 | 1.5 | 79.4773 | 45 | 39.1174
3291678.4646 | 1.5403 | 30.0804 | 53.9323 | 43.6001 | 67.096 | 87.3474 | 12.2962 | 21.8365 | 85.9638 | 30 | 55.7393 | 1.5 | 100 | 45 | 39.3376
3291682.624 | 1.4482 | 30.7202 | 56.3297 | 43.8644 | 67.3304 | 88.3368 | 12.2586 | 21.9144 | 85.9575 | 30 | 54.445 | 1.5 | 85.3 | 45 | 38.9616
3291688.6901 | 1.4043 | 29.2292 | 54.7222 | 45.1428 | 66.3187 | 87.3798 | 12.3162 | 21.9161 | 85.9548 | 30 | 56.0207 | 1.5 | 0.32225 | 45 | 38.7037
3291692.679 | 1.4982 | 30.5453 | 54.4916 | 43.9381 | 66.5668 | 87.1842 | 12.3198 | 22.0382 | 85.9568 | 30 | 55.061 | 1.5 | 2.1563 | 45 | 39.253
3291700.859 | 1.5455 | 29.1568 | 54.9804 | 42.7089 | 66.1169 | 86.6096 | 12.2463 | 21.9123 | 85.9558 | 30 | 56.3251 | 1.5 | 53.6662 | 45 | 39.3501
3291708.9872 | 1.4504 | 30.2957 | 56.3758 | 43.8582 | 67.4851 | 88.7337 | 12.2611 | 22.0291 | 85.9596 | 30 | 54.5738 | 1.5 | 75.0771 | 45 | 38.9287
3291711.2889 | 1.4232 | 29.5365 | 56.1729 | 43.7476 | 66.5244 | 88.5306 | 12.183 | 21.9847 | 85.955 | 30 | 55.1117 | 1.5 | 37.7123 | 45 | 38.7565
3291711.7169 | 1.4411 | 29.1227 | 53.8892 | 44.2516 | 66.2727 | 88.42 | 12.2551 | 22.0513 | 85.9591 | 30 | 55.5107 | 1.5 | 31.9967 | 45 | 38.5751
3291725.525 | 1.5112 | 28.9974 | 56.2497 | 43.6431 | 66.8592 | 87.6888 | 12.27 | 21.828 | 85.9596 | 30 | 55.9749 | 1.5 | 41.812 | 45 | 39.008
3291734.6247 | 1.5208 | 29.8859 | 54.0429 | 42.8472 | 66.6762 | 88.4929 | 12.2217 | 21.7275 | 85.9573 | 30 | 54.628 | 1.5 | 80.3992 | 45 | 39.1439
3291743.7649 | 1.424 | 30.8751 | 56.0223 | 43.6216 | 67.098 | 87.9939 | 12.1891 | 21.6982 | 85.9602 | 30 | 54.4215 | 1.5 | 0.013361 | 45 | 39.2396
3291749.8177 | 1.5369 | 28.9764 | 54.7744 | 45.3702 | 65.5661 | 87.4233 | 12.2925 | 21.7866 | 85.9551 | 30 | 56.033 | 1.5 | 8.1483 | 45 | 38.4759
3291754.1769 | 1.5321 | 30.7326 | 55.0234 | 45.3672 | 66.6913 | 86.707 | 12.2481 | 21.8647 | 85.9545 | 30 | 55.0112 | 1.5 | 51.8874 | 45 | 38.3107
3291758.3272 | 1.5305 | 30.0371 | 55.0695 | 43.4526 | 66.2744 | 88.1332 | 12.2352 | 21.8667 | 85.9576 | 30 | 54.6265 | 1.5 | 83.0644 | 45 | 39.541
3291774.6969 | 1.4907 | 29.2927 | 54.1904 | 45.0629 | 65.8733 | 87.0321 | 12.3368 | 21.9018 | 85.9549 | 30 | 55.9931 | 1.5 | 1.4552 | 45 | 38.7411
3291776.7569 | 1.5103 | 30.3793 | 56.3389 | 44.854 | 66.1545 | 86.465 | 12.2447 | 21.8516 | 85.9579 | 30 | 55.1746 | 1.5 | 4.0263 | 45 | 38.4859
3291790.8869 | 1.4551 | 30.468 | 56.1022 | 44.5251 | 66.4389 | 88.3807 | 12.3703 | 21.8107 | 85.9592 | 30 | 53.724 | 1.5 | 76.2194 | 45 | 38.7161
3291795.2369 | 1.3999 | 28.8 | 56.2436 | 44.5313 | 66.2299 | 86.7102 | 12.2904 | 21.9691 | 85.9553 | 30 | 56.1233 | 1.5 | 0 | 45 | 38.6417
3291801.4439 | 1.524 | 31.3506 | 53.8739 | 43.9719 | 66.1806 | 88.4297 | 12.3127 | 21.856 | 85.9595 | 30 | 53.4796 | 1.5 | 3.6884 | 45 | 39.015
3291802.2866 | 1.5325 | 30.2658 | 54.172 | 44.4237 | 66.5821 | 88.6324 | 12.2379 | 21.8786 | 85.9584 | 30 | 54.0242 | 1.5 | 8.5074 | 45 | 38.7331
3291805.529 | 1.5578 | 28.7782 | 54.6115 | 43.9535 | 66.8485 | 88.0959 | 12.2211 | 21.9232 | 85.9587 | 30 | 55.7457 | 1.5 | 40.9836 | 45 | 39.0823
3291815.714 | 1.4751 | 29.5099 | 55.8655 | 42.5859 | 67.5886 | 88.6465 | 12.2014 | 21.9693 | 85.9531 | 30 | 55.017 | 1.5 | 56.0066 | 45 | 39.5433
3291825.9824 | 1.5086 | 30.1892 | 56.4833 | 44.7525 | 66.542 | 87.9495 | 12.2605 | 21.9092 | 85.9544 | 30 | 54.5372 | 1.5 | 10.9885 | 45 | 38.6702
3291826.447 | 1.5319 | 29.7746 | 54.7498 | 42.8256 | 66.258 | 87.9173 | 12.2538 | 21.9182 | 85.9592 | 30 | 54.8763 | 1.5 | 14.7955 | 45 | 39.5803
3291838.3879 | 1.4687 | 30.3575 | 56.6616 | 43.3604 | 66.55 | 88.2692 | 12.2818 | 21.9924 | 85.9565 | 30 | 54.6205 | 1.5 | 91.2637 | 45 | 39.5067
3291838.8611 | 1.4961 | 30.3422 | 53.9691 | 45.2903 | 66.5285 | 88.2629 | 12.338 | 21.8033 | 85.9573 | 30 | 54.5763 | 1.5 | 91.1852 | 45 | 38.5556
3291852.2439 | 1.4896 | 28.9301 | 54.63 | 45.2842 | 66.3612 | 88.4774 | 12.2976 | 21.8815 | 85.9641 | 30 | 55.2512 | 1.5 | 1.9634 | 45 | 38.8919
3291853.7305 | 1.4987 | 28.6512 | 54.3195 | 43.7814 | 66.6758 | 87.9789 | 12.2513 | 22.0152 | 85.954 | 30 | 56.0467 | 1.5 | 1.7407 | 45 | 39.243
3291860.329 | 1.577 | 31.0011 | 54.1751 | 44.5282 | 67.2023 | 87.1593 | 12.1909 | 21.8294 | 85.9614 | 30 | 54.4815 | 1.5 | 54.5158 | 45 | 38.7698
3291860.9899 | 1.5532 | 30.9938 | 54.6761 | 44.0826 | 66.9888 | 87.3451 | 12.3686 | 21.9453 | 85.9619 | 30 | 54.2602 | 1.5 | 59.2588 | 45 | 39.0922
3291862.9729 | 1.574 | 30.4892 | 54.1658 | 45.1521 | 67.0796 | 88.2518 | 12.2917 | 21.825 | 85.9518 | 30 | 54.1069 | 1.5 | 90.6852 | 45 | 38.5223
3291863.6409 | 1.56 | 30.1033 | 55.0849 | 45.4163 | 67.5294 | 88.4251 | 12.2909 | 21.9296 | 85.958 | 30 | 54.3499 | 1.5 | 99.6542 | 45 | 38.3523
3291873.5825 | 1.4362 | 30.7965 | 55.9147 | 44.393 | 67.0014 | 87.6372 | 12.2008 | 21.8257 | 85.9607 | 30 | 54.7567 | 1.5 | 39.7999 | 45 | 38.8922
3291875.4069 | 1.4298 | 30.7458 | 53.9445 | 43.4772 | 67.4457 | 87.4607 | 12.3263 | 21.9063 | 85.9591 | 30 | 54.2962 | 1.5 | 5.9778 | 45 | 39.2223
3291878.8691 | 1.441 | 29.4598 | 55.2416 | 44.8878 | 66.7355 | 88.5427 | 12.3078 | 21.9446 | 85.9537 | 30 | 54.9679 | 1.5 | 0.12643 | 45 | 38.4616
3291885.0641 | 1.5188 | 30.5422 | 56.0469 | 43.9842 | 66.179 | 87.1198 | 12.2308 | 21.9422 | 85.9531 | 30 | 55.3635 | 1.5 | 8.6799 | 45 | 38.8512
3291897.9309 | 1.4666 | 30.681 | 56.5294 | 44.6726 | 67.0315 | 87.5337 | 12.2402 | 21.8948 | 85.9574 | 30 | 55.0615 | 1.5 | 90.4379 | 45 | 38.8968
3291902.111 | 1.4484 | 30.5177 | 54.4087 | 42.9424 | 67.6 | 88.7591 | 12.2586 | 21.9177 | 85.9521 | 30 | 54.1739 | 1.5 | 45.4735 | 45 | 39.7618
3291906.1164 | 1.4686 | 29.0017 | 56.0284 | 43.8736 | 66.5266 | 87.2061 | 12.2856 | 22.0071 | 85.9503 | 30 | 55.754 | 1.5 | 1.2988 | 45 | 39.3747
3291906.8449 | 1.4794 | 29.1906 | 54.55 | 45.3242 | 66.3487 | 86.8348 | 12.2547 | 21.9092 | 85.9627 | 30 | 55.8499 | 1.5 | 1.4837 | 45 | 39.043
3291914.992 | 1.5648 | 30.4684 | 55.5889 | 43.0131 | 66.2485 | 88.1836 | 12.1967 | 21.9402 | 85.9586 | 30 | 54.4488 | 1.5 | 21.3941 | 45 | 39.5546
3291919.2919 | 1.5236 | 29.1046 | 56.2098 | 41.4212 | 66.77 | 86.9636 | 12.3142 | 21.9091 | 85.957 | 30 | 56.1353 | 1.5 | 81.831 | 45 | 40
3291922.6819 | 1.5319 | 30.6328 | 54.0583 | 43.1883 | 67.0728 | 87.7005 | 12.281 | 21.9368 | 85.9521 | 30 | 55.3584 | 1.5 | 97.9301 | 45 | 38.8963
3291928.7724 | 1.4719 | 29.7606 | 56.3696 | 42.002 | 67.074 | 88.7798 | 12.2883 | 21.913 | 85.9581 | 30 | 54.5745 | 1.5 | 65.3958 | 45 | 40
3291934.4239 | 1.4487 | 29.5348 | 54.7836 | 44.4114 | 66.1902 | 87.616 | 12.3237 | 21.9361 | 85.9565 | 30 | 56.299 | 1.5 | 1.0757 | 45 | 39.0051
3291938.8967 | 1.5292 | 30.668 | 56.5694 | 44.2547 | 66.7138 | 86.6541 | 12.2931 | 21.9544 | 85.9596 | 30 | 54.8834 | 1.5 | 9.1249 | 45 | 38.6869
3291947.9639 | 1.5481 | 29.7117 | 54.547 | 43.2067 | 67.3073 | 86.9179 | 12.2459 | 21.8715 | 85.9588 | 30 | 55.927 | 1.5 | 81.5565 | 45 | 39.3321
3291953.1805 | 1.4543 | 30.7526 | 57.0858 | 44.2916 | 66.9552 | 87.3141 | 12.331 | 21.8343 | 85.9569 | 30 | 54.4001 | 1.5 | 73.6728 | 45 | 38.4141
3291962.8179 | 1.4576 | 30.5615 | 54.3226 | 44.3499 | 66.5696 | 86.9215 | 12.3045 | 21.9592 | 85.9537 | 30 | 54.9738 | 1.5 | 1.1154 | 45 | 39.0572
3291966.4959 | 1.5267 | 29.9589 | 54.673 | 43.3266 | 66.4776 | 88.2331 | 12.3655 | 21.7466 | 85.9553 | 30 | 54.6364 | 1.5 | 6.7163 | 45 | 39.296
3291980.0211 | 1.5216 | 28.7917 | 54.6054 | 44.2117 | 66.6675 | 88.4806 | 12.317 | 21.7805 | 85.9541 | 30 | 55.7604 | 1.5 | 79.5043 | 45 | 38.8167
3291989.0927 | 1.4587 | 30.5051 | 56.468 | 43.8552 | 66.668 | 87.4553 | 12.2953 | 21.91 | 85.9581 | 30 | 54.701 | 1.5 | 0.072127 | 45 | 39.6517
3291994.5529 | 1.5191 | 29.363 | 54.6115 | 45.4225 | 66.2686 | 87.9528 | 12.2995 | 21.8332 | 85.9542 | 30 | 55.331 | 1.5 | 6.8413 | 45 | 38.7886
3292004.7789 | 1.5054 | 30.1178 | 56.3266 | 44.7802 | 67.1689 | 88.3279 | 12.2563 | 21.8611 | 85.9539 | 30 | 54.7215 | 1.5 | 96.8739 | 45 | 38.598
3292010.1309 | 1.4803 | 29.8383 | 54.4978 | 44.0949 | 67.0431 | 87.1836 | 12.2133 | 21.8822 | 85.9583 | 30 | 55.9034 | 1.5 | 79.9817 | 45 | 39.0324
3292013.5924 | 1.44 | 30.6288 | 55.5797 | 42.8625 | 67.0782 | 87.8027 | 12.2821 | 21.8328 | 85.9545 | 30 | 54.948 | 1.5 | 32.4006 | 45 | 39.3367
3292016.9389 | 1.4294 | 30.4193 | 54.9404 | 45.0844 | 67.2784 | 88.3954 | 12.2128 | 21.7143 | 85.9553 | 30 | 54.4181 | 1.5 | 0.57322 | 45 | 38.6886
3292031.1979 | 1.5172 | 29.7345 | 54.6638 | 45.7698 | 66.6453 | 88.3096 | 12.2876 | 21.8042 | 85.9612 | 30 | 54.6857 | 1.5 | 84.1306 | 45 | 38.6758
3292038.0139 | 1.4327 | 30.6882 | 57.0612 | 43.2282 | 66.4879 | 87.1348 | 12.2474 | 21.7931 | 85.9574 | 30 | 54.8707 | 1.5 | 62.4225 | 45 | 39.3532
3292041.9279 | 1.4396 | 30.106 | 55.5766 | 43.7384 | 66.7301 | 88.721 | 12.2518 | 21.8281 | 85.952 | 30 | 54.3542 | 1.5 | 1.009 | 45 | 39.4147
3292045.8259 | 1.465 | 28.849 | 56.4065 | 42.8103 | 66.2131 | 86.737 | 12.2378 | 21.8521 | 85.956 | 30 | 56.3851 | 1.5 | 1.0022 | 45 | 39.8324
3292053.9282 | 1.5589 | 30.1928 | 54.1413 | 44.2854 | 66.3162 | 87.9616 | 12.2167 | 21.8675 | 85.9554 | 30 | 54.425 | 1.5 | 45.459 | 45 | 38.9752
3292055.9409 | 1.5298 | 29.3624 | 57.0059 | 42.4999 | 66.9666 | 87.8268 | 12.172 | 21.7561 | 85.959 | 30 | 55.2701 | 1.5 | 64.4876 | 45 | 39.7892
3292062.0671 | 1.4984 | 30.7363 | 56.7385 | 41.7715 | 66.847 | 87.4213 | 12.1898 | 21.8747 | 85.9508 | 30 | 55.0266 | 1.5 | 97.2884 | 45 | 40
3292074.8274 | 1.4868 | 30.867 | 54.7591 | 43.8121 | 67.0637 | 87.0234 | 12.253 | 21.795 | 85.9566 | 30 | 55.1711 | 1.5 | 0.21342 | 45 | 39.1541
3292086.546 | 1.5103 | 31.1208 | 54.9957 | 45.4348 | 66.3751 | 86.8645 | 12.2456 | 22.0331 | 85.9528 | 30 | 54.4313 | 1.5 | 89.3695 | 45 | 38.4628
3292101.1551 | 1.4231 | 30.3822 | 56.4588 | 43.471 | 67.1603 | 89.0493 | 12.2485 | 22.1045 | 85.9611 | 30 | 54.0429 | 1.5 | 0.52331 | 45 | 39.4278
3292115.5326 | 1.5616 | 29.3313 | 54.2642 | 45.3856 | 66.2374 | 87.2151 | 12.2112 | 22.08 | 85.9613 | 30 | 55.6385 | 1.5 | 99.6324 | 45 | 38.6613
3292125.8739 | 1.4615 | 28.9034 | 54.8113 | 43.9258 | 66.6994 | 88.5014 | 12.286 | 22.0401 | 85.9577 | 30 | 55.596 | 1.5 | 22.6863 | 45 | 38.6885
3292131.743 | 1.4843 | 30.7095 | 55.6873 | 43.8183 | 67.224 | 87.3746 | 12.3251 | 22.0611 | 85.9595 | 30 | 54.8304 | 1.5 | 1.5929 | 45 | 39.6599
3292137.013 | 1.5101 | 29.1928 | 56.6923 | 43.345 | 67.4399 | 87.9684 | 12.3124 | 22.0383 | 85.9567 | 30 | 55.4539 | 1.5 | 8.8372 | 45 | 40
3292140.1729 | 1.5551 | 29.6086 | 56.6616 | 43.5233 | 66.4702 | 86.5581 | 12.3189 | 22.0174 | 85.9604 | 30 | 56.0646 | 1.5 | 46.1341 | 45 | 39.7025
3292140.7069 | 1.5408 | 30.0612 | 57.0919 | 43.8982 | 67.1234 | 86.6123 | 12.2971 | 22.0052 | 85.9588 | 30 | 55.7878 | 1.5 | 52.2202 | 45 | 39.289
3292142.0956 | 1.5487 | 30.5261 | 55.7672 | 43.133 | 67.3066 | 86.9386 | 12.4055 | 22.0722 | 85.9546 | 30 | 55.3403 | 1.5 | 73.0668 | 45 | 39.055
3292154.77 | 1.4106 | 30.0358 | 57.052 | 43.9535 | 66.6413 | 87.1254 | 12.3085 | 21.9537 | 85.9598 | 30 | 55.6623 | 1.5 | 35.9881 | 45 | 39.0234
3292165.0125 | 1.5214 | 29.7961 | 56.0592 | 45.5669 | 66.1062 | 86.6092 | 12.2922 | 22.0235 | 85.9601 | 30 | 56.1254 | 1.5 | 8.3845 | 45 | 38.6589
3292181.1869 | 1.4757 | 30.8033 | 56.6124 | 42.9732 | 66.7711 | 87.4652 | 12.2182 | 21.9492 | 85.954 | 30 | 54.579 | 1.5 | 66.0716 | 45 | 39.3935
3292187.2689 | 1.4106 | 28.8779 | 57.387 | 44.8693 | 66.3614 | 87.8489 | 12.2669 | 22.0846 | 85.9584 | 30 | 55.5577 | 1.5 | 0 | 45 | 38.6698
3292193.5399 | 1.5493 | 30.8667 | 54.6269 | 44.1133 | 66.6884 | 86.7945 | 12.1915 | 22.1046 | 85.9629 | 30 | 55.0133 | 1.5 | 9.1552 | 45 | 39.2989
3292196.1003 | 1.5326 | 30.9028 | 56.0684 | 42.7734 | 65.725 | 87.8197 | 12.2514 | 22.059 | 85.9527 | 30 | 54.1992 | 1.5 | 35.0001 | 45 | 39.7587
3292199.4609 | 1.5647 | 29.4225 | 55.1125 | 44.2301 | 65.5623 | 87.7366 | 12.2805 | 22.0238 | 85.9603 | 30 | 55.1117 | 1.5 | 70.1094 | 45 | 39.0564
3292209.8929 | 1.4267 | 30.2902 | 55.5736 | 45.1643 | 67.1821 | 88.6477 | 12.1898 | 21.9849 | 85.9605 | 30 | 54.2633 | 1.5 | 34.97 | 45 | 38.3401
3292212.0637 | 1.4593 | 28.753 | 54.925 | 43.259 | 66.8299 | 88.5884 | 12.3187 | 22.0457 | 85.9617 | 30 | 55.3143 | 1.5 | 1.69 | 45 | 39.5408
3292230.4369 | 1.536 | 30.1544 | 54.7283 | 43.2928 | 67.4541 | 87.1064 | 12.2251 | 22.0796 | 85.9589 | 30 | 55.734 | 1.5 | 96.2021 | 45 | 39.2965
3292232.8808 | 1.4705 | 30.7699 | 57.0427 | 43.0715 | 67.2796 | 87.7707 | 12.2438 | 22.0922 | 85.9638 | 30 | 54.8456 | 1.5 | 93.6683 | 45 | 39.1857
3292248.9557 | 1.5439 | 29.0462 | 55.6996 | 41.8545 | 66.1735 | 87.4177 | 12.2172 | 22.0379 | 85.9597 | 30 | 55.1422 | 1.5 | 26.8321 | 45 | 39.6827
3292263.2869 | 1.4704 | 30.2411 | 54.4179 | 43.5079 | 67.4681 | 86.999 | 12.1994 | 22.0934 | 85.957 | 30 | 55.6803 | 1.5 | 24.4977 | 45 | 39.2744
3292266.798 | 1.5048 | 31.2655 | 54.5562 | 45.2412 | 67.2341 | 88.0595 | 12.3262 | 22.0931 | 85.9597 | 30 | 53.8199 | 1.5 | 2.1019 | 45 | 38.6794
3292267.5229 | 1.4951 | 30.7942 | 54.2642 | 45.444 | 66.9019 | 88.4521 | 12.2575 | 22.052 | 85.9603 | 30 | 53.8984 | 1.5 | 0.6499 | 45 | 38.8854
3292270.15 | 1.5134 | 29.5832 | 55.632 | 42.9424 | 66.1875 | 88.2511 | 12.2444 | 22.0419 | 85.96 | 30 | 54.6826 | 1.5 | 3.8923 | 45 | 39.81
3292270.6709 | 1.5148 | 28.9039 | 54.6699 | 43.9504 | 66.3819 | 88.147 | 12.1765 | 22.0509 | 85.9602 | 30 | 55.3465 | 1.5 | 4.9179 | 45 | 39.3379
3292271.196 | 1.5176 | 28.9096 | 54.4087 | 44.3745 | 66.8954 | 88.0686 | 12.2163 | 22.1044 | 85.9567 | 30 | 55.5392 | 1.5 | 6.2952 | 45 | 38.9502
3292281.3779 | 1.5327 | 29.555 | 56.7968 | 44.5128 | 66.6015 | 88.2234 | 12.2617 | 22.0074 | 85.9573 | 30 | 54.716 | 1.5 | 98.1269 | 45 | 38.5311
3292281.9191 | 1.5606 | 29.5759 | 54.507 | 44.2578 | 66.4308 | 88.611 | 12.2121 | 21.9544 | 85.9571 | 30 | 54.7814 | 1.5 | 100 | 45 | 38.7173
3292293.0799 | 1.4626 | 30.0058 | 54.6884 | 45.1428 | 66.248 | 87.8135 | 12.2014 | 22.1316 | 85.9561 | 30 | 54.5729 | 1.5 | 0.059904 | 45 | 38.6948
3292308.457 | 1.5106 | 28.9791 | 56.3573 | 44.1379 | 67.0502 | 88.1635 | 12.3026 | 21.9975 | 85.9658 | 30 | 55.6309 | 1.5 | 82.3054 | 45 | 39.0167
3292314.2139 | 1.4798 | 31.1497 | 54.8205 | 43.3696 | 66.8828 | 87.7893 | 12.1344 | 22.1235 | 85.9616 | 30 | 54.2025 | 1.5 | 69.2163 | 45 | 39.2916
3292320.4089 | 1.435 | 29.0825 | 56.2774 | 44.9769 | 66.8171 | 87.7529 | 12.2899 | 22.0118 | 85.9614 | 30 | 55.8725 | 1.5 | 0 | 45 | 38.6115
3292324.5509 | 1.4526 | 31.3735 | 55.5336 | 45.6929 | 67.3614 | 87.1433 | 12.2205 | 21.9816 | 85.9637 | 30 | 54.0707 | 1.5 | 0.29294 | 45 | 38.3699
3292325.1269 | 1.4804 | 31.3892 | 55.6197 | 42.1926 | 67.3999 | 87.9369 | 12.3875 | 22.0181 | 85.9587 | 30 | 53.7872 | 1.5 | 1.2792 | 45 | 40
3292330.4031 | 1.5365 | 28.9029 | 56.0469 | 45.0721 | 66.2663 | 87.7065 | 12.257 | 22.0116 | 85.9673 | 30 | 55.2787 | 1.5 | 39.1757 | 45 | 38.7703
3292332.4529 | 1.5184 | 28.8254 | 56.4311 | 43.5786 | 66.4538 | 86.6938 | 12.1859 | 22.0674 | 85.9584 | 30 | 56.1696 | 1.5 | 57.6641 | 45 | 39.1102
3292346.0481 | 1.4549 | 29.3512 | 56.8583 | 43.8859 | 66.7376 | 86.9636 | 12.294 | 22.0023 | 85.9579 | 30 | 56.2093 | 1.5 | 27.0053 | 45 | 39.1134
3292347.1549 | 1.4547 | 30.2394 | 56.136 | 43.1944 | 67.0845 | 87.0103 | 12.22 | 21.9626 | 85.9564 | 30 | 55.61 | 1.5 | 16.3233 | 45 | 39.6308
3292349.19 | 1.446 | 31.0878 | 55.0326 | 45.6407 | 67.2073 | 87.3021 | 12.1816 | 21.9006 | 85.9654 | 30 | 54.4737 | 1.5 | 0.090783 | 45 | 38.2469
3292349.717 | 1.4686 | 31.1398 | 54.6945 | 45.5331 | 66.8313 | 87.4199 | 12.2505 | 22.0147 | 85.9549 | 30 | 54.2382 | 1.5 | 0.57632 | 45 | 38.3452
3292350.2869 | 1.4577 | 31.1209 | 56.2928 | 43.2743 | 66.5174 | 87.7417 | 12.2475 | 21.9879 | 85.9595 | 30 | 54.032 | 1.5 | 0.84876 | 45 | 39.5011
3292350.83 | 1.4552 | 30.8664 | 56.5233 | 44.2762 | 66.9375 | 88.2883 | 12.2212 | 22.0809 | 85.9612 | 30 | 54.0351 | 1.5 | 0 | 45 | 39.0324
3292353.218 | 1.4965 | 29.761 | 56.3512 | 43.5632 | 66.3542 | 88.2848 | 12.2446 | 21.8793 | 85.9657 | 30 | 54.5503 | 1.5 | 1.8064 | 45 | 39.5234
3292359.4107 | 1.5597 | 30.1185 | 55.1371 | 42.7949 | 66.4702 | 87.2493 | 12.1572 | 22.0103 | 85.961 | 30 | 55.8019 | 1.5 | 51.9192 | 45 | 39.8039
3292363.5659 | 1.5386 | 30.7699 | 55.6135 | 42.7673 | 67.1774 | 87.6755 | 12.1823 | 22.0549 | 85.9522 | 30 | 54.405 | 1.5 | 90.2556 | 45 | 39.4119
3292365.235 | 1.513 | 30.2741 | 56.0315 | 45.5884 | 67.3235 | 88.3351 | 12.1901 | 22.0915 | 85.9615 | 30 | 54.4739 | 1.5 | 97.8072 | 45 | 38.2893
3292367.5477 | 1.5085 | 29.4817 | 54.4763 | 44.9062 | 66.5864 | 88.3803 | 12.1906 | 22.0996 | 85.956 | 30 | 55.2289 | 1.5 | 98.7339 | 45 | 38.3351
3292368.1326 | 1.4891 | 29.1032 | 56.8583 | 44.6634 | 66.6569 | 88.1538 | 12.1526 | 21.9305 | 85.9567 | 30 | 55.6602 | 1.5 | 96.8211 | 45 | 38.9723
3292373.6749 | 1.4078 | 30.7207 | 54.9588 | 44.7679 | 67.1458 | 87.039 | 12.2255 | 21.9668 | 85.961 | 30 | 54.9685 | 1.5 | 30.1773 | 45 | 38.4429
3292379.8653 | 1.46 | 29.5133 | 54.2027 | 44.3592 | 65.656 | 88.404 | 12.1719 | 21.8872 | 85.9687 | 30 | 55.0963 | 1.5 | 1.189 | 45 | 39.0677
3292384.0317 | 1.5144 | 30.1296 | 55.552 | 45.0076 | 66.97 | 87.2857 | 12.228 | 22.0534 | 85.9609 | 30 | 55.9923 | 1.5 | 10.9256 | 45 | 38.597
3292388.3739 | 1.5106 | 31.1711 | 56.0284 | 43.3757 | 67.541 | 87.7495 | 12.2414 | 21.9281 | 85.9573 | 30 | 53.9832 | 1.5 | 35.1565 | 45 | 39.5751
3292392.0849 | 1.5277 | 29.3195 | 55.3338 | 42.7365 | 67.5977 | 88.5243 | 12.2838 | 21.9801 | 85.9623 | 30 | 54.9583 | 1.5 | 52.1964 | 45 | 39.5978
3292394.2289 | 1.5088 | 28.7956 | 56.6032 | 44.0273 | 66.3379 | 87.8324 | 12.2245 | 21.9786 | 85.9596 | 30 | 56.0989 | 1.5 | 62.5131 | 45 | 38.96
3292397.4434 | 1.5163 | 30.0418 | 55.2662 | 44.7833 | 67.7722 | 86.8772 | 12.3342 | 21.971 | 85.958 | 30 | 55.9931 | 1.5 | 73.5231 | 45 | 38.8533
3292401.3399 | 1.468 | 30.6951 | 54.1751 | 43.975 | 68.0883 | 87.1959 | 12.2666 | 22.0665 | 85.9592 | 30 | 54.7598 | 1.5 | 50.7196 | 45 | 38.8723
3292404.5289 | 1.4685 | 30.3186 | 54.4025 | 46.0955 | 66.7022 | 88.4913 | 12.2972 | 21.983 | 85.9615 | 30 | 54.3959 | 1.5 | 15.6146 | 45 | 38.1223
3292406.1039 | 1.4772 | 29.5338 | 54.7744 | 44.2301 | 66.6647 | 88.3477 | 12.3424 | 21.9656 | 85.959 | 30 | 54.8628 | 1.5 | 2.083 | 45 | 39.1377
3292406.637 | 1.4558 | 29.5306 | 55.3154 | 44.396 | 66.5457 | 88.1076 | 12.2669 | 22.0014 | 85.9579 | 30 | 54.9498 | 1.5 | 0 | 45 | 38.918
3292410.528 | 1.5113 | 29.1787 | 56.1514 | 44.9953 | 66.4274 | 87.1758 | 12.2613 | 22.0757 | 85.9598 | 30 | 56.4265 | 1.5 | 4.0812 | 45 | 38.4999
3292411.0229 | 1.5404 | 30.0085 | 54.0921 | 45.0814 | 66.815 | 87.3121 | 12.3124 | 22.0247 | 85.9567 | 30 | 55.9064 | 1.5 | 8.4943 | 45 | 38.9414
3292414.6574 | 1.5418 | 30.9956 | 56.1606 | 43.345 | 66.8283 | 87.8242 | 12.3437 | 22.0774 | 85.96 | 30 | 54.4055 | 1.5 | 42.8853 | 45 | 39.1129
3292431.2544 | 1.4285 | 29.9096 | 55.1433 | 42.9394 | 66.5371 | 88.2593 | 12.3045 | 22.0742 | 85.9599 | 30 | 54.6858 | 1.5 | 0.43716 | 45 | 39.6146
3292433.0789 | 1.4561 | 29.1324 | 55.7334 | 45.0691 | 66.6689 | 88.1283 | 12.2291 | 21.9975 | 85.9611 | 30 | 55.318 | 1.5 | 0 | 45 | 38.7016
3292433.78 | 1.4528 | 29.1338 | 55.6565 | 45.149 | 66.445 | 88.0983 | 12.2365 | 22.0342 | 85.9626 | 30 | 55.5253 | 1.5 | 0.39959 | 45 | 38.7314
3292438.2824 | 1.523 | 30.3192 | 54.1197 | 44.2977 | 66.8683 | 86.8601 | 12.4024 | 22.0115 | 85.9562 | 30 | 55.7361 | 1.5 | 5.8679 | 45 | 38.6847
3292455.6125 | 1.469 | 30.3075 | 54.3841 | 43.849 | 66.897 | 88.5776 | 12.3156 | 21.9795 | 85.9604 | 30 | 54.2982 | 1.5 | 66.1352 | 45 | 38.3406
3292468.0244 | 1.536 | 30.6656 | 54.3533 | 44.0058 | 66.9201 | 88.2975 | 12.3429 | 21.9985 | 85.9609 | 30 | 54.0981 | 1.5 | 6.6489 | 45 | 39.4386
3292477.7929 | 1.4857 | 30.8267 | 56.5909 | 43.4925 | 66.3965 | 87.6806 | 12.2621 | 22.113 | 85.9623 | 30 | 54.7434 | 1.5 | 97.1798 | 45 | 39.6197
3292482.939 | 1.4756 | 29.5427 | 55.509 | 42.6013 | 67.3237 | 88.2919 | 12.2742 | 22.0422 | 85.9577 | 30 | 54.9283 | 1.5 | 84.6247 | 45 | 39.5356
3292489.0736 | 1.4046 | 30.4489 | 56.4772 | 44.1625 | 67.0769 | 87.3534 | 12.3 | 22.0601 | 85.9621 | 30 | 55.5431 | 1.5 | 0 | 45 | 38.2124
3292496.6324 | 1.4881 | 28.8243 | 55.8471 | 43.219 | 66.0841 | 88.1812 | 12.2223 | 21.9687 | 85.9627 | 30 | 55.6078 | 1.5 | 0.11689 | 45 | 39.2732
3292519.9499 | 1.444 | 29.1586 | 55.9701 | 43.5847 | 66.5337 | 88.3281 | 12.1786 | 21.9451 | 85.9598 | 30 | 55.2156 | 1.5 | 0.20556 | 45 | 39.5261
3292521.3859 | 1.462 | 28.8784 | 54.0368 | 44.3346 | 66.1614 | 87.2209 | 12.1179 | 21.988 | 85.9559 | 30 | 55.9258 | 1.5 | 0.73874 | 45 | 39.2833
3292527.0589 | 1.511 | 30.6716 | 55.6258 | 42.9639 | 66.608 | 88.02 | 12.1926 | 22.1031 | 85.9522 | 30 | 54.2406 | 1.5 | 3.4466 | 45 | 39.7063
3292531.083 | 1.5468 | 29.3837 | 55.3861 | 45.5608 | 65.7193 | 87.7106 | 12.0858 | 22.0509 | 85.9564 | 30 | 55.4162 | 1.5 | 49.0984 | 45 | 38.3493
3292538.9667 | 1.4959 | 30.8176 | 55.592 | 45.0844 | 67.1005 | 87.7339 | 12.1523 | 22.0675 | 85.9558 | 30 | 54.4456 | 1.5 | 86.4081 | 45 | 38.3353
3292541.761 | 1.4923 | 29.9089 | 54.1259 | 43.01 | 67.2393 | 88.5215 | 12.1293 | 22.0405 | 85.9575 | 30 | 54.609 | 1.5 | 72.7431 | 45 | 39.3977
3292549.8428 | 1.4227 | 30.7472 | 56.6309 | 44.8847 | 67.1254 | 87.8497 | 12.1036 | 22.0903 | 85.9624 | 30 | 54.8553 | 1.5 | 0 | 45 | 38.9789
3292559.8707 | 1.5538 | 30.9209 | 55.4537 | 45.1981 | 66.7573 | 86.9751 | 12.042 | 22.1586 | 85.952 | 30 | 54.634 | 1.5 | 52.3512 | 45 | 38.5697
3292566.2969 | 1.5513 | 28.8432 | 54.1413 | 45.2166 | 67.3414 | 88.5183 | 12.2242 | 22.1305 | 85.9611 | 30 | 55.63 | 1.5 | 100 | 45 | 38.3832
3292574.377 | 1.4176 | 30.788 | 56.7692 | 43.9136 | 67.8007 | 88.3945 | 12.1923 | 22.0962 | 85.9568 | 30 | 54.2099 | 1.5 | 45.9228 | 45 | 38.9285
3292584.7691 | 1.5055 | 31.401 | 55.9485 | 44.7802 | 66.559 | 87.8455 | 12.1571 | 22.0486 | 85.9572 | 30 | 53.7091 | 1.5 | 3.0628 | 45 | 38.6081
3292590.8559 | 1.5508 | 29.3054 | 54.6761 | 44.7218 | 65.6112 | 86.3522 | 12.1418 | 22.0945 | 85.9608 | 30 | 55.8407 | 1.5 | 53.773 | 45 | 38.6694
3292599.1369 | 1.4588 | 29.3188 | 56.6124 | 44.227 | 67.3235 | 88.1595 | 12.0918 | 22.128 | 85.9655 | 30 | 55.146 | 1.5 | 86.9077 | 45 | 39.5127
3292601.6679 | 1.459 | 29.0321 | 56.0407 | 44.9031 | 67.1067 | 87.3159 | 12.1141 | 22.0725 | 85.9622 | 30 | 56.1609 | 1.5 | 67.8655 | 45 | 38.7026
3292609.3899 | 1.4432 | 30.0665 | 53.7448 | 45.1582 | 66.7529 | 88.5472 | 12.1894 | 21.983 | 85.9606 | 30 | 54.2708 | 1.5 | 0.29439 | 45 | 38.7013
3292625.6581 | 1.522 | 30.0633 | 56.5448 | 42.9025 | 66.9908 | 87.6877 | 12.1995 | 21.9338 | 85.9567 | 30 | 55.8681 | 1.5 | 98.5331 | 45 | 39.228
3292639.7699 | 1.433 | 31.2438 | 54.5839 | 43.9627 | 66.5664 | 88.4595 | 12.1538 | 21.9643 | 85.9611 | 30 | 53.9199 | 1.5 | 1.2389 | 45 | 39.2214
3292650.3564 | 1.5377 | 30.9026 | 54.6115 | 44.7894 | 67.2635 | 87.2038 | 12.0769 | 21.8858 | 85.9568 | 30 | 54.964 | 1.5 | 46.6138 | 45 | 38.609
3292655.3899 | 1.4927 | 29.6879 | 54.2304 | 45.2688 | 66.8731 | 88.6409 | 12.082 | 21.9083 | 85.9588 | 30 | 54.7394 | 1.5 | 72.9754 | 45 | 38.503
3292661.5349 | 1.4921 | 30.1421 | 54.3503 | 44.184 | 67.2122 | 86.8927 | 12.1511 | 21.994 | 85.9565 | 30 | 55.6446 | 1.5 | 28.4336 | 45 | 38.7001
3292667.3039 | 1.5248 | 29.7864 | 54.6545 | 45.3887 | 66.3041 | 88.5856 | 12.1558 | 21.9353 | 85.9567 | 30 | 54.7893 | 1.5 | 5.6221 | 45 | 38.6149
3292667.801 | 1.5412 | 29.798 | 54.7037 | 44.728 | 66.4197 | 88.647 | 12.0991 | 21.8957 | 85.9561 | 30 | 54.8253 | 1.5 | 9.5352 | 45 | 38.7517
3292673.3449 | 1.5626 | 30.1184 | 55.0849 | 43.01 | 66.6271 | 86.5487 | 12.1434 | 21.982 | 85.9595 | 30 | 55.6175 | 1.5 | 63.4963 | 45 | 39.2219
3292675.559 | 1.5243 | 31.3497 | 55.2262 | 45.318 | 67.1152 | 87.8286 | 12.1073 | 21.9611 | 85.9597 | 30 | 54.0844 | 1.5 | 80.6794 | 45 | 38.4951
3292689.6199 | 1.4057 | 30.6433 | 56.2836 | 43.8275 | 66.8549 | 88.5027 | 12.1803 | 21.8795 | 85.9501 | 30 | 54.0149 | 1.5 | 0.084217 | 45 | 39.3944
3292701.0441 | 1.5123 | 30.9352 | 56.594 | 44.4882 | 65.751 | 86.8321 | 12.1058 | 21.8892 | 85.9577 | 30 | 54.4084 | 1.5 | 69.8118 | 45 | 39.4149
3292703.608 | 1.5198 | 29.8749 | 54.1013 | 45.3457 | 66.4809 | 87.507 | 12.0465 | 21.9499 | 85.959 | 30 | 54.7115 | 1.5 | 82.3438 | 45 | 38.5189
3292704.1189 | 1.5285 | 29.8774 | 54.7191 | 42.2417 | 66.2681 | 87.6201 | 12.0955 | 21.9688 | 85.9619 | 30 | 54.7334 | 1.5 | 84.5078 | 45 | 39.7152
3292709.6951 | 1.4747 | 30.0101 | 56.4772 | 45.2842 | 66.5599 | 86.6589 | 12.0307 | 21.9519 | 85.9598 | 30 | 55.763 | 1.5 | 93.7238 | 45 | 38.879
3292711.78 | 1.4304 | 30.6671 | 56.8061 | 45.3119 | 66.9426 | 87.6696 | 12.1297 | 21.8219 | 85.959 | 30 | 55.1874 | 1.5 | 77.0153 | 45 | 38.3269
3292718.91 | 1.4254 | 29.1685 | 55.383 | 43.3911 | 66.3211 | 88.4486 | 12.0668 | 21.9434 | 85.9602 | 30 | 55.4105 | 1.5 | 0 | 45 | 39.326
3292726.0489 | 1.4947 | 30.7469 | 56.8891 | 44.6235 | 66.7184 | 87.1283 | 12.0347 | 21.9745 | 85.9542 | 30 | 54.8025 | 1.5 | 1.0562 | 45 | 38.7547
3292726.5759 | 1.5162 | 30.7442 | 56.9843 | 44.5897 | 67.1924 | 87.582 | 12.16 | 21.9312 | 85.9553 | 30 | 54.6695 | 1.5 | 3.7997 | 45 | 38.8355
3292733.393 | 1.5392 | 28.9747 | 57.1595 | 44.6296 | 66.1598 | 86.9508 | 12.1704 | 21.8463 | 85.9591 | 30 | 56.4942 | 1.5 | 97.8065 | 45 | 39.3577
3292735.2524 | 1.5578 | 29.9118 | 53.9568 | 45.0045 | 66.4479 | 86.9621 | 12.2277 | 21.8935 | 85.9646 | 30 | 55.9872 | 1.5 | 98.7942 | 45 | 38.0662
3292738.468 | 1.4602 | 30.6965 | 57.2702 | 44.5897 | 66.9478 | 87.2449 | 12.2116 | 21.8876 | 85.9545 | 30 | 54.8445 | 1.5 | 93.456 | 45 | 38.6165
3292752.8829 | 1.5049 | 30.608 | 55.0726 | 44.2055 | 66.2418 | 88.2269 | 12.0974 | 21.9267 | 85.9634 | 30 | 53.9752 | 1.5 | 2.5963 | 45 | 39.6983
3292758.9359 | 1.5472 | 29.3083 | 56.3942 | 42.002 | 66.7842 | 87.0113 | 12.2518 | 22.0012 | 85.9639 | 30 | 56.2415 | 1.5 | 24.6361 | 45 | 39.6446
3292771.1709 | 1.4665 | 29.385 | 57.1134 | 43.1145 | 66.8269 | 87.1157 | 12.1437 | 21.9678 | 85.96 | 30 | 55.7215 | 1.5 | 79.7743 | 45 | 38.9914
3292777.3921 | 1.4458 | 30.2396 | 57.0274 | 45.444 | 66.356 | 88.2455 | 12.2111 | 22.0299 | 85.9619 | 30 | 53.8605 | 1.5 | 0 | 45 | 38.5652
3292793.844 | 1.5568 | 30.011 | 54.839 | 42.6566 | 66.193 | 86.5956 | 12.1835 | 22.0228 | 85.9577 | 30 | 55.8832 | 1.5 | 99.963 | 45 | 39.063
3292794.3759 | 1.55 | 30.0091 | 54.5193 | 43.345 | 66.5632 | 86.5487 | 12.2118 | 22.0111 | 85.9613 | 30 | 55.8802 | 1.5 | 99.6708 | 45 | 40
3292801.0469 | 1.4392 | 29.5826 | 56.6923 | 43.9412 | 66.7856 | 88.3135 | 12.2203 | 22.0941 | 85.9603 | 30 | 54.7505 | 1.5 | 70.6423 | 45 | 39.0503
3292804.0099 | 1.4369 | 28.8152 | 54.922 | 43.6892 | 66.3778 | 86.9681 | 12.1375 | 22.0796 | 85.9619 | 30 | 56.2012 | 1.5 | 16.5414 | 45 | 39.1682