## data
Time (sec) | Water Level (ft) | Water Flowrate (GPM) | House Steam Pressure (psig) | Steam Pressure (psig) | Inlet Water Temperature (C) | Outlet Water Temperature (C) | Water Feed Temperature (C) | Ambient Temperature (C) | Ambient Pressure (kPa) | Flow Setpoint (GPM) | Flow Control Output (%) | Level Setpoint (ft) | Level Control Output (%) | Steam Setpoint (psig) | Steam Control Output (%)
15437.6745 | 1.4384 | 38.604 | 56.554 | 43.6062 | 70.2091 | 85.8899 | 12.6014 | 21.6598 | 86.3702 | 40 | 67.9753 | 1.5 | 0 | 45 | 38.7263
15439.9658 | 1.5083 | 40.0293 | 54.3533 | 44.1778 | 68.4429 | 85.806 | 12.5614 | 21.6139 | 86.3762 | 40 | 67.3487 | 1.5 | 2.3289 | 45 | 39.1689
15450.2448 | 1.5668 | 38.941 | 54.1997 | 43.4249 | 70.2709 | 86.2153 | 12.6315 | 21.7706 | 86.3823 | 40 | 67.7319 | 1.5 | 89.2287 | 45 | 39.0994
15460.5099 | 1.4642 | 38.9857 | 55.3246 | 43.4126 | 69.8237 | 86.7693 | 12.6925 | 21.7434 | 86.3864 | 40 | 66.6377 | 1.5 | 72.0971 | 45 | 39.4884
15464.7668 | 1.4232 | 39.4899 | 54.3718 | 44.6757 | 69.4541 | 86.2095 | 12.5667 | 21.6399 | 86.3795 | 40 | 67.6254 | 1.5 | 1.0079 | 45 | 38.5556
15466.7878 | 1.4413 | 41.2174 | 54.8605 | 45.0383 | 69.2079 | 86.0423 | 12.532 | 21.4262 | 86.3775 | 40 | 65.9113 | 1.5 | 0.7843 | 45 | 38.6389
15478.9308 | 1.5502 | 41.0299 | 54.3011 | 44.4944 | 69.4582 | 85.4241 | 12.6333 | 21.6439 | 86.3767 | 40 | 66.7161 | 1.5 | 34.8462 | 45 | 38.9337
15493.3868 | 1.4816 | 41.0258 | 55.4229 | 43.0162 | 68.9729 | 86.237 | 12.5502 | 21.7037 | 86.3747 | 40 | 66.3639 | 1.5 | 77.0464 | 45 | 39.6501
15499.2169 | 1.4514 | 39.4351 | 55.1955 | 45.696 | 69.5265 | 86.5245 | 12.6208 | 21.673 | 86.3817 | 40 | 66.2191 | 1.5 | 1.5344 | 45 | 38.837
15505.7718 | 1.492 | 41.7792 | 56.5079 | 43.4741 | 69.425 | 86.286 | 12.6713 | 21.7694 | 86.3799 | 40 | 65.1304 | 1.5 | 1.2258 | 45 | 39.4489
15512.7038 | 1.5627 | 39.1834 | 55.8686 | 42.2817 | 70.5131 | 86.0348 | 12.5456 | 21.6649 | 86.3792 | 40 | 67.8354 | 1.5 | 61.1871 | 45 | 39.6263
15519.8733 | 1.5389 | 40.0163 | 54.3318 | 44.8939 | 70.3575 | 87.4367 | 12.501 | 21.5725 | 86.3735 | 40 | 65.6208 | 1.5 | 99.9175 | 45 | 38.6734
15524.4768 | 1.4546 | 38.3267 | 56.594 | 42.7519 | 69.305 | 85.8855 | 12.5351 | 21.544 | 86.3761 | 40 | 68.6529 | 1.5 | 66.4134 | 45 | 39.4685
15526.119 | 1.4673 | 40.394 | 55.1279 | 44.9062 | 70.1902 | 85.6903 | 12.5974 | 21.6302 | 86.3833 | 40 | 67.2226 | 1.5 | 50.8935 | 45 | 38.7077
15530.1778 | 1.4305 | 40.7514 | 55.9332 | 44.9861 | 70.4454 | 87.0372 | 12.4971 | 21.6793 | 86.3849 | 40 | 65.4108 | 1.5 | 0.010073 | 45 | 38.3596
15534.3399 | 1.4302 | 38.9517 | 57.2149 | 44.2731 | 69.4533 | 86.3407 | 12.5128 | 21.6143 | 86.3798 | 40 | 67.3603 | 1.5 | 0 | 45 | 38.9727
15537.5053 | 1.4856 | 40.4345 | 56.9475 | 43.2221 | 69.8917 | 86.3338 | 12.5169 | 21.6843 | 86.376 | 40 | 66.5598 | 1.5 | 0.42228 | 45 | 39.1017
15542.3598 | 1.5277 | 39.5872 | 56.8983 | 44.0611 | 69.4713 | 87.4738 | 12.5119 | 21.5984 | 86.3752 | 40 | 66.0551 | 1.5 | 28.2268 | 45 | 38.8475
15546.6008 | 1.5204 | 39.7172 | 57.2149 | 43.2497 | 70.2422 | 86.3911 | 12.5775 | 21.7146 | 86.3708 | 40 | 67.2018 | 1.5 | 69.9207 | 45 | 39.4107
15551.3668 | 1.5127 | 40.8855 | 54.8082 | 44.1778 | 70.0342 | 87.3549 | 12.5235 | 21.6396 | 86.3759 | 40 | 64.9113 | 1.5 | 97.0041 | 45 | 39.012
15567.1068 | 1.471 | 39.0087 | 54.799 | 44.4206 | 69.6101 | 85.9411 | 12.6315 | 21.6187 | 86.3783 | 40 | 67.7862 | 1.5 | 1.3929 | 45 | 38.9352
15573.2548 | 1.5251 | 40.5193 | 56.9628 | 43.7906 | 70.5784 | 87.5884 | 12.514 | 21.6666 | 86.3811 | 40 | 65.5428 | 1.5 | 16.4196 | 45 | 38.8999
15585.5698 | 1.52 | 41.1615 | 54.8205 | 43.1422 | 70.4867 | 86.7939 | 12.4691 | 21.6633 | 86.3788 | 40 | 65.1337 | 1.5 | 99.719 | 45 | 39.372
15588.2485 | 1.4536 | 40.087 | 56.9782 | 44.7556 | 69.1345 | 87.6282 | 12.5479 | 21.6318 | 86.3795 | 40 | 65.4566 | 1.5 | 88.9174 | 45 | 38.739
15599.6678 | 1.4694 | 39.8471 | 55.1863 | 45.2504 | 69.5267 | 87.4096 | 12.5392 | 21.7227 | 86.3731 | 40 | 65.9284 | 1.5 | 1.612 | 45 | 38.526
15604.3404 | 1.5159 | 39.7335 | 56.763 | 43.4925 | 70.2491 | 86.4178 | 12.6294 | 21.7367 | 86.3783 | 40 | 67.7756 | 1.5 | 9.8887 | 45 | 39.1112
15608.2619 | 1.5558 | 41.3555 | 56.1176 | 44.9646 | 71.2912 | 86.8689 | 12.5209 | 21.7032 | 86.3813 | 40 | 65.6343 | 1.5 | 54.5307 | 45 | 38.5763
15610.342 | 1.5443 | 41.104 | 56.1729 | 44.7525 | 70.5833 | 88.1687 | 12.4669 | 21.6326 | 86.3767 | 40 | 64.9654 | 1.5 | 79.3367 | 45 | 38.5061
15618.1258 | 1.4747 | 41.2655 | 56.05 | 41.9897 | 70.8273 | 86.2944 | 12.5081 | 21.6457 | 86.3724 | 40 | 66.2798 | 1.5 | 81.1319 | 45 | 39.716
15625.1608 | 1.4117 | 38.3662 | 57.095 | 45.1889 | 69.9004 | 86.451 | 12.4891 | 21.5187 | 86.3827 | 40 | 67.7823 | 1.5 | 0 | 45 | 38.3663
15630.9918 | 1.4888 | 41.2508 | 56.0131 | 44.9461 | 70.7967 | 85.8826 | 12.6078 | 21.5458 | 86.3828 | 40 | 65.7582 | 1.5 | 1.2703 | 45 | 38.5658
15639.3415 | 1.5643 | 39.1015 | 54.7775 | 43.5478 | 70.6559 | 86.3382 | 12.4556 | 21.5746 | 86.3795 | 40 | 67.9482 | 1.5 | 86.384 | 45 | 39.1647
15643.5082 | 1.5308 | 40.9427 | 54.5255 | 43.5294 | 70.721 | 86.7379 | 12.4871 | 21.4485 | 86.3839 | 40 | 66.4849 | 1.5 | 100 | 45 | 39.0879
15653.7258 | 1.4241 | 39.0196 | 55.0418 | 45.0599 | 69.7729 | 86.2305 | 12.4641 | 21.573 | 86.38 | 40 | 68.1647 | 1.5 | 13.2616 | 45 | 38.6505
15657.7968 | 1.4064 | 41.0478 | 57.0489 | 43.1637 | 70.1325 | 86.1222 | 12.3925 | 21.5444 | 86.3808 | 40 | 66.2941 | 1.5 | 0.29023 | 45 | 39.5833
15670.0536 | 1.5424 | 40.5511 | 56.428 | 44.7095 | 70.6436 | 86.4047 | 12.5872 | 21.6112 | 86.3819 | 40 | 66.1485 | 1.5 | 43.5261 | 45 | 38.5577
15674.6448 | 1.5346 | 39.3059 | 57.2978 | 44.27 | 70.4592 | 86.3469 | 12.5677 | 21.6097 | 86.3806 | 40 | 67.1902 | 1.5 | 99.9706 | 45 | 38.7556
15685.2488 | 1.4517 | 39.2692 | 54.2519 | 43.3757 | 69.6057 | 86.9798 | 12.5006 | 21.6242 | 86.3805 | 40 | 66.5813 | 1.5 | 23.5389 | 45 | 39.0054
15685.6707 | 1.4351 | 38.6274 | 56.1729 | 42.7949 | 69.7173 | 87.1906 | 12.4705 | 21.6502 | 86.3766 | 40 | 67.2345 | 1.5 | 15.5977 | 45 | 39.5055
15696.6888 | 1.5178 | 40.1121 | 56.6739 | 43.7169 | 71.0786 | 87.6708 | 12.5037 | 21.6515 | 86.3883 | 40 | 65.5732 | 1.5 | 9.1827 | 45 | 39.3474
15703.0258 | 1.567 | 40.1393 | 54.8605 | 42.2264 | 69.642 | 86.6729 | 12.4676 | 21.7051 | 86.3815 | 40 | 67.7321 | 1.5 | 77.1754 | 45 | 39.8222
15708.9934 | 1.5319 | 40.9474 | 53.6495 | 42.6474 | 70.3696 | 86.2032 | 12.5389 | 21.6309 | 86.3836 | 40 | 65.4847 | 1.5 | 100 | 45 | 39.279
15713.0499 | 1.4335 | 38.9032 | 56.7477 | 43.4372 | 70.3988 | 87.0686 | 12.5292 | 21.5942 | 86.3808 | 40 | 66.7575 | 1.5 | 74.9946 | 45 | 39.0093
15715.3548 | 1.454 | 38.8078 | 54.3072 | 44.519 | 71.2325 | 85.9721 | 12.5111 | 21.6291 | 86.3784 | 40 | 67.9143 | 1.5 | 43.9603 | 45 | 38.252
15721.1038 | 1.4463 | 40.7989 | 56.1022 | 42.8717 | 69.4621 | 87.0164 | 12.3971 | 21.6865 | 86.38 | 40 | 64.9883 | 1.5 | 0 | 45 | 38.9032
15723.477 | 1.4529 | 39.3846 | 56.4803 | 42.6535 | 70.5201 | 87.1247 | 12.4632 | 21.7326 | 86.3773 | 40 | 66.1179 | 1.5 | 0.67609 | 45 | 39.8335
15729.3988 | 1.5653 | 40.0892 | 54.3533 | 43.3788 | 71.3454 | 86.469 | 12.444 | 21.642 | 86.3811 | 40 | 67.4932 | 1.5 | 38.0088 | 45 | 39.4099
15729.8304 | 1.5369 | 41.0701 | 56.4588 | 43.4679 | 71.2658 | 86.4411 | 12.5521 | 21.6482 | 86.3809 | 40 | 66.6697 | 1.5 | 42.0444 | 45 | 39.0059
15737.6649 | 1.5097 | 38.8045 | 56.9321 | 44.227 | 70.1633 | 86.8481 | 12.4272 | 21.705 | 86.3793 | 40 | 67.2016 | 1.5 | 98.2273 | 45 | 38.9238
15740.74 | 1.467 | 40.4389 | 56.0899 | 44.9615 | 69.4928 | 86.0731 | 12.5363 | 21.6453 | 86.38 | 40 | 66.8392 | 1.5 | 89.3022 | 45 | 38.5735
15743.4888 | 1.4667 | 41.301 | 54.2458 | 43.9412 | 70.5233 | 87.1151 | 12.521 | 21.7049 | 86.3832 | 40 | 65.3094 | 1.5 | 66.2823 | 45 | 39.0026
15745.9274 | 1.4455 | 39.9379 | 54.0275 | 44.5589 | 69.6836 | 87.09 | 12.4949 | 21.5901 | 86.3843 | 40 | 65.6113 | 1.5 | 30.4425 | 45 | 38.8821
15748.7038 | 1.4123 | 38.4283 | 56.3204 | 43.4925 | 70.0314 | 87.1584 | 12.3943 | 21.7178 | 86.38 | 40 | 67.5301 | 1.5 | 0 | 45 | 38.812
15754.5298 | 1.4733 | 41.0785 | 56.093 | 44.6142 | 70.1278 | 87.0026 | 12.4886 | 21.6422 | 86.3829 | 40 | 66.212 | 1.5 | 0.26255 | 45 | 38.7307
15764.1858 | 1.5182 | 39.7942 | 56.6585 | 44.2362 | 70.6069 | 86.5509 | 12.474 | 21.7655 | 86.3815 | 40 | 67.6498 | 1.5 | 66.5112 | 45 | 38.8984
15772.6168 | 1.4857 | 40.1934 | 56.6278 | 43.597 | 70.9726 | 87.1597 | 12.4951 | 21.6709 | 86.3729 | 40 | 65.4169 | 1.5 | 97.022 | 45 | 39.1204
15780.7518 | 1.4265 | 40.9408 | 54.129 | 43.5724 | 69.7735 | 86.0739 | 12.5213 | 21.6748 | 86.3773 | 40 | 66.3226 | 1.5 | 0 | 45 | 38.9128
15783.3912 | 1.4408 | 41.0644 | 54.0429 | 44.27 | 69.8641 | 86.5541 | 12.5905 | 21.6245 | 86.3775 | 40 | 65.3193 | 1.5 | 1.4987 | 45 | 38.9757
15783.9813 | 1.4403 | 40.7708 | 54.3226 | 43.6923 | 70.1907 | 86.757 | 12.6119 | 21.6041 | 86.3835 | 40 | 65.3381 | 1.5 | 1.2375 | 45 | 38.9098
15801.5138 | 1.5093 | 38.7262 | 53.7202 | 43.6277 | 69.9074 | 86.1818 | 12.4705 | 21.6699 | 86.38 | 40 | 68.0775 | 1.5 | 89.1999 | 45 | 38.9987
15809.7598 | 1.453 | 40.042 | 54.464 | 43.9258 | 70.3662 | 87.2703 | 12.4624 | 21.6024 | 86.3776 | 40 | 65.6526 | 1.5 | 31.0165 | 45 | 38.6974
15813.8368 | 1.4544 | 38.7471 | 54.7437 | 45.4348 | 70.0675 | 86.5276 | 12.6112 | 21.7538 | 86.3754 | 40 | 68.4118 | 1.5 | 0.75194 | 45 | 38.356
15817.9388 | 1.491 | 40.891 | 55.7426 | 44.7925 | 70.1762 | 86.6913 | 12.5619 | 21.73 | 86.3778 | 40 | 66.5216 | 1.5 | 1.0063 | 45 | 38.8754
15820.3949 | 1.5398 | 41.0499 | 55.131 | 43.0776 | 70.4551 | 86.4358 | 12.5276 | 21.6854 | 86.3743 | 40 | 65.5499 | 1.5 | 12.0827 | 45 | 39.5426
15827.7358 | 1.5353 | 38.9451 | 55.2693 | 43.9996 | 69.8388 | 86.5846 | 12.5646 | 21.6486 | 86.3789 | 40 | 67.8254 | 1.5 | 86.3253 | 45 | 39.0614
15834.1548 | 1.4915 | 40.6762 | 53.6864 | 44.101 | 70.1935 | 86.6557 | 12.6282 | 21.6948 | 86.3831 | 40 | 66.089 | 1.5 | 94.4966 | 45 | 38.7111
15849.195 | 1.4868 | 40.3721 | 55.6227 | 44.9277 | 69.3956 | 87.5968 | 12.5034 | 21.5894 | 86.3818 | 40 | 65.6342 | 1.5 | 1.2149 | 45 | 38.4228
15850.7453 | 1.532 | 39.7434 | 54.1628 | 44.7095 | 70.2941 | 87.1698 | 12.6088 | 21.6488 | 86.3774 | 40 | 66.0397 | 1.5 | 5.7191 | 45 | 39.5101
15856.8468 | 1.5633 | 40.7489 | 54.2949 | 43.5939 | 71.0292 | 86.8832 | 12.5684 | 21.6932 | 86.382 | 40 | 66.5235 | 1.5 | 71.2107 | 45 | 39.4581
15860.8908 | 1.5485 | 39.9669 | 54.4025 | 42.6044 | 70.5937 | 87.1658 | 12.594 | 21.5786 | 86.3809 | 40 | 65.8874 | 1.5 | 99.8545 | 45 | 39.442
15865.3018 | 1.4672 | 39.6475 | 56.4772 | 43.5755 | 70.0475 | 86.2019 | 12.6748 | 21.5834 | 86.3854 | 40 | 67.4944 | 1.5 | 89.0141 | 45 | 39.1172
15873.3827 | 1.4289 | 39.1992 | 55.6043 | 43.0193 | 69.1648 | 86.7908 | 12.5074 | 21.4876 | 86.3841 | 40 | 66.4414 | 1.5 | 0 | 45 | 39.5247
15885.5282 | 1.5466 | 40.1665 | 54.212 | 43.1483 | 70.6774 | 86.6861 | 12.5055 | 21.5262 | 86.3825 | 40 | 65.9073 | 1.5 | 39.6586 | 45 | 39.5526
15895.7334 | 1.4979 | 41.1352 | 53.5019 | 43.0561 | 70.9243 | 86.3485 | 12.6155 | 21.6291 | 86.3803 | 40 | 66.1093 | 1.5 | 98.8234 | 45 | 39.2423
15896.2708 | 1.4753 | 41.1268 | 54.5101 | 44.0549 | 70.4629 | 86.0056 | 12.5878 | 21.4874 | 86.3772 | 40 | 65.9054 | 1.5 | 94.3046 | 45 | 39.2414
15902.1164 | 1.4397 | 39.2829 | 53.2315 | 43.6431 | 70.8584 | 86.375 | 12.5654 | 21.5601 | 86.3793 | 40 | 66.8063 | 1.5 | 15.0308 | 45 | 39.2428
15916.3041 | 1.529 | 40.7693 | 55.9916 | 43.5417 | 70.4957 | 86.6684 | 12.5035 | 21.6563 | 86.3912 | 40 | 66.843 | 1.5 | 37.989 | 45 | 39.3021
15920.7718 | 1.5428 | 40.0651 | 54.8513 | 42.9977 | 70.4598 | 87.6054 | 12.6584 | 21.5057 | 86.3819 | 40 | 65.6376 | 1.5 | 88.6232 | 45 | 39.427
15922.4899 | 1.5334 | 39.4456 | 53.5204 | 43.8859 | 70.0848 | 87.2077 | 12.5478 | 21.6095 | 86.3864 | 40 | 66.2596 | 1.5 | 99.7598 | 45 | 39.2117
15928.6758 | 1.446 | 40.3776 | 56.2928 | 43.1914 | 70.5689 | 86.5396 | 12.6144 | 21.6349 | 86.3859 | 40 | 67.0647 | 1.5 | 85.721 | 45 | 39.4984
15934.8778 | 1.3965 | 39.1304 | 55.8717 | 42.1956 | 69.4722 | 86.9795 | 12.5038 | 21.525 | 86.3865 | 40 | 66.5854 | 1.5 | 0 | 45 | 39.8612
15936.4534 | 1.4017 | 38.6502 | 56.2006 | 43.6892 | 69.2669 | 86.6718 | 12.4926 | 21.5338 | 86.3837 | 40 | 67.5589 | 1.5 | 0 | 45 | 38.5131
15939.0636 | 1.46 | 39.2614 | 53.4558 | 44.6757 | 70.9234 | 85.8449 | 12.6387 | 21.5693 | 86.3871 | 40 | 68.1024 | 1.5 | 1.5997 | 45 | 39.216
15948.6948 | 1.565 | 38.7539 | 55.0572 | 42.4507 | 70.5484 | 86.0715 | 12.6046 | 21.5547 | 86.3811 | 40 | 67.944 | 1.5 | 45.4154 | 45 | 39.4755
15949.2409 | 1.5379 | 38.7536 | 56.0899 | 44.2055 | 69.8116 | 86.3601 | 12.554 | 21.6433 | 86.3837 | 40 | 68.1775 | 1.5 | 52.2761 | 45 | 38.9077
15961.6033 | 1.4473 | 38.3754 | 56.4065 | 43.2989 | 70.003 | 86.3991 | 12.5786 | 21.6225 | 86.3828 | 40 | 69.0342 | 1.5 | 54.7457 | 45 | 38.725
15962.4558 | 1.4632 | 39.7102 | 55.466 | 42.1096 | 70.1591 | 86.2178 | 12.5721 | 21.5662 | 86.3792 | 40 | 68.1848 | 1.5 | 47.6261 | 45 | 39.743
15980.0699 | 1.5549 | 38.8518 | 54.5132 | 42.2755 | 70.0776 | 87.404 | 12.3909 | 21.5428 | 86.3772 | 40 | 66.6426 | 1.5 | 44.8302 | 45 | 39.7578
15986.3378 | 1.4961 | 40.8632 | 56.5325 | 43.8951 | 70.5333 | 86.8492 | 12.4581 | 21.5768 | 86.3801 | 40 | 66.9248 | 1.5 | 97.4617 | 45 | 38.9351
15994.6418 | 1.464 | 38.8259 | 53.7048 | 42.8472 | 70.4806 | 87.184 | 12.5398 | 21.6404 | 86.372 | 40 | 67.0858 | 1.5 | 73.4129 | 45 | 38.9957
16002.5608 | 1.4201 | 41.0471 | 55.9793 | 44.2762 | 69.9151 | 86.2731 | 12.4688 | 21.6301 | 86.3796 | 40 | 65.8434 | 1.5 | 0 | 45 | 39.0026
16010.4088 | 1.4807 | 39.1048 | 56.5079 | 43.0961 | 70.6112 | 86.3526 | 12.4639 | 21.6228 | 86.3816 | 40 | 68.2076 | 1.5 | 1.5039 | 45 | 39.0921
16025.0868 | 1.4655 | 38.8669 | 56.3358 | 43.1299 | 70.8745 | 86.0398 | 12.4237 | 21.6117 | 86.3839 | 40 | 68.0946 | 1.5 | 93.0292 | 45 | 39.4854
16031.1118 | 1.4361 | 40.8744 | 53.6464 | 43.9289 | 70.1675 | 85.8533 | 12.486 | 21.6547 | 86.3824 | 40 | 66.0946 | 1.5 | 5.8106 | 45 | 39.0052
16040.9856 | 1.5216 | 39.4099 | 55.383 | 42.8717 | 69.6692 | 86.1908 | 12.3961 | 21.5886 | 86.3851 | 40 | 68.2205 | 1.5 | 12.5322 | 45 | 39.1291
16045.5585 | 1.5132 | 41.0887 | 56.2006 | 43.8582 | 69.9027 | 87.4155 | 12.4787 | 21.6318 | 86.3828 | 40 | 64.9662 | 1.5 | 40.8964 | 45 | 38.9879
16055.7848 | 1.5016 | 41.2545 | 54.7222 | 43.1053 | 70.9238 | 86.5844 | 12.4077 | 21.6483 | 86.3824 | 40 | 65.9636 | 1.5 | 95.0462 | 45 | 39.618
16056.4469 | 1.4933 | 41.3043 | 55.1279 | 45.2289 | 71.0201 | 86.8738 | 12.4223 | 21.6065 | 86.3794 | 40 | 65.6382 | 1.5 | 93.612 | 45 | 38.3804
16059.6035 | 1.4556 | 39.8832 | 53.7755 | 44.3192 | 70.4914 | 87.0204 | 12.3528 | 21.5898 | 86.3871 | 40 | 65.8062 | 1.5 | 65.8647 | 45 | 39.4382
16064.1139 | 1.4348 | 39.5209 | 54.338 | 44.1594 | 70.0002 | 85.9731 | 12.3707 | 21.5304 | 86.381 | 40 | 67.7238 | 1.5 | 1.5116 | 45 | 39.7857
16074.0948 | 1.5353 | 39.1325 | 54.3841 | 43.8951 | 69.7094 | 87.079 | 12.4022 | 21.5386 | 86.3867 | 40 | 66.8189 | 1.5 | 11.8403 | 45 | 39.325
16083.6908 | 1.5523 | 38.973 | 54.9281 | 43.0469 | 70.5045 | 87.1715 | 12.4797 | 21.5999 | 86.3865 | 40 | 66.6238 | 1.5 | 100 | 45 | 39.5162
16092.0898 | 1.4633 | 40.6703 | 56.219 | 44.2639 | 69.9852 | 87.4243 | 12.4192 | 21.5958 | 86.3848 | 40 | 65.4931 | 1.5 | 88.4829 | 45 | 38.9358
16096.5038 | 1.4173 | 39.2977 | 54.3994 | 43.4096 | 69.5829 | 86.0077 | 12.3842 | 21.7149 | 86.3896 | 40 | 67.2693 | 1.5 | 0.6706 | 45 | 39.7154
16105.1938 | 1.4899 | 38.7006 | 56.3604 | 42.6105 | 70.4718 | 87.2231 | 12.4643 | 21.6822 | 86.3813 | 40 | 67.293 | 1.5 | 1.5891 | 45 | 38.7786
16112.5957 | 1.55 | 40.3695 | 56.3727 | 44.7034 | 70.0014 | 87.5578 | 12.4919 | 21.5691 | 86.3837 | 40 | 65.3361 | 1.5 | 61.791 | 45 | 38.5681
16125.3018 | 1.4478 | 39.5097 | 55.2877 | 44.774 | 69.7447 | 87.1922 | 12.5919 | 21.7381 | 86.3837 | 40 | 66.2316 | 1.5 | 54.0073 | 45 | 38.5465
16125.8443 | 1.4607 | 38.7542 | 54.2089 | 43.8029 | 68.5569 | 87.0459 | 12.4359 | 21.6101 | 86.381 | 40 | 66.9961 | 1.5 | 48.0307 | 45 | 39.3778
16140.6418 | 1.5485 | 40.7248 | 56.1575 | 42.881 | 70.6581 | 86.3573 | 12.4738 | 21.7544 | 86.3853 | 40 | 66.801 | 1.5 | 32.6976 | 45 | 39.6324
16145.4005 | 1.5502 | 40.2078 | 55.3154 | 41.7439 | 70.1026 | 87.2201 | 12.4121 | 21.7712 | 86.3799 | 40 | 65.0453 | 1.5 | 88.6055 | 45 | 39.7507
16152.1138 | 1.4925 | 41.1377 | 55.3246 | 45.4163 | 70.6923 | 86.5 | 12.4028 | 21.66 | 86.3845 | 40 | 66.5885 | 1.5 | 96.1225 | 45 | 38.452
16156.2544 | 1.4459 | 40.3047 | 55.9547 | 42.9271 | 70.2662 | 87.6756 | 12.4165 | 21.6843 | 86.378 | 40 | 65.439 | 1.5 | 63.1867 | 45 | 39.6007
16162.3248 | 1.4229 | 40.1706 | 56.1637 | 45.3242 | 70.6112 | 86.1979 | 12.4362 | 21.6809 | 86.3845 | 40 | 67.5132 | 1.5 | 0.52382 | 45 | 38.5987
16174.5854 | 1.541 | 41.1505 | 56.2252 | 43.01 | 70.6968 | 86.8737 | 12.5019 | 21.6243 | 86.3826 | 40 | 66.4807 | 1.5 | 40.124 | 45 | 39.6479
16179.0568 | 1.5432 | 39.7356 | 54.7929 | 43.5909 | 70.2102 | 87.5168 | 12.5024 | 21.6916 | 86.3903 | 40 | 65.914 | 1.5 | 83.5894 | 45 | 39.1607
16179.8385 | 1.519 | 39.0294 | 57.4915 | 43.3143 | 70.3215 | 87.6417 | 12.3424 | 21.6115 | 86.3854 | 40 | 66.5552 | 1.5 | 87.6953 | 45 | 39.4314
16202.2598 | 1.5283 | 40.8231 | 54.5654 | 43.9258 | 70.2329 | 86.9789 | 12.4745 | 21.5254 | 86.3881 | 40 | 65.8412 | 1.5 | 9.141 | 45 | 39.0338
16203.0567 | 1.5067 | 40.8487 | 56.8645 | 43.2467 | 71.0712 | 87.1382 | 12.4437 | 21.5835 | 86.3844 | 40 | 65.5945 | 1.5 | 10.9659 | 45 | 38.9113
16213.3976 | 1.5184 | 40.3235 | 57.0059 | 45.1428 | 70.6141 | 86.7473 | 12.3431 | 21.4812 | 86.3798 | 40 | 67.2001 | 1.5 | 98.9101 | 45 | 38.63
16217.6588 | 1.5066 | 40.8535 | 54.5593 | 42.9609 | 70.761 | 86.416 | 12.6052 | 21.6497 | 86.387 | 40 | 65.6816 | 1.5 | 93.7936 | 45 | 39.4256
16224.9298 | 1.4303 | 40.2749 | 54.9957 | 45.1613 | 70.0716 | 86.4192 | 12.5143 | 21.5438 | 86.3898 | 40 | 67.3575 | 1.5 | 0.90315 | 45 | 38.4655
16226.0689 | 1.407 | 40.9998 | 57.2456 | 43.8214 | 69.9131 | 86.3147 | 12.4818 | 21.4906 | 86.382 | 40 | 66.7036 | 1.5 | 0 | 45 | 39.2542
16231.4089 | 1.4752 | 39.6548 | 55.6043 | 44.8417 | 70.2003 | 86.8975 | 12.4452 | 21.3655 | 86.3821 | 40 | 65.932 | 1.5 | 0.88726 | 45 | 38.799
16232.2777 | 1.4873 | 38.9068 | 54.507 | 42.6413 | 69.3195 | 87.3218 | 12.4209 | 21.4799 | 86.3822 | 40 | 66.667 | 1.5 | 1.7723 | 45 | 39.8868
16242.4958 | 1.5573 | 40.1449 | 54.4087 | 44.5005 | 70.3061 | 87.6825 | 12.421 | 21.4603 | 86.3782 | 40 | 65.5339 | 1.5 | 99.5416 | 45 | 38.7078
16244.3233 | 1.519 | 38.7139 | 54.6884 | 44.1471 | 70.4165 | 87.198 | 12.5788 | 21.5134 | 86.3859 | 40 | 66.8777 | 1.5 | 100 | 45 | 38.1459
16252.3058 | 1.4375 | 41.2778 | 55.9977 | 45.3057 | 70.1925 | 87.0049 | 12.5157 | 21.575 | 86.3825 | 40 | 65.3122 | 1.5 | 32.8655 | 45 | 38.4866
16256.5858 | 1.4526 | 38.5001 | 55.6873 | 43.9935 | 69.7944 | 86.9632 | 12.4456 | 21.6434 | 86.3926 | 40 | 67.3597 | 1.5 | 1.5625 | 45 | 39.1259
16258.5988 | 1.4598 | 38.7304 | 56.8952 | 44.5927 | 70.2747 | 86.0718 | 12.6124 | 21.5189 | 86.384 | 40 | 68.2715 | 1.5 | 0 | 45 | 39.0064
16259.1899 | 1.477 | 39.435 | 55.3523 | 45.1828 | 70.5632 | 86.2736 | 12.5011 | 21.5519 | 86.3823 | 40 | 67.9865 | 1.5 | 1.0463 | 45 | 38.3098
16265.3618 | 1.533 | 40.9536 | 55.5367 | 44.5343 | 71.215 | 86.9563 | 12.4662 | 21.4217 | 86.3884 | 40 | 65.7842 | 1.5 | 28.1091 | 45 | 38.723
16270.7648 | 1.5453 | 38.6288 | 55.4229 | 44.771 | 70.9895 | 87.926 | 12.4242 | 21.4775 | 86.3871 | 40 | 67.2389 | 1.5 | 80.1179 | 45 | 38.6961
16274.9459 | 1.5255 | 40.6707 | 54.9127 | 45.1428 | 70.2367 | 86.7574 | 12.463 | 21.4102 | 86.3794 | 40 | 66.8069 | 1.5 | 99.9255 | 45 | 38.2361
16276.5038 | 1.5002 | 41.8336 | 55.4783 | 45.2504 | 71.0134 | 86.6464 | 12.4763 | 21.5913 | 86.3761 | 40 | 65.1821 | 1.5 | 97.3763 | 45 | 38.0515
16281.8699 | 1.4359 | 38.1732 | 54.8082 | 43.8183 | 69.5404 | 87.1962 | 12.5162 | 21.4539 | 86.3829 | 40 | 67.5842 | 1.5 | 33.2572 | 45 | 39.0505
16283.1388 | 1.3933 | 38.2981 | 57.2671 | 44.0918 | 70.4197 | 85.8113 | 12.5258 | 21.4171 | 86.3853 | 40 | 68.2426 | 1.5 | 5.768 | 45 | 39.6705
16289.2378 | 1.4728 | 41.0778 | 53.8954 | 44.015 | 70.4129 | 87.6123 | 12.4521 | 21.5081 | 86.3809 | 40 | 64.8936 | 1.5 | 1.6652 | 45 | 39.2802
16293.7772 | 1.5159 | 38.4785 | 55.6719 | 44.522 | 70.9134 | 86.3631 | 12.5103 | 21.4924 | 86.3854 | 40 | 68.1507 | 1.5 | 5.1797 | 45 | 38.4684
16324.9068 | 1.5139 | 37.9465 | 56.2805 | 44.101 | 70.2873 | 87.5996 | 12.5147 | 21.4899 | 86.3806 | 40 | 67.6379 | 1.5 | 6.9971 | 45 | 39.0807
16332.3089 | 1.5541 | 41.6688 | 55.3984 | 43.9504 | 71.5416 | 87.5062 | 12.4989 | 21.4981 | 86.3844 | 40 | 65.1823 | 1.5 | 74.7791 | 45 | 39.0417
16333.7068 | 1.5536 | 40.4574 | 55.4967 | 43.1022 | 70.249 | 87.9793 | 12.4849 | 21.485 | 86.3748 | 40 | 65.5222 | 1.5 | 89.094 | 45 | 39.5914
16335.5579 | 1.5516 | 38.9293 | 54.8636 | 45.1029 | 69.9876 | 87.8142 | 12.4557 | 21.5077 | 86.3813 | 40 | 66.6837 | 1.5 | 100 | 45 | 38.5806
16338.6848 | 1.5194 | 39.7557 | 55.8778 | 42.5122 | 70.9891 | 86.395 | 12.5339 | 21.4671 | 86.3797 | 40 | 67.1224 | 1.5 | 99.8021 | 45 | 39.8847
16341.3793 | 1.4973 | 41.0256 | 56.3727 | 45.3211 | 70.1648 | 87.3627 | 12.4962 | 21.4488 | 86.3802 | 40 | 65.7979 | 1.5 | 98.7511 | 45 | 38.4893
16367.0837 | 1.5332 | 40.6951 | 56.677 | 42.7918 | 71.2269 | 88.0195 | 12.4141 | 21.409 | 86.3823 | 40 | 65.2413 | 1.5 | 62.976 | 45 | 39.6369
16369.02 | 1.5472 | 40.0635 | 56.4188 | 42.5183 | 70.1936 | 87.3548 | 12.4764 | 21.4008 | 86.3747 | 40 | 65.5551 | 1.5 | 84.0035 | 45 | 39.8832
16371.0688 | 1.5369 | 38.0946 | 54.0183 | 44.7464 | 69.7838 | 87.0147 | 12.4673 | 21.4052 | 86.3825 | 40 | 67.7477 | 1.5 | 99.7659 | 45 | 38.6508
16373.2633 | 1.5216 | 39.3051 | 54.9896 | 44.0273 | 70.822 | 86.0571 | 12.3641 | 21.3759 | 86.3835 | 40 | 67.8245 | 1.5 | 100 | 45 | 38.9477
16377.2388 | 1.4696 | 41.6109 | 57.6206 | 43.7445 | 68.7442 | 87.1645 | 12.4437 | 21.3881 | 86.3854 | 40 | 65.1284 | 1.5 | 92.1279 | 45 | 39.324
16389.4118 | 1.4901 | 40.8719 | 54.9896 | 45.1766 | 69.7353 | 87.0348 | 12.5325 | 21.3915 | 86.3804 | 40 | 64.9353 | 1.5 | 1.7989 | 45 | 38.7098
16395.5939 | 1.5266 | 39.6629 | 54.9926 | 43.3573 | 71.0223 | 86.5594 | 12.5029 | 21.4755 | 86.3889 | 40 | 67.7784 | 1.5 | 19.1715 | 45 | 39.6617
16408.0619 | 1.5513 | 41.407 | 55.4936 | 44.2916 | 71.159 | 86.5113 | 12.4328 | 21.4676 | 86.3826 | 40 | 66.3947 | 1.5 | 99.2609 | 45 | 38.6529
16417.7488 | 1.4313 | 39.7127 | 56.9352 | 43.5909 | 71.3346 | 85.7127 | 12.5294 | 21.4983 | 86.3825 | 40 | 67.6947 | 1.5 | 64.1147 | 45 | 38.9639
16426.3938 | 1.4473 | 38.2482 | 56.1944 | 44.5282 | 70.2381 | 86.6283 | 12.5354 | 21.6514 | 86.3828 | 40 | 67.6411 | 1.5 | 1.3578 | 45 | 38.5951
16436.819 | 1.5077 | 38.8777 | 56.9628 | 44.4483 | 70.056 | 87.1208 | 12.4908 | 21.5396 | 86.3892 | 40 | 67.1151 | 1.5 | 47.75 | 45 | 38.8352
16442.6457 | 1.5163 | 41.9345 | 56.5387 | 42.5767 | 71.3481 | 87.2258 | 12.5126 | 21.519 | 86.3863 | 40 | 64.832 | 1.5 | 65.3364 | 45 | 39.3024
16444.8938 | 1.5005 | 40.4966 | 57.1626 | 43.9689 | 69.7629 | 87.3904 | 12.5087 | 21.5701 | 86.3853 | 40 | 65.0361 | 1.5 | 75.783 | 45 | 38.6672
16451.3478 | 1.445 | 40.5499 | 56.6432 | 43.9904 | 70.964 | 86.3136 | 12.5387 | 21.6104 | 86.3786 | 40 | 67.4233 | 1.5 | 43.6857 | 45 | 38.8751
16465.3718 | 1.5404 | 41.4347 | 54.8052 | 45.527 | 70.0046 | 87.2361 | 12.433 | 21.6447 | 86.3865 | 40 | 65.2507 | 1.5 | 18.1786 | 45 | 38.272
16475.2088 | 1.5096 | 42.0335 | 57.0735 | 42.8379 | 71.0448 | 87.0729 | 12.5058 | 21.6288 | 86.3855 | 40 | 65.1793 | 1.5 | 98.4912 | 45 | 39.2717
16475.7178 | 1.5167 | 42.03 | 56.4495 | 41.9959 | 70.8902 | 87.3754 | 12.5121 | 21.5381 | 86.3839 | 40 | 64.8162 | 1.5 | 100 | 45 | 39.8181
16476.7143 | 1.5371 | 41.4428 | 53.8616 | 43.4956 | 69.7299 | 87.7097 | 12.4332 | 21.6273 | 86.3853 | 40 | 64.7009 | 1.5 | 100 | 45 | 38.8661
16480.2088 | 1.4673 | 37.9403 | 55.1986 | 44.6511 | 70.7608 | 87.5874 | 12.5684 | 21.6331 | 86.3796 | 40 | 67.1942 | 1.5 | 77.4676 | 45 | 38.4839
16481.0799 | 1.4747 | 37.9424 | 54.0091 | 44.602 | 70.0282 | 86.5564 | 12.5797 | 21.5654 | 86.3801 | 40 | 67.8053 | 1.5 | 69.3091 | 45 | 38.6752
16484.0934 | 1.4316 | 39.6921 | 56.2682 | 43.0961 | 71.021 | 86.4013 | 12.4962 | 21.5109 | 86.3835 | 40 | 67.7477 | 1.5 | 27.4542 | 45 | 38.7973
16486.0469 | 1.427 | 41.329 | 56.6001 | 42.9578 | 70.5159 | 86.4213 | 12.4235 | 21.6495 | 86.3811 | 40 | 65.9975 | 1.5 | 0.16779 | 45 | 39.4187
16492.1438 | 1.4733 | 38.5209 | 56.7907 | 43.8798 | 69.688 | 86.8455 | 12.4981 | 21.558 | 86.3821 | 40 | 67.8695 | 1.5 | 0 | 45 | 39.0878
16502.4239 | 1.5575 | 39.5359 | 54.4425 | 44.3407 | 70.9449 | 88.015 | 12.595 | 21.6526 | 86.3948 | 40 | 66.2026 | 1.5 | 78.4222 | 45 | 39.4542
16504.6955 | 1.5423 | 39.0044 | 56.2129 | 42.8994 | 72.0942 | 87.2742 | 12.5057 | 21.7203 | 86.3892 | 40 | 67.2247 | 1.5 | 99.4531 | 45 | 39.5332
16520.9868 | 1.4255 | 41.1914 | 56.4126 | 43.1606 | 70.549 | 86.4226 | 12.4984 | 21.723 | 86.3891 | 40 | 65.713 | 1.5 | 0 | 45 | 39.5578
16522.8698 | 1.4522 | 40.4615 | 54.4056 | 44.2762 | 70.6306 | 87.313 | 12.5933 | 21.6846 | 86.3856 | 40 | 65.5987 | 1.5 | 1.2626 | 45 | 39.0727
16532.8358 | 1.5437 | 41.0708 | 55.8256 | 41.9682 | 71.1146 | 87.098 | 12.4831 | 21.683 | 86.3816 | 40 | 66.1027 | 1.5 | 29.0487 | 45 | 40
16539.3508 | 1.546 | 38.6752 | 54.6914 | 44.3838 | 69.6144 | 87.6949 | 12.4745 | 21.7155 | 86.3765 | 40 | 67.1666 | 1.5 | 99.7572 | 45 | 38.5108
16549.9489 | 1.4366 | 39.9612 | 54.6453 | 43.7968 | 70.2174 | 86.963 | 12.5189 | 21.7057 | 86.3784 | 40 | 65.8755 | 1.5 | 26.9521 | 45 | 39.3099
16557.7618 | 1.485 | 40.9139 | 55.6627 | 42.5706 | 69.6357 | 86.1289 | 12.4612 | 21.7186 | 86.3811 | 40 | 66.7567 | 1.5 | 0.58749 | 45 | 39.6736
16558.4358 | 1.5036 | 40.8983 | 53.9814 | 44.0303 | 70.0725 | 86.4175 | 12.4384 | 21.6194 | 86.3832 | 40 | 66.5596 | 1.5 | 2.147 | 45 | 39.1151
16576.2098 | 1.4762 | 39.3863 | 56.7507 | 43.1545 | 69.6191 | 87.1159 | 12.5353 | 21.6482 | 86.3822 | 40 | 66.3406 | 1.5 | 95.6737 | 45 | 39.2842
16576.7869 | 1.4882 | 38.6604 | 55.7426 | 44.7587 | 69.6368 | 86.9963 | 12.5487 | 21.7585 | 86.381 | 40 | 67.0238 | 1.5 | 94.308 | 45 | 38.5196
16586.5748 | 1.4589 | 40.7114 | 54.8943 | 42.6843 | 69.9642 | 87.6718 | 12.4547 | 21.7172 | 86.3802 | 40 | 64.8017 | 1.5 | 1.1305 | 45 | 39.5012
16594.7273 | 1.501 | 41.3472 | 56.4372 | 43.9197 | 70.1378 | 86.6755 | 12.5042 | 21.6626 | 86.3898 | 40 | 65.429 | 1.5 | 15.3793 | 45 | 38.5429
16600.9708 | 1.5324 | 38.227 | 56.0377 | 42.1803 | 70.964 | 85.5405 | 12.5011 | 21.6497 | 86.3754 | 40 | 68.4523 | 1.5 | 73.829 | 45 | 39.8752
16614.4559 | 1.4515 | 40.5231 | 53.7294 | 43.9689 | 69.7632 | 86.3308 | 12.5297 | 21.6546 | 86.3842 | 40 | 66.9343 | 1.5 | 18.5277 | 45 | 39.1061
16625.1508 | 1.5193 | 40.4675 | 55.1648 | 42.9424 | 70.1102 | 86.5068 | 12.5125 | 21.7443 | 86.3793 | 40 | 67.4139 | 1.5 | 3.8257 | 45 | 39.7498
16635.6249 | 1.517 | 39.7212 | 54.5101 | 44.8693 | 69.5827 | 86.5518 | 12.4254 | 21.7369 | 86.3875 | 40 | 67.7168 | 1.5 | 99.2828 | 45 | 38.3066
16648.0598 | 1.4268 | 41.3522 | 54.2089 | 43.5817 | 70.5343 | 85.8845 | 12.4413 | 21.7245 | 86.382 | 40 | 66.0955 | 1.5 | 1.3022 | 45 | 39.4078
16654.3318 | 1.4574 | 38.3821 | 56.3665 | 44.3469 | 70.1187 | 86.5642 | 12.6223 | 21.6208 | 86.3874 | 40 | 67.4413 | 1.5 | 0 | 45 | 38.8998
16661.4668 | 1.5395 | 40.0642 | 54.0091 | 44.2455 | 70.3376 | 87.4424 | 12.4549 | 21.763 | 86.3839 | 40 | 65.5813 | 1.5 | 37.1037 | 45 | 38.9648
16670.4788 | 1.5102 | 41.3559 | 56.1637 | 43.2067 | 69.9959 | 87.1389 | 12.4622 | 21.6901 | 86.3808 | 40 | 65.6074 | 1.5 | 93.5374 | 45 | 39.4631
16678.0089 | 1.47 | 38.4994 | 53.5757 | 43.1268 | 70.1726 | 86.2281 | 12.5817 | 21.7774 | 86.3843 | 40 | 68.7415 | 1.5 | 56.2273 | 45 | 39.297
16688.9633 | 1.4974 | 38.9794 | 53.6556 | 44.2547 | 70.241 | 85.9133 | 12.5782 | 21.7681 | 86.381 | 40 | 68.0271 | 1.5 | 2.1941 | 45 | 39.5773
16695.2549 | 1.5636 | 41.3318 | 55.635 | 42.4108 | 70.9298 | 87.0329 | 12.4763 | 21.6789 | 86.3778 | 40 | 64.8487 | 1.5 | 48.8403 | 45 | 39.6207
16696.0248 | 1.5569 | 40.1991 | 55.1094 | 45.613 | 70.7236 | 87.4817 | 12.5031 | 21.6978 | 86.379 | 40 | 65.6241 | 1.5 | 61.7496 | 45 | 38.2571
16703.0388 | 1.5199 | 41.3224 | 54.7498 | 42.8717 | 69.1804 | 86.3585 | 12.547 | 21.5931 | 86.378 | 40 | 65.9152 | 1.5 | 99.3446 | 45 | 39.743
16705.3238 | 1.4802 | 40.7322 | 54.4486 | 46.0187 | 70.6944 | 87.4599 | 12.5319 | 21.5912 | 86.3792 | 40 | 64.8139 | 1.5 | 92.7645 | 45 | 38.4887
16711.6058 | 1.4285 | 39.7336 | 55.7856 | 43.0131 | 69.803 | 86.3496 | 12.6573 | 21.6097 | 86.3785 | 40 | 67.6635 | 1.5 | 0.86993 | 45 | 39.5121
16717.7009 | 1.4876 | 40.0423 | 55.8778 | 43.0592 | 70.1598 | 86.831 | 12.4067 | 21.6178 | 86.377 | 40 | 65.8218 | 1.5 | 1.1728 | 45 | 39.4972
16718.2678 | 1.5319 | 39.4156 | 53.88 | 43.136 | 70.4725 | 86.9182 | 12.5406 | 21.6978 | 86.3774 | 40 | 66.2788 | 1.5 | 5.3058 | 45 | 39.374
16732.3386 | 1.5261 | 40.1314 | 55.3031 | 43.0162 | 70.8648 | 87.3361 | 12.5254 | 21.6977 | 86.3824 | 40 | 65.8647 | 1.5 | 99.6519 | 45 | 39.9546
16737.9758 | 1.4549 | 40.9266 | 54.3103 | 43.2774 | 70.1319 | 86.3065 | 12.5354 | 21.6724 | 86.376 | 40 | 66.6747 | 1.5 | 59.3206 | 45 | 39.3047
16751.1838 | 1.4958 | 41.2245 | 55.9916 | 44.4913 | 70.1924 | 86.4852 | 12.6744 | 21.6994 | 86.3843 | 40 | 65.6741 | 1.5 | 5.1875 | 45 | 38.8827