## data_45_50_2
Time (sec) | Water Level (ft) | Water Flowrate (GPM) | House Steam Pressure (psig) | Steam Pressure (psig) | Inlet Water Temperature (C) | Outlet Water Temperature (C) | Water Feed Temperature (C) | Ambient Temperature (C) | Ambient Pressure (kPa) | Flow Setpoint (GPM) | Flow Control Output (%) | Level Setpoint (ft) | Level Control Output (%) | Steam Setpoint (psig) | Steam Control Output (%)
2680055.9426 | 1.5176 | 49.7395 | 54.6791 | 43.8798 | 74.7142 | 87.5574 | 12.2648 | 21.8856 | 85.8935 | 50 | 80.0085 | 1.5 | 98.5937 | 45 | 39.6095
2680071.1459 | 1.477 | 49.2622 | 57.4792 | 41.9467 | 74.1286 | 88.0433 | 12.1604 | 21.9035 | 85.8929 | 50 | 79.8436 | 1.5 | 0.43567 | 45 | 39.6191
2680077.3526 | 1.541 | 50.1197 | 56.6893 | 41.7715 | 75.0682 | 87.5753 | 12.2379 | 21.9624 | 85.8943 | 50 | 79.9278 | 1.5 | 48.3423 | 45 | 38.7353
2680083.4485 | 1.5551 | 50.2207 | 54.4701 | 42.5429 | 74.4744 | 88.098 | 12.2715 | 21.908 | 85.8953 | 50 | 79.2142 | 1.5 | 100 | 45 | 39.5053
2680087.59 | 1.4893 | 49.6628 | 56.8675 | 41.7531 | 73.4419 | 87.6358 | 12.2512 | 21.889 | 85.8973 | 50 | 79.7442 | 1.5 | 96.2663 | 45 | 39.5855
2680095.9448 | 1.4188 | 50.4794 | 54.7007 | 42.6935 | 71.7742 | 87.8925 | 12.2937 | 21.9191 | 85.8943 | 50 | 78.7391 | 1.5 | 18.8396 | 45 | 39.2044
2680106.063 | 1.4872 | 50.1654 | 54.8943 | 42.3647 | 74.0368 | 87.6919 | 12.2848 | 21.8634 | 85.8868 | 50 | 79.6148 | 1.5 | 1.4256 | 45 | 38.5654
2680136.5999 | 1.482 | 50.3674 | 54.3564 | 44.0457 | 74.3302 | 87.4791 | 12.2267 | 21.7451 | 85.8923 | 50 | 78.9226 | 1.5 | 2.0649 | 45 | 38.715
2680138.7899 | 1.5065 | 50.2227 | 55.134 | 43.0408 | 73.6195 | 88.1148 | 12.1401 | 21.774 | 85.8935 | 50 | 78.8405 | 1.5 | 5.2171 | 45 | 38.8947
2680141.1663 | 1.5432 | 49.4361 | 54.4548 | 42.8502 | 74.54 | 87.8324 | 12.2498 | 21.8116 | 85.8947 | 50 | 79.5738 | 1.5 | 12.5304 | 45 | 39.1372
2680142.3269 | 1.541 | 49.2815 | 56.05 | 41.5595 | 74.1689 | 88.4234 | 12.293 | 21.8216 | 85.8947 | 50 | 79.9126 | 1.5 | 27.6653 | 45 | 39.8992
2680161.6524 | 1.4214 | 50.0413 | 55.2447 | 43.5417 | 74.5275 | 87.6099 | 12.2444 | 21.8123 | 85.8863 | 50 | 79.6059 | 1.5 | 0.52812 | 45 | 39.5051
2680163.624 | 1.4488 | 50.1816 | 56.0223 | 43.0039 | 73.6583 | 87.5281 | 12.2258 | 21.8513 | 85.8821 | 50 | 79.4262 | 1.5 | 0.79134 | 45 | 39.3721
2680169.6141 | 1.5073 | 49.9213 | 56.2006 | 42.1741 | 73.3898 | 88.3843 | 12.2003 | 21.9009 | 85.8917 | 50 | 79.2983 | 1.5 | 8.2469 | 45 | 39.8175
2680173.9509 | 1.5373 | 49.6632 | 54.2765 | 43.8459 | 75.1785 | 88.3791 | 12.2499 | 21.7883 | 85.8849 | 50 | 79.8759 | 1.5 | 42.5809 | 45 | 38.4122
2680176.908 | 1.4932 | 49.9595 | 56.1821 | 42.6505 | 74.1203 | 88.8691 | 12.2394 | 21.8038 | 85.8841 | 50 | 79.8437 | 1.5 | 52.1461 | 45 | 39.1668
2680183.149 | 1.4794 | 50.2467 | 56.1637 | 43.1514 | 74.0051 | 88.3547 | 12.2007 | 21.9319 | 85.8938 | 50 | 79.2797 | 1.5 | 81.5343 | 45 | 39.0497
2680184.7999 | 1.5073 | 50.3256 | 53.8493 | 42.9117 | 73.4517 | 87.8058 | 12.2186 | 21.8171 | 85.8905 | 50 | 79.0793 | 1.5 | 82.1231 | 45 | 39.0993
2680194.498 | 1.5079 | 50.3736 | 54.4671 | 43.8644 | 72.7551 | 88.4267 | 12.3289 | 21.861 | 85.8964 | 50 | 79.6845 | 1.5 | 2.6154 | 45 | 38.7549
2680206.6079 | 1.5332 | 50.0671 | 54.8728 | 41.9313 | 74.0674 | 88.0501 | 12.3906 | 21.7783 | 85.8836 | 50 | 79.728 | 1.5 | 81.3917 | 45 | 39.5433
2680210.638 | 1.5134 | 50.5609 | 54.8021 | 43.7046 | 74.1171 | 89.3624 | 12.2644 | 21.8579 | 85.8882 | 50 | 78.8295 | 1.5 | 99.1782 | 45 | 38.4745
2680219.0439 | 1.4168 | 49.8537 | 55.9762 | 43.1237 | 74.6224 | 87.3127 | 12.2998 | 21.9131 | 85.8923 | 50 | 79.9742 | 1.5 | 26.5885 | 45 | 39.6264
2680223.1347 | 1.434 | 50.2973 | 55.9362 | 44.0211 | 73.408 | 87.5739 | 12.2598 | 21.8211 | 85.883 | 50 | 79.5551 | 1.5 | 1.0449 | 45 | 39.8247
2680223.5909 | 1.4258 | 50.3455 | 56.1237 | 43.1914 | 74.6898 | 87.2171 | 12.2063 | 21.8674 | 85.8845 | 50 | 79.4715 | 1.5 | 0 | 45 | 39.2403
2680226.4878 | 1.495 | 50.4696 | 56.0899 | 41.999 | 74.9238 | 87.9242 | 12.118 | 21.744 | 85.8879 | 50 | 78.9992 | 1.5 | 4.111 | 45 | 39.0686
2680234.5469 | 1.5585 | 49.7636 | 53.6802 | 44.1164 | 74.7229 | 88.5875 | 12.2299 | 21.9154 | 85.8899 | 50 | 80.0013 | 1.5 | 38.453 | 45 | 38.6367
2680237.5425 | 1.5468 | 50.3741 | 55.801 | 40.9817 | 74.2663 | 87.9827 | 12.2256 | 21.8421 | 85.8878 | 50 | 79.3956 | 1.5 | 76.229 | 45 | 38.6414
2680238.004 | 1.5586 | 50.4437 | 54.5777 | 42.0328 | 74.4783 | 88.14 | 12.2429 | 21.8471 | 85.8868 | 50 | 79.275 | 1.5 | 82.0628 | 45 | 39.0941
2680247.8859 | 1.447 | 50.2934 | 55.0818 | 42.9977 | 73.6759 | 88.1182 | 12.2731 | 21.877 | 85.8844 | 50 | 79.2746 | 1.5 | 62.5364 | 45 | 38.8635
2680268.3779 | 1.5136 | 49.658 | 55.4168 | 40.8527 | 74.8356 | 88.5631 | 12.2547 | 21.9317 | 85.8914 | 50 | 79.3308 | 1.5 | 94.8729 | 45 | 39.8938
2680293.485 | 1.5281 | 50.0135 | 56.262 | 42.1065 | 75.2613 | 87.425 | 12.2142 | 21.815 | 85.8881 | 50 | 78.9084 | 1.5 | 49.643 | 45 | 39.4141
2680297.7929 | 1.5437 | 49.5112 | 53.963 | 42.4138 | 74.6628 | 87.1349 | 12.225 | 21.7619 | 85.8874 | 50 | 79.9909 | 1.5 | 97.4778 | 45 | 38.7357
2680299.6499 | 1.5014 | 50.0172 | 55.549 | 42.7027 | 74.3038 | 87.9253 | 12.1097 | 21.7654 | 85.8844 | 50 | 79.7341 | 1.5 | 97.8654 | 45 | 38.9129
2680303.8669 | 1.4501 | 50.4074 | 56.2682 | 42.672 | 73.8877 | 87.9204 | 12.1433 | 21.8563 | 85.8873 | 50 | 78.9899 | 1.5 | 80.6906 | 45 | 39.3824
2680310.0621 | 1.4196 | 49.7762 | 55.6381 | 41.5779 | 74.4918 | 87.1362 | 12.1968 | 21.6354 | 85.8879 | 50 | 79.9586 | 1.5 | 1.6226 | 45 | 39.1343
2680310.7886 | 1.4451 | 49.7622 | 53.7909 | 42.5245 | 74.1415 | 87.6399 | 12.2095 | 21.6008 | 85.8897 | 50 | 80.0208 | 1.5 | 1.5307 | 45 | 39.2732
2680318.9779 | 1.4945 | 50.2172 | 55.4506 | 42.2633 | 74.7299 | 89.0856 | 12.1114 | 21.7074 | 85.8856 | 50 | 78.8093 | 1.5 | 8.4012 | 45 | 39.6286
2680324.4359 | 1.5414 | 49.6263 | 55.4475 | 41.3812 | 75.2539 | 88.6077 | 12.162 | 21.8047 | 85.8886 | 50 | 80.0905 | 1.5 | 54.722 | 45 | 39.7042
2680328.4029 | 1.5347 | 50.3 | 53.087 | 43.1668 | 74.7982 | 89.0347 | 12.1376 | 21.7032 | 85.8934 | 50 | 79.5313 | 1.5 | 96.038 | 45 | 39.17
2680338.9307 | 1.4403 | 49.8973 | 53.9907 | 41.6394 | 74.7966 | 87.9495 | 12.1904 | 21.6841 | 85.8888 | 50 | 79.6374 | 1.5 | 43.0696 | 45 | 39.0981
2680341.7799 | 1.428 | 50.2786 | 54.7898 | 43.8091 | 74.0989 | 88.1739 | 12.1645 | 21.6062 | 85.8947 | 50 | 79.2033 | 1.5 | 0 | 45 | 38.9547
2680346.9139 | 1.4268 | 49.8426 | 55.9762 | 42.4046 | 74.1715 | 87.9191 | 12.1419 | 21.5016 | 85.8921 | 50 | 79.2667 | 1.5 | 0.52467 | 45 | 39.7026
2680350.9289 | 1.4962 | 49.7666 | 55.1801 | 41.246 | 75.0228 | 88.441 | 12.1717 | 21.6217 | 85.8877 | 50 | 79.7542 | 1.5 | 1.1273 | 45 | 40
2680363.4908 | 1.5326 | 50.0163 | 54.8482 | 41.2245 | 75.4634 | 88.2712 | 12.1768 | 21.4598 | 85.8927 | 50 | 79.5761 | 1.5 | 99.552 | 45 | 39.6803
2680373.385 | 1.4556 | 49.3097 | 53.8493 | 44.0672 | 74.8093 | 88.3798 | 12.2231 | 21.5824 | 85.8893 | 50 | 79.7951 | 1.5 | 44.6875 | 45 | 38.8232
2680379.7089 | 1.4479 | 50.169 | 53.7909 | 43.345 | 72.6293 | 88.2545 | 12.2342 | 21.6531 | 85.8884 | 50 | 79.662 | 1.5 | 1.5756 | 45 | 39.1828
2680385.343 | 1.4805 | 50.2848 | 53.3821 | 43.4495 | 75.2782 | 87.877 | 12.1617 | 21.6841 | 85.8879 | 50 | 79.0576 | 1.5 | 0.55599 | 45 | 38.9902
2680388.53 | 1.5418 | 49.5109 | 55.632 | 43.7476 | 74.6081 | 87.9677 | 12.1295 | 21.6536 | 85.8794 | 50 | 79.774 | 1.5 | 30.866 | 45 | 38.8852
2680394.11 | 1.5442 | 50.4211 | 55.6965 | 41.9313 | 74.1634 | 88.2288 | 12.2206 | 21.5831 | 85.8856 | 50 | 79.5149 | 1.5 | 99.0645 | 45 | 39.705
2680396.3501 | 1.4965 | 50.7402 | 54.9281 | 43.8459 | 73.5339 | 88.0424 | 12.1555 | 21.7054 | 85.888 | 50 | 78.7905 | 1.5 | 99.194 | 45 | 39.932
2680404.2349 | 1.449 | 49.7396 | 54.6884 | 41.6824 | 73.9705 | 86.9852 | 12.1642 | 21.7159 | 85.8785 | 50 | 79.6515 | 1.5 | 32.2471 | 45 | 39.3331
2680406.1966 | 1.4296 | 50.1187 | 54.8543 | 41.0616 | 72.4064 | 87.5848 | 12.158 | 21.6389 | 85.8864 | 50 | 79.4157 | 1.5 | 0.68132 | 45 | 40
2680408.7739 | 1.437 | 50.3162 | 55.0449 | 43.4218 | 74.4838 | 87.1483 | 12.2763 | 21.6487 | 85.8827 | 50 | 79.042 | 1.5 | 0.10298 | 45 | 39.3083
2680412.4934 | 1.4778 | 49.5064 | 55.5889 | 43.1145 | 74.3357 | 88.3057 | 12.1806 | 21.6581 | 85.8911 | 50 | 79.4891 | 1.5 | 1.6226 | 45 | 38.7865
2680416.957 | 1.5102 | 50.1144 | 55.9301 | 42.5706 | 75.0824 | 88.7692 | 12.2033 | 21.6934 | 85.8878 | 50 | 79.6557 | 1.5 | 17.696 | 45 | 39.7238
2680429.1069 | 1.4768 | 49.7167 | 55.9362 | 41.8699 | 73.1722 | 88.3936 | 12.1776 | 21.6408 | 85.8865 | 50 | 79.9214 | 1.5 | 95.9764 | 45 | 38.6391
2680440.5989 | 1.4532 | 49.9423 | 55.1955 | 45.0445 | 74.0881 | 88.125 | 12.166 | 21.6908 | 85.8835 | 50 | 79.2147 | 1.5 | 0.53262 | 45 | 38.254
2680441.7239 | 1.5014 | 49.8092 | 53.419 | 44.0273 | 73.9538 | 88.1209 | 12.0995 | 21.6304 | 85.8901 | 50 | 79.3427 | 1.5 | 1.2217 | 45 | 38.7932
2680449.743 | 1.5511 | 50.8129 | 53.6556 | 43.5017 | 74.1552 | 88.4641 | 12.1296 | 21.6756 | 85.8876 | 50 | 79.1556 | 1.5 | 35.0291 | 45 | 38.5069
2680457.9679 | 1.4933 | 49.6196 | 55.6473 | 43.8736 | 75.75 | 88.0715 | 12.2918 | 21.6847 | 85.882 | 50 | 79.6548 | 1.5 | 93.0483 | 45 | 38.3285
2680466.259 | 1.4276 | 49.8529 | 55.0971 | 41.2122 | 74.7637 | 88.1339 | 12.1756 | 21.5361 | 85.8862 | 50 | 79.5053 | 1.5 | 38.5243 | 45 | 39.7238
2680474.3499 | 1.508 | 50.4459 | 54.3626 | 43.5417 | 75.3829 | 87.6877 | 12.2445 | 21.5138 | 85.8903 | 50 | 79.2664 | 1.5 | 5.2939 | 45 | 38.8037
2680490.8728 | 1.5166 | 50.2839 | 54.0583 | 42.0389 | 74.2446 | 86.9835 | 12.1271 | 21.6057 | 85.888 | 50 | 79.2448 | 1.5 | 97.7045 | 45 | 38.8049
2680502.7249 | 1.4501 | 50.5955 | 56.3051 | 42.8502 | 73.8369 | 87.734 | 12.207 | 21.589 | 85.886 | 50 | 78.8096 | 1.5 | 0.8066 | 45 | 39.563
2680507.8199 | 1.4896 | 49.3602 | 55.3523 | 41.8115 | 74.9422 | 87.7216 | 12.2798 | 21.5726 | 85.8866 | 50 | 79.5705 | 1.5 | 4.9189 | 45 | 39.8808
2680511.4669 | 1.5295 | 49.9855 | 54.4671 | 43.4495 | 74.6476 | 87.7601 | 12.1683 | 21.6272 | 85.8952 | 50 | 79.7445 | 1.5 | 10.6586 | 45 | 38.7648
2680517.6079 | 1.5579 | 50.044 | 56.2467 | 41.5503 | 75.0328 | 88.7385 | 12.1415 | 21.5756 | 85.891 | 50 | 78.9313 | 1.5 | 93.1478 | 45 | 39.5527
2680523.5669 | 1.5442 | 49.8804 | 54.089 | 41.8576 | 72.9471 | 88.0195 | 12.1743 | 21.5879 | 85.882 | 50 | 79.8187 | 1.5 | 100 | 45 | 39.2811
2680533.3959 | 1.4266 | 49.6139 | 54.0245 | 43.5386 | 75.6212 | 87.9276 | 12.2675 | 21.546 | 85.8913 | 50 | 79.6459 | 1.5 | 23.0933 | 45 | 39.1256
2680544.4439 | 1.5166 | 49.9398 | 54.8267 | 44.5098 | 75.0821 | 88.6999 | 12.233 | 21.6988 | 85.8821 | 50 | 79.4259 | 1.5 | 4.1747 | 45 | 38.8299
2680549.3262 | 1.5688 | 50.0908 | 55.4813 | 41.4058 | 75.4045 | 87.7326 | 12.2023 | 21.5627 | 85.8855 | 50 | 79.6227 | 1.5 | 63.9779 | 45 | 39.4298
2680554.4369 | 1.5188 | 50.3225 | 56.4249 | 43.9935 | 75.4211 | 89.0331 | 12.1185 | 21.532 | 85.8822 | 50 | 78.9342 | 1.5 | 98.0242 | 45 | 38.9542
2680557.0469 | 1.5019 | 49.8891 | 54.4271 | 42.1711 | 74.6344 | 87.6366 | 12.073 | 21.6151 | 85.8801 | 50 | 79.1555 | 1.5 | 96.2533 | 45 | 39.6497
2680565.1659 | 1.4571 | 50.5452 | 54.298 | 43.0254 | 75.1506 | 88.1854 | 12.1213 | 21.7236 | 85.8859 | 50 | 78.6974 | 1.5 | 21.584 | 45 | 39.1783
2680569.306 | 1.4657 | 49.3117 | 56.4372 | 42.8902 | 76.213 | 88.8845 | 12.1307 | 21.7333 | 85.8824 | 50 | 79.4297 | 1.5 | 0.23352 | 45 | 39.3172
2680573.8009 | 1.5295 | 49.8935 | 54.2458 | 44.1133 | 75.968 | 89.7579 | 12.0507 | 21.668 | 85.8761 | 50 | 79.8801 | 1.5 | 8.8645 | 45 | 38.6684
2680579.7059 | 1.5419 | 49.9913 | 55.4783 | 41.6763 | 75.3163 | 90.0825 | 12.1277 | 21.7382 | 85.8835 | 50 | 79.1535 | 1.5 | 57.1431 | 45 | 39.6043
2680585.817 | 1.4865 | 49.7192 | 55.9578 | 42.042 | 75.9767 | 88.7243 | 12.2025 | 21.6794 | 85.881 | 50 | 80.067 | 1.5 | 77.5513 | 45 | 39.6716
2680593.258 | 1.4321 | 50.0202 | 56.8552 | 42.5675 | 74.8799 | 88.7871 | 12.1767 | 21.7377 | 85.8819 | 50 | 79.1934 | 1.5 | 0.44388 | 45 | 39.396
2680594.928 | 1.4448 | 49.5336 | 55.3246 | 44.3131 | 75.9811 | 89.2613 | 12.2548 | 21.7233 | 85.8828 | 50 | 79.692 | 1.5 | 0.54872 | 45 | 38.8199
2680602.4909 | 1.5409 | 50.4431 | 55.1187 | 43.3051 | 75.3008 | 90.5066 | 12.2153 | 21.7119 | 85.8792 | 50 | 79.0978 | 1.5 | 10.0909 | 45 | 39.3634
2680606.6205 | 1.5498 | 49.6585 | 55.9239 | 44.5528 | 75.5558 | 89.6147 | 12.0779 | 21.5465 | 85.8849 | 50 | 79.5821 | 1.5 | 62.6909 | 45 | 39.1114
2680616.4245 | 1.4497 | 49.6926 | 54.3011 | 43.6308 | 75.0318 | 89.3632 | 12.0823 | 21.6772 | 85.8852 | 50 | 79.5502 | 1.5 | 64.4286 | 45 | 38.663
2680632.7549 | 1.5253 | 49.9652 | 56.0868 | 41.0278 | 75.6952 | 89.2938 | 12.0926 | 21.4758 | 85.8809 | 50 | 79.8508 | 1.5 | 6.9028 | 45 | 39.5788
2680637.275 | 1.5746 | 50.3938 | 54.4332 | 43.3081 | 76.3465 | 89.4835 | 12.0552 | 21.5563 | 85.8804 | 50 | 79.096 | 1.5 | 55.1104 | 45 | 38.8795
2680642.4869 | 1.5193 | 49.4577 | 54.55 | 44.1778 | 74.4495 | 90.6479 | 12.1254 | 21.6057 | 85.8828 | 50 | 80.0121 | 1.5 | 96.8452 | 45 | 39.9116
2680643.3299 | 1.4676 | 49.5982 | 56.3389 | 44.5466 | 75.8619 | 88.7642 | 12.1589 | 21.495 | 85.8767 | 50 | 80.0319 | 1.5 | 93.3505 | 45 | 38.4282
2680647.431 | 1.4177 | 50.4751 | 57.2425 | 42.7304 | 76.9319 | 89.5811 | 12.1994 | 21.5321 | 85.8787 | 50 | 79.2281 | 1.5 | 54.904 | 45 | 39.1262
2680657.6239 | 1.4989 | 49.8011 | 55.0941 | 42.5398 | 76.6578 | 90.2754 | 12.1988 | 21.4974 | 85.8714 | 50 | 79.9196 | 1.5 | 0 | 45 | 39.3625
2680669.689 | 1.5054 | 49.7049 | 55.4322 | 42.841 | 77.0907 | 90.8316 | 12.0868 | 21.4817 | 85.8791 | 50 | 79.5218 | 1.5 | 82.9545 | 45 | 39.4651
2680681.8309 | 1.4555 | 49.409 | 57.0612 | 42.6597 | 77.7243 | 90.4254 | 12.2061 | 21.5346 | 85.8748 | 50 | 79.8283 | 1.5 | 1.4881 | 45 | 39.6452
2680699.027 | 1.542 | 50.7475 | 54.8236 | 42.7089 | 77.805 | 90.7785 | 12.0793 | 21.4634 | 85.8782 | 50 | 78.9926 | 1.5 | 100 | 45 | 39.3603
2680705.0829 | 1.4295 | 49.19 | 55.1894 | 43.9289 | 76.6783 | 90.0832 | 12.1553 | 21.5295 | 85.881 | 50 | 79.714 | 1.5 | 52.4759 | 45 | 39.1408
2680711.4559 | 1.4822 | 50.4222 | 51.0554 | 41.8576 | 76.9291 | 90.1397 | 12.0836 | 21.5679 | 85.8853 | 50 | 79.4368 | 1.5 | 2.1706 | 45 | 39.62
2680732.6389 | 1.4148 | 49.8927 | 52.5461 | 42.9424 | 76.4754 | 90.7819 | 12.2175 | 21.4073 | 85.8818 | 50 | 79.9005 | 1.5 | 32.8036 | 45 | 39.0703